Tender No:. 2024-25/LUCS/2B/LNM-619

The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non-Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for “Supply, Installation, Testing and Commissioning of CCTV Surveillance System for BH – 01”. Bidders can submit their sealed offers/s at the following address by Email/Speed-Post/ Registered Post/ By-hand/courier before 05:00 PM on 27.07.2024.

Filing of Tender:

Option 1: Physical submission of offers (hard copy) in sealed envelopes.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the institute in person/ Speed-Post/ Registered Post/ By-hand/courier of the Institute after marking due entries in the Receipt Book available with the Security Officer at the main gate.

The tender subject and reference number must be mentioned on the envelope.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Email: directoroffice@lnmiit.ac.in

Option 2: Password-protected online submission via Email

Password-protected offers can be submitted by the bidders via email at the below-mentioned email IDs.

tender-document@lnmiit.ac.in (password-protected document)

tender-password@lnmiit.ac.in (password only)

The tender subject and reference number must be mentioned in the subject line of the emails.

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory, are required to be submitted in two separate envelopes/emails.

Envelopes/Emails should be duly marked as follows:

- Technical bid for the - “Supply, Installation, Testing and Commissioning of CCTV Surveillance System for BH – 01”

- Commercial Bid for the - “Supply, Installation, Testing and Commissioning of CCTV Surveillance System for BH – 01”

Both Envelopes/files should be enclosed/attached in a single envelope/email bearing the heading “Bid for the Supply, Installation, Testing and Commissioning of CCTV Surveillance System for BH – 01.  (Tender No. : 2024-25/LUCS/2B/LNM-619) ”.

Bids are liable to be rejected:

- If the above-mentioned bid submission procedure is not followed.

- Incomplete and non-conforming bids.

- Arbitration: All disputes and differences arising between the two parties in connection with this order shall be mutually settled as far as possible, failing which, all such disputes shall be referred to arbitration and settlement under the provision of the Arbitration and Conciliation Act, 1996 and as amended from time to time or any such law for the time being prevailing in India. The venue of such arbitration shall be Jaipur

Technical Bid: (in a separate sealed envelope)

While submitting quotations, the following procedure/ formalities and conditions may kindly be adhered.

- Company profile or brief note about the bidder's company, PAN number, and GST number should be submitted by the Vendor.

- The List of Directors/Partners/Proprietor/Members of the Firm to be attached.

- Detail of other associated/sister concerns (if any) of Directors/Partners/ Proprietor/ Members to be provided.

- Turnover for the last three years to be mentioned. (Copy to be enclosed)

- List of the client to whom the vendor has delivered the goods or provided the services in the past.

- Specification as mentioned below, shall be provided as per the details given below:

## Scope of work

- Supply, Installation, Testing and Commissioning of CCTV Surveillance system, as per technical specifications.

- Configuration should be done by the OEM/OEM Assist as per the institute requirement.

- The vendor should also offer, supply, and install of all other associated components that may be necessary to carry out the complete job.

- Warranty should be as per mentioned in the technical specification.

Technical specification: (in separate sealed envelope)

# “Supply, Installation, Testing and Commissioning of CCTV Surveillance System for BH – 01”

# (Tender No. : 2024-25/LUCS/2B/LNM-619)

| Sr. No. | Required Specification: | Qty. | Proposed Items Make & Model with Specification Filled by Vender |
| --- | --- | --- | --- |
| 1. | 2 MP IR Dome Indoor Camera - ½ 8” Progressive Scan CMOS - H.265 + / H.265 / H.264 / MJPEG - Powered by Dark fighter technology Color 0.009 lux @ (F1.4 , AGC ON), 0 lux with IR - 50 fps / 60 fps (1920x1080), VCA functions, 3 streams, 3D DNR, BLC, ICR, EXIR - Support Power input through 12V DC & PoE - Built-in micro SD/SDHC/SDXC slot - Alarm 1/1, Audio 1/1, DC 12V output, onvif support, build in mic water and dust resistant (IP67) and vandal-resistant (IK10) Preferred Make/Model: Hikvision / Honeywell | 81 Nos. |  |
| 2. | 2 MP IR Bullet Outdoor Camera - ½ 8” Progressive Scan CMOS - H.265 + / H.265 / H.264 / MJPEG - Powered by Dark fighter technology Color 0.009 lux @ (F1.6 , AGC ON), 0 lux with IR range Up to 90 m - 50 fps / 60 fps (1920x1080), VCA functions, 3 streams, 3D DNR, BLC, ICR, EXIR - Support Power input through 12V DC & PoE - Built-in micro SD/SDHC/SDXC slot - Alarm 2/2, Audio 1/1, DC 12V output, onvif support Face alarm reduction through human and vehicle target classification based on deep learning, Motion detection, Video tampering alarm, exception (network disconnected, IP / address conflict, illegal login, HDD full, HDD error) Preferred Make/Model: Hikvision / Honeywell | 15 Nos. |  |
| 3. | POE LAN Switch with Min. 370W - Ports- 4 x SFP Gigabit or higher 24 x Ethernet Gigabit POE 1 x Console - POE Power - Minimum 370 W or higher - Switching capacity - Minimum 52 Gbps - System Configuration - Web user interface (HTTP / HTTPS), CLI (Telnet / SSH), SNMP v3 - MIB Files - Must have CPU Utilization, Memory Utilization and Net Flow control. - NMS Compatibility - WhatsUP Gold Preferred Make/Model: Cisco Small Business | 3 Nos. |  |
| 4. | POE LAN Switch with Min. 195W - Ports - 2 x SFP Gigabit or higher 24 x Ethernet Gigabit POE 1 x Console - POE Power - Minimum 195 W or higher - Switching capacity - Minimum 52 Gbps - System Configuration - Web user interface (HTTP / HTTPS), CLI (Telnet / SSH), SNMP v3 - MIB Files - Must have CPU Utilization, Memory Utilization and Net Flow control. - NMS Compatibility - WhatsUP Gold Preferred Make/Model: Cisco Small Business | 2 Nos. |  |
| 5. | SFP Module Make:- Cisco Type:- GLC-LH SMD Single Mode | 24 Nos. |  |
| 6. | UTP Cable Make:- Molex / AMP Type:- Cat 6 | 4800 Mtr. Approx. |  |
| 7. | Laying of Cable Cat 6 cables including laying in casing / conducting and flexible. Preferred Make/Model: For casing / conduit: AKG/Polycab/Precision & for Cat6 cable: Molex/AMP | 4800 Mtr. Approx. |  |
| 8. | End to End point Termination Fixing & punching of I/O and Jackpannel, Crimping of RJ45 connector, ferruling, and numbering, attenuation, Camera Installation, Lan Switch Installation. Preferred Make/Model: Molex/AMP | 96 Nos. Approx. |  |
| 9. | Warranty: 5 years OEM, Material_Labour_Onsite | 1 Nos. |  |

Signature with seal

Commercial Bid: (in separate sealed envelope)

Bid for “Supply, Installation, Testing and Commissioning of CCTV Surveillance System for BH–01”

(Tender No. : 2024-25/LUCS/2B/LNM-619)

| Sr.No. | Specification as per Tender | Proposed Items Make & Model with Specification Filled by Vender | Qty. | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | 2 MP IR Dome Indoor Camera |  | 81 Nos. |  |  |
| 2. | 2 MP IR Bullet Outdoor Camera |  | 15 Nos. |  |  |
| 3. | POE LAN Switch with Min. 370W |  | 3 Nos. |  |  |
| 4. | POE LAN Switch with Min. 195W |  | 2 Nos. |  |  |
| 5. | SFP Module |  | 24 Nos. |  |  |
| 6. | Cat-6 UTP cable |  | 4800 Approx. Price per Mtr. |  |  |
| 7. | Laying of Cable |  | 4800 Approx. Price per Mtr. |  |  |
| 8. | End to End point Termination |  | 96 Nos. Approx. |  |  |
| 9. | Any Other items required for this Project |  | As per Actual |  |  |
| 10. | Warranty: 5 years OEM, Material_Labour_Onsite |  | 1 Nos. |  |  |
| Total |  |  |  |  |  |
| GST |  |  |  |  |  |
| Total with GST |  |  |  |  |  |

- Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- If the supplier does not have a particular item offered in the tender or a different make is being proposed by him, the same should be highlighted/mentioned especially by him.

- The prices should include everything (packing, forwarding, transit insurance, transportation, loading /unloading, installation etc.). Loading/unloading up to 50 Mtr. shall be done by the supplier.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- The bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- Bid should be on the company’s letterhead and should submit their bid in the LNMIIT format only.

- Item/Service not supplied by the supplier/service provider should be mentioned separately.

- Vendor should provide a photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

- Pre-bid meeting and pre-bid site visit can be done before quoting the rate in the tender to clear up any confusion regarding project details, the scope of work, and solicitation of documents.

- All charges applicable shall be clearly mentioned in the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final, and nothing extra shall be paid extra.

Signature with seal