Tender No:. 2024-25/Guest House/2B/LNM-647

The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non-Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for Supply and installation work of 1.5TR split AC type 5 star Air conditioners (Brand: Daikin /Mitsubishi) for Guest House ”. Bidders can submit their sealed offers/s at the following address by Email/Speed-Post/ Registered Post/ By-hand/courier before 05:00 PM on 03.08.2024).

Filing of Tender:

Option 1: Physical submission of offers (hard copy) in sealed envelopes.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the institute in person/ Speed-Post/ Registered Post/ By-hand/courier of the Institute after marking due entries in the Receipt Book available with the Security Officer at the main gate.

The tender subject and reference number must be mentioned on the envelope.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Email: directoroffice@lnmiit.ac.in

Option 2: Password-protected online submission via Email

Password-protected offers can be submitted by the bidders via email at the below-mentioned email IDs.

tender-document@lnmiit.ac.in (password-protected document)

tender-password@lnmiit.ac.in (password only)

The tender subject and reference number must be mentioned in the subject line of the emails.

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory, are required to be submitted in two separate envelopes/emails.

Envelopes/Emails should be duly marked as follows:

- Technical bid for the Supply and installation work of 1.5TR split AC type 5 star Air conditioners (Brand: Daikin /Mitsubishi) for Guest House

- Commercial Bid for the Supply and installation work of 1.5TR split AC type 5 star Air conditioners (Brand: Daikin /Mitsubishi) for Guest House

Both Envelopes/files should be enclosed/attached in a single envelope/email bearing the heading “Bid for the supply and installation work of 1.5TR split AC type 5 star Air conditioners (Brand: Daikin /Mitsubishi) for Guest House (Tender No. : 2024-25/Guest House/2B/LNM-647) ”.

Bids are liable to be rejected:

- If the above-mentioned bid submission procedure is not followed.

- Incomplete and non-conforming bids.

- Arbitration: All disputes and differences arising between the two parties in connection with this order shall be mutually settled as far as possible, failing which, all such disputes shall be referred to arbitration and settlement under the provision of the Arbitration and Conciliation Act, 1996 and as amended from time to time or any such law for the time being prevailing in India. The venue of such arbitration shall be Jaipur.

Technical Bid: (in a separate sealed envelope)

While submitting quotations, the following procedure/ formalities and conditions may kindly be adhered.

- Company profile or brief note about the bidder's company, PAN number, and GST number should be submitted by the Vendor.

- The List of Directors/Partners/Proprietor/Members of the Firm to be attached.

- Detail of other associated/sister concerns (if any) of Directors/Partners/ Proprietor/ Members to be provided.

- Turnover for the last three years to be mentioned. (Copy to be enclosed)

- List of the client to whom the vendor has delivered the goods or provided the services in the past.

- Specification as mentioned below, shall be provided as per the details given below:

## Scope of work

- The scope of work will cover the supply and installation of given items at LNMIIT Jaipur campus.

- The Vendor is required to submit the complete documentation of the supplied item after delivery.

Technical specification: (in separate sealed envelope)

Bid for the supply and installation work of 1.5TR split AC type 5 start Air conditioners (Brand: Daikin /Mitsubishi) for Guest House

(Tender No. : 2024-25/Guest House/2B/LNM-647)

| S No | PARTICULARS |  | UNIT | QTY |
| --- | --- | --- | --- | --- |
| A | Supply of Air conditioning system of following items |  |  |  |
|  | Supply of 1.5 TR 5 Star Split Air Conditioner with 1-year Standard Manufacturer Warranty and 5 Year compressor Warranty. White (Copper Condenser) 1.5TR Split type air conditioning machine with 1 Nos. indoor unit & 1 nos. 1.5 TR outdoor unit. Including all accessories. Preferred Makes: Daikin/ Mitsubishi |  |  |  |
|  | Outdoor Unit 1.5TR |  |  |  |
|  | Outdoor condensing unit shall comprise of 1 nos. Rotary /reciprocating/ scroll compressor of 1.5 TR capacity. Air cooled condenser having copper tube with mechanically bonded aluminum fins of adequate heat transfer area as per manufacturer’s standard, complete with fan and fan motor of required capacity with independent circuit complete with interconnecting piping, wiring and controls. |  |  |  |
|  | Indoor Unit 1.5 TR |  |  |  |
|  | Indoor unit of 1.5TR capacity, consisting of multi row cooling coil having copper tube with mechanically bonded aluminum fins, thermostat expansion valve, dynamically balanced centrifugal blower driven by TEFC squirrel cage induction motor, cleanable synthetic filter, insulated drain pan complete with microprocessor control for efficient operation, inter connecting copper tube duly insulated with nitrile rubber molded section and cordless hand set. |  |  |  |
|  | Technical Specifications |  |  |  |
|  | Description | Particulars |  |  |
|  | Efficiency (Star Rating) | 5 star AC |  |  |
|  | Power Supply (V/Hz/PH) | 230/50/1 Phase |  |  |
|  | Noise Level_ Indoor | 49 dB(A) |  |  |
|  | Operation | LCD Remote |  |  |
|  | Wide operating voltage Range | 145-270 V |  |  |
|  | Max operating Ambient Temp Range | 52⁰ C |  |  |
|  | Refrigerant Gas | R32/410 |  |  |
|  | Connecting Pipe | Cu-Cu(15.87 mm & 6.35mm) |  |  |
|  | Condenser Coil | Fin & Tube |  |  |
|  | Machine with 1 outdoor and 1 indoor units |  | Nos. | 8 |
| B | Supply and Installation of Air conditioning system of following items |  |  |  |
| 1 | Lifting, shifting, positioning, installation, testing and commissioning of outdoor units, fittings (Imported Y-joints & header etc.) remote controls of indoor units, including gas charging with R32/R410A gas as required, complete as per specification. pressure testing of concealed indoor units |  |  |  |
| a | Indoor Unit _ 1.5 TR |  | Nos | 8 |
| b | Outdoor Unit_ 1.5 TR |  | Nos. | 8 |
| 2 | Refrigerant Copper Piping |  |  |  |
|  | Interconnecting refrigerant pipe work with (15.87 mm/6.35 mm thick) closed cell elastomeric nitrile rubber tubular insulation between each set of indoor & outdoor units as per specifications, all piping inside the room shall be properly supported with MS hanger. |  | meter | 100 |
| 3 | Drain Piping |  |  |  |
|  | Providing and fixing rigid PVC piping complete with fittings, supports as per specifications and duly insulated with 6 mm thick closed cell nitrile rubber insulation. |  |  |  |
| a | 25 mm dia ( Brand : Supreme/Kisan/AKG) |  | Meter | 120 |
| 4. | Providing and fixing of MS Wall/ floor mounted stand for outdoor unit |  | Nos. | 8 |
| 5 | Power and control cabling between indoor and outdoor / ac panel, HAT, etc. Make:-Polycab/KEI/RR/APAR) |  |  |  |
| 1 | 3 Core 2.5 sq mm cu flexible cable |  | Meter | 100 |
| 6 | Supply and installation of 4 core 16 sq mm copper armored cables DB to Panel. (Make:-Polycab/KEI/RR/APAR) |  | Meter | 200 |
| 7 | Supply and installation of Single Door, MS Powder coated three phase 12 way TPN Distribution board, with all accessories. |  | Nos. | 1 |
| 8 | Supply and installation of C-Curve MCB’s |  |  |  |
| a | 32 Amp 4 Pole MCB |  | Nos. | 8 |
| 9 | Supply and installation of Heavy duty uPVC conduit, in wall chase, wall surface, slab etc, including all accessories, complete as required. Make: AKG |  |  |  |
|  | 40mm dia |  | meter | 10 |
| 10. | Socket Mounted Metal Box with Cover, 1 No. Plug (2 Pin + Earth), 1 No. 20A Single Pole MCB, Wiring Accessories as needed ( Brand : Legrand/ L&t) |  | Nos. | 8 |

Signature with seal

Commercial Bid: (in separate sealed envelope)

Bid for the supply and installation work of 1.5TR split AC type 5 start Air conditioners (Brand: Daikin /Mitsubishi) for Guest House

(Tender No. : 2024-25/Guest House/2B/LNM-647)

| S No | PARTICULARS |  | Qty. | UOM | Rate | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| A | Supply of Air conditioning system of following items |  |  |  |  |  |
|  | Supply of 1.5 TR 5 Star Split Air Conditioner with 1 year Standard Manufacturer Warranty and 5 Year compressor Warranty. White (Copper Condenser) 1.5 TR Split type air conditioning machine with 1 nos. indoor unit & 1 nos. 1.5 TR outdoor unit. Including all accessories. Preferred Makes: Daikin/ Mitsubishi |  |  |  |  |  |
|  | Outdoor Unit 1.5 TR |  |  |  |  |  |
|  | Outdoor condensing unit shall comprise of 1 nos. Rotary /reciprocating/ scroll compressor of 1.5 TR capacity. Air cooled condenser having copper tube with mechanically bonded aluminum fins of adequate heat transfer area as per manufacturer’s standard, complete with fan and fan motor of required capacity with independent circuit complete with interconnecting piping, wiring and controls. |  |  |  |  |  |
|  | Indoor Unit 1.5 TR |  |  |  |  |  |
|  | Indoor unit of 1.5 TR capacity, consisting of multi row cooling coil having copper tube with mechanically bonded aluminum fins, thermostat expansion valve, dynamically balanced centrifugal blower driven by TEFC squirrel cage induction motor, cleanable synthetic filter, insulated drain pan complete with microprocessor control for efficient operation, inter connecting copper tube duly insulated with nitrile rubber molded section and cordless hand set. |  |  |  |  |  |
|  | Technical Specifications |  |  |  |  |  |
|  | Description | Particulars |  |  |  |  |
|  | Efficiency (Star Rating) | 5 star AC |  |  |  |  |
|  | Power Supply (V/Hz/PH) | 230/50/1 Phase |  |  |  |  |
|  | Noise Level_ Indoor | 49 dB(A) |  |  |  |  |
|  | Operation | LCD Remote |  |  |  |  |
|  | Wide operating voltage Range | 145-270 V |  |  |  |  |
|  | Max operating Ambient Temp Range | 52⁰ C |  |  |  |  |
|  | Refrigerant Gas | R32/410 |  |  |  |  |
|  | Connecting Pipe | Cu-Cu(15.87 mm & 6.35mm) |  |  |  |  |
|  | Condenser Coil | Fin & Tube |  |  |  |  |
|  | Machine with 1 outdoor and 1 indoor units |  | Nos. | 8 |  |  |
| B | Supply and Installation of Air conditioning system of following items |  |  |  |  |  |
| 1 | Lifting, shifting, positioning, installation, testing and commissioning of outdoor units, fittings (Imported Y-joints & header etc.) remote controls of indoor units, including gas charging with R32/R410A gas as required, complete as per specification. pressure testing of concealed indoor units |  |  |  |  |  |
| a. | Indoor Unit _ 1.5 TR |  | Nos | 8 |  |  |
| b. | Outdoor Unit_ 1.5TR |  | Nos. | 8 |  |  |
| 2 | Refrigerant Copper Piping |  |  |  |  |  |
|  | Interconnecting refrigerant pipe work with (15.87 mm/6.35 mm thick) closed cell elastomeric nitrile rubber tubular insulation between each set of indoor & outdoor units as per specifications, all piping inside the room shall be properly supported with MS hanger. |  | meter | 100 |  |  |
| 3 | Drain Piping |  |  |  |  |  |
|  | Providing and fixing rigid PVC piping complete with fittings, supports as per specifications and duly insulated with 6 mm thick closed cell nitrile rubber insulation. |  |  |  |  |  |
| a. | 25 mm dia (Brand : Supreme/Kisan/AKG) |  | Meter | 120 |  |  |
| 4 | Providing and fixing of MS Wall/ floor mounted stand for outdoor unit |  | Nos. | 8 |  |  |
| 5 | Power and control cabling between indoor and outdoor / ac panel, HAT, etc. Make:-Polycab/KEI/RR/APAR) |  |  |  |  |  |
|  | 3 Core 2.5 sq mm cu flexible cable |  | Meter | 100 |  |  |
| 6 | Supply and installation of 4 core 16 sq mm copper armored cables DB to Panel. (Make:-Polycab/KEI/RR/APAR) |  | Meter | 200 |  |  |
| 7 | Supply and installation of Single Door, MS Powder coated three phase 8 way TPN Distribution board, with all accessories. |  | Nos. | 1 |  |  |
| 8 | Supply and installation of C-Curve MCB’s |  |  |  |  |  |
| a. | 32 Amp 4 Pole MCB |  | Nos. | 8 |  |  |
| 9 | Supply and installation of Heavy-duty uPVC conduit, in wall chase, wall surface, slab etc, including all accessories, complete as required. Make: AKG |  |  |  |  |  |
|  | 40mm dia |  | meter | 10 |  |  |
| 10. | Socket Mounted Metal Box with Cover, 1 No. Plug (2 Pin + Earth), 1 No. 20A Single Pole MCB, Wiring Accessories as needed ( Brand : Legrand/ L&t) |  | Nos. | 8 |  |  |
| Total |  |  |  |  |  |  |
| GST@28% on Airconditioning machine (Item S.No. A) |  |  |  |  |  |  |
| GST@18% on other material (Item S.No. B) |  |  |  |  |  |  |
| Total including GST |  |  |  |  |  |  |

- Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- If the supplier does not have a particular item offered in the tender or a different make is being proposed by him, the same should be highlighted/mentioned especially by him.

- The prices should	include everything (packing, forwarding, transit insurance, transportation, loading /unloading, installation etc.). Loading/unloading up to 50 mtr. shall be done by the supplier.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- The bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- Bid should be on the company’s letterhead and should submit their bid in the LNMIIT format only.

- Item/Service not supplied by the supplier/service provider should be mentioned separately.

- Vendor should provide a photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

- Pre-bid meeting and pre-bid site visit can be done before quoting the rate in the tender to clear up any confusion regarding project details, the scope of work, and solicitation of documents.

- All charges applicable shall be clearly mentioned in the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final, and nothing extra shall be paid extra.

Signature with seal