Tender No: 2024-25/Library/1B/LNM-642
The LNM Institute of Information Technology, Jaipur
TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non-Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.
The institute invites proposals from competent vendors for “Supply and installation of 1 TR Split AC type 5 Star Rating Air Conditioners (Make Daikin/ Mitsubishi)” Bidders can submit their sealed/password-protected offers/s at the following address by Email/Speed-Post/ Registered Post/ By-hand/courier before 05:00 PM on 21.09.2024 (Last date of bid submission).
Filing of Tender:
Option 1: Physical submission of offers (hard copy) in sealed envelopes.
Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the institute in person/ Speed-Post/ Registered Post/ By-hand/courier of the Institute after marking due entries in the Receipt Book available with the Security Officer at the main gate. 
The tender subject (item name) and Tender Number must be mentioned on the envelope. 
Director
The LNM Institute of Information Technology,
Gram – Rupa Ki Nangal, Post – Sumel,
Via – Jamdoli, Jaipur- 302031
Email: directoroffice@lnmiit.ac.in
Option 2: Password-protected online submission via Email 
Password-protected offers can be submitted by the bidders via email at the below-mentioned email IDs.
tender-document@lnmiit.ac.in (password-protected document)
tender-password@lnmiit.ac.in (password only)
The tender subject (Item name) and Tender Number must be mentioned in the subject line of the emails. 

Bid Process:
The Techno-commercial offers on the company’s letterhead, duly signed by the authorized signatory, are required to be submitted in sealed envelopes/ emails. 
Envelope/Email should be duly marked as follows: 
Techno-commercial bid for the “Supply and installation of 1 TR Split AC type 5 Star Rating Air Conditioners (Make Daikin/ Mitsubishi)- Tender No: 2024-25/Library/1B/LNM-642”
Bids are liable to be rejected: 
· If the above-mentioned bid submission procedure is not followed.

· Incomplete and non-conforming bids.

· Arbitration: All disputes and differences arising between the two parties in connection with this order shall be mutually settled as far as possible, failing which, all such disputes shall be referred to arbitration and settlement under the provision of the Arbitration and Conciliation Act, 1996 and as amended from time to time or any such law for the time being prevailing in India. The venue of such arbitration shall be Jaipur.

Techno-commercial Bid for the
“Supply and installation of 1 TR Split AC type 5 Star Rating Air Conditioners 
(Make Daikin/ Mitsubishi)- Tender No: 2024-25/Library/1B/LNM-642” 
	S.No.
	Desirable 
	Qty
	UOM
	Rate
	Amount

	A
	Supply of Air conditioning system of following items
	3
	Nos.
	 
	 

	 
	Supply of 1 TR 5 Star Split Air Conditioner with 1 year Standard Manufacturer Warranty and 5 Year compressor Warranty.  White (Copper Condenser) 1 TR Split type air conditioning machine with 1 nos. indoor unit & 1 nos. 1 TR outdoor unit. Including all accessories. Preferred Makes: Mitsubishi / Daikin
	
	
	
	

	 
	Outdoor Unit 1TR
	
	
	
	

	 
	Outdoor condensing unit shall comprise of   1 nos.  Rotary /reciprocating/ scroll compressor of 1 TR capacity. Air cooled condenser having copper tube with mechanically bonded aluminum fins of adequate heat transfer area as per manufacturer’s standard, complete with fan and fan motor of required capacity with independent circuit complete with interconnecting piping, wiring and controls.
	
	
	
	

	 
	Indoor Unit 1 TR
	
	
	
	

	 
	Indoor unit of 1 TR capacity, consisting of multi row cooling coil having copper tube with mechanically bonded aluminum fins, thermostat expansion valve, dynamically balanced centrifugal blower driven by TEFC squirrel cage induction motor, cleanable synthetic filter, insulated drain pan complete with microprocessor control for efficient operation, inter connecting copper tube duly insulated with nitrile rubber molded section and cordless hand set.
	
	
	
	

	 
	Technical Specifications
	
	
	
	

	 
	Description
	Particulars
	
	
	
	

	 
	Efficiency (Star Rating)
	5 star AC 
	
	
	
	

	 
	Power Supply (V/Hz/PH)
	230/50/1 Phase
	
	
	
	

	 
	Noise Level_ Indoor 
	46 dB(A)
	
	
	
	

	 
	Operation 
	LCD Remote
	
	
	
	

	 
	Wide operating voltage Range
	145-270 V
	
	
	
	

	 
	Max operating Ambient Temp Range
	52⁰ C
	
	
	
	

	 
	Refrigerant Gas
	R32/410
	
	
	
	

	 
	Connecting Pipe
	Cu-Cu(12.5mm & 6.35mm)
	
	
	
	

	 
	Condenser Coil
	Fin & Tube
	
	
	
	

	 
	Machine with 1 outdoor and 1 indoor units
	
	
	
	

	B
	Supply and Installation of Air conditioning system of following items
	 
	 
	 
	 

	1
	Lifting, shifting, positioning, installation, testing and commissioning of outdoor units, fittings (Imported Y-joints & header etc.) remote controls of indoor units, including gas charging with R32/R410A gas as required, complete as per specification. pressure testing of concealed indoor units
	 
	 
	 
	 

	a
	Indoor Unit _ 1 TR
	3
	Nos.
	 
	 

	b
	Outdoor Unit_ 1 TR
	3
	Nos.
	 
	 

	2
	Refrigerant Copper Piping
	 
	 
	 
	 

	 
	Interconnecting  refrigerant  pipe work with (12.5mm/6.35 mm thick) closed cell elastomeric nitrile rubber tubular insulation between  each set of  indoor &  outdoor units as per  specifications,  all   piping  inside  the   room  shall  be properly  supported  with  MS  hanger.

	30
	meter
	 
	 

	3
	Drain Piping
	 
	 
	 
	 

	 
	Providing and fixing rigid PVC piping complete with fittings, supports as per specifications and duly insulated with 6 mm thick closed cell nitrile rubber insulation.   
	 
	 
	 
	 

	a
	25 mm dia ( Brand : Supreme/Kisan/AKG)
	30
	meter
	 
	 

	4
	Providing and fixing of MS Wall/ floor mounted stand for outdoor unit
	3
	Nos.
	 
	 

	5
	Power and control cabling between indoor and outdoor / ac panel, HAT, etc. Make:-Polycab/KEI/RR/APAR)
	 
	 
	 
	 

	1
	3 Core 2.5 sq mm cu flexible cable
	100
	meter
	 
	 

	6
	Supply and installation of 4 core 16 sq mm copper armored cables DB to Panel. (Make:-Polycab/KEI/RR/APAR)
	50
	meter
	 
	 

	7
	Supply and installation of Single Door, MS Powder coated Single phase 8 TPN way Distribution board, with all accessories.
	1
	Nos.
	 
	 

	8
	Supply and installation of C-Curve MCB’s
	 
	 
	 
	 

	a
	32 Amp 4 Pole MCB
	1
	Nos.
	 
	 

	b
	20 Amp 2 Pole MCB
	3
	Nos.
	 
	 

	9
	Socket Mounted Metal Box with Cover, 1 No. Plug (2 Pin + Earth), 1 No. 20A Single Pole MCB, Wiring Accessories as needed ( Brand : Legrand/ L&t)
	3
	Nos.
	 
	 

	 
	 
	 
	 
	Total
	 

	GST @28% on Air conditioner Machine (Item No. A)
	 

	GST @18% on installation material  and Installation Work (Item No. B)
	 

	Total Including GST
	 


1. Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

2. If the supplier does not have a particular item offered in the tender or a different make is being proposed by him, the same should be highlighted/mentioned especially by him.

3. The prices should include everything (Packing, forwarding, Transit Insurance, Transportation Loading, unloading up to 50mtr., Installation etc.). 

4. Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

5. The bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

6. The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

7. Payment terms shall be decided mutually.

8. There should not be any conflict of interest (Declaration to be submitted by the Vendor).

9. Bid should be on the company’s letterhead and should submit their bid in the LNMIIT format only

10. Item/Service not supplied by the supplier/service provided should be mentioned separately.

11. Vendor should provide a photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

12. Pre-bid meeting can be done before quoting the rate in the tender to clear up any confusion regarding project details, the scope of work, and solicitation of documents. 
All charges applicable shall be clearly mentioned in the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final and nothing extra shall be paid extra. 

Signature with seal
