Tender No:. 2024-25/Estate/2B/LNM-804

The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non-Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for the “Construction of Ambulance Shed Civil & MS section fabrication work”. Bidders can submit their sealed offers/s at the following address by Email/Speed-Post/ Registered Post/ By-hand/courier before 05:00 PM on 28th  Dec. 2024.

Filing of Tender:

Option 1: Physical submission of offers (hard copy) in sealed envelopes.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the institute in person/ Speed-Post/ Registered Post/ By-hand/courier of the Institute after marking due entries in the Receipt Book available with the Security Officer at the main gate.

The tender subject and reference number must be mentioned on the envelope.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Email: directoroffice@lnmiit.ac.in

Option 2: Password-protected online submission via Email

Password-protected offers can be submitted by the bidders via email at the below-mentioned email IDs.

tender-document@lnmiit.ac.in (password-protected document)

tender-password@lnmiit.ac.in (password only)

The tender subject and reference number must be mentioned in the subject line of the emails.

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory, are required to be submitted in two separate envelopes/emails.

Envelopes/Emails should be duly marked as follows:

- Technical bid for the Construction of Ambulance Shed Civil & MS section fabrication work.

- Commercial Bid for the Construction of Ambulance Shed Civil & MS section fabrication work.

Both Envelopes/files should be enclosed/attached in a single envelope/email bearing the heading “Construction of Ambulance Shed Civil & MS section fabrication work”. (Tender No. : 2024-25/Estate/2B/LNM-804) ”.

Bids are liable to be rejected:

- If the above-mentioned bid submission procedure is not followed.

- Incomplete and non-conforming bids.

- Arbitration: All disputes and differences arising between the two parties in connection with this order shall be mutually settled as far as possible, failing which, all such disputes shall be referred to arbitration and settlement under the provision of the Arbitration and Conciliation Act, 1996 and as amended from time to time or any such law for the time being prevailing in India. The venue of such arbitration shall be Jaipur.

Technical Bid: (in a separate sealed envelope/via email)

# Bid for Construction of Ambulance Shed Civil & MS section fabrication work.

# (Tender No. : 2024-25/Estate/2B/LNM-804)

While submitting quotations, the following procedure/ formalities and conditions may kindly be adhered.

- Company profile or brief note about the bidder's company, PAN number, and GST number should be submitted by the Vendor.

- The List of Directors/Partners/Proprietor/Members of the Firm to be attached.

- Detail of other associated/sister concerns (if any) of Directors/Partners/ Proprietor/ Members to be provided.

- Turnover for the last three years to be mentioned. (Copy to be enclosed)

- List of the clients to whom the vendor has delivered the goods or provided the services in the past.

- Specification as mentioned below, shall be provided as per the details given below:

## Scope of work

- The scope of work will cover the supply/service/SITC of given items at the LNMIIT Jaipur campus.

- The Vendor is required to submit the complete documentation of the supplied item after delivery.

- All the vendors shall submit their last three years of verified work completion certificates, genuine

purchase orders/ Work orders, company profiles, and other documents to support the bid. The papers shall comprise at least one document of each year in reverse chronological order.

- Pre-bid visit can be done before quoting the rates of the items in the tender to clear up any confusion regarding the items' design/ their minute details, the scope of work, and the solicitation of documents. If a vendor quotes the items without a visit or meeting, their bid will be rejected on technical grounds.

Technical specification: (in a separate sealed envelope)

| Sr. No. | Item Description | Quantity | Unit |
| --- | --- | --- | --- |
| 1 | Earth work in excavation in foundation for Pipe installation including dressing of sides, ramming of bottoms stacking the excavated earth at site. Excavation shall be payable for vertical cuts up to the outer edge of lean concrete only for all depths, as per site. | 13.50 | cum |
| 2 | Providing and laying plain cement concrete of 1:4:8 (1 cement:4 coarse sand 8 graded stone agg. 20mm nominal size) as concrete supports vertically to the pipes, and bed concrete laid on the ground, consolidated through vibrator plain/rod and cured etc. complete and including side forms as required including the sot of cement but excluding the cost of steel bars (to be provided by LNMIIT for extra support) as per onsite specifications or details and drawing including the cost of centering and shuttering, complete in all respects. | 18.90 | cum |
| 3 | The miscellaneous amount for welding work cutting and etc including the lifting of old material (RHS pipes & Steel bars for horizontal supports under pits or on base) near the scrap yard or store or behind RIEP and installing that at the Ambulance shed, complete in all respect as per site demand. Including the paint with Red oxide, & Thinner on a steel structure. | 1.00 | job |
| 4 | Providing & fixing of JSW Colournon plus SS 0.45 mm sheet 6.10 length, Width 1.09 or above | 39.89 | sqm |
| 5 | Proving & fixing M S - Square Hollow Section - Grade A or B - JINDAL-HISSAR (Square Hollow Section 40 mm x 80 mm x 4 mm (thickness)- Purlins 8 no.s., 6 mtr length), (Square Hollow Section 80 mm x 80 mm x 4 mm (thickness)- Rafters 3 no.s., 6 mtr. Length) , including all fasteners, welding work, Screws (50 mm size -around 250 units) and etc. (L, U, J type) - (including welding rods) | 488.04 | Kg/m |

Signature with seal

Commercial Bid: (in a separate sealed envelope/password protected file via email)

# Bid for Construction of Ambulance Shed Civil & MS section fabrication work.

# (Tender No. : 2024-25/Estate/2B/LNM-804)

| Sr. No. | Item Description | Quantity | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Earth work in excavation in foundation for Pipe installation including dressing of sides, ramming of bottoms stacking the excavated earth at site. Excavation shall be payable for vertical cuts up to the outer edge of lean concrete only for all depths, as per site. | 13.50 | cum |  |  |
| 2 | Providing and laying plain cement concrete of 1:4:8 (1 cement:4 coarse sand 8 graded stone agg. 20mm nominal size) as concrete supports vertically to the pipes, and bed concrete laid on the ground, consolidated through vibrator plain/rod and cured etc. complete and including side forms as required including the sot of cement but excluding the cost of steel bars (to be provided by LNMIIT for extra support) as per onsite specifications or details and drawing including the cost of centering and shuttering, complete in all respects. | 18.90 | cum |  |  |
| 3 | The miscellaneous amount for welding work cutting and etc including the lifting of old material (RHS pipes & Steel bars for horizontal supports under pits or on base) near the scrap yard or store or behind RIEP and installing that at the Ambulance shed, complete in all respect as per site demand. Including the paint with Red oxide, & Thinner on a steel structure. | 1.00 | job |  |  |
| 4 | Providing & fixing of JSW Colournon plus SS 0.45 mm sheet 6.10 length, Width 1.09 or above | 39.89 | sqm |  |  |
| 5 | Proving & fixing M S - Square Hollow Section - Grade A or B - JINDAL-HISSAR (Square Hollow Section 40 mm x 80 mm x 4 mm (thickness)- Purlins 8 no.s., 6 mtr length), (Square Hollow Section 80 mm x 80 mm x 4 mm (thickness)- Rafters 3 no.s., 6 mtr. Length) , including all fasteners, welding work, Screws (50 mm size -around 250 units) and etc. (L, U, J type) - (including welding rods) | 488.04 | Kg/m |  |  |
| Total Amount |  |  |  |  |  |
| GST (18% |  |  |  |  |  |
| Total Amount with GST |  |  |  |  |  |

- Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- If the supplier does not have a particular item offered in the tender or a different make is being proposed by him, the same should be highlighted/mentioned especially by him.

- The prices should	include everything (packing, forwarding, transit insurance, transportation, loading /unloading, installation etc.). Loading/unloading up to 50 mtr. shall be done by the supplier.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- The bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- The bid should be on the company’s letterhead and should be submitted in the LNMIIT format only.

- Item/Service not supplied by the supplier/service provider should be mentioned separately.

- The vendor should provide a photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

- Pre-bid meetings and pre-bid site visits can be done before quoting the rate in the tender to clear up any confusion regarding project details, the scope of work, and the solicitation of documents.

- All charges applicable shall be clearly mentioned in the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final, and nothing extra shall be paid extra.

Signature with seal