Tender No:. 2024-25/Estate/2B/LNM-783

The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non-Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for the “Supply and installation work for repair and maintenance of Air Cooling Machines”. Bidders can submit their sealed offers/s at the following address by Email/Speed-Post/ Registered Post/ By-hand/courier before 05:00 PM on 28th Dec. 2024.

Filing of Tender:

Option 1: Physical submission of offers (hard copy) in sealed envelopes.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the institute in person/ Speed-Post/ Registered Post/ By-hand/courier of the Institute after marking due entries in the Receipt Book available with the Security Officer at the main gate.

The tender subject and reference number must be mentioned on the envelope.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Option 2: Password-protected online submission via Email

Password-protected offers can be submitted by the bidders via email at the below-mentioned email IDs.

tender-document@lnmiit.ac.in (password-protected document)

tender-password@lnmiit.ac.in (password only)

The tender subject and reference number must be mentioned in the subject line of the emails.

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory, are required to be submitted in two separate envelopes/emails.

Envelopes/Emails should be duly marked as follows:

- Technical bid for the Supply and installation work for repair and maintenance of Air Cooling Machines.

- Commercial Bid for the Supply and installation work for repair and maintenance of Air Cooling Machines.

Both Envelopes/files should be enclosed/attached in a single envelope/email bearing the heading “Supply and installation work for repair and maintenance of Air Cooling Machines”. (Tender No. : 2024-25/Estate/2B/LNM-783) ”.

Bids are liable to be rejected:

- If the above-mentioned bid submission procedure is not followed.

- Incomplete and non-conforming bids.

- Arbitration: All disputes and differences arising between the two parties in connection with this order shall be mutually settled as far as possible, failing which, all such disputes shall be referred to arbitration and settlement under the provision of the Arbitration and Conciliation Act, 1996 and as amended from time to time or any such law for the time being prevailing in India. The venue of such arbitration shall be Jaipur.

Technical Bid: (in a separate sealed envelope/via email)

# Bid for Supply and installation work for repair and maintenance of Air Cooling Machines. (Tender No. : 2024-25/Estate/2B/LNM-783)

While submitting quotations, the following procedure/ formalities and conditions may kindly be adhered.

- Company profile or brief note about the bidder's company, PAN number, and GST number should be submitted by the Vendor.

- The List of Directors/Partners/Proprietor/Members of the Firm to be attached.

- Detail of other associated/sister concerns (if any) of Directors/Partners/ Proprietor/ Members to be provided.

- Turnover for the last three years to be mentioned. (Copy to be enclosed)

- List of the clients to whom the vendor has delivered the goods or provided the services in the past.

- Specification as mentioned below, shall be provided as per the details given below:

## Scope of work

- The scope of work will cover the supply/service/SITC of given items at the LNMIIT Jaipur campus.

- The Vendor is required to submit the complete documentation of the supplied item after delivery.

- Pre-bid visit can be done before quoting the rates of the items in the tender to clear up any confusion regarding the items' design/ their minute details, the scope of work, and the solicitation of documents.

Technical specification:

| LNM INSTITUTE FOR INFORMATION AND TECHNOLOGY,JAMDOLI, JAIPUR |  |  |  |
| --- | --- | --- | --- |
| NAME OF WORK : Center Air Cooling Maintenance Work |  |  |  |
| PLACE OF WORK : Hostels |  |  |  |
| S.no. | DESCRIPTION | UNIT | QTY. |
|  | AIRWASHER MACHINES : |  |  |
| 1 | Supply, fabrication, installation and testing of sheet metal ducts in accordance with the approved shop drawing and as per specifications. MAKE -Tata/ESSAR/ JINDAL |  |  |
| a | 22 G (0.80mm) galvanized sheet metal steel | Sqft | 2260 |
| b | 24 G (0.63mm) galvanized sheet metal steel | Sqft | 150 |
| c | 22 G galvanized sheet metal steel (with MS flange) | Sqft | 760 |
| 2 | Supply, fabrication, installation and testing of Air blower for air cooling machines for 30000 CFM CAPACITY ( Make : Edgetech,ETU 300Aw,FDA 1000, 3PH/50Hz/29A,415+-10%) | Nos. | 1 |
| 3 | Canvas Connections |  |  |
|  | Supply and fabrication of flexible connections constructed flexible double canvas sleeve in accordance with approved shop drawings and as per the specifications for each packaged unit. | Nos. | 25 |
| 4 | INSULATION AND ACCOUSTICS FOR DUCTS |  |  |
|  | Nitrile Insulation 12mm , UV paint with Fiber cloth and Accoustic (Accoustic lining of duct with 12mm thick resin bonded fiberglass ,fixed with nut and bolts , covered with RP tissue paper and 26 G perforaged aluminum sheet.) | Sqmtr. | 150 |
| 5 | Cooling Pad( Size : 600mm x 200mm x 1800mm) (Make - MUNTERS/HONEYCOMB/Mastercool) | Sqft | 720 |
| 6 | 25mm x 25 mm x 3 mm Mild Steel Angle | Kg | 300 |
| 7 | 38mm x 38 mm x 3 mm Mild Steel Angle | Kg | 800 |
| 8 | 50mm x 50 mm x 6mm Mild Steel Angle | Kg | 200 |

Signature with seal

Commercial Bid: (in a separate sealed envelope/password protected file via email)

# Bid for Supply and installation work for repair and maintenance of Air Cooling Machines (Tender No. : 2024-25/Estate/2B/LNM-783)

| S.no. | DESCRIPTION | Qty. | UOM | Rate | AMOUNT |
| --- | --- | --- | --- | --- | --- |
|  | AIRWASHER MACHINES : |  |  |  |  |
| 1 | Supply, fabrication, installation and testing of sheet metal ducts in accordance with the approved shop drawing and as per specifications. MAKE -Tata/ESSAR/ JINDAL |  |  |  |  |
| a | 22 G (0.80mm) galvanized sheet metal steel | 2260 | Sqft |  |  |
| b | 24 G (0.63mm) galvanized sheet metal steel | 150 | Sqft |  |  |
| c | 22 G galvanized sheet metal steel (with MS flange) | 760 | Sqft |  |  |
| 2 | Supply, fabrication, installation and testing of Air blower for air cooling machines for 30000 CFM CAPACITY ( Make : Edgetech,ETU 300Aw,FDA 1000, 3PH/50Hz/29A,415+-10%) | 1 | Nos. |  |  |
| 3 | Canvas Connections |  |  |  |  |
|  | Supply and fabrication of flexible connections constructed flexible double canvas sleeve in accordance with approved shop drawings and as per the specifications for each packaged unit. | 25 | Nos. |  |  |
| 5 | INSULATION AND ACCOUSTICS FOR DUCTS |  |  |  |  |
|  | Nitrile Insulation 12mm , UV paint with Fiber cloth and Accoustic (Accoustic lining of duct with 12mm thick resin bonded fiberglass ,fixed with nut and bolts , covered with RP tissue paper and 26 G perforaged aluminum sheet.) | 150 | Sqmtr. |  |  |
| 6 | Cooling Pad( Size : 600mm x 200mm x 1800mm) (Make - MUNTERS/HONEYCOMB/Mastercool) | 720 | Sqft |  |  |
| 7 | 25mm x 25 mm x 3 mm Mild Steel Angle | 300 | Kg |  |  |
| 8 | 38mm x 38 mm x 3 mm Mild Steel Angle | 800 | Kg |  |  |
| 9 | 50mm x 50 mm x 6mm Mild Steel Angle | 200 | Kg |  |  |
| Total |  |  |  |  |  |
| GST |  |  |  |  |  |
| Total including GST |  |  |  |  |  |

- Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- If the supplier does not have a particular item offered in the tender or a different make is being proposed by him, the same should be highlighted/mentioned especially by him.

- The prices should include everything (packing, forwarding, transit insurance, transportation, loading /unloading, installation etc.). Loading/unloading up to 50 mtr. shall be done by the supplier.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- The bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- The bid should be on the company’s letterhead and should be submitted in the LNMIIT format only.

- Item/Service not supplied by the supplier/service provider should be mentioned separately.

- The vendor should provide a photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

- Pre-bid meetings and pre-bid site visits can be done before quoting the rate in the tender to clear up any confusion regarding project details, the scope of work, and the solicitation of documents.

- All charges applicable shall be clearly mentioned in the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final, and nothing extra shall be paid extra.

Signature with seal