Tender No:. 2024-25/LCST/2B/LNM-820

The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non-Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for “Supply of 24-channel portable EEG with free online software and Three Channel ECG recorder with color display”. Bidders can submit their sealed offers/s at the following address by Email/Speed-Post/ Registered Post/ By-hand/courier before 05:00 PM on 08.02.2025 (Last date of bid submission).

Filing of Tender:

Option 1: Physical submission of offers (hard copy) in sealed envelopes.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the institute in person/ Speed-Post/ Registered Post/ By-hand/courier of the Institute after marking due entries in the Receipt Book available with the Security Officer at the main gate.

The tender subject and reference number must be mentioned on the envelope.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Email: directoroffice@lnmiit.ac.in

Option 2: Password-protected online submission via Email

Password-protected offers can be submitted by the bidders via email at the below-mentioned email IDs.

tender-document@lnmiit.ac.in (password-protected document)

tender-password@lnmiit.ac.in (password only)

The tender subject and reference number must be mentioned in the subject line of the emails.

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory, are required to be submitted in two separate envelopes/emails.

Envelopes/Emails should be duly marked as follows:

- Technical bid for the Supply of 24-channel portable EEG with free online software and Three Channel ECG recorder with color display

- Commercial Bid for the Supply of 24-channel portable EEG with free online software and Three Channel ECG recorder with color display

Both Envelopes/files should be enclosed/attached in a single envelope/email bearing the heading “Bid for the Supply of 24-channel portable EEG with free online software and Three Channel ECG recorder with color display (Tender No. : 2024-25/LCST/2B/LNM-820) ”.

Bids are liable to be rejected:

- If the above-mentioned bid submission procedure is not followed.

- Incomplete and non-conforming bids.

- Arbitration: All disputes and differences arising between the two parties in connection with this order shall be mutually settled as far as possible, failing which, all such disputes shall be referred to arbitration and settlement under the provision of the Arbitration and Conciliation Act, 1996 and as amended from time to time or any such law for the time being prevailing in India. The venue of such arbitration shall be Jaipur.

Technical Bid: (in a separate sealed envelope/via email)

# Bid for  Supply of 24-channel portable EEG with free online software and Three Channel ECG recorder with color display

# (Tender No. : 2024-25/LCST/2B/LNM-820)

While submitting quotations, the following procedure/ formalities and conditions may kindly be adhered.

- Company profile or brief note about the bidder's company, PAN number, and GST number should be submitted by the Vendor.

- The List of Directors/Partners/Proprietor/Members of the Firm to be attached.

- Detail of other associated/sister concerns (if any) of Directors/Partners/ Proprietor/ Members to be provided.

- Turnover for the last three years to be mentioned. (Copy to be enclosed)

- List of the client to whom the vendor has delivered the goods or provided the services in the past.

- Specification as mentioned below, shall be provided as per the details given below:

## Scope of work

- The scope of work will cover the supply/service/SITC of given  items at LNMIIT Jaipur campus.

- The Vendor is required to submit the complete documentation of the supplied item after delivery.

Supply of 24-channel portable EEG with free online software and Three Channel ECG recorder with color display

Technical specification:

| Sr. No. | Item Name | Make & Model/Specification | Qty. | UOM |
| --- | --- | --- | --- | --- |
| 1 | 24-channel portable EEG with free online software with the following standard accessories: - 24-Channel EEG machine - Disc electrodes for the Machine in required amount to operate machine fully. - Travelling Bag - EEG Paste - Stand with Photic Flash - USB Cable - Free lifetime PC Software for EEG Machine The vendor should provide training and installation | - 24 full-band simultaneous acquisition of raw data - Data transmission through high-speed USB - Simultaneous data acquisition and analysis of the same patient - LED-based photic stimulator reduces acoustic electrical interference - Online true AC Impedance check, which displays numeric values of all electrode impedances - Compatible with Laptop and PC - Capable of analyzing real-time Pulse Rate and Oxygen Saturation SpO2 monitoring (optional) - EEG synchronous digital video capabilities make the exams more precise (optional) - Unlimited online and offline montage and filter reformatting - Spike and Seizure Detections - User programmable acquisition and photic sequences protocols - Event marking with review and printing options - Automatic paging facility for quick review and analysis - Compressed Spectral Array (CSA) and Density Spectral Array (DSA) - Brain mapping color coding as per international standards - User configurable multiple display and report format - Online true AC Impedance check which displays numeric values of all electrode impedances - Online or offline data transfer through Internet / Intranet | 1 | Nos. |
| 2 | Three Channel ECG recorder with color display Component - Quantity ECG Patient Cable - 01 Adaptor 19V, 3A, AC-DC - 01 Power Cord- 01 Fuse (1.5 A) - 01 Bulb Electrode - 12 Limb Electrode - 08 Conducting Tube Jelly - 02 Thermal Printer Roll - 02 User Manual - 01 USB A to B cable - 01 Earthing Wire - 01 Lifetime free PC Software for ecg machine - 01 The vendor should provide training and installation | - 12 leads simultaneous acquisition of all 12 leads - 3.5" colour graphical TFT display for preview of ECG waveform - Printing options i.e: rhythm lead, medians, enlarge median, graphical axis, measurements and interpretation - Alphanumeric keypad to enter patient and clinic information - Onboard LED indicator for battery status, charging & Full battery status. - Digital filters to eliminate baseline drift, AC and EMG interference - Isolation protection against defibrillation - On-screen real-time clock with date - Internal ECG data storage up to 50 patients - Mains and battery operated - Online or offline data transfer through Internet / Intranet - Dual power Supply mains and rechargeable - Facility to data transfer into PC through free Software - Software for data collection, analysis with life time licence | 1 | Nos. |

Signature with seal

Commercial Bid: (in separate sealed envelope/password protected file via email)

# Bid for  Supply of 24-channel portable EEG with free online software and Three Channel ECG recorder with color display

# (Tender No. : 2024-25/LCST/2B/LNM-820)

| S.No. | Item Name/ Description | Make & Model/Specification | Qty. | UOM | Rate | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | 24-channel portable EEG with free online software | As mentioned in the technical bid | 1 | Nos. |  |  |
|  | and Three Channel ECG recorder with color display | As mentioned in the technical bid | 1 | Nos. |  |  |
| 2. | Transportation charges |  | 01 | Nos. |  |  |
| Total |  |  |  |  |  |  |
| GST |  |  |  |  |  |  |
| Total including GST |  |  |  |  |  |  |

- Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- If the supplier does not have a particular item offered in the tender or a different make is being proposed by him, the same should be highlighted/mentioned especially by him.

- The prices should	include everything (packing, forwarding, transit insurance, transportation, loading /unloading, installation etc.). Loading/unloading up to 50 mtr. shall be done by the supplier.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- The bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- Bid should be on the company’s letterhead and should submit their bid in the LNMIIT format only.

- Item/Service not supplied by the supplier/service provider should be mentioned separately.

- Vendor should provide a photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

- Pre-bid meeting and pre-bid site visit can be done before quoting the rate in the tender to clear up any confusion regarding project details, the scope of work, and solicitation of documents.

- All charges applicable shall be clearly mentioned in the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final, and nothing extra shall be paid extra.

Signature with seal