# Tender No:. 2024-25/Sports/2B/LNM-755

The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non-Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for “Provision of Laying of synthetic surface on existing sports court”. Bidders can submit their sealed offers/s at the following address by Email/Speed-Post/ Registered Post/ By-hand/courier before 05:00 PM on 15.02.2025 (Last date of bid submission).

Filing of Tender:

Option 1: Physical submission of offers (hard copy) in sealed envelopes.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the institute in person/ Speed-Post/ Registered Post/ By-hand/courier of the Institute after marking due entries in the Receipt Book available with the Security Officer at the main gate.

The tender subject and reference number must be mentioned on the envelope.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Email: directoroffice@lnmiit.ac.in

Option 2: Password-protected online submission via Email

Password-protected offers can be submitted by the bidders via email at the below-mentioned email IDs.

tender-document@lnmiit.ac.in (password-protected document)

tender-password@lnmiit.ac.in (password only)

The tender subject and reference number must be mentioned in the subject line of the emails.

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory, are required to be submitted in two separate envelopes/emails.

Envelopes/Emails should be duly marked as follows:

- Technical bid for the: :  Provision of Laying of synthetic surface on existing sports court.

- Commercial Bid for the:Provision of Laying of synthetic surface on existing sports court.

Both Envelopes/files should be enclosed/attached in a single envelope/email bearing the heading “Bid for the Provision of Laying of synthetic surface on existing sports court (Tender No. : 2024-25/Sports /2B/LNM-755) ”.

Bids are liable to be rejected:

- If the above-mentioned bid submission procedure is not followed.

- Incomplete and non-conforming bids.

- Arbitration: All disputes and differences arising between the two parties in connection with this order shall be mutually settled as far as possible, failing which, all such disputes shall be referred to arbitration and settlement under the provision of the Arbitration and Conciliation Act, 1996 and as amended from time to time or any such law for the time being prevailing in India. The venue of such arbitration shall be Jaipur.

Technical Bid: (in a separate sealed envelope/via email)

While submitting quotations, the following procedure/ formalities and conditions may kindly be adhered.

- Company profile or brief note about the bidder's company, PAN number, and GST number should be submitted by the Vendor.

- The List of Directors/Partners/Proprietor/Members of the Firm to be attached.

- Detail of other associated/sister concerns (if any) of Directors/Partners/ Proprietor/Members to be provided.

- Turnover for the last three years to be mentioned. (Copy to be enclosed)

- List of the client to whom the vendor has delivered the goods or provided the services in the past.

- The bidder should be a Manufacturer/Supplier/Dealer/Distributer/ of Laying of Synthetic Sports Courts with a valid PAN and GSTIN registration for manufacturing/trading license (as applicable) for the last five years. Copy of PAN and GSTIN registration to be attached.

- The bidder must be a manufacturer or authorized by manufacturer for laying of Synthetic surface for having an experience of minimum 5 years. (Certificate from the OEM to be attached)

- If the bidder is authorized by the OEM/Manufacturer he should be associated with them for the last 5 years. Proof of the same is to be submitted with the Technical Bid.

- The OEM of the product offered should have approval from a minimum of Two (02) International Sports Federations like FIBA, ITF, WA/IAAF, BWF, FIVB, etc. Approval Certificates should be current. Copy of approval to be submitted along with the Technical bid.

- The firm should be an OEM or a certificate from OEM stating that the firm is our authorized dealer to be submitted along with the technical bid.

- The product must be made in from India / France / USA / England / Germany only. No product from China or   Chinese companies directly/ indirectly will be allowed.

- The firm should have qualified and experienced engineers to carry out the proposed work Documents stating their details should be submitted in this regard along with the technical bid.

- The firm is to procure material from the factory of OEM only and not from the subordinate/associate company of OEM. The certificate needs to be submitted along with the technical bid.

- If the bidder is not an OEM they must have completed at least 100000 Sq. Ft of Product Installation with the same brand in the last 1 Years. Incase of the bidder being an OEM they should have completed at least 50000 Sq Ft of product installation and should have supplied synthetic material for installation of 100000 Sq ft of sports surfaces.

- Bidder must have an average annual turnover of minimum INR 1 Crore in the last 3 Financial Years i.e. till March  2023.

- A physical sample of min 6 inches by 6 inches  is to be submitted along with the Technical Bid. The sample is to be countersigned by the OEM.

- The Synthetic material should have been manufactured after Oct  2024. Certificate from the OEM to be attached with the Technical Bid.

- In case of material is imported from outside of India, bill of Laden and bill of entry  is to be submitted by the bidder shall be verified before accepting delivery of the goods by the client. The supplied batch of materials shall be not older than 2 Months from date of installation. The material is to be imported for this project exclusively the same will be co- related with the BOL and BOE.

- The work is to be completed within 45 days of the SO.

- Specification as mentioned below, shall be provided as per the details given below:

Scope of work

1.   The scope of work will cover the supply/service/SITC of given items at LNMIIT Jaipur campus.

2.   The Vendor is required to submit the complete documentation of the supplied item after delivery.

Technical specification: (in separate sealed envelope)

# Bid for Provision of Laying of synthetic surface on existing sports court.

# (Tender No. : 2024-25/Sports/2B/LNM-755)

| Sr. No. | Item and specification/Description of Item | Qty. | UOM |
| --- | --- | --- | --- |
| 1 | Special fiber treatment for Existing Sports Courts For subbase expansion Joints only before laying the Synthetic material at Court. (Pasting of Fiber strips on Sub-base for Court). | 19150 | SQ FT |
| 2 | ACRYLIC 9 LAYERS SYSTEMS FOR EXISTING SPORTS COURTS Specifications: - 1 layer of re-surfacer - 6 layers of Cushion - 2 layers of color - Line marking as per international standards. | 19150 | SQ FT |
| 3 | 9 Layer Acrylic system. Multi-layered latex acrylic resin based “cushioned” system with great elasticity is used to create high performance and UV protected sports surfaces for existing sports courts. Adequate surface preparation. System - 1 Layer Re-surfacer. - 6 Layers Cushion - 2 Layers Colour - Game Line Marking - Surface preparation The surface should be clean, dry (< 4%), and free from dust, grease, oil, old paint or any other contamination in order to guarantee excellent adhesion. Ensure adequate surface preparation, if necessary, sandblasting, or alternative. Adhesion of the surface should be minimal 1,5 N/mm 2. THICKNESS Total system thickness is about 3,0 to 3,5 mm. | 19150 | SQ FT |

Signature with seal

Commercial Bid: (in separate sealed envelope/password protected file via email)

# Bid for Provision of Laying of synthetic surface on existing sports court.

# (Tender No. : 2024-25/Sports/2B/LNM-755)

| S.No. | Item Name/ Description | Qty. | UOM | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Special fiber treatment for Existing Sports Courts For subbase expansion Joints only before laying the Synthetic material at Court. (Pasting of Fiber strips on Sub-base for Court). | 19150 | SQ FT |  |  |
| 2 | ACRYLIC 9 LAYERS SYSTEMS FOR EXISTING SPORTS COURTS Specifications: - 1 layer of re-surfacer - 6 layers of Cushion - 2 layers of color - Line marking as per international standards. | 19150 | SQ FT |  |  |
| 3 | 9 Layer Acrylic system. Multi-layered latex acrylic resin based “cushioned” system with great elasticity is used to create high performance and UV protected sports surfaces for existing sports courts. Adequate surface preparation. System - 1 Layer Re-surfacer. - 6 Layers Cushion - 2 Layers Colour - Game Line Marking - Surface preparation The surface should be clean, dry (< 4%), and free from dust, grease, oil, old paint or any other contamination in order to guarantee excellent adhesion. Ensure adequate surface preparation, if necessary, sandblasting, or alternative. Adhesion of the surface should be minimal 1,5 N/mm 2. THICKNESS Total system thickness is about 3,0 to 3,5 mm. | 19150 | SQ FT |  |  |
| Total |  |  |  |  |  |
| GST |  |  |  |  |  |
| Total including GST |  |  |  |  |  |

- Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- If the supplier does not have a particular item offered in the tender or a different make is being proposed by him, the same should be highlighted/mentioned especially by him.

- The prices should	include everything (packing, forwarding, transit insurance, transportation, loading /unloading, installation etc.). Loading/unloading up to 50 mtr. shall be done by the supplier.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- The bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- Bid should be on the company’s letterhead and should submit their bid in the LNMIIT format only.

- Item/Service not supplied by the supplier/service provider should be mentioned separately.

- Vendor should provide a photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

- Pre-bid meeting and pre-bid site visit can be done before quoting the rate in the tender to clear up any confusion regarding project details, the scope of work, and solicitation of documents.

- All charges applicable shall be clearly mentioned in the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final, and nothing extra shall be paid extra.

Signature with seal