Tender No: 2024-25/ESTATE/2B/LNM-827

The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for “Annual comprehensive maintenance of RO System for one year (from 01.04.2025 to 31.03.2026)”. Bidders can submit their sealed offer/s at the following address by Email/Speed-Post/ Registered Post/ By-hand/courier before 05:00 PM on 01.03.2025.

Filing of Tender:

Option 1: Physical submission of offers (hard copy) in sealed envelopes.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate in person/ Speed-Post/ Registered Post/ By-hand/courier of the Institute after marking due entries in the Receipt Book available with the Security Officer at the main gate.

The tender subject and reference number must be mentioned on the envelope.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Email: directoroffice@lnmiit.ac.in

Option 2: Password-protected online submission via Email

Password-protected offers can be submitted by the bidders via email at the below-mentioned email IDs.

tender-document@lnmiit.ac.in (password-protected document)

tender-password@lnmiit.ac.in (password only)

The tender subject and reference number must be mentioned in the subject line of the emails.

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory, are required to be submitted in two separate envelopes/emails.

Envelopes/Emails should be duly marked as follows:

- Technical bid for the Annual comprehensive maintenance of RO System for one year (from 01.04.2025 to 31.03.2026)

- Commercial Bid for the Annual comprehensive maintenance of RO System for one year (from 01.04.2025 to 31.03.2026)

- Both Envelopes/files should be enclosed/attached in a single envelope/email bearing the heading “Annual comprehensive maintenance of RO System for one year (from 01.04.2025 to 31.03.2026) (Tender No. : 2024-25/Estate/2B/LNM-827)”.

Bids are liable to be rejected:

- If the above-mentioned bid submission procedure is not followed.

- Incomplete and non-conforming bids.

- Arbitration: All disputes and differences arising between the two parties in connection with this order shall be mutually settled as far as possible, failing which, all such disputes shall be referred to arbitration and settlement under the provision of the Arbitration and Conciliation Act, 1996 and as amended from time to time or any such law for the time being prevailing in India. The venue of such arbitration shall be Jaipur.

Technical Bid: (in a separate sealed envelope/via email)

Annual comprehensive maintenance of RO System for one year (from 01.04.2025 to 31.03.2026)

(Tender No. : 2024-25/Estate/2B/LNM-827)

|  | Name & Address of the Company and attach the Company Profile or brief-note about the bidder's company |  |
| --- | --- | --- |
|  | List of Directors/ Partners/ Proprietor/ Members of the Firm to be attached |  |
|  | Detail of other associated/ sister concerns (if any) of Directors/ Partners/ Proprietor/ Members to be provided |  |
|  | Copy of authorization/ certificate from the OEM in case supplied by a vendor who is not a manufacturer of the product |  |
|  | Proof of incorporation/ inception of the Agency/ company (attach self-attested copy) |  |
|  | PAN Number (attach self-attested copy) |  |
|  | GST registration number, if any (attach self-attested copy) |  |
|  | Client list with respective work scope of similar nature within last three years (attach self-attested copy) |  |
|  | Turn over for last three years to be mention. (Copy to be enclosed) |  |
|  | Any other relevant documents (attach self-attested copy) |  |
|  | Satisfactory Performance certificates from the minimum 3 Agencies, at a time during the last 3 years (attach self-attested copy) |  |
|  | The relevant literature, pamphlets pertaining to the product should be sent along with the tenders/ quotations |  |
|  | Specification as mentioned below shall be provided as per the details given below: |  |

*write NA in front of whichever is not applicable

Name & Signature of the authorized

Person of the firm along with seal

Scope of the Work

- AMC includes

- R.O. machine services including all type of the parts there of like Membrane, Filter, Filter Cover, Pre Filter, Motor Pump, SMPE, S.V, Spun, Sediment and Carbon filters, Booster Pump, SMPC, Solenoid Valve, Flood Valve, UV Lamp, UP Choke, Sensor, Drips, Body and Carbon filters, Body of the RO machines of various capacity, Internal electrical interconnections, Auto cut off functions with all RO machines connected to water coolers and /or water tanks etc. In case due to non-availability of the particular part(s), the substitute part(s) shall be approved by the engineer in writing.

- Per-maintenance/Preventive service of each RO machine: Minimum four mandatory services in a year shall have to be provided by the service provider. The RO machine will be examined completely and tune-up accordingly.

- Preventive service maintenance every three months, during which the service provider shall replace all filters and membrane of the machine.

- All parts must be new and original; parts should be changed as per company’s standard of useful life.

- MIS of each RO machine shall be maintained – Separate Job Card should be maintained, and a Sticker on each R.O. unit should be affixed mentioning the date of service each time.

- Counter signatures of service receiver should be taken on each R.O. machine job card.

- Shall report to the engineer or a person authorized in this regard.

- Includes paints.

- Under Comprehensive AMC:

* RO 15 Litres				89 Nos.

* RO 25 Litres				13 Nos.

* RO 50 Litres				09 Nos.

* RO 250 Litres				16 Nos.

Total Nos. of RO machines	          127 Nos.

(The number of RO machines may be added or less than the number shown above, as decides by the engineer due to any reason)

- Any compliant will not attend within the stipulated time will be treated as a violation.

- Attend breakdown calls and repair of unit.

- The service provider should use only new and original genuine spares including all other consumable parts etc. and be shown to the authorized person before its use, which are needed for the repair of the unit. Nothing shall be supplied by the institute. Old replaced parts/ material will be the property of the instituted.

- lf, the work is not found satisfactorily, the work can be done from another agency at the risk & cost of the service provider. A service logbook has to be maintained by the service provider, in which all the repair and maintenance work shall be indicated and duly signed by the engineer or any other person assigned by the engineer.

- Institute will provide nothing to the service provider, except free electricity, water at fixed points, for the completion of the assigned repair works. The rates are to be given accordingly.

- The repair work as far as possible be done at the Institute during Institute working hours.

- The Institute will pay no separate charges for cartage for taking the machines or parts to the service provider repair site, if so, required for any repair.

- While taking the unit for repairs to Service provider workshop if required so, the 
Service provider shall inform the engineer in writing, regarding Serial No. of various accessories of the unit and take written permission and the unit shall be brought back within reasonable time. During this period, the service provider shall have to make standby arrangements for other "RO Machine or part of it" at his own level and nothing extra shall be payable for it. During transit of the machine or part from the site to the workshop or vice versa, the safety of the material is the responsibility of the service provider, and he should ensure that the machine or part is not damaged or stolen in transit.

- After getting back the unit duly repaired, the Sr. No. will be verified by 
Institute. The compressor can be replaced if required, by the service provider by original one of the same manufacturers with intimation to the engineer in writing

- The Contractor shall adopt all safety measures, which are essential for the 
execution of the work. The Institute shall not be responsible for any mishaps if occurred while doing the work; this may please be noted very carefully. The contractor is advised to have the insurance of his staff workers against any mishappening while attending the work at his own level.

- Service provider is required to deploy a well-trained technician with sufficient numbers of spares required to maintain the RO machines. Maintenance technicians shall report daily to the institute campus between 9.00 a.m. to 6.00 p.m., except Sunday to attend the complaints as soon as the same is received. Technicians undertake preventive service of all the machines every three months and replace all the membranes and filters of the machine. The service provider shall submit the schedule of preventive service to the office of engineers.

- Institutes may ask to station a team of two technicians during night hours for managing and rectifications of complaints.

- The Service Engineer will report and coordinate with the engineer or any other maintenance staff authorized by the engineer. The Mobile numbers of the service engineer shall be informed to the engineer to have immediate contact with him.

- The service provider and his staff have to co-ordinate with the Maintenance staff of the Institute for the proper functioning of all jobs and require attending the complaint within 4 hours of complaint if the same is being registered during working hours or within 02 hours on next working day if the complaint is registered during non-working hour or holiday.

- Any complaint shall be entertained within 4 hours from the time of reporting the complaint, otherwise the Institute may impose a monetary penalty of Rs. 500/- for each failure, in addition to the cost of repair charges, if the repairing is done from another agency.

- Details of day-to-day routine/preventive maintenance work/service/repairing of any RO machine will be recorded by your service personnel in a Maintenance Register and RO Machine wise job card duly countersigned by Institute's authorized person/concern user.

- Preventive / routine maintenance shall also be recorded and shall be duly signed by the person / user concerned.

- MIS report should be submitted along with a monthly bill showing summary of job done during the month (abstract of job card).

- Payment shall be made monthly after receiving the bill from the service provider on a satisfactory report from the engineer. Subject to TDS and any other taxes as applicable.

- The number of RO machines may be added or less than the numbers shown above, as decided by the engineer due to any reason. xx. All rights are reserved with the Institute to consider / reject partly or completely any or all the tenders without assigning any reason.

- The institute has all rights to terminate the contract at any time even when it is in progress.

- The number of RO machines may be added or less than the numbers shown above, as decided by the LNMIIT.

- Maintenance Manager due to no reason.

- All rights are reserved with the Institute to consider / reject partly or completely any or all the tenders without assigning any reason.

- The institute has all rights to terminate the contract at any time even when it is in progress.

R.O AMC List

| S.No. | MAKE | Capacity | LOCATION | Qty. |
| --- | --- | --- | --- | --- |
| 1 | KENT | 15 L | BH-I/T002 | 1 |
| 2 | KENT | 25 L | BH-I / T003 | 1 |
| 3 | KENT | 15 L | BH-I / T004 | 1 |
| 4 | KENT | 15 L | BH-I / T102 | 1 |
| 5 | KENT | 15 L | BH-I/T103 | 1 |
| 6 | KENT | 25 L | BH-I / T104 | 1 |
| 7 | KENT | 25 L | BH-I / T202 | 1 |
| 8 | KENT | 25 L | BH-I / T203 | 1 |
| 9 | KENT | 25 L | BH-I/T204 | 1 |
| 10 | HI-TECH | 250 L | BH-I Roof E - Wing | 1 |
| 11 | HI-TECH | 250 L | BH-I Roof E - Wing | 1 |
| 12 | KENT | 15 L | BH-II /T002 | 1 |
| 13 | KENT | 50 L | BH-II / T003 | 1 |
| 14 | KENT | 25 L | BH-II / T004 | 1 |
| 15 | KENT | 15 L | BH-II /T102 | 1 |
| 16 | KENT | 25 L | BH-II / T103 | 1 |
| 17 | KENT | 25 L | BH-II / T104 | 1 |
| 18 | KENT | 25 L | BH-II / T202 | 1 |
| 19 | KENT | 15 L | BH-II /T203 | 1 |
| 20 | KENT | 15 L | BH-II / T204 | 1 |
| 21 | KENT | 50 L | BH-II / Roof | 1 |
| 22 | KENT | 15 L | BH-II / Roof | 1 |
| 23 | KENT | 15 L | BH-II / Roof | 1 |
| 24 | HI-TECH | 250 L | BH- III/Roof | 1 |
| 25 | HI-TECH | 250 L | BH- III/Roof | 1 |
| 26 | KENT | 15 L | GH-I / T002 | 1 |
| 27 | KENT | 15 L | GH-I / T102 | 1 |
| 28 | KENT | 15 L | GH-I / T201 | 1 |
| 29 | KENT | 15 L | GH-I / T301 | 1 |
| 30 | KENT | 25 L | GH-I / T401 (B Wing) | 1 |
| 31 | HI-TECH | 250 L | GH-I / Roof (C wing) | 1 |
| 32 | HI-TECH | 250 L | GH-I / Roof (C Wing) | 1 |
| 33 | HI-TECH | 250 L | Mess - A | 1 |
| 34 | HI-TECH | 250 L | Mess - A | 1 |
| 35 | HI-TECH | 250 L | Mess - B | 1 |
| 36 | HI-TECH | 250 L | Mess - B | 1 |
| 37 | KENT | 50 L | Main Gate | 1 |
| 38 | KENT | 15 L | LECTURE HALL – 1 | 1 |
| 39 | KENT | 15 L | LECTURE HALL – 2 | 1 |
| 40 | KENT | 50 L | LECTURE HALL – 9 | 1 |
| 41 | KENT | 50 L | SPORTS COMPLEX | 1 |
| 42 | KENT | 25 L | STORE-PLAYGROUND | 1 |
| 43 | KENT | 15 L | STORE-PLAYGROUND | 1 |
| 44 | KENT | 25 L | Substation | 1 |
| 45 | KENT | 50 L | OAT | 1 |
| 46 | KENT | 15 L | Library | 1 |
| 47 | KENT | 15 L | Computer lab – 3 | 1 |
| 48 | KENT | 15 L | Administrative Office (Registrar) | 1 |
| 49 | KENT | 15 L | Administrative Office (Accounts) | 1 |
| 50 | KENT | 15 L | Sr. Faculty Office Ground Floor (Near 1040) | 1 |
| 51 | KENT | 15 L | Sr. Faculty Office First Floor (Near 2040) | 1 |
| 52 | KENT | 25 L | Lab Area First Floor (Near 2099) | 1 |
| 53 | KENT | 15 L | (Adcademic FF (Physics Deptt) Near 2021 | 1 |
| 54 | KENT | 15 L | Board Room Pentry | 1 |
| 55 | KENT | 50 L | MME Second Floor | 1 |
| 56 | KENT | 15 L | MME First Floor | 1 |
| 57 | KENT | 15 L | MME Workshop | 1 |
| 58 | KENT | 15 L | GUEST HOUSE- KITCHEN | 1 |
| 59 | KENT | 15 L | GUEST HOUSE- GROUD FLOOR | 1 |
| 60 | KENT | 15 L | Physic Lab 2026 | 1 |
| 61 | KENT | 15 L | A 1 QUARTER- DIRECTOR HOUSE | 1 |
| 62 | KENT | 15 L | B 1 QUARTER | 1 |
| 63 | KENT | 15 L | B 2 QUARTER | 1 |
| 64 | KENT | 15 L | B 3 QUARTER | 1 |
| 65 | KENT | 15 L | B 4 QUARTER | 1 |
| 66 | KENT | 15 L | C 1 QUARTER | 1 |
| 67 | KENT | 15 L | C 2 QUARTER | 1 |
| 68 | KENT | 15 L | C 3 QUARTER | 1 |
| 69 | KENT | 15 L | C 4 QUARTER | 1 |
| 70 | KENT | 15 L | D 1 QUARTER | 1 |
| 71 | KENT | 15 L | D 2 QUARTER | 1 |
| 72 | KENT | 15 L | D 3 QUARTER | 1 |
| 73 | KENT | 15 L | D 4 QUARTER | 1 |
| 74 | KENT | 15 L | D 5 QUARTER | 1 |
| 75 | KENT | 15 L | D 6 QUARTER | 1 |
| 76 | KENT | 15 L | D 7 QUARTER | 1 |
| 77 | KENT | 15 L | D 8 QUARTER | 1 |
| 78 | KENT | 15 L | D 9 QUARTER | 1 |
| 79 | KENT | 15 L | D 10 QUARTER | 1 |
| 80 | KENT | 15 L | D 11 QUARTER | 1 |
| 81 | KENT | 15 L | D 12 QUARTER | 1 |
| 82 | KENT | 15 L | E 1 QUARTER | 1 |
| 83 | KENT | 15 L | E 2 QUARTER | 1 |
| 84 | KENT | 15 L | E 3 QUARTER | 1 |
| 85 | KENT | 15 L | E 4 QUARTER | 1 |
| 86 | KENT | 15 L | E 5 QUARTER | 1 |
| 87 | KENT | 15 L | E 6 QUARTER | 1 |
| 88 | KENT | 15 L | F1 QUARTER COMMEN AREA | 1 |
| 89 | KENT | 15 L | F3 & 4 QUARTER COMMEN AREA | 1 |
| 90 | KENT | 15 L | F5 & 6 QUARTER COMMEN AREA | 1 |
| 91 | KENT | 15 L | F 7 & 8 QUARTER COMMEN AREA | 1 |
| 92 | KENT | 15 L | F9 &10 QUARTER COMMEN AREA | 1 |
| 93 | KENT | 15 L | STUDIO APARTMENT 101 QTR | 1 |
| 94 | KENT | 15 L | STUDIO APARTMENT 102 QTR | 1 |
| 95 | KENT | 15 L | STUDIO APARTMENT 103 QTR | 1 |
| 96 | KENT | 15 L | STUDIO APARTMENT 104 QTR | 1 |
| 97 | KENT | 15 L | STUDIO APARTMENT 201 QTR | 1 |
| 98 | KENT | 15 L | STUDIO APARTMENT 202 QTR | 1 |
| 99 | KENT | 15 L | STUDIO APARTMENT 203 QTR | 1 |
| 100 | KENT | 15 L | STUDIO APARTMENT 204 QTR | 1 |
| 101 | KENT | 15 L | STUDIO APARTMENT 301 QTR | 1 |
| 102 | KENT | 15 L | STUDIO APARTMENT 302 QTR | 1 |
| 103 | KENT | 15 L | STUDIO APARTMENT 303 QTR | 1 |
| 104 | KENT | 15 L | STUDIO APARTMENT 304 QTR | 1 |
| 105 | KENT | 15 L | STUDIO APARTMENT 401 QTR | 1 |
| 106 | KENT | 15 L | STUDIO APARTMENT 402 QTR | 1 |
| 107 | KENT | 15 L | STUDIO APARTMENT 403 QTR | 1 |
| 108 | KENT | 15 L | STUDIO APARTMENT 404 QTR | 1 |
| 109 | KENT | 15 L | STUDIO APARTMENT 501 QTR | 1 |
| 110 | KENT | 15 L | STUDIO APARTMENT 502 A QTR | 1 |
| 111 | KENT | 15 L | STUDIO APARTMENT 502 B QTR | 1 |
| 112 | KENT | 15 L | STUDIO APARTMENT 601 QTR | 1 |
| 113 | KENT | 15 L | STUDIO APARTMENT 602 A QTR | 1 |
| 114 | KENT | 15 L | STUDIO APARTMENT 602 B QTR | 1 |
| 115 | HI-TECH | 250 L | BH-4 Tower - 2 Roof | 1 |
| 116 | HI-TECH | 250 L | BH-4 Tower - 2 Roof | 1 |
| 117 | KENT | 15 L | BH-II / Roof | 1 |
| 118 | KENT | 15 L | BH-II / Roof | 1 |
| 119 | KENT | 15 L | BH-II / Roof | 1 |
| 120 | KENT | 15 L | Pantery No. 1100 Acadmic | 1 |
| 121 | KENT | 15 L | 36 PEB office Block | 1 |
| 122 | KENT | 50 L | 150 PEB office Block | 1 |
| 123 | KENT | 50 L | 150 PEB office Block | 1 |
| 124 | HI-TECH | 250 L | BH-4 Tower-1 Roof | 1 |
| 125 | HI-TECH | 250 L | BH-4 Tower-1 Roof | 1 |
| 126 | HI-TECH | 250 L | INC Roof | 1 |
| 127 | HI-TECH | 250 L | INC Roof | 1 |

Signature with seal

Commercial Bid: (in separate sealed envelope/password protected bid via email)

Annual comprehensive maintenance of RO System for one year (from 01.04.2025 to 31.03.2026)

(Tender No. : 2024-25/Estate/2B/LNM-827)

| S.No | Particulars | Make | Qty. | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | 15 LPH | Kent | 89 Nos. |  |  |
| 2 | 25 LPH | Kent | 13 Nos. |  |  |
| 3 | 50 LPH | Kent | 9 Nos. |  |  |
| 4 | 250 LPH | Hi - TECH | 16 Nos. |  |  |
|  |  |  |  | Total |  |
|  |  |  |  | GST |  |
|  |  |  |  | Total with GST |  |

- Taxes like GST should be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- If the supplier does not have a particular item offered in the tender or a different make is being proposed by him, the same should be highlighted/mentioned especially by him.

- The prices should include everything (packing, forwarding, transit insurance, transportation, loading /unloading, installation etc.). Loading/unloading up to 50 mtr. shall be done by the supplier.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- The bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- The bid should be on the company’s letterhead and should submit their bid in the LNMIIT format only.

- Item/Service not supplied by the supplier/service provider should be mentioned separately.

- Vendor should provide a photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

- Pre-bid meeting and pre-bid site visit can be done before quoting the rate in the tender to clear up any confusion regarding project details, the scope of work, and solicitation of documents.

- All charges applicable should be clearly mentioned in the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final, and nothing extra shall be paid extra.

Signature with seal