SITC OF  LIFTs  PRE-BID MEETING DT.11/03/2025

Mr.Puspendra Singh   			Ritesh Goyal ( Schindler)

Mr. Vipin Bansal 				Preeti Rajput   ( Schindler )

Mr.Saroj Kumar dash				Kishor Kumar  (TKE )

Hanuman Lodha ( TKE )

| As per BOQ Clear entrance size is 1000( w)x 2400 ( D ) & clear height of under the canopy of car is 2300 . | The measurements are not door height of entrance and car .For entrance door and car door height are as per manufactures standard or as per drawing provided with this document . |
| --- | --- |
| Minimum car clearance of well size(wxd)mm 2200 x 3000 ,2260 x 3000, 2260 x 2985 | As per BOQ 1680 ( w) x 2485 (d) or as per manufactures standard. It will be as per manufactures standard. |
| At Overhead I beam | As required by manufactures standard overhead height I beam will be provided . |
| Door finishes | All Landing doors will be SS Hairline finish and Inside door will be SS Moonrock finish . |
| 5 year comprehensive maintenance . | The comprehensive maintenance will be 100 % including Batteries. |
| Last Date of Submission tender documents. | Last Date extended to 5pm on 3rd April 2025n. |
| Drawings | Tentative Drawings are attached with addendum LNMIIT tender website and sent to vendors to in their mail IDs. |

https://w-si.link/P3DKyu8VlxAK1EV5Z/ZW5naW5lZXIubWVwQGxubWlpdC5hYy5pbg