Tender No:. 2024-25/Estate/2B/LNM-969

The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non-Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for “Supply, Installation, Testing and Commissioning of Grid-Connected Solar PV Electric Power Generation Plant with Net Metering Facility under RESCO Model for MME Workshop, Incubation Center,150PEB Office Building, Lecture Hall”. Bidders can submit their sealed offers/s at the following address by Email/Speed-Post/ Registered Post/ By-hand/courier before 05:00 PM on 31.05.2025.

Filing of Tender:

Option 1: Physical submission of offers (hard copy) in sealed envelopes.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the institute in person/ Speed-Post/ Registered Post/ By-hand/courier of the Institute after marking due entries in the Receipt Book available with the Security Officer at the main gate.

The tender subject and reference number must be mentioned on the envelope.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Option 2: Password-protected online submission via Email

Password-protected offers can be submitted by the bidders via email at the below-mentioned email IDs.

tender-document@lnmiit.ac.in (password-protected document)

tender-password@lnmiit.ac.in (password only)

The tender subject and reference number must be mentioned in the subject line of the emails.

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory, are required to be submitted in two separate envelopes/emails.

Envelopes/Emails should be duly marked as follows:

- Technical bid for the “Supply, Installation, Testing, and Commissioning of Grid-Connected Solar PV Electric Power Generation Plant with Net Metering Facility under RESCO Model”.

- Commercial Bid for the “Supply, Installation, Testing, and Commissioning of Grid-Connected Solar PV Electric Power Generation Plant with Net Metering Facility under RESCO Model”.

Both Envelopes/files should be enclosed/attached in a single envelope/email bearing the heading “Bid for the “Supply, Installation, Testing, and Commissioning of Grid-Connected Solar PV Electric Power Generation Plant with Net Metering Facility under RESCO Model (Tender No. : 2024-25/Estate/2B/LNM-969) ”.

Bids are liable to be rejected:

- If the above-mentioned bid submission procedure is not followed.

- Incomplete and non-conforming bids.

- Arbitration: All disputes and differences arising between the two parties in connection with this order shall be mutually settled as far as possible, failing which, all such disputes shall be referred to arbitration and settlement under the provision of the Arbitration and Conciliation Act, 1996 and as amended from time to time or any such law for the time being prevailing in India. The venue of such arbitration shall be Jaipur.

Technical Bid: (in a separate sealed envelope/via email)

# Bid for Supply, Installation, Testing, and Commissioning of Grid-Connected Solar PV Electric Power Generation Plant with Net Metering Facility under RESCO Model

# (Tender No.: 2024-25/Estate/2B/LNM-969)

While submitting quotations, the following procedure/ formalities and conditions may kindly be adhered.

- Company profile or brief note about the bidder's company, PAN number, and GST number should be submitted by the Vendor.

- The List of Directors/Partners/Proprietor/Members of the Firm to be attached.

- Detail of other associated/sister concerns (if any) of Directors/Partners/ Proprietor/ Members to be provided.

- Turnover for the last three years to be mentioned. (Copy to be enclosed)

- List of the client to whom the vendor has delivered the goods or provided the services in the past.

- OEM Authorized Supplier Certificate

- Specification as mentioned below, shall be provided as per the details given below:

## Scope of work

- The scope of work will cover the supply/service/SITC of given  items at LNMIIT Jaipur campus.

- The Vendor is required to submit the complete documentation of the supplied item after delivery.

- SITE CONDITION:

Before quoting, the contractor must visit the site to inspect the work and shall fully acquaint himself about the conditions and scope of work with regards to accessibility of site required for the satisfactory execution of work. No compensation on account of any site difficulties will be entertained at a later date, after the award of the works.

Site Visit and Any Technical Information contact for cao@lnmiit.ac.in  and  banwari@lnmiit.ac.in

Expression of Interest

EOI for setting up of solar PV power generation plant in the campus in RESCO Mode

| Important Dates |  |  |
| --- | --- | --- |
| 1. | Start date of issue of EOI | 23rd April, 2025 |
| 2. | Site Visit | Before 10th May, 2025 |
| 3. | Pre-bid meeting | Before 16h May, 2025 |
| 4. | Last date of acceptance of queries/comments from bidders | 22nd May, 2025 |
| 5. | Last date of Submission of EOI | 31st May, 2025 |
| 6. | Scheduled period of Completion | 3 months from the date of work order |

“The LNM Institute of Information Technology”, intends to invite proposals from interested bidders/companies for setting up of “solar PV electric power generation plant/s”, with net metering facility under RESCO mode.

The bidders/companies shall install the plant on roof-top, open land, boundary etc., provided by

“The LNM Institute of Information Technology” (LNMIIT), as per the feasibility report presented by the bidder.

Objectives

- To invite the prospective bidders/companies to set up “Grid Connected solar PV electric power generation plant” with net metering facility, to help achieve more than 80% of the Institute’s power requirements via solar generation.

- The Institute intends that the bidders/companies are invited and selected in a transparent manner to set up the plant so that the institute can fulfill the electrical power requirements from the generated solar power.

- The selected bidders shall be required to set up solar power plant within the specified period.

Eligibility

- Bidder must be involved in the business of installation and commissioning of the solar power generation plants, and must have installed minimum 3 power generation plants of capacity 1000 kWp each, within the period of last five years.

- Bidders must have installed a minimum of 3 power generation plants, each with a capacity of 1000 KWp, or must have at least one project under execution with a minimum capacity of 5 MWp, covering the complete scope of Engineering, Procurement, and Commissioning.

- Bidder must have been involved in installation of solar power plants for minimum of last three years. Bidder must submit audited balance sheet for last three years.

- Bidder must be registered with MNRE and/or other relevant authority, to undertake such work.

- Bidder must visit the institute and ascertain the generation capacity of the proposed solar PV Power Plant and submit a letter in this regard in the desired format, as per annexure “A”.

LNMIIT’s scope of work

- LNMIIT (owner) will provide the roof-top, open land, boundary etc., free of cost to install the solar PV power plant.

- Owner shall provide free of cost electricity and water for the installation of the plant at one point. However, bidder to ensure proper utilization of resources and that no wastage is done. Bidder shall make his own arrangement to draw the water and electricity lines to the exact location of work.

- Owner shall provide space, free of cost for proper staking of the material for installation. However, it shall be the bidder’s responsibility to ensure its safety and timely removal of the spare material, within a week after completion of work.

- Owner shall provide internet connectivity to the location of inverter/s.

- Owner shall provide all necessary documents for obtaining approvals for installation of plant, however it is the responsibility of the bidder to obtain all such approvals well within time and make the plant operational.

Bidders scope of work:

- Bidder shall visit the site prior to submit his bid, attend the pre-bid meeting and carefully ascertain the generation capacity of the proposed solar PV Power Plant.

- The bidders will be asked to submit their feasibility report and concept note of generation unit/s to be installed. Bidder to identify various locations within the campus for installation of Solar PV plant under RESCO mode and to bid for the complete proposal. Report should contain tentative site plan of individual generation units proposed to be installed along with the other related information.  Copies of the site drawings can be obtained from the institute on request.

- Bidder shall visit the campus and visit the locations available for installation of solar PV power generation plant/s.

- Bidder to ensure that the energy generation figures claimed through the feasibility report are met. The institute shall have a minimum generation guarantee clause in the PPA, under which the bidder shall be penalized if a shortfall in energy generation is noticed in any given year during the PPA. The bidder shall mention yearly minimum generation figures for the period of PPA.

- Bidder shall clearly indicate the safety guidelines for installation and operation of solar PV generation plants suggested by MNRE and other related agencies.

- Bidder shall clearly ascertain and mention all the necessary modifications and or new civil or fabricated installation/s, which are required to be done to facilitate the installation and operation of the proposed plant.

- If the proposal is accepted and the order is awarded, the bidder shall be required to do at his cost and no charges will be paid to the bidder for modifications and or new civil or fabricated installation/s, which are required to be done to facilitate the installation and operation of the proposed plant.

- Provide the techno-commercial proposal in separate sealed envelopes clearly marked as “Technical / Commercial offer for the “solar PV Power Plant”.

- Bidder shall facilitate owner’s visit, if demanded by the owner, to the site/s, executed/in progress by the bidder.

- Obtain all necessary approvals for the legal use of the plant, including net metering facility.

- On award of the order, the bidder must ascertain that the work is completed and the plant is operational for use with all approvals and checks within the time agreed as per order.

- Ensure safety of the material and property of the institute, during the installation works.

- Ensure removal of the excess material, debri etc from the site within 07 days from the completion of work.

- Ensure that the safety guidelines as suggested by MNRE/ other related agencies are implemented during the installation works and during operation of the solar PV plant.

- If in future during the period of PPA, Institute decides to relocate some part of the installation, the bidder shall agree to do the same at the agreeable cost of labor.

Process of selection:

- Bids will be opened in the competent committee constituted by the institute.

- Bids received only in the sealed and marked envelopes, in which two separately sealed envelopes containing technical and commercial offers will be accepted for evaluation and comparison.

- Bids received in open condition or without duly marked will be rejected immediately.

- Relevant documents conforming eligibility and Information form (as per annexure B) must be placed in the main envelope (outside the sealed envelope of technical & commercial bids).

- During the technical evaluation, the bidders may be called for any clarifications.

- Bidder may also be required to arrange a visit to a location where the bidder has installed / is installing a solar power plant.

- Commercial bids of the selected bidders after the technical evaluation will be opened in the committee constituted by the institute.

- Bids received in the format other than the format given will not be accepted.

- Bidder/s may also be required to visit the institute for negotiation meeting in front of committee, if required.

- Institute in its sole discretion, may reject any and all proposals made by bidder(s), may change the conditions relating to the EOI or cancel this EOI at any time without assigning any reason.

- Institute holds the right to select or reject any of the locations as mentioned by the bidder in his feasibility report.

- Bidder must agree in writing that he shall not employ/hire directly or indirectly, any executive/worker serving the institute directly or on contractor or through a vendor.

- Other things being equal, preference would be given to a vendor who is involved either directly or through its publically listed subsidiary in manufacturing of all or most of the components involved.

- Bidder(s) acknowledge and agree that response to the EOI is purely voluntary action on their part and for any expenditure on this account shall be borne by the bidder(s).

Other information

- Layout plan of the campus can be obtained on request via cao@lnmiit.ac.in. Although, indicative areas where solar PV installation are suggested are marked on the plan, the bidders are requested to visit the campus and provided there proposal.

- The institute has two power connections under separate categories with 850 kVA CD & 2800 kW connected load and 1450 kVA CD & 2000 kW connected load respectively.

Technical bid shall include (sealed in separate envelope and marked as “Technical bid for EOI for solar power plant”)

- Technical specifications of offered product/s.

- Evaluation Form document as given below. (Annexure C)

- Feasibility report of the proposed solar PV Power Plant.

- List of projects completed/in-progress along with the supporting documents of any three major projects, confirming eligibility.

- Proof of registration/approval with MNRE and/or other related agencies.

Financial bid shall include (sealed in separate envelope and marked as “Commercial bid for EOI for solar power plant”)

Bidder shall place his price bid for RESCO mode as mentioned above, including all relevant terms & conditions. Offered price shall include:

- All taxes and applicable subsidy from various government agencies.

- Complete job required for making the plant operational.

- Complete job related to obtaining necessary approvals from the Local/Central government agencies.

- Bid to be sent in the format given below. (Annexure D)

- Nothing extra shall be paid for any item other than the quoted price.

Last Date of Submission 		:	31st May, 2025

Annexure A

DECLARATION CONFIRMING KNOWLEDGE ABOUT SITE CONDITIONS

(To be typed and submitted in the Letter Head of the Company/Firm of Bidder)

Sub : Declaration confirming knowledge about Site conditions

Ref : EOI for setting up of solar PV electric power generation plant in the campus

I/We, _______________________________________ hereby declare and confirm that we have visited the Project Site and acquired full knowledge and information about the Site conditions.

We further confirm that the above information is true and correct and we shall not raise any claim of any nature due to lack of knowledge of Site conditions.

I/We, hereby offer to carry out work as detailed in the proposal submitted by us.

Yours faithfully,

(Signature, Date & Seal of Authorized Representative of the Bidder)

Date :

Place:

Annexure B

Information Form

| 1 | Name of the Company |  |  |  |
| --- | --- | --- | --- | --- |
| 2 | Registered address of the Company |  |  |  |
| 3 | PAN Number |  |  |  |
| 4 | GST Number |  |  |  |
| 5 | Past Experience in installation & commissioning of solar power plants (Completed) | Plant Capacity | Location / Client | Mode of operation (CAPEX / RESCO) |
|  | a) Rooftop |  |  |  |
|  | b) Ground and others |  |  |  |
| 6 | Total units generated |  |  |  |
| 7 | Under development projects in installation & commissioning of solar power plants | Plant Capacity | Location / Client | Mode of operation (CAPEX / RESCO) |
|  | a) Rooftop |  |  |  |
|  | b) Ground and others |  |  |  |
| 8 | Minimum generation capacity offered |  |  |  |

Yours faithfully,

(Signature, Date & Seal of Authorized Representative of the Bidder)

Date :

Place:

Annexure C

Evaluation Form for short listing of bidders for installation of solar power plant

(To be printed on company’s letter head)

| Make of Material |  |  |  |
| --- | --- | --- | --- |
| S No. | Component Name | Desired Make/Model | Offered Make (To be filled by bidder) |
| 1 | SPV Module | (As approved by MNRE) |  |
| 2 | Structure | Hot Dipped Galvanized of standard Make |  |
| 3 | Field Junction Box | As per MNRE |  |
| 4 | Main Junction Box | As per MNRE |  |
| 5 | Grid-Tie Inverter | Fronius / Delta /Schnieder |  |
| 6 | Ground Fault protection System | As per MNRE/IS Standards |  |
| 7 | Cordless Modem, Web Box etc. | As per MNRE/IS Standards |  |
| 8 | Cables & connectors | Polycab/RR |  |
| 9 | Lightening Arresters | As per IS Standards |  |
| 10 | Earthing | As per IS Standards |  |
| 11 | LT Equipments | L&T/Schneider Electric |  |
| Technical |  |  |  |
| No. S | Component Name | (To be filled by bidder) |  |
| 1 | Guaranteed Performance parameters |  |  |
|  | Capacity of proposed power plant (In kWp) | (Bidder must visit the site before submitting his tender and clearly mention the capacity of the power plant proposed to be installed at the site along with the tentative site plant & feasibility report) |  |
|  | Guaranteed Generation per year (in units) |  |  |
|  | Guarantee on SPV modules (In years) |  |  |
|  | Guarantee on Inverters (In years) |  |  |
|  | Guarantee on Electrical cables & Equipments (In years) |  |  |

Annexure D

Commercial Bid: (in separate sealed envelope/password protected file via Email)

# Bid for Supply, Installation, Testing, and Commissioning of Grid-Connected Solar PV Electric Power Generation Plant with Net Metering Facility under RESCO Model (Tender No.: 2024-25/Estate/2B/LNM-969)

(To be printed on company’s letter head)

| Commercial Bid for RESCO mode |  |  |
| --- | --- | --- |
| S No. |  | To be filled with Bidder |
| 1 | Rate Per Unit |  |
| 2 | Taxes (if any) |  |
| 3 | PPA Term (For 15 / 20 / 25 years) | (Bidder may chose to offer for any or all of the three mentioned PPA terms, however, the bidder may be asked to adjust the term of the PPA during the negotiation) |
| 4 | Escalation in rates per unit Per year |  |
| 5 | Minimum Saving w.r.t. JVVNL Rates | (Anytime during the PPA, rates of the power purchase should not exceeds the prevailing JVVNL power supply rates) |
| 6 | Security Deposit (to be deposited by client, if any) |  |
| 7 | Interest on Security deposit |  |
| 8 | Guaranteed generation per year |  |
| 9 | Termination clause (Vendor Side) |  |
| 10 | Termination clause (Client Side) |  |
| 11 | Penalty (Non performance) - Bidder to compensate the shortfall from guaranteed generation @ actual tariff difference at the given time | (If, during the PPA term, the generation false short of the guaranteed value, the bidder is required to compensate the shortfall at the rate of prevailing JVVNL power supply tariff) |
| 12 | Year wise cost of plant, if owner chose to purchase the plant during PPA term. |  |

Note:

- Insurance (damage to institute property) - Bidder shall be liable for any damage occurred during the installation of plant and should make good all such damages.

- Govt. Liaoning with all cost - Bidder to arrange for all approvals & licenses. Client shall however, reimburse for all government fees on submission of original receipt.

- Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- If the supplier does not have a particular item offered in the tender or a different make is being proposed by him, the same should be highlighted/mentioned especially by him.

- The prices should	include everything (packing, forwarding, transit insurance, transportation, loading /unloading, installation etc.). Loading/unloading up to 50 mtr. shall be done by the supplier.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- The bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- Bid should be on the company’s letterhead and should submit their bid in the LNMIIT format only.

- Item/Service not supplied by the supplier/service provider should be mentioned separately.

- Vendor should provide a photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

- Pre-bid meeting and pre-bid site visit can be done before quoting the rate in the tender to clear up any confusion regarding project details, the scope of work, and solicitation of documents.

- All charges applicable shall be clearly mentioned in the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final, and nothing extra shall be paid extra.

All charges applicable shall be clearly mentioned with the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final, and nothing extra shall be paid extra.

Signature with seal