Tender No:. 2025-26/CWO/2B/LNM-984

The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non-Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for the “Comprehensive Civil Works for Canteen Area Sewage Line at LNMIIT Campus – Including Excavation, Pipe Laying, Masonry, and Site Restoration”. Bidders can submit their sealed offers/s at the following address by Email/Speed-Post/ Registered Post/ By-hand/courier before 05:00 PM on 30th May. 2025.

Filing of Tender:

Option 1: Physical submission of offers (hard copy) in sealed envelopes.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the institute in person/ Speed-Post/ Registered Post/ By-hand/courier of the Institute after marking due entries in the Receipt Book available with the Security Officer at the main gate.

The tender subject and reference number must be mentioned on the envelope.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Option 2: Password-protected online submission via Email

Password-protected offers can be submitted by the bidders via email at the below-mentioned email IDs.

tender-document@lnmiit.ac.in (password-protected document)

tender-password@lnmiit.ac.in (password only)

The tender subject and reference number must be mentioned in the subject line of the emails.

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory, are required to be submitted in two separate envelopes/emails.

Envelopes/Emails should be duly marked as follows:

- Technical bid for the Comprehensive Civil Works for Canteen Area Sewage Line at LNMIIT Campus – Including Excavation, Pipe Laying, Masonry, and Site Restoration.

- Commercial Bid for the Comprehensive Civil Works for Canteen Area Sewage Line at LNMIIT Campus – Including Excavation, Pipe Laying, Masonry, and Site Restoration.

Both Envelopes/files should be enclosed/attached in a single envelope/email bearing the heading “Comprehensive Civil Works for Canteen Area Sewage Line at LNMIIT Campus – Including Excavation, Pipe Laying, Masonry, and Site Restoration”. (Tender No. : 2025-26/CWO/2B/LNM-984)”.

Bids are liable to be rejected:

- If the above-mentioned bid submission procedure is not followed.

- Incomplete and non-conforming bids.

- Arbitration: All disputes and differences arising between the two parties in connection with this order shall be mutually settled as far as possible, failing which, all such disputes shall be referred to arbitration and settlement under the provision of the Arbitration and Conciliation Act, 1996 and as amended from time to time or any such law for the time being prevailing in India. The venue of such arbitration shall be Jaipur.

Technical Bid: (in a separate sealed envelope/via email)

Comprehensive Civil Works for Canteen Area Sewage Line at LNMIIT Campus – Including Excavation, Pipe Laying, Masonry, and Site Restoration

(Tender No. : 2025-26/CWO/2B/LNM-984).

While submitting quotations, the following procedure/ formalities and conditions may kindly be adhered.

- A company profile or brief note about the bidder's company, PAN number, and GST number should be submitted by the Vendor.

- The List of Directors/Partners/Proprietor/Members of the Firm to be attached.

- Detail of other associated/sister concerns (if any) of Directors/Partners/ Proprietor/ Members to be provided.

- Turnover for the last three years is to be mentioned. (Copy to be enclosed)

- List of the clients to whom the vendor has delivered the goods or provided the services in the past.

- Specification as mentioned below shall be provided as per the details given below:

## Scope of work

- The scope of work will cover the supply/service/SITC of the given items at the LNMIIT Jaipur campus.

- The Vendor is required to submit the complete documentation of the supplied item after delivery.

- All the vendors shall submit their last three years of verified work completion certificates, genuine purchase orders/ Work orders, company profiles, and other documents to support the bid. The papers shall comprise at least one document of each year in reverse chronological order.

- Vendors are encouraged to conduct a pre-bid site visit prior to submitting their quotations. This visit will help clarify any doubts regarding the design, specifications, scope of work, and related documentation requirements for the items mentioned in the tender. Please note, if a vendor chooses to submit a quotation without undertaking such a visit or discussion, and any discrepancies or conflicts arise post-delivery, the full responsibility shall lie with the vendor. No claims in this regard will be entertained by the Institute.

| Sr. No. | Item description | No. | Length | Breadth | Height | Total | UOM |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Earthwork in excavation by mechanical means (Hydraulic excavator) /manual means over existing sewer line, including dismantling and removal of old RCC/CI pipes, disposal of debris within 50m lead as per direction of Engineers. | 1.00 | 250.00 | 1.00 | 1.50 | 375.00 | cum |
| 2 | Providing and laying Plain Cement Concrete (PCC) of mix 1:4:8 (M7.5) with 40 mm nominal size stone aggregate in foundation and bedding below pipeline, including compacting with plate vibrator, curing, etc., complete in all respects as per the engineers. | 1.00 | 250.00 | 1.00 | 0.15 | 37.50 | cum |
| 3 | Supplying, laying, jointing and testing of factory-manufactured ISI-marked UPVC pipes of 150 mm diameter (6 kg/cm²), including specials, necessary excavation and refilling with proper slope (Core cutting in wall, removing old pipes), complete in all respects as per the engineers. Make – Astral, Finolex | 20.00 | 3.05 |  |  | 20.00 | Nos. |
| 4 | Supplying and laying NP2 class RCC Hume pipes of 300 mm internal diameter with collars, jointing with cement mortar 1:2, testing of joints, and inclusive of necessary excavation and backfilling, including proper slope in downwards directions. Complete in all respects as per the engineers. | 100.00 | 2.50 |  |  | 100.00 | Nos. |
| 5 | Providing and filling coarse river sand around Hume pipes (bedding and cushioning), in layers of 15 cm, including watering, ramming, and compacting as per CPWD specifications. | 1.00 | 250.00 | 1.00 | 1.05 | 262.50 | cum |
| 6 | Providing and laying brick work with modular bricks of class designation 75 in cement mortar 1:6 (1 cement: 6 coarse sand) in foundation and plinth, including curing, scaffolding, raking of joints, and necessary staging, complete as per direction of Engineers. | 48.00 | 1.00 | 0.23 | 1.50 | 16.56 | cum |
| 7 | Providing and applying 12 mm thick cement plaster in single coat on internal surfaces of brick masonry walls with cement mortar 1:6 (1 cement: 6 fine sand), finished with a smooth surface, including cleaning, curing, and scaffolding, complete as per direction of Engineers. | 48.00 | 1.00 |  | 1.50 | 72.00 | Sqm |
| 8 | Providing and fixing heavy duty Cast Iron (CI) manhole cover with frame of required size and shape, medium duty (500 mm dia, total weight not less than 38 kg) for chamber openings, including fixing in cement concrete 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 20 mm nominal size), curing, and finishing the surface smooth, complete as per direction of Engineers. | 12.00 | 1.00 | 1.00 |  | 12.00 | Nos. |
| 9 | Carriage of excavated earth/debris by mechanical transport up to a lead of 1 km within the campus premises, including loading, unloading, and stacking at designated dump yard or location as directed by the Engineers, complete in all respects. | 1.00 |  |  |  | 1.00 | Nos./ job |

Signature with seal

Commercial Bid: (in a separate sealed envelope/password protected file via email)

Bid for Comprehensive Civil Works for Canteen Area Sewage Line at LNMIIT Campus – Including Excavation, Pipe Laying, Masonry, and Site Restoration

# (Tender No. : 2025-26/CWO/2B/LNM-984).

| Sr. No. | Item description | Total | UOM | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Excavation including removing old pipes & others | 375.00 | cum |  |  |
| 2 | P. C. C. (M 7.5) including base plate vibrator | 37.50 | cum |  |  |
| 3 | Providing & fixing PVC pipe, dia 150mm with the finishing of the slope, including core cutting in wall & removing the existing pipe, Make - Astral | 20.00 | Nos. |  |  |
| 4 | Providing & fixing of Hume pipe, dia 300mm with finishing of slope | 100.00 | Nos. |  |  |
| 5 | Filling of sand over the hume pipe with proper leveling | 262.50 | cum |  |  |
| 6 | Brick masonry with a ratio of 1:6 | 16.56 | cum |  |  |
| 7 | 12mm Cement Plaster inside chamber | 72.00 | Sqm |  |  |
| 8 | Providing & fixing of Cast Iron chamber cover | 12.00 | Nos. |  |  |
| 9 | Shifting excavated materials at any lead inside the LNMIIT | 1.00 | Nos. |  |  |
| 10 | Site cleaning work | 1.00 | Job. |  |  |
| 11 | Any other item (Suggested by the vendor) |  |  |  |  |
|  | Total Amount |  |  |  |  |
|  | GST (18%) |  |  |  |  |
|  | Total Amount with GST |  |  |  |  |

- Taxes like GST should be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- If the supplier does not have a particular item offered in the tender or a different make is being proposed by him, the same should be highlighted/mentioned especially by him.

- The prices should include everything (packing, forwarding, transit insurance, transportation, loading /unloading, installation etc.). Loading/unloading up to 50 mtr. shall be done by the supplier.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- The bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- The bid should be on the company’s letterhead and should be submitted in the LNMIIT format only.

- Item/Service not supplied by the supplier/service provider should be mentioned separately.

- The vendor should provide a photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

- Pre-bid meetings and pre-bid site visits can be done before quoting the rate in the tender to clear up any confusion regarding project details, the scope of work, and the solicitation of documents. Otherwise, the vendor may be rejected on technical grounds.

- All charges applicable should be clearly mentioned in the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final, and nothing extra shall be paid extra.

Signature with seal