Tender No:. 2025-26/Estate/2B/LNM-1006

The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non-Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for the “Supply and installation of wooden flooring tile planks/ panels.”. Bidders can submit their sealed offers/s at the following address by Email/Speed-Post/ Registered Post/ By-hand/courier before 05:00 PM on 21st  June 2025.

Filing of Tender:

Option 1: Physical submission of offers (hard copy) in sealed envelopes.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the institute in person/ Speed-Post/ Registered Post/ By-hand/courier of the Institute after marking due entries in the Receipt Book available with the Security Officer at the main gate.

The tender subject and reference number must be mentioned on the envelope.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Option 2: Password-protected online submission via Email

Password-protected offers can be submitted by the bidders via email at the below-mentioned email IDs.

tender-document@lnmiit.ac.in (password-protected document)

tender-password@lnmiit.ac.in (password only)

The tender subject and reference number must be mentioned in the subject line of the emails.

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory, are required to be submitted in two separate envelopes/emails.

Envelopes/Emails should be duly marked as follows:

- Technical bid for the Supply and installation of wooden flooring tile planks/ panels.

- Commercial Bid for the Supply and installation of wooden flooring tile planks/ panels.

Both Envelopes/files should be enclosed/attached in a single envelope/email bearing the heading “Supply and installation of wooden flooring tile planks/ panels”. (Tender No. : 2025-26/Estate/2B/ LNM-1006)”.

Bids are liable to be rejected:

- If the above-mentioned bid submission procedure is not followed.

- Incomplete and non-conforming bids.

- Arbitration: All disputes and differences arising between the two parties in connection with this order shall be mutually settled as far as possible, failing which, all such disputes shall be referred to arbitration and settlement under the provision of the Arbitration and Conciliation Act, 1996 and as amended from time to time or any such law for the time being prevailing in India. The venue of such arbitration shall be Jaipur.

Technical Bid: (in a separate sealed envelope/via email)

# Bid for Supply and installation of wooden flooring tile planks/ panels.

# (Tender No. : 2025-26/Estate/2B/LNM-1006)

While submitting quotations, the following procedure/ formalities and conditions may kindly be adhered.

- Company profile or brief note about the bidder's company, PAN number, and GST number should be submitted by the Vendor.

- The List of Directors/Partners/Proprietor/Members of the Firm to be attached.

- Detail of other associated/sister concerns (if any) of Directors/Partners/ Proprietor/ Members to be provided.

- Turnover for the last three years to be mentioned. (Copy to be enclosed)

- List of the clients to whom the vendor has delivered the goods or provided the services in the past.

- Specification as mentioned below, shall be provided as per the details given below:

## Scope of work

- The scope of work will cover the removal and isntallation of given items at the LNMIIT Jaipur campus.

- The Vendor is required to submit the complete documentation of the supplied item after delivery.

- All the vendors shall submit their last three years of verified work completion certificates, genuine

purchase orders/ Work orders, company profiles, and other documents to support the bid. The papers shall comprise at least one document of each year in reverse chronological order.

- Pre-bid visit shall be done to understand the scope of work more effectively and to check the last finished project similar to this project before quoting the rates of the items in the tender to clear up any confusion regarding the items' design/ their minute details, the scope of work, and the solicitation of documents. If a vendor quotes the items without a visit or meeting, their bid will be rejected on technical grounds.

### Procedure for Removal and Installation of New Wooden Flooring Planks/Panels

The scope of this work includes dismantling the existing wooden flooring and supplying, installing, and finishing new interlocked wooden flooring planks/panels in the lecture hall stages. The procedure shall be as follows:

### 1. Removal of Existing Wooden Floor Planks

- Careful Dismantling: Carefully dismantle and remove all existing wooden floor planks from the lecture hall stages without damaging the underlying subfloor. Ensure that no structural damage occurs during removal.

- Debris Removal: Remove all nails, screws, and fasteners. Safely dispose of the dismantled material in accordance with local regulations outside the campus. Make sure all debris is cleared from the area.

- Subfloor Inspection: After removal, inspect the subfloor for any damage, including cracks, holes, or unevenness. If any issues are detected, level or repair the subfloor as needed before proceeding with the installation of new planks.

### 2. Surface Preparation and Termite Treatment

- Surface Cleaning: Thoroughly clean the entire subfloor to remove all dust, loose particles, oil, grease, and any residual adhesive or old finish. Use a vacuum or broom to ensure a smooth, clean surface.

- Subfloor Inspection: If necessary, apply a floor levelling compound to correct any unevenness in the subfloor to ensure a uniform surface for installation.

- Termite Treatment: Apply an anti-termite chemical treatment to the entire subfloor area, as per IS 6313 Part 2:2001. This can be done using brushing or spraying methods, ensuring that the chemical penetrates deeply into the subfloor. Allow sufficient drying and curing time before moving forward.

### 3. Installation of Interlocked Wooden Flooring Planks

- Plank Selection: The wooden planks to be installed shall be 48 inches by 9 inches and must comply with relevant IS standards, such as IS 2202 for wood panels or IS 3067 for solid wood flooring.

- Plank Layout: Begin the installation from the center of the room to ensure symmetry and avoid visible seams near the edges. Arrange the planks in a staggered or brickwork pattern for a more natural and stable finish.

- Interlocking Mechanism: Lay each wooden plank carefully, ensuring that the interlocking tongue-and-groove mechanism (or other locking system) is properly engaged to create tight, seamless joints. There is no need for adhesive since the planks are designed to interlock with each other.

- Alignment and Fitting: Ensure that the planks are straight and aligned, maintaining consistent gaps (if any) for expansion at the edges. Check that all interlocking joints are secure, and the surface is flat with no gaps between planks.

- Cutting and Trimming: For planks that need to be cut to fit around edges, columns, or other obstacles, measure and cut the planks accurately. Use a circular saw or a proper cutting tool to ensure clean, straight edges. Trim the planks carefully to ensure a snug fit at the boundaries without visible gaps or uneven edges.

### 4. Finishing and Cleaning

- Pressing and Rolling: After installation, use a flooring roller (minimum 50 kg weight) to roll over the entire floor surface. This helps to secure the interlocked joints, ensuring that all planks are firmly in place and eliminating any potential air pockets.

- Excess Material Removal: After rolling, check for any excess material or debris left during installation. Wipe off any dust, dirt, or minor adhesive traces from the planks' surface using a damp cloth.

- Final Inspection: Inspect the floor for any visible gaps, misalignments, or imperfections. If necessary, make adjustments to the planks or perform minor touch-ups to ensure a uniform, seamless floor surface.

- Surface Cleaning: Clean the entire installed floor with a soft mop or cloth to remove any remaining dust and to enhance the finish. Ensure that the surface is level, smooth, and free from undulations or visible gaps.

Technical specification:

| Sr. No. | Item Description | Quantity | Unit |
| --- | --- | --- | --- |
| 1 | Supply and installation of wooden flooring tile planks/ panels. Shade – Dark Beige The max. Size of each Lecture Hall stage in LT 9 & 10, is 34 feet by 12 feet. However, actual measurements shall be considered for payment. | 820.00 | Sqft |

Signature with seal

Commercial Bid: (in a separate sealed envelope/password protected file via email)

# Bid for Supply and installation of wooden flooring tile planks/ panels.

# (Tender No. : 2025-26/Estate/2B/LNM-1006)

| Sr. No. | Item Description | Quantity | Unit | Rate | Amount (Rs.) |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply and installation of wooden flooring tile planks/ panels. Shade – Dark Beige The max. Size of each Lecture Hall stage in LT 9 & 10, is 34 feet by 12 feet. However, actual measurements shall be considered for payment. | 820.00 | Sqft |  |  |
| Total |  |  |  |  |  |
|  | G.S.T. 18% |  |  |  |  |
|  | Grand TOTAL with GST |  |  |  |  |

- Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- If the supplier does not have a particular item offered in the tender or a different make is being proposed by him, the same should be highlighted/mentioned especially by him.

- The prices should	include everything (packing, forwarding, transit insurance, transportation, loading /unloading, installation etc.). Loading/unloading up to 50 mtr. shall be done by the supplier.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- The bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- The bid should be on the company’s letterhead and should be submitted in the LNMIIT format only.

- Item/Service not supplied by the supplier/service provider should be mentioned separately.

- The vendor should provide a photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

- Pre-bid meetings and pre-bid site visits can be done before quoting the rate in the tender to clear up any confusion regarding project details, the scope of work, and the solicitation of documents. Otherwise, the vendor may be rejected on technical grounds.

- All charges applicable shall be clearly mentioned in the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final, and nothing extra shall be paid extra.

- All materials must be recommended or approved by engineers before application and it’s vendor responsibility to coordinate with engineers before application. It’s endor responsibility to maintain the safety cleaning throughout the project.

Signature with seal