Tender No:. 2025-26/CWO/2B/LNM-1063

The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non-Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for “LPG Gas Bank & Pipeline for Mess-A, B & C”. Bidders can submit their sealed offers at the following address by Email/Speed-Post/ Registered Post/ By-hand/courier before 05:00 PM on 09.07.2025 (Last date of bid submission).

Filing of Tender:

Option 1: Physical submission of offers (hard copy) in sealed envelopes.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the institute in person/ Speed-Post/ Registered Post/ By-hand/courier of the Institute after marking due entries in the Receipt Book available with the Security Officer at the main gate.

The tender subject and reference number must be mentioned on the envelope.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Option 2: Password-protected online submission via email

Password-protected offers can be submitted by the bidders via email at the below-mentioned email IDs.

tender-document@lnmiit.ac.in (password-protected document)

tender-password@lnmiit.ac.in (password only)

The tender subject and reference number must be mentioned in the subject line of the emails.

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory, are required to be submitted in two separate envelopes/emails.

Envelopes/Emails should be duly marked as follows:

- Technical bid for the for “LPG Gas Bank & Pipeline for Mess-A, B & C”.

- Commercial Bid for the for “LPG Gas Bank & Pipeline for Mess-A, B & C”.

Both Envelopes/files should be enclosed/attached in a single envelope/email bearing the heading for “LPG Gas Bank & Pipeline for Mess-A & Mess-B” 2025-26/Chief Warden Office/2B/LNM-1063”.

Bids are liable to be rejected:

- If the above-mentioned bid submission procedure is not followed.

- Incomplete and non-conforming bids.

- Arbitration: All disputes and differences arising between the two parties in connection with this order shall be mutually settled as far as possible, failing which, all such disputes shall be referred to arbitration and settlement under the provision of the Arbitration and Conciliation Act, 1996 and as amended from time to time or any such law for the time being prevailing in India. The venue of such arbitration shall be Jaipur.

Technical Bid: (in a separate sealed envelope/via email)

While submitting quotations, the following procedure/ formalities and conditions may kindly be adhered.

- A company profile or brief note about the bidder's company, PAN number, and GST number should be submitted by the Vendor.

- The List of Directors/Partners/Proprietor/Members of the Firm to be attached.

- Detail of other associated/sister concerns (if any) of Directors/Partners/ Proprietor/ Members to be provided.

- Turnover for the last three years to be mentioned. (Copy to be enclosed)

- List of the client to whom the vendor has delivered the goods or provided the services in the past.

- The Client List with some purchase orders and satisfactory certificate (to whom the vendor has delivered the goods/provided the services in the past).

- Past performance: Provide list of buyers along with satisfactory reports for installations/ supply of commercial Kitchen equipment in last 03 years. The seller / bidder must have supplied/ installed the commercial usage same/ similar Kitchen equipment to/ at the Government or civil agencies/ Corporations/ Educational Institutes. Preference will be given for above 75% satisfactory report for installation/ supply of commercial Kitchen equipment in last 03 years.

- Completion certificate (attested copy/ true Copy) in respect of supply and installation of the Kitchen equipment worth of at least 20 lakhs at any of the central or state government/ PSU/ PSE/ Educational Institute buyer needs to be attached.

- If the bidder is authorized by the OEM/Manufacturer he should be associated with them for the last 3 years. Proof of the same is to be submitted with the Technical Bid.

- All equipment offered should be with the product literature with all specifications of OEM/ make/model number.

- The equipment offered should be on the website of the OEM/Manufacturer.

- The bidder should be a Manufacturer/Supplier/Dealer/Distributer/ of Kitchen Equipment with a valid PAN and GSTIN registration for manufacturing/trading license (as applicable). Copy of PAN and GSTIN registration to be attached.

- All equipment certification and product literature should be submitted as part of the technical bid. Wherever applicable product literature should be clearly mentioned specifications of the equipment so that the product can be compared with tender requirements. Any literature without detailed specifications make/model will be treated as non-submission of product literature.

- Warranty period of the supplied products shall be covered for 3 years from the date of final acceptance of goods or after completion of installation, commissioning & testing of goods (if included in the scope of supply), at consignee location. OEM offered Warranty certificates must be submitted by successful bidder at the time of delivery of Goods. The seller should guarantee the rectification of goods in case of any breakdown during the guarantee period. Seller should have well established Installation, Commissioning, Training, Troubleshooting and Maintenance Service group in INDIA for attending the after sales service. Details of Service Centers near consignee destinations are to be uploaded along with the bid.

- All mechanical equipment should be provided with a minimum of 03 years’ comprehensive warranty cover for all parts. The steel/ Metal weight structures/ frames may be covered under warranty for atleast 03 years or more.

- During the Warranty period, the fault is to be attended to by the bidder within 48 Hrs and the complaint is to be resolved within 2-3 working days from the date og lodging the complaint.

- Specification shall be provided as per the details given below:

Scope of work, technical data sheet, and Specification of the items:

## Scope of work

The scope of work will cover the supply and installation of for “LPG Gas Bank & Pipeline for Mess-A , B & C”.at the LNMIIT Jaipur campus.

- The Vendor is required to submit the complete documentation of the supplied item after delivery.

Bid for “LPG Gas Bank & Pipeline for Mess-A, B & C

Tender No.: 2025-26/Chief Warden Office/2B/LNM-1063

Technical data sheet and Specification of the items:

| S. No. | Description | Qty | UOM |
| --- | --- | --- | --- |
| A. | LPG GAS BANK & PIPELINE FOR MESS-A & MESS-B |  |  |
| 1 | LPG Gas Bank: Consisting of the following: - Cage: Size-150”x 54”x96” Covered with MS Sheets 16 SWG & MS Jali duly rust proof painted. Constructed with 40x40x5mm & 32x32x3mm MS Angles, MS Flats & ½” Rods, provided with 2 Nos. Door with Locks. The top shall be covered with Fiber Sheets Hut type unit. - Manifold for 10 Cylinders - Flexible Pigtails ½” x 4’ (Suraksha make) –10 Nos. - Cylinder Adaptors (United make) – 10 Nos. - NRV Sets – 10 Nos. | 02 | Nos. |
| 2 | LPG Pipeline: Class MS Pipe-25mm BSP with all required fittings such as Heavy-Duty MS Sockets, Tee, Elbow, Bull Nose, MS Clamps etc.- as required. Separate Lines for Cooking Ranges & Chapati Machine – 140 feet approx. Plus Minus if any, to be done by the vendor within the quoted price. - Pressure Gauge-H Guru make – 04 Nos. - PTF Valve 25mm – 04 Nos. - Flexible Pigtails-3/8 – 5 feet (Suraksha make) – 12 Nos. - NCB 3/8 with Sockets (United Make) -20 Nos. - Any other item, if required. - The Pipeline should be painted in Canary Yellow color. | 02 | Jobs |
| 3 | LPG Gas Bank (Mess-C): Consisting of the following: - Cage: Size-75”x 54”x96” Covered with MS Sheets 16 SWG & MS Jali duly rust proof painted. Constructed with 40x40x5mm & 32x32x3mm MS Angles, MS Flats & ½” Rods, provided with 2 Nos. Door with Locks. Top shall be covered with Fiber Sheets Hut type unit. - Manifold for 5 Cylinders - Flexible Pigtails ½” x 4’ (Suraksha make) –5 Nos. - Cylinder Adaptors (United make) – 5 Nos. - NRV Sets – 5 Nos. | 01 No. |  |
| 4 | LPG Pipe Line (Mess-C): ” Class MS Pipe-25mm BSP with all required fittings such as Heavy-Duty MS Sockets, Tee, Elbow, Bull Nose, MS Clamps etc.- as required. Separate Lines for Cooking Ranges & Chapati Machine – 60 feet approx. Plus Minus if any, to be done by the vendor within the quoted price. - Pressure Gauge-H Guru make – 02 Nos. - PTF Valve 25mm – 02 Nos. - Flexible Pigtails-3/8 – 5 feet (Suraksha make) – 7 Nos. - NCB 3/8 with Sockets (United Make) - 9 Nos. - Any other item, if required. - Pipe line should be painted in Canary yellow color. | 01 Job |  |

Commercial Bid: (in a separate sealed envelope/via email)

Bid for “LPG Gas Bank & Pipeline for Mess-A, B & C”

Tender No.: 2025-26/Chief Warden Office/2B/LNM-1063

| S. No. | Particulars | Specification/ Make | Qty | UOM | Rate | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| A | LPG GAS BANK & PIPELINE FOR MESS-A & MESS-B |  |  |  |  |  |
| 1 | LPG Gas Bank | - Cage: Size-150”x 54”x96” Covered with MS Sheets 16 SWG & MS Jali duly rust proof painted. Constructed with 40x40x5mm & 32x32x3mm MS Angles, MS Flats & ½” Rods, provided with 2 Nos. Door with Locks. Top shall be covered with Fiber Sheets Hut type unit. - Manifold for 10 Cylinders - Flexible Pigtails ½” x 4’ (Suraksha make) –10 Nos. - Cylinder Adaptors (United make) – 10 Nos. - NRV Sets – 10 Nos. | 02 | Nos. |  |  |
| 2 | LPG Pipeline: | Class MS Pipe-25mm BSP with all required fittings such as Heavy-Duty MS Sockets, Tee, Elbow, Bull Nose, MS Clamps etc.- as required. Separate Lines for Cooking Ranges & Chapati Machine – 140 feet approx. Plus Minus if any, to be done by the vendor within the quoted price. - Pressure Gauge-H Guru make – 04 Nos. - PTF Valve 25mm – 04 Nos. - Flexible Pigtails-3/8 – 5 feet (Suraksha make) – 12 Nos. - NCB 3/8 with Sockets (United Make) - 20 Nos. - Any other item, if required. - Pipeline should be painted in Canary Yellow color | 02 | Jobs |  |  |
| 3 | LPG Gas Bank Mess-C | Consisting of the following: - Cage: Size-75”x 54”x96” Covered with MS Sheets 16 SWG & MS Jali duly rust proof painted. Constructed with 40x40x5mm & 32x32x3mm MS Angles, MS Flats & ½” Rods, provided with 2 Nos. Door with Locks. Top shall be covered with Fiber Sheets Hut type unit. - Manifold for 5 Cylinders - Flexible Pigtails ½” x 4’ (Suraksha make) –5 Nos. - Cylinder Adaptors (United make) – 5 Nos. - NRV Sets – 5 Nos. | 01 | Nos. |  |  |
| 4 | LPG Pipeline: | Class MS Pipe-25mm BSP with all required fittings such as Heavy-Duty MS Sockets, Tee, Elbow, Bull Nose, MS Clamps etc.- as required. Separate Lines for Cooking Ranges & Chapati Machine – 140 feet approx. Plus Minus if any, to be done by the vendor within the quoted price. - Pressure Gauge-H Guru make – 04 Nos. - PTF Valve 25mm – 04 Nos. - Flexible Pigtails-3/8 – 5 feet (Suraksha make) – 12 Nos. - NCB 3/8 with Sockets (United Make) - 20 Nos. - Any other item, if required. - Pipeline should be painted in Canary Yellow color | 02 | Job |  |  |
|  | Total |  |  |  |  |  |
|  | GST_______ |  |  |  |  |  |
| TOTAL (including taxes) |  |  |  |  |  |  |

Other T&C

- Taxes like GST should be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- If the supplier does not have a particular item offered in the tender or a different make is being proposed by him, the same should be highlighted/mentioned especially by him.

- The prices should	include everything (packing, forwarding, transit insurance, transportation, loading /unloading, installation etc.). Loading/unloading up to 50 mtr. shall be done by the supplier.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- The bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- Bid should be on the company’s letterhead and should submit their bid in the LNMIIT format only.

- Item/Service not supplied by the supplier/service provider should be mentioned separately.

- Vendor should provide a photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

- Pre-bid meeting and pre-bid site visit can be done before quoting the rate in the tender to clear up any confusion regarding project details, the scope of work, and solicitation of documents.

- All charges applicable should be clearly mentioned in the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final, and nothing extra shall be paid extra.

Signature with seal