Tender No:. 2025-26/Estate/2B/LNM-1077

The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non-Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for “Comprehensive Cleaning and desilting of Campus Sewerage System”. Bidders can submit their sealed offers at the following address by Email/Speed-Post/ Registered Post/ By-hand/courier before 05:00 PM on 28.07.2025 (Last date of bid submission).

Filing of Tender:

Option 1: Physical submission of offers (hard copy) in sealed envelopes.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the institute in person/ Speed-Post/ Registered Post/ By-hand/courier of the Institute after marking due entries in the Receipt Book available with the Security Officer at the main gate.

The tender subject and reference number must be mentioned on the envelope.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Option 2: Password-protected online submission via email

Password-protected offers can be submitted by the bidders via email at the below-mentioned email IDs.

tender-document@lnmiit.ac.in (password-protected document)

tender-password@lnmiit.ac.in (password only)

The tender subject and reference number must be mentioned in the subject line of the emails.

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory, are required to be submitted in two separate envelopes/emails.

Envelopes/Emails should be duly marked as follows:

- Technical bid for the for “Comprehensive Cleaning and desilting of Campus Sewerage System””.

- Commercial Bid for the for “Comprehensive Cleaning and desilting of Campus Sewerage System””.

Both Envelopes/files should be enclosed/attached in a single envelope/email bearing the heading “Tender for Comprehensive Cleaning and desilting of Campus Sewerage System, Tender No.: 2025-26/Estate/2B/LNM-1077”.

Bids are liable to be rejected:

- If the above-mentioned bid submission procedure is not followed.

- Incomplete and non-conforming bids.

- Arbitration: All disputes and differences arising between the two parties in connection with this order shall be mutually settled as far as possible, failing which, all such disputes shall be referred to arbitration and settlement under the provision of the Arbitration and Conciliation Act, 1996 and as amended from time to time or any such law for the time being prevailing in India. The venue of such arbitration shall be Jaipur.

Technical Bid: (in a separate sealed envelope/via email)

Bid for “Comprehensive Cleaning and desilting of Campus Sewerage System”

Tender No.: 2025-26/Estate/2B/LNM-1077

While submitting quotations, the following procedure/ formalities and conditions may kindly be adhered.

Eligibility Criteria:

| Sr. No. | Particulars |  | Attached (Yes/No) |
| --- | --- | --- | --- |
| 1 | Company/Firm Name | ____________________________ (Company profile to be attached) |  |
| 2 | List of Directors/Partners/ Proprietor/ Members of the Firm to be attached. |  |  |
| 3 | Details of other associated/ sister concerns (if any) of Directors/ Partners/ Proprietor/ Members to be provided. |  |  |
| 4 | GST No. | _________________________ (copy to be attached) |  |
| 5 | PAN | _________________________ (copy to be attached) |  |
| 6 | - A signed declaration regarding conflict of interest to be submitted by the Vendor). | To be attached with the bid |  |
| 7 | Client list along with purchase orders and satisfactory certificates from previous clients. | To be attached with the bid |  |

Specification shall be provided as per the details given below:

Scope of work:

Scope of Work: Comprehensive Cleaning and Desilting of Campus Sewerage System

- Survey and Assessment

  - Conduct a preliminary survey of the entire sewerage network, including manholes, inspection chambers, sewer pipelines, and septic tanks.

  - Identify blockages, silt accumulation, damaged areas, and other obstructions.

- Manhole and Chamber Cleaning

  - Remove silt, sludge, solid waste, and debris from all manholes and inspection chambers across the campus.

  - Clean and disinfect the interiors using appropriate cleaning agents.

  - Ensure free flow of wastewater by clearing all junctions.

- Sewer Line Desilting

  - Mechanized desilting of sewer pipelines of varying diameters to remove accumulated silt and blockages.

  - Use of high-pressure water jetting or suction machines (if available) to ensure thorough cleaning.

  - Ensure proper disposal of all desilted material at designated locations, following applicable local regulations.

- Septic/Sludge Tank Cleaning

  - Emptying and cleaning of septic/Sludge tanks, ensuring proper removal and transport of waste by authorized vehicles.

  - Application of disinfectants post-cleaning.

- Safety and Compliance

  - Ensure all work is carried out following applicable health, safety, and environmental regulations.

  - Workers must use appropriate PPE (Personal Protective Equipment) at all times.

  - Proper barricading and signage must be used in working areas to avoid accidents.

- Documentation and Reporting

  - Maintain a record of areas cleaned, volume of waste removed, and disposal details.

  - Submit a completion report with before and after photographs and observations.

- Work Schedule

  - The work should be executed in a phased manner to avoid disruption to campus activities.

  - A detailed timeline and progress plan must be submitted and approved prior to commencement.

Technical specification:

| Sr. No. | Item Name | Specification | Qty. | UOM |
| --- | --- | --- | --- | --- |
| 1 | Cleaning of Chocked Sewer Line by diesel running vehicle mounting hydraulic operated high-pressure suction cum jetting sewer cleaning machine fitted with pump having 4000 liters suction capacity and 6000 liters. Water jetting tank capacity including skilled operator, supervising engineer etc. for cleaning and desilting of Manholes/Chamber and desilting of Sewer lines of different sizes. dechocking and flushing of sewer lines including Vertical Shaft of all internal building in Campus, building outlet and from one manhole to another by high pressure jetting system of 22000 PSI for sewer line from 150 mm to 1200 mm up to STP inlet including sludge tank/Septic tank etc complete as directed | Shape Of Manhole/Chamber- Rectangular/Circular | Total Length of Sewer lines =3100 Rmt Total Nos of manhole/Chamber=183 |  |

- Note: - Above mention quantities are approximate and shall may vary according to actual

Signature with seal

Commercial Bid: (in separate sealed envelope/password protected file via email)

Bid for “Comprehensive Cleaning and desilting of Campus Sewerage System”

Tender No.: 2025-26/Estate/2B/LNM-1077

| S.No. | Item Name/ Description | Make & Model/Specification | Qty. | UOM | Rate | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Cleaning of Chocked Sewer Line by diesel running vehicle mounting hydraulic operated high-pressure suction cum jetting sewer cleaning machine fitted with pump having 4000 liters suction capacity and 6000 liters. Water jetting tank capacity including skilled operator, supervising engineer etc. for cleaning and desilting of Manholes/Chamber and desilting of Sewer lines of different sizes. dechocking and flushing of sewer lines including Vertical Shaft of all internal building in Campus, building outlet and from one manhole to another by high pressure jetting system of 22000 PSI for sewer line from 150 mm to 1200 mm up to STP inlet including sludge tank/Septic tank etc complete as directed | Shape Of Manhole/Chamber- Rectangular/Circular | Total Length of Sewer lines =3100 Rmt Total Nos of manhole/Chamber=183 | Rmt |  |  |
| 2. | Transportation charges |  | 01 | Nos. |  |  |
| Total |  |  |  |  |  |  |
| GST |  |  |  |  |  |  |
| Total including GST |  |  |  |  |  |  |

- Note: - Above mention quantities are approximate and shall may vary according to actual

- Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- If the supplier does not have a particular item offered in the tender or a different make is being proposed by him, the same should be highlighted/mentioned especially by him.

- The prices should	include everything (packing, forwarding, transit insurance, transportation, loading /unloading, installation etc.). Loading/unloading up to 50 mtr. shall be done by the supplier.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- The bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- Bid should be on the company’s letterhead and should submit their bid in the LNMIIT format only.

- Item/Service not supplied by the supplier/service provider should be mentioned separately.

- Vendor should provide a photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

- Pre-bid meeting and pre-bid site visit can be done before quoting the rate in the tender to clear up any confusion regarding project details, the scope of work, and solicitation of documents.

- All charges applicable shall be clearly mentioned in the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final, and nothing extra shall be paid extra.

Signature with seal

FORMAT FOR

Conflict of Interest Declaration

(To be printed on vendor’s letterhead and signed with seal)

To
The Director
LNMIIT, Jaipur
Rajasthan – 302031

Subject: Declaration Regarding Conflict of Interest

Dear Sir/Madam,

We, the undersigned, do hereby declare that:

- We have no conflict of interest that would affect our objectivity or ability to perform the contractual obligations for the work related to [Insert the Tender/Work Title, e.g., “Comprehensive Cleaning and Desilting of Campus Sewerage System”].

- We affirm that neither our organization nor any of its directors, partners, or employees have any relationship (personal or professional), interest, or shareholding in LNMIIT or with any of its officers or employees which could be considered a potential conflict of interest.

- We undertake to immediately inform LNMIIT in writing if any such conflict of interest arises during the course of participation in the tender or execution of the contract.

- We further affirm that we will not engage in any activities or relationships that could be seen as a conflict of interest without prior written consent from LNMIIT.

We declare that the above statements are true and correct to the best of our knowledge and belief. We understand that any misrepresentation or suppression of facts may lead to disqualification or termination of the contract.

Thanking you.

Yours faithfully,

For [Vendor’s Firm Name]

(Signature with seal)

Name:
Designation:
Date:
Place: