Tender No:. 2025-26/Estate/2B/LNM-1119

The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non-Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for the “Supply of Plumbing Material”. Bidders can submit their sealed offers/s at the following address by Email/Speed-Post/ Registered Post/ By-hand/courier before 05:00 PM on 06th September 2025.

Filing of Tender:

Option 1: Physical submission of offers (hard copy) in sealed envelopes.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the institute in person/ Speed-Post/ Registered Post/ By-hand/courier of the Institute after marking due entries in the Receipt Book available with the Security Officer at the main gate.

The tender subject and reference number must be mentioned on the envelope.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Option 2: Password-protected online submission via Email

Password-protected offers can be submitted by the bidders via email at the below-mentioned email IDs.

tender-document@lnmiit.ac.in (password-protected document)

tender-password@lnmiit.ac.in (password only)

The tender subject and reference number must be mentioned in the subject line of the emails.

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorised signatory, are required to be submitted in two separate envelopes/emails.

Envelopes/Emails should be duly marked as follows:

- Technical bid for the Supply of Plumbing Material.

- Commercial Bid for the Supply of Plumbing Material.

Both Envelopes/files should be enclosed/attached in a single envelope/email bearing the heading “Supply of Plumbing Material”. (Tender No. : 2025-26/Estate/2B/ LNM-1119)”.

Bids are liable to be rejected:

- If the above-mentioned bid submission procedure is not followed.

- Incomplete and non-conforming bids.

- Arbitration: All disputes and differences arising between the two parties in connection with this order shall be mutually settled as far as possible, failing which, all such disputes shall be referred to arbitration and settlement under the provision of the Arbitration and Conciliation Act, 1996 and as amended from time to time or any such law for the time being prevailing in India. The venue of such arbitration shall be Jaipur.

Technical Bid: (in a separate sealed envelope/via email)

# Bid for Supply of Plumbing Material.

# (Tender No. : 2025-26/Estate/2B/LNM-1119)

While submitting quotations, the following procedure/ formalities and conditions may kindly be  adhered.

- Company profile or brief note about the bidder's company, PAN number, and GST number should be submitted by the Vendor.

- The List of Directors/Partners/Proprietor/Members of the Firm to be attached.

- Detail of other associated/sister concerns (if any) of Directors/Partners/ Proprietor/ Members to be provided.

- Turnover for the last three years to be mentioned. (Copy to be enclosed)

- List of the clients to whom the vendor has delivered the goods or provided the services in the past.

- Specification as mentioned below, shall be provided as per the details given below:

## Scope of work

- The scope of work will cover the supply/service/SITC of given items at the LNMIIT Jaipur campus.

- The Vendor is required to submit the complete documentation of the supplied item after delivery.

- All the vendors shall submit their three years genuine purchase orders/ Work orders, company profiles, and other documents to support the bid. The papers shall comprise at least one document of each year in reverse chronological order.

- Pre-bid visit can be done to understand the scope of work more effectively. If a vendor quotes the items without a visit or meeting, their bid will be rejected on technical grounds.

Technical specification:

| Sr. No. | Item Description | Quantity | Unit |
| --- | --- | --- | --- |
| 1 | Long body bib cock form flow 15mm (Make-ESS ESS Croma C2098 | 100 | Nos. |
| 2 | Short Body bib cock (Make ESS ESS C-2028) | 100 | Nos. |
| 3 | 4 inch Butterfly valve (Make-Zoloto in SS only) | 2 | Nos. |
| 4 | Piller Cock (Make ESS ESS C-201) | 100 | Nos. |
| 5 | 2 IN 1 Bib Cock (Make-ESS ESS C-2030) | 50 | Nos. |
| 6 | PVC Connection Pipe 18 inch (Make-Asian Paint | 100 | Nos. |
| 7 | Extension (XT) piece 1/2inch x 1 inch | 50 | Nos. |
| 8 | Extension (XT) poece 1/2inch x 2 inch | 50 | Nos. |
| 9 | Extension (XT) piece 1/2inch 3 inch | 50 | Nos. |
| 10 | Angle Valve (Make-ESS ESS C-204) | 100 | Nos. |
| 11 | Sink Mixer (Make-ESS ESS Croma C219) | 30 | Nos. |
| 12 | Washbasin Mixer (Make- ESS ESS Croma C-211A) | 30 | Nos. |
| 13 | CP Hex-nipple 1/2 inch | 50 | Nos. |
| 14 | CP Hex nipple 1 inch | 50 | Nos. |
| 15 | Urinal waste coupling 32mm dome CP Polished (Make-Viking) | 100 | Nos. |
| 16 | EWC rimless (Make cera) 9 inch wall distance, One piece rimless EWC, Celebrate 3D 220 mm Cat No.-S1013231, with seat cover, S traps | 3 | Nos. |
| 17 | EWC rimless (Make cera) 9 inch wall distance, One piece rimless EWC. One piece rimless EWC with duroplast slim soft close seat cover, 650 x 380 x 720 mm, Strap 110 mm, Cat No.: S1013235, Celebrate 110 MM | 4 | Nos. |
| 18 | Single bowl sink with drain board Gloss, Size: 940 x 457 mm (37" x 18") Depth: 203 mm (8"). Installation: Top mount, Cat No.: B4512122G, SS 304, 1 mm SS sheet | 3 | Nos. |

Signature with seal

Commercial Bid: (in a separate sealed envelope/password protected bid via email)

# Bid for Supply of Plumbing Material.

(Tender No. : 2025-26/Estate/2B/LNM-1119)

| Sr. No. | Item Description | Qty. | Unit | Rate | Amount (Rs.) |
| --- | --- | --- | --- | --- | --- |
| 1 | Long body bib cock form flow 15mm (Make-ESS ESS Croma C2098 | 100 | Nos. |  |  |
| 2 | Short Body bib cock (Make ESS ESS C-2028) | 100 | Nos. |  |  |
| 3 | 4 inch Butterfly valve (Make-Zoloto in SS only) | 2 | Nos. |  |  |
| 4 | Piller Cock (Make ESS ESS C-201) | 100 | Nos. |  |  |
| 5 | 2 IN 1 Bib Cock (Make-ESS ESS C-2030) | 50 | Nos. |  |  |
| 6 | PVC Connection Pipe 18 inch (Make-Asian Paint | 100 | Nos. |  |  |
| 7 | Extension (XT) piece 1/2inch x 1 inch | 50 | Nos. |  |  |
| 8 | Extension (XT) poece 1/2inch x 2 inch | 50 | Nos. |  |  |
| 9 | Extension (XT) piece 1/2inch 3 inch | 50 | Nos. |  |  |
| 10 | Angle Valve (Make-ESS ESS C-204) | 100 | Nos. |  |  |
| 11 | Sink Mixer (Make-ESS ESS Croma C219) | 30 | Nos. |  |  |
| 12 | Washbasin Mixer (Make- ESS ESS Croma C-211A) | 30 | Nos. |  |  |
| 13 | CP Hex-nipple 1/2 inch | 50 | Nos. |  |  |
| 14 | CP Hex nipple 1 inch | 50 | Nos. |  |  |
| 15 | Urinal waste coupling 32mm dome CP Polished (Make-Viking) | 100 | Nos. |  |  |
| 16 | EWC rimless (Make cera) 9 inch wall distance, One piece rimless EWC, Celebrate 3D 220 mm Cat No.-S1013231, with seat cover, S traps | 3 | Nos. |  |  |
| 17 | EWC rimless (Make cera) 9 inch wall distance, One piece rimless EWC. One piece rimless EWC with duroplast slim soft close seat cover, 650 x 380 x 720 mm, Strap 110 mm, Cat No.: S1013235, Celebrate 110 MM | 4 | Nos. |  |  |
| 18 | Single bowl sink with drain board Gloss, Size: 940 x 457 mm (37" x 18") Depth: 203 mm (8"). Installation: Top mount, Cat No.: B4512122G, SS 304, 1 mm SS sheet | 3 | Nos. |  |  |
| 19 | Transportation charges/Cartage including loading and uploading | 1 | Nos. |  |  |
| Total |  |  |  |  |  |
| G.S.T. 18% |  |  |  |  |  |
| Grand TOTAL with GST |  |  |  |  |  |

- Taxes like GST should be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- If the supplier does not have a particular item offered in the tender or a different make is being proposed by him, the same should be highlighted/mentioned especially by him.

- The prices should	include everything (packing, forwarding, transit insurance, transportation, loading /unloading, installation etc.). Loading/unloading up to 50 mtr. shall be done by the supplier.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- The bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- The bid should be on the company’s letterhead and should be submitted in the LNMIIT format only.

- Item/Service not supplied by the supplier/service provider should be mentioned separately.

- The vendor should provide a photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

- Pre-bid meetings and pre-bid site visits can be done before quoting the rate in the tender to clear up any confusion regarding project details, the scope of work, and the solicitation of documents. Otherwise, the vendor may be rejected on technical grounds.

- All charges applicable should be clearly mentioned in the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final, and nothing extra shall be paid extra.

- All materials must be recommended or approved by engineers before application and it’s vendor responsibility to coordinate with engineers before application. It’s vendor responsibility to maintain the safety cleaning throughout the project.

Signature with seal