THE PROPOSED CONSTRUCTION

OF

LNMIIT INTERNATIONAL CENTRE FOR ARTIFICIAL INTELLIGENCE

TENDER DOCUMENT

FOR

33KV  WORKS

THE LNM INSTITUTE OF INFORMATION TECHNOLOGY,

RUPA KI NANGAL, VIA JAMDOLI, JAIPUR, RAJASTHAN.

Index

| Sno. | Description | Page No. |
| --- | --- | --- |
| 1. | Notice Inviting Tender | 3 |
| 2. | Instruction to Bidders | 4-5 |
| 3. | Eligibility Criteria | 6-7 |
| 4. | Scope of work | 8-10 |
| 5. | General Terms of Conditions | 11-13 |
| 7. | Technical Specifications for Cables | 14-15 |
| 9. | Schedule of Quantities | 15-17 |
| 10. | Affidavit | 18 |
| 11. | Proforma EMD/Performance bank guarantee/Security deposit | 19-21 |
| 12. | Price bid | 22-25 |

Notice Inviting Bid

(Competitive bidding)

NIT no.: LICAI/NIT/008

The Director on behalf of THE LNM INSTITUTE OF INFORMATION TECHNOLOGY, JAIPUR (“LNMIIT”) having its office at Rupa ki Nangal, Via Jamdoli, Jaipur invites Item rate tender from Eligible firms/agencies for the following works thru online/hard copy submission under two bid system:

Name of the Project: Construction of LNMIIT International Centre for Artificial intelligence (LICAI) (G+5) at Jaipur.

Sub Head: Supply Installation, Testing and commissioning of  33 KV works.

Detail of the Tender bid:

Earnest Money: Rs. 10,00,000.00

Period of Completion: 3 Months.

Mobilization time - Nil

Date of Issue of Bid: 03.02.2026

Last date & time of submission of bid document: 11.02.2026

Name: Dr. Kamal Kishore Khatri (Chairman-PCC)

Phone No.: 9414961287

Email- chairman.pcc-project@lnmiit.ac.in

Director

LNMIIT

Instructions for the Bidder

- This Notice Inviting Tenders (Part-1,2,3 & 4) i.e. Eligibility criteria for the bidder, Scope of work, Terms & conditions,  Defects liability period, General terms & conditions, General technical conditions, technical specifications, Schedule of quantities, List of approved makes, Affidavit, Proforma for Bank guarantee, Price bid & Drawings shall form the TENDER DOCUMENTS.

- Filing of Tender:

Option 1: Physical submission of offers (hard copy) in sealed envelopes.

The bid document shall be submitted in two envelopes consisting of the following:

Envelope 1: Bid document duly signed and stamped by the authorised signatory along with the EMD as specified.

Envelope :2: Price Bid.

Price bid envelope i.e envelope 2 will be opened only of those bidders who successfully meet the eligibility criteria.

Option 2: Password-protected online submission via Email

Technical bid (without password) and Financial Bid (password protected) can be submitted by the bidders via email at the below-mentioned email IDs.

tender-document@lnmiit.ac.in (Bid document-Technical Bid and Financial bid)

chairman.pcc-projects@lnmiit.ac.in (password of financial bid)

The tender subject and reference number must be mentioned in the subject line of the emails.

- The Contractors are to pay the amount of earnest money as specified in the tender notice separately along with the Tender. Tenders for which earnest money deposit has not been received separately shall be returned unopened/not to be considered for further processing.

- The Contractor should certify that he has studied the Work at site and acquainted himself with the position regarding construction, materials & labour required for the work.

- Should the Contractor notice any discrepancy or error in any statement made, he shall immediately bring to the notice of the LNMIIT-Project Manager of LNMIIT, Jaipur (project.manager@lnmiit.ac.in), Contact no-8947095313 and obtain clarifications before submitting the tender.  The tender shall be recorded as such in the covering letter to the tender, failing which the Owner shall have right to ask the Contractor to execute the Work according to the statement made in the tender, without any compensation.

- The Rates should be quoted in figures and words, and the respective amounts or total shall be given by each TENDERER. In case of any difference in rates in figures / words, those given in words, shall hold good as quoted rate and in case of any difference in rates and Total amount, quoted Rates shall hold good.

- The TENDERS shall remain valid for acceptance for 60 days from the last date of Submission.

- The successful TENDERER shall be intimated about the Award of Work and the Earnest Money Deposits of other TENDERERS shall be returned without any interest on the amount deposited.

- The LNMIIT reserves the right to reject any / all TENDERS without assigning any reason and shall not be bound to accept the lowest or any other TENDER.

- TENDER not accompanied by the requisite EARNEST MONEY DEPOSIT in the specified form or accompanied with the conditional offer are liable to be summarily rejected.

- The Bidder should stamp and sign the document in order to ascertain that he complies with all the specifications and terms and conditions mentioned in the Bid.

- Earnest money deposit will be paid online or thru Demand draft or by online bank transfer to the following bank account:

Account Name         : “ The LNM Institute of Information Technology”

Account No.     :       001201038168

Bank                    :       ICICI Bank Ltd.

Branch         :     C-Scheme, Jaipur

IFSC Code     :       ICIC0000012

Account type    :       Saving account

The acknowledgement of the EMD should be mailed to the Chief Finance officer on the email: cfo@lnmiit.ac.in.

- Co-ordination with other agencies / contractors appointed directly by the owner:

The Successful bidder shall co-ordinate and provide facilities for the contractors appointed by the LNMIIT.

In addition to the above Clauses all requirements will have to be implemented by the Bidder for all persons employed by him working on the Site including monitoring to ensure implementation etc., employed directly by the Owner.

- The tender of any Contractor not complying with any of the above instructions 1 to 12 may be rejected.

I / We have carefully read the above said instructions have understood the same and shall comply with the same.

Place : 							Signature of the Contractor

Date:								With seal & address

Name of the Contractor: -

Contact No.

e-mail id:

Part-1

Eligibility Criteria for 33 KV Work

| no. | Parameter | Documents to be submitted by Bidder |
| --- | --- | --- |
| 1 | Earnest Money Deposit: | The bidder should submit and EMD of Rs. 10,00,000/- (Ten lacs only) |
| 3. | Bidder Turnover | The OEM should submit the CA Certified turnover document for the Financial Turnover of Bidder for last three Financial Years i.e. FY 2022-23, 2023-24, and 2024-25 . |
| 4. | Bidder Authorized Certificate | The bidder must fulfil the following: - Must have executed at least two (2) similar 33 kV or above level EPC projects in the last 5 years. - Must have valid A-Class Electrical Contractor License. - Must be registered vendor/contractor in JVVNL / RVPN / State DISCOM (preferred). - Average annual turnover of Rs. 5 crore in last 3 years. - Must submit GST, PAN, PF/ESI registration. |
| 5. | Experience criteria & Past performance for the OEM | To qualify, each bidder should have supplied /executed similar category product/work i.e SITC of the lift in any Govt. Department/PSU/ Public Listed Company in last five years with: - Average annual turnover of Rs. 5 crore in last 3 years. Requirements: - Completion certificates mentioning order number and order value issued by the relevant competent Authority |
| 8. | GST number | The bidder should attach GST number detail mandatorily |
| 9. | PAN Card | The bidder should attach PAN card detail mandatorily |
| 10. | BOQ Compliance | The Bidder should stamp and sign the document in order to ascertain that he complies all the specifications and terms and conditions mentioned in the Bid |
| 11. | Affidavit as per Annexure-1 | The Bidder should submit the Affidavit as per Annexure-1 |

Part-2

Scope of Work:

The contractor shall execute the work on a Item rate basis including:

2.1 Design & Engineering

- Detailed survey from LNMIIT Campus Gate No. 2 to nearest JVVNL Substation point.

- Survey, approval of SLD ,Preparation of route plan for 33 kV line ,including Under Ground Double Circuit cable and Over Head Double Circuit Line including any lattice structure required to cross any pond or waterbody etc.

- Load calculation and preparation of single-line diagram (SLD).Basic SLD will be provided by LNMIIT.

- Obtaining all necessary approvals from JVVNL and Electrical Inspectorate or any other statutory authorities required .

2.2 Procurement & Supply

- As per BOQ

2.3 Execution / Construction

- As per BOQ

2.4 Approvals / Coordination

- submission of drawings to JVVNL.

- Getting line shutdowns.

- Testing and commissioning.

- Final charging approval from JVVNL & Electrical Inspector and any other authorities .

2.5 Handover

- As-built drawings

- Test reports

- Warranty certificates

- Training to LNMIIT technical team

12) COMPLIANCE WITH REGULATIONS AND INDIAN STANDARDS: All works shall be carried out in accordance with relevant regulation both statutory and those specified by the Indian Standards related to the works covered by this specification. In particular, the equipment and installation will comply with the following:

(i) Factories Act.

(ii) Indian Electricity Rules.

(iii) B.I.S. & other standards as applicable.

(iv) Workmen’s compensation Act.

(v) Statutory norms prescribed by local bodies like CEA, Power Supply Co.  lift inspectorate, etc.

.

Part-3

Terms & Conditions for  warranty/defects liability period of one year and

1) The Contractor shall repair or replace any parts detail in the following clause which are found to be defective.

2) The equipment covered in the contract for maintenance include: -

a)  Examine periodically all safety devices and governors and make all customary safety tests.

d) Systematically examine and adjust the following components: -

3)  Any accident that occurred due to negligence will be the entire responsibility of the contractor.

Part-4

General Terms & Conditions

1)  The intending bidder must read the terms and conditions of the bid carefully. He should only submit his bid if he considers himself eligible and he is in possession of all the documents required.

2) Information and Instructions for bidders posted shall form part of bid document.

3) The LNMIIT-Jaipur reserves the right to reject any prospective bid at any point of time, if the documents provided by the bidder appear to be fake or any false information is provided by the bidder.

4) The intending contractor is advised to visit the site of work, of his own, to acquainting himself regarding site details etc. prior to quoting the tender.

5) The time allowed for carrying out the work will be 90 days from the date of the contract order. If the Bidder fails to complete the work within 90 days from the date of contract order and the reason for delay is not found reasonable by the Project Manager, LNMIIT, he will be charged with @ Rs 5000/- per week. No fine will be imposed if the reason for the delay is found reasonable by the Project Manager.

6) Payment Terms:

a) 10 % Advance Against BG

b) 75 % payment of Invoice Value of material after material delevery at site.

c) Balance Payment after successful Commissioning  and Handing Over .

7) Intending bidders are advised to inspect and examine the site and its surroundings and satisfy themselves before submitting their bids as to the nature of the ground and sub-soil (so far as is practicable), the form and nature of the site, the means of access to the site, the accommodation they may require and in general shall themselves obtain all necessary information as to risks, contingencies and other circumstances which may influence or affect their bid. The bidder shall be deemed to have full knowledge of the site whether he inspects it or not and no extra charge consequent on any misunderstanding or otherwise shall be allowed. The bidders shall be responsible for arranging and maintaining at his own cost all.

8) It is required that each Bidder/Contractor (including their respective officers, employees and agents) adhere to the highest ethical standards, and report to the Director-LNMIIT all suspected acts of fraud or corruption or Coercion or Collusion of which it has knowledge or becomes aware, during the tendering process and throughout the negotiation or award of a contract.

9)	Rates: The rates quoted by the tenderer, shall be firm and inclusive of all taxes (including works GST, labour cess), duties, levies, octroi etc. and all charges for packing forwarding, insurance, freight and delivery, installation, testing, commissioning etc. at site including temporary construction of storage, risks overhead charges, general liabilities/obligations and clearance from CEA/lift inspector. The fee if any, for the CEA/lift inspector inspections shall be borne by the successful bidder and he will liason with the Office of the lift Inspector and should submit the valid license to use the Lift issued from the Office of the Lift Inspector in the Office of the Director, LNMIIT-Jaipur.

10) GUARANTEE: All equipment’s shall be guaranteed for a period of 12 months, from the date of taking over the installation by the department/Client against unsatisfactory performance and/or breakdown due to defective workmanship or material. The equipment or components, or any part thereof, found defective during guarantee period shall be forthwith repaired or replaced free of cost, to the satisfaction of the Project Manager. In case it is felt by the department that undue delay is being caused by the contractor in doing this, the same will be got done by the department at the risk and cost of the contractor. The decision of the Project manager in this regard shall be final & binding on the contractor.

11)   Dispute Resolution: If any dispute with regard to the terms of this Contract shall be handled through Arbitration, as per the following terms, between them:

(I) THAT, the parties agree that any dispute or difference whatsoever arising between them out of/under or in connection with or relating to the existence, meaning, scope, validity, termination, breach, or any other effect flowing from the Contract shall be referred to a Sole Arbitrator, as appointed under clause (IV) herein below;

(II) AND THAT, the parties agree that in respect of those matters, as are not defined in the terms and conditions of this Dispute Resolution Clause, or anywhere else in the Contract, the same shall be decided and settled by the Sole Arbitrator, in accordance with the Arbitration and Conciliation Act, 1996 and the amendments thereof as in operation on the date of execution of the Contract;

(III) AND THAT, the parties agree that the place of Arbitration shall be at Jaipur, Rajasthan;

(IV) AND THAT, whenever the parties decide to resort/resolve to Arbitration for dispute

resolution, the Director, LNMIIT shall be the authority to appoint the Sole Arbitrator and such appointment shall be binding on both the parties:

Provided that before approaching Director-LNMIIT for appointment of Sole Arbitrator, the parties shall make a sincere attempt to resolve their dispute, within a time period of 3 months, through mutual conciliation/ negotiations. The sole arbitrator shall not be an employee of any of the party to this tender.

(V) AND THAT all costs relating to the Arbitration proceedings shall be borne equally by both parties.

(VI) AND THAT, the parties agree that the language for making all submissions and evidence will be presented in ENGLISH during the proceedings.

(VII) AND THAT, it is agreed between the parties that they shall extend their fullest support and co-operation to the Sole Arbitrator and not seek adjournment of the Arbitration proceedings, without explaining the reasons therefore, in writing, in advance, for seeking of such adjournment, and further that there shall not be more than two such adjournments granted, even when there exists a valid reason for seeking such adjournment. And, it is further agreed that the parties should cooperate in completing the arbitration process and the broader dispute resolution within 6 months or at most with an extension, on mutual consent, of another 6 months;

(VIII) The sole Arbitrator shall record, in writing, the arguments of the two parties on each of the points of dispute and pass a reasoned and speaking Award thereon, within the Terms and Conditions of the Contract Agreement.

(IX) If any difference remains after an Arbitral award, and an appeal could be raised under the Arbitration and Conciliation Act, 1996, the appropriate Court within the Jaipur , Rajasthan shall deal with the matter.

TECHNICAL SPECIFICATIONS –

HT CABLES

33 kV GRADE XLPE INSULATED  MULTICORE CABLES - EARTHED

1.	GENERAL

Cables shall be aluminum conductor, XLPE insulated, PVC sheathed, Armoured/ and shall be supplied, inspected, laid, tested and commissioned in accordance with drawings, specifications, relevant Indian Standard Specifications and cable manufacturer’s instructions.

2)

- Conductor:

- Material: Aluminium

- Shape: Stranded compacted circular aluminium/ copper as per Class-2 of IS: 8130.

- Conductor Screening: Extruded semi conducting compound.

- Insulation material: Cross linked polyethylene (XLPE) (Red, Yellow, Blue)

- Insulation screening: Extruded semi conducting compound followed by helically wrapped 0.050mm thick copper tape.

- PVC Fillers

- Inner Sheath: Extruded PVC

- Armouring: Single layer of galvanized steel round wires/ flat strips

- Outer sheath: HR PVC type ST-2 of IS: 5831

- Colour of sheath: Black

3.	TESTS

Cables shall be type tested and routine tested in accordance with IS: 7098 (Part II):

a. 	Conductor resistance test.

b. 	Partial discharge test.

c. 	High Voltage test.

The following tests shall be carried out at site for insulation between phases and between phase and earth before and after cable laying:

a. 	Insulation Resistance Test.

b. 	Continuity resistance test.

c. 	Sheathing continuity test.

d. 	Earth test.

e. 	High Voltage test.

SECHEDULE OF QUANTITIES

| SL. NO. | ITEM DESCRIPTIONS | UNIT | QTY. |
| --- | --- | --- | --- |
| 1 | 3C X 300 sq.mm 33KV CABLE MAKE HAVELLS. Providing & Laying XLPE insulated three core Armoured Aluminium cable for working voltage 33 K.V.(E) confirming IS :7098 P - 2 with H4- Grade electrolytic aluminium conductor confirming to IS: 8130 class-2 of purity >99.6%, Insulation Screening: Extruded Semiconducting Compound followed by helically wrapped Copper Tape, round / flat strip armouring of cables, Inner / outer sheath PVC type ST-2 confirming to IS:5831. SUPPLY INSTALLATION ERECTION AND COMMISSSIONING | Mtrs. | 16000 |
| 2 | 3C X 300 sq.mm 33KV CABLE MAKE POLYCAB. Providing & Laying XLPE insulated three core Armoured Aluminium cable for working voltage 33 K.V.(E) confirming IS :7098 P - 2 with H4- Grade electrolytic aluminium conductor confirming to IS: 8130 class-2 of purity >99.6%, Insulation Screening: Extruded Semiconducting Compound followed by helically wrapped Copper Tape, round / flat strip armouring of cables, Inner / outer sheath PVC type ST-2 confirming to IS:5831. SUPPLY INSTALLATION ERECTION AND COMMISSSIONING | Mtrs | 16000 |
| 3 | STRAIGHT THROUGH JOINT KIT 33KV 300sq.mm. a specialized electrical accessory for splicing two underground XLPE (Cross-linked Polyethylene) cables of 33,000 volts and 300 sq.mm cross-section, using heat-shrink or cold-shrink technology for seamless electrical continuity, stress control, and environmental sealing, with major brands Raychem and 3M offering these kits with essential components like lugs, mastic, tapes, and stress cones. These kits are vital for underground power distribution, ensuring safety and performance in high voltage .SUPPLY INSTALLATION ERECTION AND COMMISSIONING. | nos | 42 |
| 4 | Supply and Erection of G.I pipe 88kg. 5” Heavy Duty ISI MARK with MS Socket | mtrs | 900 |
| 5 | 33KV OUTDOOR JOINT KIT. Providing & making heat shrinkable type indoor terminations/ joint kit suitable for 33 KV (Earthed) cable with required components, prepration of cable ends. Type test report should be as per IS13573:2011 which covered all sequence for table 2 for termination kit and table 3 for streight through joint inclusive thermal & dynamic short circuit test, humidity test, soil fog test. Cross linking shall be done outside factory with E- beam/ peroxide technology. Extrusion process shall be in house OEM within same vicinity. including testing etc. as required of following sizes. All as per pre approved by Engineer in charge. SUPPLY INSTALLATION ERECTION AND COMMISSSIONING Make- Raychem and 3M | nos | 32 |
| 6 | 33 kv Tower with G/O supply Installation Testing and Commissioning. | nos | 6 |
| 7 | 33KV METERING TOWER ( a specialized, robust enclosure housing Current Transformers (CTs) and Potential Transformers (PTs) to accurately measure high-voltage electricity (33,000 volts) for billing, management, and compliance, designed for outdoor or indoor use, often pole-mounted or within switchgear, ensuring precise energy accounting for large consumer) SUPPLY INSTALLATION ERECTION AND COMMISSSIONING | nos | 4 |
| 8 | PG CLAMP (an essential connector used in electrical distribution and transmission lines to securely join two or more parallel conductors, rated for systems operating up to 33,000 volts) SUPPLY INSTALLATION ERECTION AND COMMISSSIONING | sets | 6 |
| 9 | 33kv right angle BOOT set | set | 8 |
| 10 | 33KV INDOOR JOINT KIT. Providing & making heat shrinkable type indoor terminations/ joint kit suitable for 33 KV (Earthed) cable with required components, prepration of cable ends. Type test report should be as per IS13573:2011 which covered all sequence for table 2 for termination kit and table 3 for streight through joint inclusive thermal & dynamic short circuit test, humidity test, soil fog test. Cross linking shall be done outside factory with E- beam/ peroxide technology. Extrusion process shall be in house OEM within same vicinity. including testing etc. as required of following sizes. All as per pre approved by Engineer in charge. SUPPLY INSTALLATION ERECTION AND COMMISSSIONING Make- Raychem and 3M | nos | 5 |
| 11 | 33KV VCB 1 INCOMMER 2 OUTGOING. (a high-voltage electrical switchgear designed to safely interrupt and isolate electrical faults in power systems with a nominal voltage of 33,000 volts) SUPPLY INSTALLATION ERECTION AND COMMISSSIONING Make-ABB | L/s | 1 |
| 12 | GEL EARTHING. is an advanced, maintenance-free grounding system using a conductive gel compound around an electrode (GI pipe/copper) to create a stable, low-resistance path for fault currents, offering better performance and longer life than traditional salt-charcoal pits, especially in dry or rocky soils. The gel retains moisture and enhances soil conductivity, preventing electrode corrosion and ensuring consistent grounding for safety. SUPPLY INSTALLATION ERECTION AND COMMISSSIONING | nos | 36 |
| 13 | GI EARTHING STRIP 50/6 SUPPLY INSTALLATION ERECTION AND COMMISSSIONING | mtrs | 250 |
| 14 | Copper Plate Earthing 2x2x2 10Ft PIPE SALT AND COAL (versatile product available for both industrial and domestic (tableware, artistic) uses, known for its excellent electrical and thermal conductivity, corrosion resistance, and traditional appeal SUPPLY INSTALLATION ERECTION AND COMMISSSIONING / 10ft pipe salt and coal earthing Supply installation testing and commissioning | nos | 8 |
| 15 | Copper strip 50x6 supply installation testing and commissioning | mts | 100 |
| 16 | Open point Tower supply Installation, and commissioning | nos | 3 |
| 17 | Electrical Inspector fee consultancy and other charges | 1 Job | 1 |
| 18 | Civil work Civil work (Labour + Material) AND OTHER MISCELLANEOUS CHARGES | 1 Job | 1 |
| 19 | JVVNL supervision, and consultancy JDA, NHAI, Nagar Nigam, Forest, TWD, THD & Other local, public agencies. | 1 Job | 1 |

Annexure-1

AFFIDAVIT

- I, the undersigned, do hereby certify that all the statements made in the required statements are true & correct.

- The undersigned also hereby certifies that neither our firms M/s___________________ have abandoned any work in previous projects or in any other Department nor any contract awarded to us for such works have been rescinded, during last five years prior to the date of this bid.

- The undersigned understand and agrees that further qualifying information may be requested and agrees to furnish any such information at the request of  M/s Laxmi Niwas Mittal Institute of Information Technology     LNMIIT, Jaipur.

………………………………………………………..

(Signed by an Authorized Person of Firm)

………………………………………………

(Title of the Authorized Person)

…………………………………………….

(Name of Firm )

On non-judicial stamp paper of minimum Rs. 100/-)

Form of Bank Guarantee for Earnest Money Deposit /                     Performance Guarantee / Security Deposit

To

M/s LNM Institute of Information Technology,

Gram: Rupa ki Nangal, Post: Sumel

Jaipur-302031

Rajasthan.

- In  consideration of M/s LNM Institute of Information Technology    ( LNMIIT )– jointly established in 2002 by the state government of Rajasthan and the Lakshmi & Usha Mittal foundation, having its registered office at Gram: Rupa Ki Nangal, Post Sumel, Via Jamdoli, Jaipur, Rajasthan ( India ) – 302031  (hereinafter called “the Company” (which expression shall include its successor in business and assignees) have agreed to accept irrevocable bank guarantee of Rs……………………….( rupees………………….only ) valid upto……… (date) as Earnest Money Deposit from…………………( name and address of the “contractor”) for compliance of his obligations in accordance with the terms and conditions of the said NIT.

OR

In consideration of M/s Laxmi Niwas Mittal Institute of Information Technology ( LNMIIT ) – jointly established in 2002 by the state government of Rajasthan and the Lakshmi & Usha Mittal foundation, having its registered office at Gram: Rupa Ki Nangal, Post Sumel, Via Jamdoli, Jaipur, Rajasthan ( India ) – 302031  (hereinafter called “the Company” (which expression shall include its successor in business and assignees) have agreed to accept irrevocable bank guarantee of Rs……………………….( rupees………………….only ) valid upto……… (date) as Performance Guarantee/Security Deposit/Mobilisation Advance from the said contractor for compliance of his obligations in accordance with the terms and conditions of the agreement.

- We, ................ (Indicate the name of the bank) ..........................., (herein after referred to as “the Bank”), hereby undertake to pay to the COMPANY an amount not exceeding Rs ................................ (Rupees.............................................. only) on demand by the COMPANY within 10 days of the demand.

- We, ......................... (Indicate the name of the Bank) ................, do here by undertake to pay the amount due and payable under this guarantee without any demur, merely on a demand from the Government stating that the amount claimed is required to meet the recoveries due or likely to be due from the said Contractor. Any such demand made on the Bank shall be conclusive as regards the amount due and payable by the Bank under this Guarantee. However, our liability under this guarantee shall be restricted to an amount not exceeding Rs................... (Rupees ........................ only)

- We, .......................................(indicate the name of the Bank) ..................., further undertake to pay the Company any money so demanded notwithstanding any dispute or disputes raised by the contractor in any suit or proceeding pending before any Court or Tribunal, our liability under this Bank Guarantee being absolute and unequivocal. The payment so made by us under this Bank Guarantee shall be a valid discharge of our liability for payment there under and the Contractor shall have no claim against us for making such payment.

- We, ....................................(indicate the name of the Bank..............................., further agree that the Company shall have the fullest liberty without our consent and without affecting in any manner our obligation here under to vary any of the terms and conditions of the said agreement or to extend time of performance by the said Contractor from time to time or to postpone for any time or from time to time any of the powers exercisable by the Company against the said contractor and to forbear or enforce any of the terms and conditions relating to the said agreement and we shall not be relieved from our liability by reason of any such variation or extension being granted to the said Contractor or for any forbearance, act of omission on the part of the Company or any indulgence by the Company to the said Contractor or by any such matter or thing whatsoever which under the law relating to sureties would, but for this provision, have effect of so relieving us.

- We, ...................(indicate the name of the Bank) ........................................................ further agree that the Company at its option shall be entitled to enforce this guarantee against the Bank as a principal debtor at the first instance without proceeding against the Contractor and notwithstanding any security or other guarantee the Company may have in relation to the Contractor's liabilities.

- This guarantee will not be discharged due to the change in the constitution of the Bank or the Contractor.

- We, .......................................(Indicate the name of the Bank) ...................undertake not to revoke this guarantee except with the consent of the Company in writing.

- This Bank Guarantee shall be valid up to ...................................................... unless extended on demand by the Government. Notwithstanding anything mentioned above, our liability against this guarantee is restricted to Rs......................... (Rupees............................................................only) and unless a claim in writing is lodged with us within the date of expiry or extended date of expiry of this guarantee, all our liabilities under this guarantee shall stand discharged.

Date :…………….

Witnesses:

- Signature……….

Name and Address							Authorised signatory

Name ……….

Designation……..

Staff code No…….

Bank seal………..

- Signature……….

Name and Address

- Date to be worked out on the basis of validity period of 90 days where only financial bids are invited and 180 days for two/three bid system from the date of submission of tender.

- In paragraph 1, strike out the portion not applicable. Bank Guarantee will be made either for earnest money or for performance guarantee/security deposit/mobilization advance, as the case may be.

Price Bid

(To be submitted separately in a sealed envelope )

Name of the Project: Construction of LNMIIT International Centre for Artificial intelligence (LICAI) (G+5) at Jaipur.

Sub Head: Supply Installation, Testing and Commissioning of 33 KV work .

| Sno. | Description |  | Unit | Qty | Rate | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 3C X 300 sq.mm 33KV CABLE MAKE HAVELLS. Providing & Laying XLPE insulated three core Armoured Aluminium cable for working voltage 33 K.V.(E) confirming IS :7098 P - 2 with H4- Grade electrolytic aluminium conductor confirming to IS: 8130 class-2 of purity >99.6%, Insulation Screening: Extruded Semiconducting Compound followed by helically wrapped Copper Tape, round / flat strip armouring of cables, Inner / outer sheath PVC type ST-2 confirming to IS:5831. SUPPLY INSTALLATION ERECTION AND COMMISSSIONING |  | Mtrs. | 16000 |  |  |
|  | 3C X 300 sq.mm 33KV CABLE MAKE POLYCAB. Providing & Laying XLPE insulated three core Armoured Aluminium cable for working voltage 33 K.V.(E) confirming IS :7098 P - 2 with H4- Grade electrolytic aluminium conductor confirming to IS: 8130 class-2 of purity >99.6%, Insulation Screening: Extruded Semiconducting Compound followed by helically wrapped Copper Tape, round / flat strip armouring of cables, Inner / outer sheath PVC type ST-2 confirming to IS:5831. SUPPLY INSTALLATION ERECTION AND COMMISSSIONING |  | Mtrs | 16000 |  |  |
| 2 | STRAIGHT THROUGH JOINT KIT 33KV 300sq.mm. a specialized electrical accessory for splicing two underground XLPE (Cross-linked Polyethylene) cables of 33,000 volts and 300 sqmm cross-section, using heat-shrink or cold-shrink technology for seamless electrical continuity, stress control, and environmental sealing, with major brands like Raychem and 3M offering these kits with essential components like lugs, mastic, tapes, and stress cones. These kits are vital for underground power distribution, ensuring safety and performance in high voltage. SUPPLY INSTALLATION ERECTION AND COMMISSIONING. |  | nos | 42 |  |  |
| 3 | Supply and Erection of G.I pipe 88kg. 5” Heavy Duty ISI MARK with MS Socket |  | mtrs | 900 |  |  |
| 4 | 33KV OUTDOOR JOINT KIT. Providing & making heat shrinkable type indoor terminations/ joint kit suitable for 33 KV (Earthed) cable with required components, preparation of cable ends. Type test report should be as per IS13573:2011 which covered all sequence for table 2 for termination kit and table 3 for straight through joint inclusive thermal & dynamic short circuit test, humidity test, soil fog test. Cross linking shall be done outside factory with E- beam/ peroxide technology. Extrusion process shall be in house OEM within same vicinity. including testing etc. as required of following sizes. All as per pre-approved by Engineer in charge. SUPPLY INSTALLATION ERECTION AND COMMISSSIONING |  | nos | 32 |  |  |
| 5 | 33 kv Tower with G/O supply Installation Testing and Commissioning. |  | nos | 6 |  |  |
| 6 | 33KV METERING TOWER ( a specialized, robust enclosure housing Current Transformers (CTs) and Potential Transformers (PTs) to accurately measure high-voltage electricity (33,000 volts) for billing, management, and compliance, designed for outdoor or indoor use, often pole-mounted or within switchgear, ensuring precise energy accounting for large consumer) SUPPLY INSTALLATION ERECTION AND COMMISSSIONING |  | nos | 4 |  |  |
| 7 | PG CLAMP (an essential connector used in electrical distribution and transmission lines to securely join two or more parallel conductors, rated for systems operating up to 33,000 volts) SUPPLY INSTALLATION ERECTION AND COMMISSSIONING |  | sets | 6 |  |  |
| 8 | 33kv right angle BOOT set |  | set | 8 |  |  |
| 9 | 33KV INDOOR JOINT KIT. Providing & making heat shrinkable type indoor terminations/ joint kit suitable for 33 KV (Earthed) cable with required components, preparation of cable ends. Type test report should be as per IS13573:2011 which covered all sequence for table 2 for termination kit and table 3 for straight through joint inclusive thermal & dynamic short circuit test, humidity test, soil fog test. Cross linking shall be done outside factory with E- beam/ peroxide technology. Extrusion process shall be in house OEM within same vicinity. including testing etc. as required of following sizes. All as per pre-approved by Engineer in charge. SUPPLY INSTALLATION ERECTION AND COMMISSSIONING |  | nos | 5 |  |  |
| 10 | 33KV VCB 1 INCOMMER 2 OUTGOING. (a high-voltage electrical switchgear designed to safely interrupt and isolate electrical faults in power systems with a nominal voltage of 33,000 volts) SUPPLY INSTALLATION ERECTION AND COMMISSSIONING |  | L/s | 1 |  |  |
| 11 | GEL EARTHING. is an advanced, maintenance-free grounding system using a conductive gel compound around an electrode (GI pipe/copper) to create a stable, low-resistance path for fault currents, offering better performance and longer life than traditional salt-charcoal pits, especially in dry or rocky soils. The gel retains moisture and enhances soil conductivity, preventing electrode corrosion and ensuring consistent grounding for safety. SUPPLY INSTALLATION ERECTION AND COMMISSSIONING |  | nos | 36 |  |  |
| 12 | GI EARTHING STRIP 50/6 SUPPLY INSTALLATION ERECTION AND COMMISSSIONING |  | mtrs | 250 |  |  |
| 13 | Copper Plate Earthing 2x2x2 10Ft PIPE SALT AND COAL (versatile product available for both industrial and domestic (tableware, artistic) uses, known for its excellent electrical and thermal conductivity, corrosion resistance, and traditional appeal SUPPLY INSTALLATION ERECTION AND COMMISSSIONING / 10ft pipe salt and coal earthing Supply installation testing and commissioning |  | nos | 8 |  |  |
| 14 | Copper strip 50x6 supply installation testing and commissioning |  | mts | 100 |  |  |
| 15 | Open point Tower supply Installation, and commissioning |  | nos | 3 |  |  |
| 16 | Electrical Inspector fee consultancy and other charges |  | 1 Job | 1 |  |  |
| 17 | Civil work (Labour + Material) AND OTHER MISCELLANEOUS CHARGES |  | 1 Job | 1 |  |  |
| 18 | JVVNL supervision, and consultancy JDA, NHAI, Nagar Nigam, Forest, TWD, THD & Other local, public agencies. |  | 1 Job | 1 |  |  |
|  | Total in Figures |  |  |  |  |  |
|  |  | In Words: |  |  |  |  |

Date: -

Seal & Signature.

Name: -

Designation: -

Place: -

Mobile No.:-