Tender No: 2025-26/ECE-Estate/2B/LNM-1170E

The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non-Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for “Civil, Electrical and VRV work for Setting up of Computer Laboratory”. Bidders can submit their sealed offers/s at the following address by Email/Speed-Post/ Registered Post/ By-hand/courier before 05:00 PM on 14/02/2026 (Last date of bid submission).

Filing of Tender:

Option 1: Physical submission of offers (hard copy) in sealed envelopes.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the institute in person/ Speed-Post/ Registered Post/ By-hand/courier of the Institute after marking due entries in the Receipt Book available with the Security Officer at the main gate.

The tender subject and reference number must be mentioned on the envelope.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Option 2: Password-protected online submission via email

Password-protected offers can be submitted by the bidders via email at the below-mentioned email IDs.

tender-document@lnmiit.ac.in (password-protected document)

tender-password@lnmiit.ac.in (password only)

The tender subject and reference number must be mentioned in the subject line of the emails.

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory, are required to be submitted in two separate envelopes/emails.

Envelopes/Emails should be duly marked as follows:

- Technical bid for the “Civil, Electrical and VRV work for Setting up of Computer Laboratory”

- Commercial Bid for the “Civil, Electrical and VRV work for Setting up of Computer Laboratory”

Both Envelopes/files should be enclosed/attached in a single envelope/email bearing the heading “Civil, Electrical and VRV work for Setting up of Computer Laboratory” (Tender No.: 2025-25/ECE-Estate/2B/LNM-1170E) ”.

Bids are liable to be rejected:

- If the above-mentioned bid submission procedure is not followed.

- Incomplete and non-conforming bids.

- Arbitration: All disputes and differences arising between the two parties in connection with this order shall be mutually settled as far as possible, failing which, all such disputes shall be referred to arbitration and settlement under the provision of the Arbitration and Conciliation Act, 1996 and as amended from time to time or any such law for the time being prevailing in India. The venue of such arbitration shall be Jaipur.

Technical Bid: (in a separate sealed envelope/via email)

# Bid for “Civil, Electrical and VRV work for Setting up of Computer Laboratory “

# (Tender No.: 2025-26/ECE-Estate/2B/LNM-1170E)

Bidder is required to furnish the requisite details as per the below mentioned table format and proof of such documents to be uploaded along with the bid under respective title/ headings as mentioned at column no ‘C’ accordingly.

| S.No. | Title/ Heading Details sought by buyer | Details/ Certificate No. (Attached Y/N) |
| --- | --- | --- |
| A | B | C |
| 1. | Bidder Firm Name & Registration No, |  |
| 2. | Bidder’s Company profile or brief note |  |
| 3. | PAN Card No,. |  |
| 4. | GST Number |  |
| 5. | List of Directors/ Partners/Proprietor/ Members of the Bidder’s Firm |  |
| 6. | Detail of other associated/sister concerns (if any) of Directors/Partners/ Proprietor/ Members |  |
| 7. | Bidder Turnover - Average annual turnover for last three years |  |
| 8. | The Client List with some purchase orders and satisfactory certificate (to whom the vendor has delivered the goods/provided the services in the past (Three (03) purchase orders/work orders, at least one from each of the last three years, including the previous year.) |  |
| 9. | If the bidder is authorized by the OEM/Manufacturer. Proof of the same is to be submitted with the Technical Bid |  |
| 10. | An undertaking (self-certificate) that the agency has not been blacklisted by a Central/State/UT Government Institutions and there has been no litigation with any government department/institution on account of any services/supplies. |  |

Scope of work

- The scope of work will cover the supply /arrangement of given items at LNMIIT Jaipur campus.

- The Vendor is required to submit the complete documentation of the supplied item after delivery.

Drawing/Photographs

Technical specification: 	Civil, Electrical and VRV work for Setting up of Computer Laboratory

Tender No. 2025-26/ECE-Estate/2B/LNM-1170E

|  | CIVIL |  |  |
| --- | --- | --- | --- |
| Sr. No. | Item Description | Qty. | Unit |
| 1 | Dismantling/ Demolishing work of Brick wall 230 mm thickness laid in cement mortar/ plaster, including stacking of serviceable material and disposal of unserviceable material within 500 meters of lead, The Volume of the wall is (3.15 x 0.23 x 6.07) m | 4.40 | cum |
| 2 | Dismantling & Shifting of the Aluminum sections/ Panels from the rooms to the scrap yard, as per engineers / HOD. | 1.00 | job (LS) |
| 3 | Dismantling tile work in floors laid in cement mortar, including stacking of serviceable material and disposal of unserviceable material within 500 meters of lead: For thickness of tiles 25mm to 40mm. The Area of the room is (17.78 x 6.07) m | 107.92 | sqm |
| 4 | Providing and applying 12 mm thick cement plaster in a single coat on internal surfaces of brick masonry walls with cement mortar 1:6 (1 cement: 6 fine sand), finished with a smooth surface, including cleaning, curing, and scaffolding, complete as per the direction of the Engineers and CPWD norms, The Area of the wall finishing is (0.23 x 6.07) m = 1.40 sqm, (2 x 0.23 x 3.15) m = 2.90 sqm | 4.30 | sqm |
| 5 | Supply and installation of 600x600 mm double charged vitrified floor tiles (as per the approved sample and colour selected by LNMIIT), including all necessary works required to complete the job such as base preparation (PCC, etc.), 1:4 rough cement mortar bed under the tiles, and completion of the work as per the instructions of the engineers at LNMIIT and latest CPWD Norms, The Area of the room is (17.78 x 6.07) m = 107. 92 sqm | 107.92 | sqm |
| 6 | Wall painting with plastic emulsion paint of approved brand and manufacture to give an even shade including all scaffolding: Old work (Two or more coats) on new work including preparation of base with primer, putty, lippy etc. complete in all respect. Application: Director House and B Qtr., In offices, residence, Guest Houses | 260.00 | sqm |
| 7 | Supply of Medium Back chair with previously approved specifications and make. Make & Model – Amardeep Spirit 03 | 67.00 | each |
| 8 | Lab table dimensions (13280 x 600 x 750) mm (1 Table for 16 sittings) – (Partition height: - 450 mm), Lab tables material: - 19 -20 mm thick Plywood board/ block board with 1 mm laminate (Softwood-Pine), as per IS: 1659, Type: COM, Termite resistant, Fire resistant, Moisture resistant and Y.O.M.:2025, Make: Century Ply, Green Ply Sanik 710, Hardware (Locks, keys, handles, channels, hinges, and other accessories):- Make: EBCO, Hetich. Edges: - All edges are covered with PVC edge bands (2 mm thick)/ wooden moulding. Partition edges: - Moulded. Table partition (Plywood): - 75 mm thick partition with double raceway, one for electrical and one for networking. Lab table comprises a footrest, Keyboard (600 mm width), & CPU stand (150mm width)., Painting with putty under the table (where laminate is not in use). Switches and wires: - Legrand-Mylinc (15Amp- Qty2) (5Amp-Qty4) and wiring polycab. (Note: No wiring should be visible). - (Top measurements - 7.91 sqm) - For 16 students on table - Size may increase or decrease according to site/ user/ engineer/ LNMIIT personal. | 1.00 | each |
| 9 | Lab table dimensions (14090 x 600 x 750) mm (1 Table for 17 sittings) – (Partition height: - 450 mm), Lab tables material: - 19 -20 mm thick Plywood board/ block board with 1 mm laminate (Softwood-Pine), as per IS: 1659, Type: COM, Termite resistant, Fire resistant, Moisture resistant and Y.O.M.:2025, Make: Century Ply, Green Ply Sanik 710, Hardware (Locks, keys, handles, channels, hinges, and other accessories):- Make: EBCO, Hetich. Edges: - All edges are covered with PVC edge bands (2 mm thick)/ wooden moulding. Partition edges: - Moulded. Table partition (Plywood): - 75 mm thick partition with double raceway, one for electrical and one for networking. Lab table comprises a footrest, Keyboard (600 mm width), & CPU stand (150mm width)., Painting with putty under the table (where laminate is not in use). Switches and wires: - Legrand-Mylinc (15Amp- Qty2) (5Amp-Qty4) and wiring polycab. (Note: No wiring should be visible). - (Top measurements - 8.45 sqm)- For 17 students on table - Size may increase or decrease according to site/ user/ engineer/ LNMIIT personal. | 1.00 | each |
| 10 | Lab table dimensions (14090 x 1200 x 750) mm (1 Table for 34 sittings) – (Partition height: - 450 mm), Lab tables material: - 19 -20 mm thick Plywood board/ block board with 1 mm laminate (Softwood-Pine), as per IS: 1659, Type: COM, Termite resistant, Fire resistant, Moisture resistant and Y.O.M.:2025, Make: Century Ply, Green Ply Sanik 710, Hardware (Locks, keys, handles, channels, hinges, and other accessories):- Make: EBCO, Hetich. Edges: - All edges are covered with PVC edge bands (2 mm thick)/ wooden moulding. Partition edges: - Moulded. Table partition (Plywood): - 75 mm thick partition with double raceway, one for electrical and one for networking. Lab table comprises a footrest, Keyboard (600 mm width), & CPU stand (150mm width)., Painting with putty under the table (where laminate is not in use). Switches and wires: - Legrand-Mylinc (15Amp- Qty2) (5Amp-Qty4) and wiring polycab. (Note: No wiring should be visible). - (Top measurements - 16.91 sqm)- For total 34 students both sides - Size may increase or decrease according to site/ user/ engineer/ LNMIIT personal. | 1.00 | each |
| 11 | Providing the GODREJ INTERIO Almirah StorEase 2-Door Display Unit Almirah with Glass Swing Doors (Traffic White), 1-Year Warranty, 4 Shelves | 4.00 | each |
| 12 | Supply & Installation of wooden bag wardrobe / Rack outside, Rack size: 12 feet x 5 feet, Box size: 1 foot x 1 foot. Material - 19 -20 mm thick Plywood board/ block board with 1 mm laminate (Softwood-Pine), as per IS: 1659, Type: COM, Termite resistant, Fire resistant, Moisture resistant and Y.O.M.:2025, Make: Century Ply, Green Ply Sanik 710, Hardware (Locks, keys, handles, channels, hinges, and other accessories):- Make: EBCO, Hetich. Edges: - All edges are covered with PVC edge bands (2 mm thick)/ wooden moulding. Partition edges: - Moulded. - Size may increase or decrease according to site/ user/ engineer/ LNMIIT personal. | 1.00 | each |
| 13 | Providing & fixing 19 MM block board with teak wood linings and mouldings, frame (With Melamine polish) in furniture like existing office table, Computer table, Almira. Wooden cabinets, Shelves etc. including cutting fitting all type-approved fittings, adhesive and accessories like locks, telescopic channels, and hinges as directed by the user/senior engineer in charge. Make- Century Ply, Green Ply. Edges: - All edges are covered with PVC edge bands (2 mm thick) or Wooden Moulded (Painted). 1 mm sunmica, As per IS: 1659, Type: COM, Termite resistant, Fire resistant, Moisture repellant and Y.O.M.:2025 Hardware (Locks, keys, handles, channels, hinges, and other accessories. - Moda/haffle/Hetich/Ebco. Office Table Size:- 6 feet by 3.34 feet, with keyboard, footrest, cable manager - Size may increase or decrease according to site/ user/ engineer/ LNMIIT personal. | 1.00 | each |
| 14 | Supply of High Back chair with previously approved specifications and make. Make & Model – High Back Chair (Rastogi 110) | 1.00 | each |
| 15 | Supply of Medium Back chair with previously approved specifications and make. Make & Model – Medium Back Chair (Rastogi 111) - Visitors | 3.00 | each |

| Electrical Works |  |  |  |
| --- | --- | --- | --- |
| S. NO. | Specifications | Qty | UOM |
| 1 | Dismantling of existing electrical item, accessories, duct system etc. as per the instruction of EIC | 1 | Job |
| 2 | Supply & Wiring of point with 2.5(P+N) sq. mm nominal size FR PVC insulated unsheathed flexible copper conductor 1.1 kV grade and 1.5(E) sq. mm nominal size FR PVC insulated unsheathed flexible copper earth conductor 1.1 kV grade (IS:694) on wall/Furniture/under surface wherever necessary ISI marked HMS ( IS:9537 P - III ) virgin material UPVC Mini conduit/Casing & it's ISI marked (IS:3419-1988) accessories, including drilling & cutting as per site requirnment Casing/Conduit Make: Precision, Wires Make:Polycab Maxima+ | 900 | Rmtr |
| 3 | Supply & Installation of 2 Nos 6A Modular switch & 3 Nos Modular socket, Modular face plate with grid plate, screws, making connections, testing etc. as required. Make: Legrand Mylinc | 70 | Nos |
| 4 | Supply & Installation of 6 A C type MCB Make: Legrand/L&T/ABB | 16 | Nos |
|  | Note: Avg. 5 PC per Circuit |  |  |
| 5 | BLDC Ceiling Fans 1200mm Make : Bajaj / Havells | 12 | Nos. |
| 6 | 2x2 Surface Light 36w/40 w Wipro/Philips | 18 | Nos. |

| VRV work |  |  |  |  |
| --- | --- | --- | --- | --- |
| S.No. | Equipment & Materials | Make | Qty | UOM |
| A | Supply, transportation, installation, testing, and commissioning of VRV/VRF outdoor and indoor units, Wireless remote control & other accessories (Daikin/O General/Mitsubishi). |  |  |  |
|  | Supply of VRV Items |  |  |  |
| 1 | Indoor Units: (2 Ton) Cooling only, Inverter based |  | 2 | Nos. |
| 2 | Outdoor Unit: (6 HP) Cooling only |  | 1 | Nos. |
| B | Installation of VRV Items in existing duct channels including cutting, removing & repairing of duct channels, gas charging, Vibration pads etc. |  |  |  |
| 1 | Indoor Units: (2 Ton) Cooling only, Inverter based |  | 2 | Nos. |
| 2 | Outdoor Unit: (6 HP) Cooling only |  | 1 | Nos. |
| C | Supply & Installation of Piping & Drain System including Support structure, core cutting insulation complete in all aspects etc. |  |  |  |
| 3 | Copper Refrigerant Piping for Gas including all accessories, joints etc. |  | 150 | Ft |
| 4 | Drain Piping,25mm PVC | Precision | 20 | Mtr |
| D | Supply & Installation of Power Cables & control cable Including support structure |  |  |  |
| 1 | 3C × 2.5 sqmm copper cable | Polycab | 80 | Mtr |
| 2 | 25 mm conduit pipe & accessories | Precision | 80 | Mtr |
| E | Supply & Installation of PVC TPN Distribution board & Accessories | L&T, Legrand, ABB | 1 | Nos |
| 1 | 16A DP MCB, Type C - 3Nos |  |  |  |
| 2 | 32A 4P MCCB, Type C - 1Nos |  |  |  |
| F | Providing and laying RCC foundation of size 1200mm × 1000mm × 0.5m using M20 grade concrete (1:1.5:3 mix) including centering, shuttering, machine mixing, placing, compacting, curing, and necessary steel reinforcement Foundation to include surface finishing and provision for equipment bolts/embedded plates as per drawing. All work shall be as per IS 456:2000 and relevant structural codes. |  | 1 | Nos. |
| G | Create required grooves (chases) in brick or block masonry walls using a wall cutter/chaser. Install 25 mm/32 mm dia. PVC or CPVC pipes (ISI-marked) with appropriate slope (minimum 1:100) to ensure gravity drainage. Embed pipes using cement mortar and finish with plastering to restore wall aesthetics. |  | 150 | Ft |

## Introduction & Background

The Institute intends to establish a state-of-the-art Computer Laboratory in its Academic Area to accommodate 60–70 users.

## 2. Project Details

- Location: Academic Area of the Institute

- Room Size: 18.230 m × 7.130 m (approx. 130 sq.m.)

- Seating Capacity: 60–70

## 3. General Scope of Work

The selected contractor shall be responsible for the following:

### A. Furniture & Fixtures

- Supply and installation of computer tables and ergonomic chairs of approved make as per approved drawings.

- Provision of all accessories and supports required for functional seating arrangements.

### B. Electrical Works

- Complete internal electrification including wiring, switches, sockets, and distribution boards, lights and Fans etc as approved by LNMIIT representative.

- Augmentation of the existing VRV system by providing additional indoor units with approved drain pipes and accessories.

- Testing and commissioning of electrical and HVAC systems.

### C. Civil & Interior Works

- Demolition and removal of existing Brick wall, ducting and aluminum partitions, and any other obsolete installations.

- Repairs and modifications of walls, ceilings, and flooring as required.

- Complete painting of the laboratory with approved materials.

- Supply and installation of window curtains of approved make.

### D. General Conditions

- All works to conform to approved drawings, specifications, and directions of the Engineer-in-Charge.

- Any ancillary works not explicitly mentioned but necessary for the completion of the project shall be deemed included in the contractor’s scope.

## 4. Deliverables

- Approved layout plan and design drawings.

- Fully functional computer lab with furniture, electrification, HVAC, and interiors.

- Test reports and commissioning certificates.

- Handover of the completed lab to the Institute.

## 5. Submission of Proposal

Interested agencies shall submit their proposals in two-bid format:

- Technical Bid – Company profile, eligibility documents, proposed methodology, work plan, and compliance to scope of work.

- Financial Bid – Item-wise Bill of Quantity (BOQ) with unit rates, taxes, and total cost.

Detailed Scope of works

1.Electrical Works

1.1 Scope of Electrical Work

Supply, installation, and commissioning of wiring using:

- All electrical cabling shall be conducted using surface-mounted PVC trunking (casing and capping) fixed on wall surfaces and furniture partitions. The trunking shall be securely fastened using screws and wall plugs at regular intervals. Wiring shall be enclosed within the trunking, ensuring segregation between power and data lines as per standard electrical practices.

- Payment will be made as per actual work on site.

1.2. Approved Makes

- Wires: Polycab (ISI-marked as per IS:694)

- Casing/Conduit: Precision (UPVC, IS:9537 Part-III)

- Switches & Accessories: Legrand Mylinc (ISI-marked, IS:3419-1988)

1.3. Wiring and Installation

- All wiring shall be conducted in accordance with IS 732: Code of Practice for Electrical Wiring.

- Wiring must be done in a neat, uniform manner, using appropriate colour coding and cable ties.

- All connections shall be properly crimped or terminated using suitable lugs and terminals.

- Junction boxes and faceplates must be flush-mounted and aligned properly.

1.4. Earthing

- Every point must include a 1.5 sq.mm copper earth wire drawn alongside the phase wire.

- Proper earthing continuity and bonding must be ensured for all metal body devices.

- Earthing resistance shall not exceed 1 ohm.

1.5. Trunking and Conduits

- Wiring shall be laid in recessed HMS UPVC conduits or surface mounted UPVC mini trunking, as per site requirements.

- All bends, elbows, and accessories must be ISI-marked and match the conduit/trunking make.

- Casing must be properly fixed using suitable clamps, screws, and spacing.

1.6. Switches, Sockets, Lights ,Fan  & Accessories

- Modular switches and sockets shall be installed in approved modular faceplates with grid plates.

- Switches/sockets to be rigidly fixed, with all connections evaluated for continuity and polarity.

- Lights and Fan Shall be installed as per approval by LNMIIT Representative.

1.7. Testing and Commissioning

- Insulation resistance test, polarity test, and continuity test shall be conducted before commissioning.

- A final joint inspection will be conducted with the electrical in-charge or client representative.

1.8. Safety and Compliance

- All safety precautions shall be followed during installation (e.g., insulated tools, PPE).

- Live connections or energized panels must not be worked on without approval.

- All electrical work must comply with Indian Electricity Rules and IE Act.

1.9. Workmanship and Warranty

- The contractor shall guarantee the work for a minimum of 1 months from the date of commissioning.

- Any defect arising during the warranty period must be repaired/replaced free of cost.

1.10. General Conditions

- No deviation in wire size, quality, or make is permitted without written approval.

- Quantities executed must be as per actual site measurement and verified by the client/engineer.

- All waste material must be disposed of by the contractor, and the site should be cleaned daily.

- The department reserves the right to make minor changes during execution without extra cost.

- Any major deviation must be approved in writing.

- In case of dispute, the decision of the competent authority will be final.

1.11. Clean-up and Handover

- The site must be cleaned thoroughly after completion.

- All debris, waste, and packaging material must be disposed of legally.

- As-built drawings and test reports must be handed over.

## 2.Lab Table Material Specification

2.1. Table Dimensions

- Overall size: 13,500 mm (L) × 1,200 mm (W) × 750 mm (H)

- Seating Capacity: 30 seats per table

- Partition Height: 450 mm

2.2. Tabletop & Material

- Material: Plywood board, 19–20 mm thick (Softwood – Pine)

- Laminate: 1 mm thick, termite-resistant, fire-resistant, moisture-resistant

- Standards: As per IS: 1659, Type COM

- Year of Manufacture: 2025

- Make: Century Ply / Green Ply Sanik 710

2.3. Partition

- Material: Plywood

- Thickness: 75 mm

- Features: Double raceway—one for electrical, one for networking

- Partition Edges: Molded edges

- Height: 450 mm from tabletop

2.4. Hardware & Accessories

- Locks, keys, handles, channels, hinges, and other accessories

- Make: EBCO / Hettich

- Edges: All table edges covered with PVC edge bands (2 mm thick) / wooden molding

2.5. Additional Table Features

- Footrest: Provided along the length of the table

- Keyboard Tray: 600 mm width

- CPU Stand: 150 mm width

- Painting / Finishing: Putty and acrylic paint under the table where laminate is not applied

2.7. Notes / Special Requirements

- Partition includes double raceway for power and networking.

- Table designed for ergonomic and safe use, with all exposed edges covered.

- All materials conform to quality and safety standards for academic laboratories.

## 3 Medium Back Chair Specification

3.1. General Description

- Type: Medium back ergonomic chair

- Make & Model: Amardeep Spirit 03

- Intended Use: Lab / computer workstation seating

3.2. Frame & Structure

- Base: 5-star nylon / PU-coated base with smooth-rolling casters

- Material: High strength engineered plastic and metal for structural support

- Finish: Powder-coated / high-quality polished finish

3.3. Seat & Backrest

- Seat Cushion: High-density foam, upholstered with approved fabric / mesh

- Backrest: Medium height, ergonomic contour for lumbar support

- Adjustments:

  - Seat height adjustable via gas lift

  - Tilt / recline mechanism with lockable tilt angle (if applicable)

3.4. Armrests

- Fixed / adjustable (as per approved specifications)

- Made of durable plastic / metal with soft padding

3.5. Accessories & Hardware

- Casters: Smooth rolling, non-marking

- Gas Lift: ISI certified, heavy-duty for 100–120 kg load

- Screws / Fasteners: ISI / OEM standard

3.6. Compliance & Standards

- Conforms to ergonomic and safety standards for office/lab seating

- Durable, fire-resistant, and easy-to-maintain materials

3.7. Notes

- Supply must match previously approved specifications and make

- Any deviation from the model Amardeep Spirit 03 must be approved before procurement

4.CIVIL WORK MATERIAL SPECIFICATIONS

## 4.1. Cement Plaster on Internal Walls

Scope of Work: - Apply 12 mm thick cement plaster in a single coat on internal brick masonry walls. - Mortar Mix: 1:6 (1 cement: 6 fine sand). - Finish: Smooth surface, ready for painting. - Includes: Cleaning, curing, scaffolding, and removal of debris. - Standards: CPWD norms and Engineer’s directions.

Materials: | Material | Specification / Remarks

Cement | OPC 43/53 grade, IS 8112 | | Sand | Fine, clean, IS 383 | | Water | Potable, clean | | Scaffolding | GI / bamboo / steel | | Tools | Trowel, float, mixer, buckets |

## 4.2. Vitrified Floor Tiles

Scope of Work: - Supply & installation of 600 × 600 mm double-charged vitrified floor tiles, approved color. - Base: PCC + 1:4 cement mortar bed. - Jointing: Cement grout. - Standards: CPWD norms and Engineer’s instructions.

Materials: | Material | Specification / Remarks

Tiles | 600×600 mm double-charged, approved sample | | Cement | OPC 43/53 grade | | Sand | Coarse & fine sand | | Adhesive / Grout | Tile adhesive or cement slurry | | Tools | Trowel, tile cutter, level, float, mallet |

## 4.3. Wall Painting (Plastic Emulsion)

Scope of Work: - Two or more coats of plastic emulsion paint. - Surface prep: Primer, putty, lippy, cracks filling, scaffolding. - Standards: CPWD norms & Engineer’s instructions.

Materials: | Material | Specification / Remarks

Primer | Acrylic / water-based, approved brand | | Putty | Moisture-resistant wall putty | | Paint | Acrylic, washable, approved brand & shade | | Tools | Brushes, rollers, spray equipment, scaffolding |

Notes / Recommendations: - Use ISI / BIS certified materials. - Curing as per CPWD procedures. - Measurements to be verified on-site. - Paint to be applied evenly over plastered surfaces.

### Special Conditions of Contract

- Responsibility

The contractor shall be fully responsible for carrying out the work, covering labour, material, tools, tackles, scaffolding, safety arrangements, and any other incidental items required for successful completion.

- Site Conditions

Bidders shall visit the site and acquaint themselves with the existing conditions before submission of the proposal. No claims will be entertained later for lack of site knowledge.

- Methodology & Approval

Detailed methodology and sequence of execution shall be submitted by the contractor and approved by the Engineer-in-Charge prior to commencement.

Any deviation from approved methodology must be pre-approved in writing.

- Quality of Materials

All materials shall conform to relevant IS codes / DSR specifications or equivalent international standards.

Manufacturer’s test certificates must be provided for all chemicals and waterproofing products.

- Workmanship & Protection

The contractor shall ensure proper slope, drainage, and flashing details to avoid water stagnation.

During execution, proper curing, protection, and safety measures must be ensured.

- Coordination of Ancillary Works

All rerouting/refixing of AC pipes, cables, ducts, plumbing, and false ceiling works shall be carried out in coordination with concerned agencies without disturbing existing services.

- Completion Time

The work must be completed within the stipulated period as per the agreed schedule. Delays will attract penalties as per contract terms.

- Payment Terms

Since the contract is on a lumpsum basis, interim payments may be released against certified progress, subject to retention/security deposit as per contract conditions.

- Safety & Housekeeping

All statutory safety norms must be followed.

Contractor shall maintain cleanliness and dispose of debris from the site regularly.

Annexure

To Whomsoever It May Concern

This is to confirm that we, the undersigned, intend to participate in Tender No. : 2025-26/ECE-Estate/2B/ LNM-1170E (Tender Number) for the tender/work titled: “Civil, Electrical and VRV work for Setting up of Computer Laboratory (Item Name)”

We hereby certify the following:

No Conflict of Interest:

- We declare that we have no conflict of interest in participating in the above tender. We further confirm that we are not engaged in any activity or association that may compromise, or be perceived to compromise, our impartiality or ability to fulfil the obligations of the tender.

Undertaking on Blacklisting & Litigation (Self-Certificate):

- We hereby undertake that:

- Our agency/firm has never been blacklisted or debarred by any Central Government, State Government, Union Territory administration, or any other Institution/Organization.

- There is no ongoing or past litigation against our agency/firm with any Central Government, State Government, Union Territory administration, or any other Institution/Organization on account of any services/supplies.

- If at any stage the above declaration is found to be false, the Institute shall have the right to take any action as deemed appropriate, including rejection of our bid.

Site Visit /Understanding:

- We confirm that we have visited the site/clearly understood the requirements and expectations of the college authorities.

Scope of Work:

- We have thoroughly reviewed the scope of work mentioned in the bid document. The entire inventory/requirement/work has been verified and found to be in order. We also confirm that no additional items beyond the listed inventory/requirement will be required for successful completion of the work. However, if any additional item is required during execution, the same shall be provided by us as per the requirement.

Bidder Details

Name of Bidder: ______________________________________

Address: _____________________________________________

Contact Person: _______________________________________

Mobile No.: ___________________________________________

Email ID: _____________________________________________

Authorized Signatory: __________________________________

Signature & Stamp: ____________________________________

Date: _________________

Place: ________________

Commercial Bid: (in separate sealed envelope/password protected file via email)

# Bid for “Civil, Electrical and VRV work for Setting up of Computer Laboratory. “

# (Tender No.: 2025-26/ECE-Estate/2B/ LNM-1170E)

|  | CIVIL |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sr. No. | Item Description | Qty. | Unit | Rate | Amount |
| 1 | Dismantling/ Demolishing work of Brick wall 230 mm thickness laid in cement mortar/ plaster, including stacking of serviceable material and disposal of unserviceable material within 500 meters of lead, The Volume of the wall is (3.15 x 0.23 x 6.07) m | 4.40 | cum |  |  |
| 2 | Dismantling & Shifting of the Aluminum sections/ Panels from the rooms to the scrap yard, as per engineers / HOD. | 1.00 | job (LS) |  |  |
| 3 | Dismantling tile work in floors laid in cement mortar, including stacking of serviceable material and disposal of unserviceable material within 500 meters of lead: For thickness of tiles 25mm to 40mm. The Area of the room is (17.78 x 6.07) m | 107.92 | sqm |  |  |
| 4 | Providing and applying 12 mm thick cement plaster in a single coat on internal surfaces of brick masonry walls with cement mortar 1:6 (1 cement: 6 fine sand), finished with a smooth surface, including cleaning, curing, and scaffolding, complete as per the direction of the Engineers and CPWD norms, The Area of the wall finishing is (0.23 x 6.07) m = 1.40 sqm, (2 x 0.23 x 3.15) m = 2.90 sqm | 4.30 | sqm |  |  |
| 5 | Supply and installation of 600x600 mm double charged vitrified floor tiles (as per the approved sample and colour selected by LNMIIT), including all necessary works required to complete the job such as base preparation (PCC, etc.), 1:4 rough cement mortar bed under the tiles, and completion of the work as per the instructions of the engineers at LNMIIT and latest CPWD Norms, The Area of the room is (17.78 x 6.07) m = 107. 92 sqm | 107.92 | sqm |  |  |
| 6 | Wall painting with plastic emulsion paint of approved brand and manufacture to give an even shade including all scaffolding: Old work (Two or more coats) on new work including preparation of base with primer, putty, lippy etc. complete in all respect. | 260.00 | sqm |  |  |
| 7 | Supply of Medium Back chair with previously approved specifications and make. Make & Model – Amardeep Spirit 03 | 67.00 | each |  |  |
| 8 | Lab table dimensions (13280 x 600 x 750) mm (1 Table for 16 sittings) – (Partition height: - 450 mm), Lab tables material: - 19 -20 mm thick Plywood board/ block board with 1 mm laminate (Softwood-Pine), as per IS: 1659, Type: COM, Termite resistant, Fire resistant, Moisture resistant and Y.O.M.:2025, Make: Century Ply, Green Ply Sanik 710, Hardware (Locks, keys, handles, channels, hinges, and other accessories):- Make: EBCO, Hetich. Edges: - All edges are covered with PVC edge bands (2 mm thick)/ wooden moulding. Partition edges: - Moulded. Table partition (Plywood): - 75 mm thick partition with double raceway, one for electrical and one for networking. Lab table comprises a footrest, Keyboard (600 mm width), & CPU stand (150mm width)., Painting with putty under the table (where laminate is not in use). Switches and wires: - Legrand-Mylinc (15Amp- Qty2) (5Amp-Qty4) and wiring polycab. (Note: No wiring should be visible). - (Top measurements - 7.91 sqm) - For 16 students on table - Size may increase or decrease according to site/ user/ engineer/ LNMIIT personal. | 1.00 | each |  |  |
| 9 | Lab table dimensions (14090 x 600 x 750) mm (1 Table for 17 sittings) – (Partition height: - 450 mm), Lab tables material: - 19 -20 mm thick Plywood board/ block board with 1 mm laminate (Softwood-Pine), as per IS: 1659, Type: COM, Termite resistant, Fire resistant, Moisture resistant and Y.O.M.:2025, Make: Century Ply, Green Ply Sanik 710, Hardware (Locks, keys, handles, channels, hinges, and other accessories):- Make: EBCO, Hetich. Edges: - All edges are covered with PVC edge bands (2 mm thick)/ wooden moulding. Partition edges: - Moulded. Table partition (Plywood): - 75 mm thick partition with double raceway, one for electrical and one for networking. Lab table comprises a footrest, Keyboard (600 mm width), & CPU stand (150mm width)., Painting with putty under the table (where laminate is not in use). Switches and wires: - Legrand-Mylinc (15Amp- Qty2) (5Amp-Qty4) and wiring polycab. (Note: No wiring should be visible). - (Top measurements - 8.45 sqm)- For 17 students on table - Size may increase or decrease according to site/ user/ engineer/ LNMIIT personal. | 1.00 | each |  |  |
| 10 | Lab table dimensions (14090 x 1200 x 750) mm (1 Table for 34 sittings) – (Partition height: - 450 mm), Lab tables material: - 19 -20 mm thick Plywood board/ block board with 1 mm laminate (Softwood-Pine), as per IS: 1659, Type: COM, Termite resistant, Fire resistant, Moisture resistant and Y.O.M.:2025, Make: Century Ply, Green Ply Sanik 710, Hardware (Locks, keys, handles, channels, hinges, and other accessories):- Make: EBCO, Hetich. Edges: - All edges are covered with PVC edge bands (2 mm thick)/ wooden moulding. Partition edges: - Moulded. Table partition (Plywood): - 75 mm thick partition with double raceway, one for electrical and one for networking. Lab table comprises a footrest, Keyboard (600 mm width), & CPU stand (150mm width)., Painting with putty under the table (where laminate is not in use). Switches and wires: - Legrand-Mylinc (15Amp- Qty2) (5Amp-Qty4) and wiring polycab. (Note: No wiring should be visible). - (Top measurements - 16.91 sqm)- For total 34 students both sides - Size may increase or decrease according to site/ user/ engineer/ LNMIIT personal. | 1.00 | each |  |  |
| 11 | Providing the GODREJ INTERIO Almirah StorEase 2-Door Display Unit Almirah with Glass Swing Doors (Traffic White), 1-Year Warranty, 4 Shelves | 4.00 | each |  |  |
| 12 | Supply & Installation of wooden bag wardrobe / Rack outside, Rack size: 12 feet x 5 feet, Box size: 1 foot x 1 foot. Material - 19 -20 mm thick Plywood board/ block board with 1 mm laminate (Softwood-Pine), as per IS: 1659, Type: COM, Termite resistant, Fire resistant, Moisture resistant and Y.O.M.:2025, Make: Century Ply, Green Ply Sanik 710, Hardware (Locks, keys, handles, channels, hinges, and other accessories):- Make: EBCO, Hetich. Edges: - All edges are covered with PVC edge bands (2 mm thick)/ wooden moulding. Partition edges: - Moulded. - Size may increase or decrease according to site/ user/ engineer/ LNMIIT personal. | 1.00 | each |  |  |
| 13 | Providing & fixing 19 MM block board with teak wood linings and mouldings, frame (With Melamine polish) in furniture like existing office table, Computer table, Almira. Wooden cabinets, Shelves etc. including cutting fitting all type-approved fittings, adhesive and accessories like locks, telescopic channels, and hinges as directed by the user/senior engineer in charge. Make- Century Ply, Green Ply. Edges: - All edges are covered with PVC edge bands (2 mm thick) or Wooden Moulded (Painted). 1 mm sunmica, As per IS: 1659, Type: COM, Termite resistant, Fire resistant, Moisture repellant and Y.O.M.:2025 Hardware (Locks, keys, handles, channels, hinges, and other accessories. - Moda/haffle/Hetich/Ebco. Office Table Size:- 6 feet by 3.34 feet, with keyboard, footrest, cable manager - Size may increase or decrease according to site/ user/ engineer/ LNMIIT personal. | 1.00 | each |  |  |
| 14 | Supply of High Back chair with previously approved specifications and make. Make & Model – High Back Chair (Rastogi 110) | 1.00 | each |  |  |
| 15 | Supply of Medium Back chair with previously approved specifications and make. Make & Model – Medium Back Chair (Rastogi 111) - Visitors | 3.00 | each |  |  |
|  | Total |  |  |  |  |
|  | GST (18% / as applicable) |  |  |  |  |
|  | Total amount with GST & all hidden charges |  |  |  |  |

| Electrical Works |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| S. NO. | Specifications | Qty | UOM | Rate | Amount |
| 1 | Dismantling of existing electrical item, accessories, duct system etc. as per the instruction of EIC | 1 | Job |  |  |
| 2 | Supply & Wiring of point with 2.5(P+N) sq. mm nominal size FR PVC insulated unsheathed flexible copper conductor 1.1 kV grade and 1.5(E) sq. mm nominal size FR PVC insulated unsheathed flexible copper earth conductor 1.1 kV grade (IS:694) on wall/Furniture/under surface wherever necessary ISI marked HMS ( IS:9537 P - III ) virgin material UPVC Mini conduit/Casing & it's ISI marked (IS:3419-1988) accessories, including drilling & cutting as per site requirnment Casing/Conduit Make: Precision, Wires Make:Polycab Maxima+ | 900 | Rmtr |  |  |
| 3 | Supply & Installation of 2 Nos 6A Modular switch & 3 Nos Modular socket, Modular face plate with grid plate, screws, making connections, testing etc. as required. Make: Legrand Mylinc | 70 | Nos |  |  |
| 4 | Supply & Installation of 6 A C type MCB Make: Legrand/L&T/ABB | 16 | Nos |  |  |
|  | Note: Avg. 5 PC per Circuit |  |  |  |  |
| 5 | BLDC Ceiling Fans 1200 mm Make : Bajaj / Havells | 12 | Nos. |  |  |
| 6 | 2x2 Surface Light 36w/40 w Wipro/Philips | 18 | Nos. |  |  |
|  | Total |  |  |  |  |
|  | GST 18 % |  |  |  |  |
|  | Total with GST |  |  |  |  |

| VRV Work |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| S.No. | Equipment & Materials | Make | Qty | UOM | Rate | Amount |
|  | Supply, transportation, installation, testing, and commissioning of VRV/VRF outdoor and indoor units, Wireless remote control & other accessories (Daikin/O General/ Mitsubishi). |  |  |  |  |  |
| A | Supply of VRV Items |  |  |  |  |  |
| 1 | Indoor Units: (2 Ton) Cooling only, Inverter based |  | 2 | Nos. |  |  |
| 2 | Outdoor Unit: (6 HP) Cooling only |  | 1 | Nos. |  |  |
| B | Installation of VRV Items in existing duct channels including cutting, removing & repairing of duct channels, gas charging, Vibration Pads etc |  |  |  |  |  |
| 1 | Indoor Units: (2 Ton) Cooling only, Inverter based |  | 2 | Nos. |  |  |
| 2 | Outdoor Unit: (6 HP) Cooling only |  | 1 | Nos. |  |  |
| C | Supply & Installation of Piping & Drain System including Support structure, core cutting insulation complete in all aspects etc. |  |  |  |  |  |
| 3 | Copper Refrigerant Piping for Gas, joint Accessories etc. |  | 150 | Ft |  |  |
| 4 | Drain Piping,25mm PVC | Precision | 20 | Mtr |  |  |
| D | Supply & Installation of Power Cables & control cable Including support structure |  |  |  |  |  |
| 1 | 3C × 2.5 sqmm copper cable | Polycab | 80 | Mtr |  |  |
| 2 | 25 mm conduit pipe & accessories | Precision | 80 | Mtr |  |  |
| E | Supply & Installation of PVC TPN Distribution board & Accessories | L&T, ABB Legrand | 1 | Nos. |  |  |
| 1 | 16A DP MCB, Type C – 3 Nos |  |  |  |  |  |
| 2 | 32A 4P MCCB, Type C – 1 Nos |  |  |  |  |  |
| F | Providing and laying RCC foundation of size 1200mm × 1000mm × 0.5m using M20 grade concrete (1:1.5:3 mix) including centering, shuttering, machine mixing, placing, compacting, curing, and necessary steel reinforcement Foundation to include surface finishing and provision for equipment bolts/embedded plates as per drawing. All work shall be as per IS 456:2000 and relevant structural codes. |  | 1 | Nos. |  |  |
| G | Create required grooves (chases) in brick or block masonry walls using a wall cutter/chaser. Install 25 mm/32 mm dia. PVC or CPVC pipes (ISI-marked) with appropriate slope (minimum 1:100) to ensure gravity drainage. Embed pipes using cement mortar and finish with plastering to restore wall aesthetics. |  | 150 | Ft |  |  |
|  | Total |  |  |  |  |  |
|  | GST 18 % |  |  |  |  |  |
|  | Total with GST |  |  |  |  |  |

GENERAL TERMS AND CONDITIONS:

- All applicable taxes such as GST must be clearly mentioned. If not specified, it shall be deemed that all such charges are included in the quoted price.

- If the supplier does not have a particular item or proposes a different make than that specified in the tender, the same must be clearly highlighted in the bid.

- Prices must be inclusive of all charges such as packing, forwarding, transit insurance, transportation, loading, unloading (up to 50 meters), installation, and any other incidental expenses.

- Bid must be submitted on an F.O.R. basis for delivery at: The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur – 302031.

- Bid shall remain valid for a minimum period of 30 days. No change in prices will be accepted during the validity period.

- The LNMIIT reserves the right to reject any quotation without assigning any reason.

- Payment terms shall be mutually decided and agreed upon between the Institute and the vendor.

- The bidder must submit a No Conflict of Interest Declaration along with the bid.

- The bid must be submitted on the company’s letterhead and in the LNMIIT-prescribed format only.

- Any item or service not being supplied by the bidder must be clearly mentioned separately in the bid.

- Vendors must provide a photocopy of their cheque/cancelled cheque along with the invoice for payment processing.

- Prices shall be quoted in Indian Rupees (INR) only.

- Total prices shall be quoted for the complete scope of work as per technical specifications, inclusive of all taxes, duties, insurance, packing, forwarding, and incidental charges.

- Agencies or individuals who are debarred or blacklisted are not permitted to participate in the tendering process. Any agency engaging a debarred person for negotiations or representation is also liable to be debarred.

- If the work is not completed within the stipulated time mentioned in the work order, the competent authority of LNMIIT reserves the right to accept partial work on suitable terms, cancel the supply/work order, withhold or stop payment, forfeit the Earnest Money Deposit, or debar the agency. The decision of the Competent Authority shall be final and binding.

- In case two or more bidders quote the same rates, the final selection shall be made through a draw of lots conducted by a committee comprising LNMIIT administrative members(PCC).

- Vendors are required to visit the site and conduct a detailed survey before submitting their bid to understand the exact requirements. No request for additional items or modifications will be entertained later.

- A pre-bid meeting and/or site visit may be arranged prior to submission of bids to clarify any doubts regarding project details, scope of work, and required documents.

Signature with seal