Tender No:. 2025-26/CWO/2B/LNM-1201

The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non-Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for ”Supply, Fabrication, and Installation Aluminium Partition”. Bidders can submit their sealed offers/s at the following address by Email/Speed-Post/ Registered Post/ By-hand/courier before 05:00 PM on 25/02/2026.

Filing of Tender:

Option 1: Physical submission of offers (hard copy) in sealed envelopes.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the institute in person/ Speed-Post/ Registered Post/ By-hand/courier of the Institute after marking due entries in the Receipt Book available with the Security Officer at the main gate.

The tender subject and reference number must be mentioned on the envelope.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Option 2: Password-protected online submission via Email

Password-protected offers can be submitted by the bidders via email at the below-mentioned email IDs.

tender-document@lnmiit.ac.in (password-protected document)

tender-password@lnmiit.ac.in (password only)

The tender subject and reference number must be mentioned in the subject line of the emails.

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory, are required to be submitted in two separate envelopes/emails.

Envelopes/Emails should be duly marked as follows:

- Technical bid for the “Supply, Fabrication, and Installation Aluminium Partition”. (Technical bid must be submitted without password protection)

- Commercial Bid for the “Supply, Fabrication, and Installation Aluminium Partition”. (The Commercial bid must be submitted with password protection.)

Both Envelopes/files should be enclosed/attached in a single envelope/email bearing the heading “Bid for the “Aluminium Partition Work” (Tender No. : 2025-26/CWO/2B/LNM-1201)”.

Note: The bidders/vendors are requested to go through the tender document carefully and ensure compliance with all specifications/instructions in this tender

Bids are liable to be rejected:

- If the above-mentioned bid submission procedure is not followed.

- Incomplete and non-conforming bids.

- Arbitration: All disputes and differences arising between the two parties in connection with this order shall be mutually settled as far as possible, failing which, all such disputes shall be referred to arbitration and settlement under the provision of the Arbitration and Conciliation Act, 1996 and as amended from time to time or any such law for the time being prevailing in India. The venue of such arbitration shall be Jaipur.

Technical Bid: (in a separate sealed envelope/via email)

# Bid for the Supply, Fabrication, and Installation Aluminium Partition

# (Tender No. : 2025-26/CWO/2B/LNM-1201)

Bidder is required to furnish the requisite details as per the below mentioned table format and proof of such documents to be uploaded along with the bid under respective title/ headings as mentioned at column no ‘C’ accordingly.

| S.No. | Title/ Heading Details sought by buyer | Details/ Certificate No. (Attached Y/N) |
| --- | --- | --- |
| A | B | C |
| 1. | Bidder Firm Name & Registration No, |  |
| 2. | Bidder’s Company profile or brief note |  |
| 3. | PAN Card No,. |  |
| 4. | GST Number |  |
| 5. | List of Directors/ Partners/Proprietor/ Members of the Bidder’s Firm |  |
| 6. | Detail of other associated/sister concerns (if any) of Directors/Partners/ Proprietor/ Members |  |
| 7. | Bidder Turnover - Average annual turnover for last three years |  |
| 8. | The Client List with some purchase orders and satisfactory certificate (to whom the vendor has delivered the goods/provided the services in the past (Three (03) purchase orders/work orders, at least one from each of the last three years, including the previous year.) |  |
| 9. | If the bidder is authorized by the OEM/Manufacturer. Proof of the same is to be submitted with the Technical Bid |  |
| 10. | An undertaking (self-certificate) that the agency has not been blacklisted by a Central/State/UT Government Institutions and there has been no litigation with any government department/institution on account of any services/supplies. |  |
| 11. | Scanned copy of EMD/ Tender Fees paid through RTGS/NEFT (if required/asked in the tender) |  |
| 12 | Xerox copies of MoUs with previous colleges (minimum three) must be attached. (Applicable for student fest only). |  |

Scope of work

- The scope of work will cover the supply /arrangement of given items at LNMIIT Jaipur campus.

- The Vendor is required to submit the complete documentation of the supplied item after delivery.

- General

- The work includes design, supply, fabrication, installation, and commissioning of aluminIum partition systems at designated locations in hostels and mess buildings, as per site requirements and approved drawings.

- All materials and workmanship shall comply with relevant IS standards and institute specifications.

- Aluminium Framework

- Supply and installation of high-quality aluminium sections, anodized or powder-coated (approved shade), suitable for institutional use.

- Aluminium sections shall be of adequate thickness and strength to ensure durability and long service life.

- Infill Panels

- Partitions may consist of:

- Clear / frosted / toughened glass of approved thickness, and/or

- Pre-laminated boards / gypsum boards / ACP panels, as specified.

- Glass panels shall have proper beading, gaskets, and safety fittings.

- Doors and Hardware

- Supply and installation of aluminum framed doors (hinged or sliding) where required.

- Doors shall include locks, handles, door closers, hinges, stoppers, and all necessary accessories of approved make.

- Installation & Finishing

- Proper alignment, leveling, and anchoring of partitions to floor, wall, and ceiling.

- All joints, edges, and exposed surfaces shall be neatly finished with no sharp edges.

- Openings around columns, beams, or services shall be properly sealed.

- Coordination with Services

- Necessary cut-outs and provisions for electrical switches, data points, exhaust, or ventilation, if required, shall be made in coordination with the concerned department.

- Safety & Site Conditions

- Work shall be carried out with minimal disturbance to hostel residents and mess operations.

- Adequate safety measures shall be followed during execution.

- Cleaning & Handover

- Removal of debris, protective films, and thorough cleaning after completion.

- The work shall be handed over in ready-to-use condition.

- Warranty & Defects Liability

- The contractor shall provide a minimum 12-month warranty on workmanship and materials.

- Any defects observed during the warranty period shall be rectified at no extra cost.

Technical specification:

| S.No. | Item Name/ Description | Qty. | UOM |
| --- | --- | --- | --- |
| Boys Hostel 1 & Boys Hostel 2 Aluminum Partition |  |  |  |
| 1. | Aluminum Partition - Color = Anodise - Glass = 5 mm Clear - Sheet = APP Sheet - Fix Partition with Two Track Sliding Size: 2742 x 1855 mm = 54.75 sqft | 54.75 | Sqft |
| 2 | Aluminum Partition - Fix Partition With Single Door - Size : 3941 x 2762 mm = 117.17 sqft - (T.T.) (BH-1) 3191 x 2427 mm = 83.36 sqft - Rest Area (BH-1) 3168 x 2769 mm = 94.42 sqft - R.N. (C -17) (BH-1) | 294.95 | Sqft. |
| 3 | Aluminum Partition - Fix With Double Door - Size : 6070 X 2408 mm = 157.33 sqft - Guest Area (BH-1) 6010 x 2427 mm = 157.01 sqft T.T. Area (BH-1) 6062 x 2403 mm = 156.80 sqft - T.T. Area (BH-2) | 471.14 | Sqft. |
| 4 | Aluminum Partition - Fix Partition - Size : 3179 x 2791 mm = 95.50 sqft - (BH-1) - R.N. C-17-3172 X 3240 mm = 110.63 sqft | 206.13 | Sqft. |
| 5 | Aluminum Hardware /pc Floor Spring | 9.00 | PCS |
| Mass B Aluminum Partition |  |  |  |
| 1 | Aluminum Partition - APP Sheet = Chocolate Brown Color Aluminum Pipe = Chocolate Brown Color 353 * 105 inch = 257.39 sqft 88 * 105 inch = 64 sqft 50 * 105 inch = 36.45 sqft | 357.84 | Sqft. |
| 2 | Aluminum Doors - Sliding Channel | 1 | PCS |

Annexure

To Whomsoever It May Concern

This is to confirm that we, the undersigned, intend to participate in Tender No. : 2025-26/CWO/2B/LNM-1201 for the tender/work titled: “Supply, Fabrication, and Installation Aluminum Partition”

We hereby certify the following:

No Conflict of Interest:

- We declare that we have no conflict of interest in participating in the above tender. We further confirm that we are not engaged in any activity or association that may compromise, or be perceived to compromise, our impartiality or ability to fulfil the obligations of the tender.

Undertaking on Blacklisting & Litigation (Self-Certificate):

- We hereby undertake that:

- Our agency/firm has never been blacklisted or debarred by any Central Government, State Government, Union Territory administration, or any other Institution/Organization.

- There is no ongoing or past litigation against our agency/firm with any Central Government, State Government, Union Territory administration, or any other Institution/Organization on account of any services/supplies.

- If at any stage the above declaration is found to be false, the Institute shall have the right to take any action as deemed appropriate, including rejection of our bid.

Site Visit /Understanding:

- We confirm that we have visited the site/clearly understood the requirements and expectations of the college authorities.

Scope of Work:

- We have thoroughly reviewed the scope of work mentioned in the bid document. The entire inventory/requirement/work has been verified and found to be in order. We also confirm that no additional items beyond the listed inventory/requirement will be required for successful completion of the work. However, if any additional item is required during execution, the same shall be provided by us as per the requirement.

Bidder Details

Name of Bidder: ______________________________________

Address: _____________________________________________

Contact Person: _______________________________________

Mobile No.: ___________________________________________

Email ID: _____________________________________________

Authorized Signatory: __________________________________

Signature & Stamp: ____________________________________

Date: _________________

Place: ________________

Commercial Bid: (in separate sealed envelope/password protected file via email)

# Bid for the Supply, Fabrication, and Installation Aluminum Partition

# (Tender No. : 2025-26/CWO/2B/LNM-1201)

| S.No. | Item Name/ Description | Qty. | UOM | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| Boys Hostel 1 & Boys Hostel 2 Aluminum Partition |  |  |  |  |  |
| 1. | Aluminum Partition - Color = Anodise - Glass = 5 mm Clear - Sheet = APP Sheet - Fix Partition with Two Track Sliding Size: 2742 x 1855 mm = 54.75 sqft | 54.75 | Sqft |  |  |
| 2 | Aluminum Partition - Fix Partition With Single Door - Size : 3941 x 2762 mm = 117.17 sqft - (T.T.) (BH-1) 3191 x 2427 mm = 83.36 sqft - Rest Area (BH-1) 3168 x 2769 mm = 94.42 sqft - R.N. (C -17) (BH-1) | 294.95 | Sqft. |  |  |
| 3 | Aluminum Partition - Fix With Double Door - Size : 6070 X 2408 mm = 157.33 sqft - Guest Area (BH-1) 6010 x 2427 mm = 157.01 sqft - T.T. Area (BH-1) 6062 x 2403 mm = 156.80 sqft - T.T. Area (BH-2) | 471.14 | Sqft. |  |  |
| 4 | Aluminum Partition - Fix Partition - Size : 3179 x 2791 mm = 95.50 sqft - (BH-1) - R.N. (C -17) -3172 X 3240 mm = 110.63 sqft | 206.13 | Sqft. |  |  |
| 5 | Aluminum Hardware /pc Floor Spring | 9.00 | PCS |  |  |
| Mass B Aluminum Partition |  |  |  |  |  |
| 1 | Aluminum Partition - APP Sheet = Chocolate Brown Color Aluminum Pipe = Chocolate Brown Color 353 * 105 inch = 257.39 sqft 88 * 105 inch = 64 sqft 50 * 105 inch = 36.45 sqft | 357.84 | Sqft. |  |  |
| 2 | Aluminum Doors - Sliding Channel | 1 | PCS |  |  |
| Total |  |  |  |  |  |
| GST |  |  |  |  |  |
| Total including GST |  |  |  |  |  |

GENERAL TERMS AND CONDITIONS:

- All applicable taxes such as GST must be clearly mentioned. If not specified, it shall be deemed that all such charges are included in the quoted price.

- If the supplier does not have a particular item or proposes a different make than that specified in the tender, the same must be clearly highlighted in the bid.

- Prices must be inclusive of all charges such as packing, forwarding, transit insurance, transportation, loading, unloading (up to 50 meters), installation, and any other incidental expenses.

- Bid must be submitted on an F.O.R. basis for delivery at: The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur – 302031.

- Bid shall remain valid for a minimum period of 30 days. No change in prices will be accepted during the validity period.

- The LNMIIT reserves the right to reject any quotation without assigning any reason.

- Payment terms shall be mutually decided and agreed upon between the Institute and the vendor.

- The bidder must submit a No Conflict of Interest Declaration along with the bid.

- The bid must be submitted on the company’s letterhead and in the LNMIIT-prescribed format only.

- Any item or service not being supplied by the bidder must be clearly mentioned separately in the bid.

- Vendors must provide a photocopy of their cheque/cancelled cheque along with the invoice for payment processing.

- Prices shall be quoted in Indian Rupees (INR) only.

- Total prices shall be quoted for the complete scope of work as per technical specifications, inclusive of all taxes, duties, insurance, packing, forwarding, and incidental charges.

- Agencies or individuals who are debarred or blacklisted are not permitted to participate in the tendering process. Any agency engaging a debarred person for negotiations or representation is also liable to be debarred.

- If the work is not completed within the stipulated time mentioned in the work order, the competent authority of LNMIIT reserves the right to accept partial work on suitable terms, cancel the supply/work order, withhold or stop payment, forfeit the Earnest Money Deposit, or debar the agency. The decision of the Competent Authority shall be final and binding.

- In case two or more bidders quote the same rates, the final selection shall be made through a draw of lots conducted by a committee comprising LNMIIT administrative members(PCC).

- Vendors are required to visit the site and conduct a detailed survey before submitting their bid to understand the exact requirements. No request for additional items or modifications will be entertained later.

- A pre-bid meeting and/or site visit may be arranged prior to submission of bids to clarify any doubts regarding project details, scope of work, and required documents.

Signature with seal