THE LNM INSTITUTE OF INFORMATION TECHNOLOGY
(Deemed to be University)
Rupa Ki Nangal, Via Jamdoli
Jaipur – 302031 (Rajasthan)
Website: www.lnmiit.ac.in

Ref. No.: LNMIIT/PMO/BH-T3&T4/2025-26/_003
Date: 20.02.2026

CORRIGENDUM – I

NIT No.: BH-4/T-3&T-4/NIT/002

Name of Work:
Construction of Boy's Hostel T-3 & 4 (G+6) at Jaipur including Internal Water Supply, Sanitary Installation, External Development Works, Drainage, Rainwater Harvesting, Horticulture & Landscaping Works, ELV, Firefighting & Fire Alarm, UPS, CCTV, HVAC, LAN and complete development works and services on Item Rate Contract basis.

With reference to the above-mentioned NIT issued by The LNM Institute of Information Technology, Jaipur, the following amendments/clarifications are hereby issued:

S. No.; Bid Query; Scope; As Per Tender; Corrigendum. 1; Experience Criteria & Past Performance – Request to allow experience of reputed Private Limited Companies having turnover above ₹2000 Cr.; Civil; Bidder should have completed similar works in Govt. Dept./PSU/Public Listed Company.; Private ltd company also considered. 2; Detailed technical specifications not provided in tender.; Civil; As per NIT & BOQ.; Please follow NIT BOQ specifications. If bidder required more detail specification for any specific item ,kindly share us. 3; External Development – Road Work (Sr. Item No. 5): Clarification regarding payment of formwork & reinforcement.; Civil; As per BOQ.; Formwork & reinforcement shall not be paid extra. Same shall be deemed included in quoted rates.. 4; Steel Fire Door size/specification not mentioned in BOQ.; Civil/Architecture; As per BOQ.; Fire Shaft Door size: 1200 mm × 1800 mm.. 5; Electrical Works – Lighting Fixtures & Fans: Unit & quantity not mentioned under Point (c).; Electrical; As per BOQ.; Unit-Nos & quantity-16 shall be as per NIT/BOQ. Bidder to quote accordingly..