THE PROPOSED STRUCTURAL REPAIR WORK IN LNMIIT UNIVERSITY

TENDER DOCUMENT

FOR

STRUCTURAL REPAIR TO BH 2

(Tender No.: 2025-26/Estate/2B/LNM-1231)

THE LNM INSTITUTE OF INFORMATION TECHNOLOGY,

RUPA KI NANGAL, VIA JAMDOLI, JAIPUR, RAJASTHAN.

Index

| Sno. | Description | Page No. |
| --- | --- | --- |
| 1. | Notice Inviting Tender | 3 |
| 2. | Instructions to bidders | 4 |
| 3. | Eligibility Criteria | 6 |
| 4. | Scope of work | 8 |
| 5. | General Terms of Conditions | 11 |
| 7. | Technical Specifications for Toilet Block Work | 16 |
| 8. | List of Approved makes | 18 |
| 9. | Schedule of Quantities | 20 |
| 10. | Affidavit | 26 |
| 11. | Proforma EMD/Performance bank guarantee/Security deposit | 27 |
| 12. | Price bid | 30 |

Notice Inviting Bid

(Competitive bidding)

Tender/NIT no.: 2025-26/Estate/2B/LNM-1231

The Director on behalf of THE LNM INSTITUTE OF INFORMATION TECHNOLOGY, JAIPUR (“LNMIIT”) having its office at Rupa ki Nangal, Via Jamdoli, Jaipur, Invites item-rate tenders from eligible firms/agencies for the following works through online and hard-copy submission under a two-bid system: the Technical Bid to be submitted both online and in hard copy, and the Financial Bid to be submitted in hard copy only.

tender-document@lnmiit.ac.in (password-protected document)

Name of the Project: : Structural Repair Works Boys Hostel -2 in University Campus.

Sub Head: RCC rehabilitation, strengthening, crack treatment, protective coating and civil repairs as per structural audit.

Detail of the Tender bid:

Earnest Money: Rs.5,34000.00

Period of Completion: 2 Months. (Work to be completed by 15 July 26)

Mobilization time - Nil

Last date & time of submission of bid document: 14.03.2026

For technical clarification(if any), please contact to Estate Manager at Email id: estate.manager@lnmiit.ac.in

Director

LNMIIT

Instructions for the Bidder

- This Notice Inviting Tenders (Part-1,2,3 & 4) i.e. Eligibility criteria for the bidder, Scope of work, Terms & conditions, Comprehensive warranty, Defects liability period, Comprehensive Maintenance for 5 years, General terms & conditions, General technical conditions, technical specifications, List of approved makes, Affidavit, Proforma for Bank guarantee, Price bid & Drawings shall form the TENDER DOCUMENTS.

- The bid document shall be submitted in two envelopes consisting of the following:

Envelope 1: Bid document duly signed and stamped by the authorised signatory along with the EMD as specified.

Envelope :2: Price Bid.

Price bid envelope i.e envelope 2 will be opened only of those bidders who successfully meet the eligibility criteria.

- The Contractors are to pay the amount of earnest money as specified in the tender notice separately along with the Tender. Tenders for which earnest money deposit has not been received separately shall be returned unopened/not to be considered for further processing.

- The Contractor should certify that he has studied the Work at site and acquainted himself with the position regarding construction, materials & labour required for the work.

- Should the Contractor notice any discrepancy or error in any statement made, he shall immediately bring to the notice of the LNMIIT-Estate Manager of LNMIIT, Jaipur (estate.manager@lnmiit.ac.in) and obtain clarifications before submitting the tender.  The tender shall be recorded as such in the covering letter to the tender, failing which the Owner shall have right to ask the Contractor to execute the Work according to the statement made in the tender, without any compensation.

- The Rates should be quoted in figures and words, and the respective amounts or total shall be given by each TENDERER. In case of any difference in rates in figures / words, those given in words, shall hold good as quoted rate and in case of any difference in rates and Total amount, quoted Rates shall hold good.

- The TENDERS shall remain valid for acceptance for 60 days from the last date of Submission.

- The successful TENDERER shall be intimated about the Award of Work and the Earnest Money Deposits of other TENDERERS shall be returned without any interest on the amount deposited.

- The LNMIIT reserves the right to reject any / all TENDERS without assigning any reason and shall not be bound to accept the lowest or any other TENDER.

- TENDER not accompanied by the requisite EARNEST MONEY DEPOSIT in the specified form or accompanied with the conditional offer are liable to be summarily rejected.

- The Bidder should stamp and sign the document in order to ascertain that he complies with all the specifications and terms and conditions mentioned in the Bid.

- Earnest money deposit will be paid online or thru Demand draft  or by online bank transfer to the following bank account:

Account Name         : “ The LNM Institute of Information Technology”

Account No.     :       001201038168

Bank                    :       ICICI Bank Ltd.

Branch         :     C-Scheme, Jaipur

IFSC Code     :       ICIC0000012

Account type    :       Saving account

The acknowledgement of the EMD should be mailed to the chief finance officer on the email: cfo@lnmiit.ac.in.

- Co-ordination with other agencies / contractors appointed directly by the owner:

The Successful bidder shall co-ordinate and provide facilities for the contractors appointed by the LNMIIT.

In addition to the above Clauses all requirements will have to be implemented by the Bidder for all persons employed by him working on the Site including monitoring to ensure implementation etc., employed directly by the Owner.

- The tender of any Contractor not complying with any of the above instructions 1 to 12 may be rejected.

I / We have carefully read the above said instructions have understood the same and shall comply with the same.

Place : 							Signature of the Contractor

Date:								With seal & address

Name of the Contractor: -

Contact No.

e-mail id:

Part-1

Eligibility Criteria for the Bidder

| Sno. | Parameter | Documents to be submitted by Bidder |
| --- | --- | --- |
| 1 | Earnest Money Deposit: | The bidder should submit an EMD of Rs. 5,34000/- ( Five lacs thirty four thousand only) |
| 2. | Bidder Turnover | The bidder should submit the CA Certified turnover document for the Financial Turnover of Bidder for last three Financial Years. |
| 3. | Contractor Certificate | The bidder shall submit a valid Class ‘A’ Contractor Certificate issued by the competent authority along with the bid. The certificate shall be in the name of the bidding firm/contractor and shall remain valid on the date of submission of the bid. In case the bidder does not possess a Class ‘A’ Contractor Certificate, the bidder shall submit a self-undertaking on its letterhead, duly signed and stamped by the authorized signatory, declaring that the bidder is a Class ‘A’ Contractor, along with supporting registration documents. ** “Class A Contractor” Shall mean a contractor holding a valid Class A certificate issued by any Government Authority, whether Central Government, State Government |
| 4. | Experience criteria & Past performance for the bidder | To qualify, the bidder shall have successfully executed similar nature of works, i.e., structural repair, rehabilitation and strengthening of RCC and/or masonry buildings, including hostels or institutional buildings, in any Government Department, PSU, Autonomous Body, Educational Institution or Public Listed Company during the last five (5) years.: One works of minimum value of Rs. 2,00,00,000/- Or Two works of minimum value of Rs. 1,00,00,000/- Or Three works of minimum value of Rs. 75,00,000/- Requirements: - Completion certificates mentioning order number and order value issued by the relevant competent Authority |
| 5. | Experience Criteria & Past Performance of the Bidder | The Bidder shall have a minimum of 15 (fifteen) years of proven experience in execution of structural repair, rehabilitation and strengthening works of RCC and masonry structures. The Bidder shall submit valid documentary evidence such as work orders, completion certificates, or client certificates in support of the same. |
| 6. | Necessary Qualifying Criteria for bidder | To qualify, the bidder should comply to following conditions: |
| 7. | GST number | The bidder should attach GST number detail mandatorily |
| 8. | PAN Card | The bidder should attach PAN card detail mandatorily |
| 10. | BOQ Compliance | The Bidder should stamp and sign the document in order to ascertain that he complies all the specifications and terms and conditions mentioned in the Bid |
| 11. | Location of the nearest Service Centre | The Bidder has to provide the Address of the Service Office along with Contact Number |
| 12. | ISO 9001:2015 Certificate | The Bidder should submit the valid ISO 9001:2015 Certificate of the Bidder |
| 13. | Affidavit as per Annexure-1 | The Bidder should submit the Affidavit as per Annexure-1 |
| 14. | Retention Money | The retention Money shall be 5%(five Percent) of the gross bill value for a period of one year. |

Part-2

Scope of Work:

- This work covers carrying out all preparatory activities including necessary testing of materials, procurement and delivery at site, unloading, handling, erection, application and execution of structural repair works for Boys Hostel-2 in the University Campus. The scope includes dismantling of distressed portions, repair and rehabilitation of RCC and masonry members, treatment of corroded reinforcement, crack sealing, micro-concreting/shotcreting where required, protective coatings, curing, finishing, testing and inspection as necessary, and completion of all works in accordance with specifications, drawings and directions of the Engineer-in-Charge. The work shall be complete in all respects, including defect liability and comprehensive maintenance for a period of one year after successful completion of the Defects Liability Period.

- Location: The work shall be carried out in the Building of LNMIIT Campus, at Jaipur

- The work shall be executed as per CPWD/NBC General Specifications, as amended up to date, relevant I.E. Rules, BIS/IEC and as per directions of LNMIIT Representative. These additional specifications/ conditions are to be read in conjunction with above and in case of variations; specifications given in these additional conditions shall apply. However, nothing extra shall be paid on account of these additional specifications and conditions, as the same are to be read along with the schedule of quantities for the work.

- The tenderer should in his own interest visit the site and get familiarized with the site conditions before tendering.

- The work shall comprise of entire labour including supervision and all materials necessary to make a complete installation and such tests and adjustments and commissioning as may be required by the department. The term complete installation shall not only mean major items of the plant and equipment’s covered by specifications but all incidental sundry components necessary for complete execution and satisfactory performance of installation with all layout charts whether or not those have been mentioned in details in the tender document in connection with this contract.

- All debris/Malba resulting due to work shall be removed on daily basis and completion of the work shall only be accepted after the site has been cleaned of all malba. The malba is to be taken outside the Institute premises  by the Contractor and dumped at an authorized place.  In case contractor fails to comply the same shall be got removed by the other agency at the payment shall be recovered from the bill of the contractor.

- Minor building works necessary for installation of equipment’s, making of opening in walls or in floor and restoring to their original conditions, finish and necessary grouting etc. as required.

- The contractor shall be bound to execute such additional items for S.I.T.C n be termed as logical, essential and necessary (even though not listed in schedule of work) for the effective execution of the work in totality.

- Maintenance (routine and preventive) DLP for one year from date of completion and handing over to department/Client.

- Inspection and testing: All routine tests confirming to be relevant shall be carried out and the test reports shall be submitted to the LNMIIT Representative. The copies of all documents of routine and type test certificates of the equipment, carried out at the manufacturer’s premises, shall be furnished to the Estate Manager and consignee at the time of delivery of material at site. After completion of the work in all respects the contractor shall offer the installation for testing and operation.

12) COMPLIANCE WITH REGULATIONS AND INDIAN STANDARDS All works shall be carried out in accordance with the relevant statutory regulations and the Indian Standards applicable to the works covered by this specification.

In particular, the equipment, materials, workmanship, and installation shall comply with the following:

i) Applicable Labour Codes of Government of India, including all rules, amendments, and notifications issued thereunder.

ii) Indian Electricity Act, 2003, Indian Electricity Rules / applicable CEA Regulations.

iii) Bureau of Indian Standards (BIS) and other relevant Indian Standards as applicable.

The contractor shall ensure full compliance with all statutory labour, safety, welfare, and regulatory requirements for the workforce engaged for the work.

Part-3	Terms & Conditions for comprehensive warranty/defects liability period of one year and comprehensive maintenance for 1 years.

1) The Contractor shall assign a qualified representative/engineer who shall periodically visit the site at least once a month during the Defect Liability Period to inspect the repaired structural elements of Boys Hostel-2, monitor the performance of the structural repair works, attend to any defects such as cracks, distress, seepage or deterioration noticed in the repaired areas, and carry out necessary rectification in a systematic and controlled manner. The representative shall also be available for consultation in all matters relating to the maintenance, durability and performance of the structural repair works.

2) The Contractor shall repair or replace any parts detail in the following clause which are found to be defective.

4) The work shall be carried out as per technical Specifications and schedule of quantities specified in this document the entire satisfaction of the Estate manager.

5) The tendered rates shall be deemed to include all services covered under this contract and no extra payment will be made on this account.

6)  Any accident that occurred due to negligence will be the entire responsibility of the contractor.

7) The time allotted for attending the complaints is 36 Hours and if the complaints are not done within 36 hours of the registration, a recovery @ Rs. 500/- per day shall be made against the contractor.

8) Maintenance:

a. The comprehensive maintenance, routine as well as preventive maintenance for 01 year from the date of completion of DLP shall be carried out and the record of the same shall have to be maintained by bidder.

b. Sufficient trained and experienced staff & Engineer shall be made available to meet any exigency of work during the guarantee period of one year from the handing over of the installation.

c. The following activities are covered under the scope of work, including cost of spares, provision of repair component and replacement of items as required.

i) In addition to the execution of structural repair works, the scope of this contract shall include all associated activities such as dismantling of distressed portions, repair and rehabilitation of RCC/masonry members, crack treatment, corrosion control of reinforcement, replacement of damaged structural components where required, application of protective coatings, making good of finishes, and all incidental works necessary to restore the structural safety, serviceability, and durability of the building, complete in all respects.

Part-4

General Terms & Conditions

1)  The intending bidder must read the terms and conditions of the bid carefully. He should only submit his bid if he considers himself eligible and he is in possession of all the documents required.

2) Information and Instructions for bidders posted shall form part of bid document.

3) The LNMIIT-Jaipur reserves the right to reject any prospective bid at any point of time, if the documents provided by the bidder appear to be fake or any false information is provided by the bidder.

4) The intending contractor is advised to visit the site of work, of his own, to acquainting himself regarding site details etc. prior to quoting the tender.

5) All materials and items shall be procured on or before 30 April 2026.
The work shall commence from 15 May 2026 and shall be completed in all respects by 15 July 2026

6) Payment Terms:

A)  Payment to the bidder shall be released as follows:

- Advance Payment:
10% of the quoted cost shall be paid as advance after award of work and submission of Performance Security/Advance BG.

- Delivery Stage:
50% of the quoted cost shall be paid after successful delivery of all materials/items at site.

- Installation, Testing & Commissioning Stage:
35% of the quoted cost shall be paid after successful installation, testing, and commissioning of all Materials/ items

- DLP Completion Stage:
The remaining 5% of the quoted cost for all Materials/Items shall be released after successful completion of the Defect Liability Period (DLP).

- Payment shall be made on an item-rate basis for the actual quantities measured and the actual work executed at site, duly verified and certified by the Engineer-in-Charge.

B)  If the bidder fails to complete the work, deliver materials, or perform installation, testing    and commissioning within the time schedule specified in the contract, liquidated damages shall be levied as follows:

- Delay in Delivery of Materials/Items: 0.5% of the total contract value of delayed materials/items per week of delay, subject to a maximum of 5% of the total contract value.

- Delay in Installation, Testing & Commissioning: 0.5% of the total contract value of work pending installation/commissioning per week of delay, subject to a maximum of 5% of the total contract value.

- Delay in Completion of Defect Liability Period (DLP) / Rectification of Defects: If defects pointed out during the DLP are not rectified within the stipulated time, liquidated damages at the rate of 0.5% of the total contract value per week of delay, subject to a maximum of 5% of the total contract value, shall be levied. The deduction of liquidated damages shall be made from any payments due to the contractor or from the Performance Security/Bank Guarantee. The levy of liquidated damages shall be without prejudice to any other rights or remedies of the Employer under the contract.

- Water and Electricity required for execution of the work shall be provided free of cost by the institute.

7) Intending bidders are advised to inspect and examine the site and its surroundings and satisfy themselves before submitting their bids as to the nature of the ground and sub-soil (so far as is practicable), the form and nature of the site, the means of access to the site, the accommodation they may require and in general shall themselves obtain all necessary information as to risks, contingencies and other circumstances which may influence or affect their bid. The bidder shall be deemed to have full knowledge of the site whether he inspects it or not and no extra charge consequent on any misunderstanding or otherwise shall be allowed. The bidders shall be responsible for arranging and maintaining at his own cost all.

8) It is required that each Bidder/Contractor (including their respective officers, employees and agents) adhere to the highest ethical standards, and report to the Director-LNMIIT all suspected acts of fraud or corruption or Coercion or Collusion of which it has knowledge or becomes aware, during the tendering process and throughout the negotiation or award of a contract.

9) Performance Guarantee:

The contractor whose bid is accepted will be required to furnish a performance guarantee of 5% (Five Percent) (Serial no. “1 to 33 ” of the Price bid) of the bid amount valid till the successful completion and handing over of complete work , order within 20 days of the issuing of contract order. This guarantee shall be in the prescribed form mentioned in the Bid document. The performance Guarantee shall be released after 30 days of successful completion handing over of complete work .

The successful bidder shall submit a Performance Guarantee (PG) equivalent to 5% of the accepted contract value within the stipulated time after issue of the Letter of Acceptance.

The Performance Guarantee shall remain valid for a period of Five (5) Years from the date of completion of the work or handing over of the building, as applicable, covering the entire guarantee period includes,

- The entire construction/execution period

- The subsequent Defect Liability Period(DLP)

During the five-year guarantee period, the contractor shall be responsible for:

- Rectification of all defects arising due to faulty materials, workmanship, or installation.

- Replacement or repair of defective sanitary fittings, plumbing components, fixtures, and allied works at no extra cost to the Employer.

- Ensuring proper functioning and performance of the building as per approved specifications.

In the event of failure on the part of the contractor to rectify defects within the stipulated time, the Employer shall be entitled to recover the cost of rectification from the Performance Guarantee or take any other action as per contract conditions.

The Performance Guarantee shall be released only after satisfactory completion of the five-year guarantee period, subject to fulfillment of all contractual obligations.

The performance Guarantee in respect to comprehensive maintenance

will be released after 45 days from the completion of the Completion of  comprehensive maintenance  Period.

This guarantee shall be in the form of Insurance Surety Bonds, Account Payee Demand Draft, Fixed Deposit Receipt or Bank Guarantee from any of the Commercial banks in accordance with the prescribed form as provided in the bid. In case, the Bidder fails to deposit the said Performance Guarantee within the period as mentioned above including the extended period, if any, the Earnest Money deposited by the Bidder shall be forfeited automatically without any notice to the Bidder. The earnest money deposited along with the bid shall be returned after receiving the aforesaid performance guarantee.

10) Rates: The rates quoted by the tenderer, shall be firm and inclusive of all taxes (including works GST, labour cess), duties, levies, octrori etc. and all charges for packing forwarding, insurance, freight and delivery, installation, testing, commissioning etc. and clearance required if any.

11) The Contractor has to carry out comprehensive, routine and preventive maintenance as per manufacturer’s standard for a period of minimum 12 months from the date of handing over. Nothing extra shall be paid on this account.

12) WARANTEE: All equipment’s shall be guaranteed for a minimum period of 12 months, from the date of taking over the installation by the department/Client against unsatisfactory performance and/or breakdown due to defective design, workmanship or material. The equipment or components, or any part thereof, found defective during the guarantee period shall be forthwith repaired or replaced free of cost, to the satisfaction of the Estate Manager. In case it is felt by the department that undue delay is being caused by the contractor in doing this, the same will be got done by the department at the risk and cost of the contractor. The decision of the Estate manager in this regard shall be final & binding on the contractor.

13) The successful tenderer should furnish well in advance three copies of detailed instructions and manuals of manufacturers for all items of equipment’s regarding installation, adjustments, operation and maintenance i/c preventive maintenance and troubleshooting together with all the relevant data sheets, spare parts, catalogue and workshop procedure for repairs, assembly and adjustments etc all in triplicate.

14)   Dispute Resolution: If any dispute with regard to the terms of this Contract shall be handled through Arbitration, as per the following terms, between them:

(I) THAT, the parties agree that any dispute or difference whatsoever arising between them out of/under or in connection with or relating to the existence, meaning, scope, validity, termination, breach, or any other effect flowing from the Contract shall be referred to a Sole Arbitrator, as appointed under clause (IV) herein below.

(II) AND THAT, the parties agree that in respect of those matters, as are not defined in the terms and conditions of this Dispute Resolution Clause, or anywhere else in the Contract, the same shall be decided and settled by the Sole Arbitrator, in accordance with the Arbitration and Conciliation Act, 1996 and the amendments thereof as in operation on the date of execution of the Contract.

(III) AND THAT, the parties agree that the place of Arbitration shall be at Jaipur, Rajasthan.

(IV) AND THAT, whenever the parties decide to resort/resolve to Arbitration for dispute

resolution, the Director, LNMIIT shall be the authority to appoint the Sole Arbitrator, and such appointment shall be binding on both the parties:

Provided that before approaching Director-LNMIIT for appointment of Sole Arbitrator, the parties shall make a sincere attempt to resolve their dispute, within a time period of 3 months, through mutual conciliation/ negotiations. The sole arbitrator shall not be an employee of any of the party to this tender.

(V) AND THAT all costs relating to the Arbitration proceedings shall be borne equally by both parties.

(VI) AND THAT, the parties agree that the language for making all submissions and evidence will be presented in ENGLISH during the proceedings.

(VII) AND THAT, it is agreed between the parties that they shall extend their fullest support and co-operation to the Sole Arbitrator and not seek adjournment of the Arbitration proceedings, without explaining the reasons therefore, in writing, in advance, for seeking of such adjournment, and further that there shall not be more than two such adjournments granted, even when there exists a valid reason for seeking such adjournment. And, it is further agreed that the parties should cooperate in completing the arbitration process and the broader dispute resolution within 6 months or at most with an extension, on mutual consent, of another 6 months.

(VIII) The sole Arbitrator shall record, in writing, the arguments of the two parties on each of the points of dispute and pass a reasoned and speaking Award thereon, within the Terms and Conditions of the Contract Agreement.

(IX) If any difference remains after an Arbitral award, and an appeal could be raised under the Arbitration and Conciliation Act, 1996, the appropriate Court within the Jaipur , Rajasthan shall deal with the matter.

TECHNICAL SPECIFICATIONS

The scope includes Scaffolding, Dismantling/Demolishing, Structural Repair, Water-Proofing, and Civil Finishing Works as per the BOQ. All works shall comply with CPWD Specifications, manufacturer technical datasheets, IS codes and instructions of Engineer-in-Charge.

PART-I: SCAFFOLDING WORKS

- Providing and fixing Double Scaffolding System (Cup-Lock Type) up to 25 m height using

- 40 mm dia MS pipes

- Cup-lock vertical & horizontals

- Bracings, runners, clamps

- MS challis, working platforms, access stair system

- Scaffolding shall be stable, safe and certified before commencement of works.

- Shall be maintained in serviceable condition throughout the repair/painting duration.

PART-II: DISMANTLING & DEMOLISHING WORKS

- Chipping of weak concrete from beams/columns/slabs using manual or mechanical means.

- Demolishing cement concrete (1:3:6 & above).

- Removing internal/external plaster, roofing sheets, wall/floor tiles, false ceiling etc.

- Cleaning and disposal of waste to approved dumping site beyond 50 m lead.

- Removal of vegetation roots and treatment using approved chemicals.

- Removing paint, choked GI/CI/PVC pipes and rectification.

PART-III: STRUCTURAL REPAIR WORKS

- Cleaning reinforcement using rust remover chemicals and wire brushing.

- Drilling and fixing 12 mm galvanized injection nipples for pressure grouting.

- Injection grouting using approved cementitious/epoxy grout through installed nipples.

- Applying Epoxy bonding coat over chipped RCC surfaces.

- Applying SBR polymer modified cement mortar (1:4) for patch repair.

- Providing 30 mm ceramic polymer micro-concrete for RCC strengthening by certified applicator.

- All cracks, honeycomb areas and reinforcement exposure shall be treated as per approved methodology.

PART-IV: WATERPROOFING WORKS

- Terrace waterproofing using fibre-reinforced elastomeric acrylic membrane, SRI ≥ 105,

- 1 coat primer (3:1 dilution)

- 2 coats undiluted waterproofing

- Minimum 500-micron DFT

- Internal toilet wall waterproofing using acrylic polymer-modified cementitious coating with fiberglass mesh, 7-year warranty on stamp paper.

PART-V: CIVIL WORKS

- Internal plaster 12 mm thick (1:3).

- External washed stone grit plaster in two layers + groove cutting as per pattern.

- Stone cladding (processed stone panels) on walls/compound.

- Plinth protection of 50 mm CC (1:3:6) over 75 mm brick ballast.

- Painting of rainwater/soil/vent pipes with bitumen paint.

- Paver block dismantling and relaying M-35 grade paver blocks.

- Fixing GI pipes 50 mm heavy grade with anti-corrosive painting.

- External raincoat painting with crack filling system, including primer + 2 coats.

- Internal painting with low-VOC acrylic emulsion paint.

********

LIST OF APPROVED MAKES FOR STRUCTURAL REPAIR WORKS

| Category | Approved Makes |
| --- | --- |
| Scaffolding Components | ISI marked MS pipes, Tata Structura, Jindal, Apollo |
| Rust Remover / Epoxy / Polymer / Micro-Concrete | Fosroc, Sika, BASF/MBCC, STP Ltd., Choksey |
| Injection Grout / Nipples | Sika, Fosroc, Choksey, STP |
| Acrylic Waterproofing (Terrace) | Asian SmartCare, Dr. Fixit Raincoat / Newcoat, SikaTop Seal |
| Cementitious Waterproofing (Toilets) | Fosroc Brushbond, Dr. Fixit 301/302, SikaTop |
| SBR Polymer | Dr. Fixit Pidicrete URP, Sika Latex, Fosroc Latex |
| Stone Cladding Panels | Factory processed stone (Make: Royal Stone, Aerocon, Fusion Stone, Ecostone) |
| GI Pipes | TATA, Jindal Star, Prakash Surya |
| Paver Blocks (M-35) | Uni Paver, Wondercrete, UltraTech Pavers |
| Paints – External Raincoat | Asian Paints, Nerolac, Berger, Dr. Fixit |
| Interior Emulsion Paint | Asian Royale, Berger Silk, Nerolac Impressions |
| Bitumen Paint | STP, Asian, Shalimar |
| Cement | UltraTech, Shree, Ambuja, JK, ACC |
| Aggregates/Fine Sand | As per IS: 383 certified natural river sand & stone aggregates |

Note:- In case any of makes for any of the material is missed out in the above list for using at site then the contractor shall inform to the LNMIIT representative about the same and obtain the approval. Thereafter, he can proceed with the supply of the material.

ENABLING WORKS

The contractor shall carry out the following enabling works before execution:

- Site Mobilization
– Barricading the work area
– Safety signages
– Staging, supports, and storage arrangement

- Scaffolding & Access Arrangement
– Safe scaffolding with proper working platforms
– Safety nets where required

- Protection of Property
– Covering adjacent surfaces/floors
– Removing loose materials
– Protection of plants, pipelines, electrical cables

- Temporary Utilities
– Water & Power arrangements
– Temporary lighting

- Waste Management
– Daily debris removal
– Transportation to approved dumping yard

- Safety & Compliance
– PPE for workers
– Insurance for manpower
– Fire safety precautions

Only after the above is completed, the institute shall issue approval for commencement of full-scale dismantling & renovation work.

| Sr. No | Description | Unit. | Qty. |
| --- | --- | --- | --- |
| 1 | 3 | 4 | 5 |
| PART I-SCAFFOLDING |  |  |  |
| 1 | Providing and fixing double scaffolding system (cup lock type) on the exterior side of building/structure, upto 25 metre height, above ground level, including additional rows of scaffolding in stepped manner as per requirement of site, made with 40mm dia M.S. tube, placed 1.5 metre centre to centre, horizontal & vertical tubes joint with cup & lock system with M.S. Tubes, M.S. tube challis, M.S. clamps and staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for execution of work of cleaning and/ or pointing and/ or applying chemical and removing it thereafter. The scaffolding system shall be stiffened with bracings, runners, connecting with the building etc, wherever required, if feasible, for inspection of work at required locations with essential safety features for the workmen etc., complete as per directions and approval of Engineer-in-charge. |  |  |
|  | Perimeter * ht. Of BuIlding | Sqm | 1701 |
| PART II-DISMENTALING/DEMOLISHING |  |  |  |
| 2 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge |  |  |
|  | 50mm average thickness |  |  |
|  | Chipping work | Sqm | 281 |
| 3 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. |  |  |
|  | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) |  |  |
|  | Column on terrace for future extension (275*450) | Cum | 2.49 |
| 4 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead |  |  |
|  | Internal Plaster | Sqm | 600.72 |
|  | External Plaster | Sqm | 1701 |
| 5 | Dismantling roofing including ridges, hips, valleys and gutters etc., and stacking the material within 50 metres lead of: |  |  |
|  | G.S. Sheet | Sqm | 30 |
| 6 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. |  |  |
|  | Paint Removal | Sqm | 130 |
| 7 | Removing chockes and leakages from down take G.I/CI/PVC pipe line on walls floor level by using zoola / scaffolding and rectify the same for functioning with all lifts etc. complete. |  |  |
|  | Chockes and Leakages | No. | 100 |
| 8 | Removal of Vegitation/Plants:- Removal of entire root inside the bridge portion. Remains of the root shall be treated with special chemical Steripure MBT 20. Top 50 mm shall filled with high strength grout including cost of all material, machinery, labour, scaffolding, etc.as per specification and as directed by Engineer-in-Charge. |  |  |
|  | Around the Peripherry | Sqm | 10 |
| 9 | Dismantling tile work in floors/walls and roofs laid in cement mortar including stacking material within 50 metres lead. |  |  |
|  | Wall tiles/cladding | Sqm | 115 |
| 10 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. |  |  |
|  | Disposal of waste material | Cum | 428.14 |
| 11 | Dismantling false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge |  |  |
|  | False Ceiling | Sqm | 27.5 |
| PART III- STRUCTURAL REPAIRS |  |  |  |
| 12 | Cleaning of reinforcement from rust from the reinforcing bars to give it a total rust free steel surface by using alkaline chemical rust remover of approved make with paint brush and removing loose particles after 24 hours of its application with wire brush and thoroughly washing with water and allowing it to dry, all complete as per direction of Engineer-In-Charge |  |  |
|  | Bars upto 12 mm diameter | Metre | 499.3 |
|  | Bars above 12 mm diameter | Metre | 472.5 |
| 13 | Providing and inserting 12mm dia galvanised steel injection nipple in honey comb area and along crack line including drilling of holes of required diametre (20mm to 30mm) up to depth from 30mm to 80mm at required spacing and making the hole & crack dust free by blowing compressed air, sealing the distance between injection nipple with adhesive chemical of approved make and allow it to cure complete as per direction of Engineer-In-Charge. |  |  |
|  | Grouting nipples | Each | 3137 |
| 14 | Providing and injecting approved grout in proportion recommended by the manufacturer into cracks/honey-comb area of concrete/ masonry by suitable gun/pump at required pressure including cutting of nipples after curing etc. complete as per directions of Engineer-in Charge. |  |  |
|  | Consider 1 kg grout required through each nipple | KG | 4357 |
| 15 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. |  |  |
|  | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make |  |  |
|  | Qty. Same as item No. 2.0 | Sqm | 281 |
| 16 | Providing and fixing expansion joint sealant of width 25 mm and depth 10 mm, using approved epoxy based filler / silicone or polyurethane sealant, over suitable closed-cell polyethylene backer rod, including cleaning of joint faces, priming with compatible primer, proper application with sealant gun, tooling, finishing and curing, complete as per CPWD specifications, manufacturer’s instructions and direction of LNMIIT. | Metre | 300 |
| 17 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. |  |  |
|  | 50 mm average thickness in 3 layers |  |  |
|  |  | Sqm | 208 |
| 18 | Providing and applying 30 mm thick self curing Ceremic Polymer Microconcrete of approved make having Compressive strength above M30, non shrink, impermeable , filling mortar to load carrying R.C.C member in two layers on cleaned concrete surface , including honey comb area (using manual/mechanical means). Mixing mortar of Nicosil C80 and fresh 53 grade cement with required water cement ratio for desired consistency and applying and finishing by manual trawelling , curing after curing initial setting time etc, as per manufacturers specification etc. complete as per specification and as directed by engineer-in- charge. Work shall be executed by certified applicator only and work shall be guaranteed for 5 years and guarantee shall be provided on Rs. 500 /- stamp paper. (Bond coat mentioned below is to be done before coating) |  |  |
|  | Column | Sqm | 73 |
| PART IV- WATER PROOFING |  |  |  |
| 19 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. |  |  |
|  | Terrace water proofing | Sqm | 3300.00 |
| PART V- CIVIL WORK |  |  |  |
| 20 | 12 mm cement plaster finished with a floating coat of neat cement : |  |  |
|  | 1:3 (1 cement : 3 fine sand) for Internal Work |  |  |
|  | Internal Cement Plaster | Sqm | 600.72 |
| 21 | Washed stone grit plaster on exterior walls of height upto 10 M. above level in two layers, under layer 12mm cement plaster 1:4 (1 cement : 4 coarse sand ) furrowing the under layer with scratching tool, applying cement slurry on the under layer @ 2kg of cement per sqm, top layer 15 mm cement plaster 1:1/2:2 ( 1 cement : 1/2 coarse sand : 2 stone chipping size 10 mm nominal size) in panel with groove all around as per approved pattern including scrubbing and washing, the top layer with brushes and water to expose the stone chipping, complete as per specification and direction of Engineer in charge. (Payment for providing grooves shall be made separately) |  |  |
|  | External Plaster | Sqm | 1701 |
| 22 | Providing and Fixing Processed Stone Cladding on wall surface/ plywood surface. RCC pardi/ Wall and all type of Interior, Exterior Compound wall and Gate etc. of cladding processed stone with material of Processed clay, Wooden chips, Silica sand, Cement, GFRC admixtures, Colour pigments, Fiber up to thick of 230 mm/ 25 mm including scaffolding, fixing of screw, etc. (As directed by Engineer in Charge) |  |  |
|  | Qty Same as Item no. 7 | Sqm | 115 |
| 23 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. |  |  |
|  | Around the peripherry | Sqm | 171.94 |
| 24 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge |  |  |
|  | Paver Blocks | Sqm | 30 |
| 25 | Providing and inserting 12mm dia galvanised steel injection nipples in soil for soil stabilization by grouting method which including drilling of holes of required diametre up to required depth at required spacing as per direction of Engineer-In-Charge. |  |  |
|  | For soil Strengthening | Each | 100 |
| 26 | It is ready to use inorganic, bio compatible, low viscosity, non hazardous, soil stabilizing two component colloidal silica base chemical grout. Providing and carrying out this grouting to stabilize the strata above the tunnel, foundations, cutting slope stabilization and sub structures by using ultimate fine Nano grout as approved by Engineer in charge. Drill injecting holes to required depth in loose soil strata. Fix the grouting pipes. Grout must be continuously stirred during addition of accelerator and fully mixed to transparent solution prior to grouting into the soil/strata. No white precipitates should remain in the grout mix. This is ultimate fine grouting can be completed by Nano grout. Solvent Free, Inorganic, Hydrophilic, Non- hazardous, Low Viscosity Chemical Grout for Stabilization and Consolidation of Sandy/Silty Soil should have following minimum properties: Grout: (Rate for fixing nozzle is not included in this item) |  |  |
|  | Consider 1kg grout through each nipple. For Qty from Item no 24 | KG | 1000 |
| 27 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. |  |  |
|  | 60mm thick cement concrete paver block of M-35 grade with approved colour, design & pattern. |  |  |
|  | Paving Blocks | Sqm | 30 |
| 28 | Providing and fixing corrugated galvanised iron sheets of 0.63mm thick (24 B.W.G.) for roofing without wind tiles including fastening with galvanised iron screws and bolts, lead and bitumen washers as per drawing etc. complete.(Weight of 5.5 Kilogram/sq.m.). |  |  |
|  | Qty. same as item no. 5 | Sqm | 30 |
| 29 | Providing and laying in position ready mixed or site batched design mix cement concrete for plain cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana/Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering and finishing as per direction of the engineer-in-charge; for the following grades of concrete. |  |  |
|  | Concrete of M20 grade with minimum cement content of 270 kg /cum |  |  |
|  | Pcc work | Cum | 5.26 |
| 30 | Providing and fixing false ceiling of teak wood particle board half perforated sheet 12 mm thick including scaffolding, if necessary, all iron work and two coats of oil painting to boards and beading i.e. visible surface etc. complete. (excluding frame work and runners) |  |  |
|  | Qty. same as item no. 11 | Sqm | 27.5 |
| 31 | Providing and applying external raincoat painting with crack filling acrylic polymer based chemical compound coating to the external surface of walls to prevent water seepage in the masonry walls during monsoon added with required shade Steiner to give required shade to the surface in two coats. Including providing three coat of priming of polymer base primer including preparing surface scrapping the existing loose old paint, removing loose particles of sand on the surface opening and cleaning the cracks developed in the external plaster, removing loose particles by chiseling, filling cracks by chemicals compound of approved make with proper penetration etc. Coating of Raincoat with the help of brush and as per instructions and specification given by manufacturer and with instruction from Engineer in- charge. Work shall be executed by certified applicator only and covering guarantee of 5 years on court stamp paper of Rs. 500/- and necessary testing etc. complete. |  |  |
|  | Plaster Surface | Sqm | 4617 |
| 32 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. |  |  |
|  | Two coats (Internal plaster surface) |  |  |
|  | Qty. same as Item no 4a | Sqm | 600.72 |
| 33 | Painting exterior surface of Wall with 100% acrylic exterior paint of approved brand and manufacture to give an even shade with two or more coats including preparation of base with sand papering, primer, putty, etc complete in all respects including scaffolding and safety provision. Old Work (Three or more coats) (Make - Asian Apex Series). | Sqm | 11700 |

Annexure-1

AFFIDAVIT

- I, the undersigned, do hereby certify that all the statements made in the required statements are true & correct.

- The undersigned also hereby certifies that neither our firms M/s___________________ have abandoned any work in previous projects or in any other Department nor any contract awarded to us for such works have been rescinded, during last five years prior to the date of this bid.

- The undersigned understand and agrees that further qualifying information may be requested and agrees to furnish any such information at the request of M/s Lakshmi Niwas Mittal Institute of Information Technology LNMIIT, Jaipur.

………………………………………………………..

(Signed by an Authorized Person of Firm)

………………………………………………

(Title of the Authorized Person)

…………………………………………….

(Name of Firm )

(On non-judicial stamp paper of minimum Rs. 100/-)

Form of Bank Guarantee for Earnest Money Deposit /                     Performance Guarantee / Security Deposit

To

M/s LNM Institute of Information Technology,

Gram: Rupa ki Nangal,

Post: Sumel, Jaipur-302031 Rajasthan.

- In consideration of M/s Lakshmi Niwas Mittal Institute of Information Technology     ( LNMIIT) – jointly established in 2002 by the state government of Rajasthan and the Lakshmi & Usha Mittal foundation, having its registered office at Gram: Rupa Ki Nangal, Post Sumel, Via Jamdoli, Jaipur, Rajasthan ( India ) – 302031  (hereinafter called “the Company” (which expression shall include its successor in business and assignees) have agreed to accept irrevocable bank guarantee of Rs……………………….( rupees………………….only ) valid upto……… (date) as Earnest Money Deposit from…………………( name and address of the “contractor”) for compliance of his obligations in accordance with the terms and conditions of the said NIT.

OR

In consideration of M/s Lakshmi Niwas Mittal Institute of Information Technology     ( LNMIIT ) – jointly established in 2002 by the state government of Rajasthan and the Lakshmi & Usha Mittal foundation, having its registered office at Gram: Rupa Ki Nangal, Post Sumel, Via Jamdoli, Jaipur, Rajasthan ( India ) – 302031  (hereinafter called “the Company” (which expression shall include its successor in business and assignees) have agreed to accept irrevocable bank guarantee of Rs……………………….( rupees………………….only ) valid upto……… (date) as Performance Guarantee/Security Deposit/Mobilisation Advance from the said contractor for compliance of his obligations in accordance with the terms and conditions of the agreement.

- We, ................ (Indicate the name of the bank) ..........................., (herein after referred to as “the Bank”), hereby undertake to pay to the COMPANY an amount not exceeding Rs ................................ (Rupees.............................................. only) on demand by the COMPANY within 10 days of the demand.

- We, ......................... (Indicate the name of the Bank) ................, do here by undertake to pay the amount due and payable under this guarantee without any demur, merely on a demand from the Government stating that the amount claimed is required to meet the recoveries due or likely to be due from the said Contractor. Any such demand made on the Bank shall be conclusive as regards the amount due and payable by the Bank under this Guarantee. However, our liability under this guarantee shall be restricted to an amount not exceeding Rs................... (Rupees ........................ only)

- We, .......................................(indicate the name of the Bank) ..................., further undertake to pay the Company any money so demanded notwithstanding any dispute or disputes raised by the contractor in any suit or proceeding pending before any Court or Tribunal, our liability under this Bank Guarantee being absolute and unequivocal. The payment so made by us under this Bank Guarantee shall be a valid discharge of our liability for payment there under and the Contractor shall have no claim against us for making such payment.

- We, ....................................(indicate the name of the Bank..............................., further agree that the Company shall have the fullest liberty without our consent and without affecting in any manner our obligation here under to vary any of the terms and conditions of the said agreement or to extend time of performance by the said Contractor from time to time or to postpone for any time or from time to time any of the powers exercisable by the Company against the said contractor and to forbear or enforce any of the terms and conditions relating to the said agreement and we shall not be relieved from our liability by reason of any such variation or extension being granted to the said Contractor or for any forbearance, act of omission on the part of the Company or any indulgence by the Company to the said Contractor or by any such matter or thing whatsoever which under the law relating to sureties would, but for this provision, have effect of so relieving us.

- We, ...................(indicate the name of the Bank) ........................................................ further agree that the Company at its option shall be entitled to enforce this guarantee against the Bank as a principal debtor at the first instance without proceeding against the Contractor and notwithstanding any security or other guarantee the Company may have in relation to the Contractor's liabilities.

- This guarantee will not be discharged due to the change in the constitution of the Bank or the Contractor.

- We, .......................................(Indicate the name of the Bank) ...................undertake not to revoke this guarantee except with the consent of the Company in writing.

- This Bank Guarantee shall be valid up to ...................................................... unless extended on demand by the Government. Notwithstanding anything mentioned above, our liability against this guarantee is restricted to Rs......................... (Rupees............................................................only) and unless a claim in writing is lodged with us within the date of expiry or extended date of expiry of this guarantee, all our liabilities under this guarantee shall stand discharged.

Date :…………….

Witnesses:

- Signature……….

Name and Address							Authorised signatory.

Name ……….

Designation……..

Staff code No…….

Bank seal………..

- Signature……….

Name and Address

- In paragraph 1, strike out the portion not applicable. Bank Guarantee will be made either for earnest money or for performance guarantee/security deposit/mobilization advance, as the case may be.

Price Bid

(To be submitted separately in a sealed Envelope on company’s letter head )

Name of the Project: Structural Repair Works Boys Hostel -2 in University Campus.

Sub Head: RCC rehabilitation, strengthening, crack treatment, protective coating and civil repairs as per structural audit.

| Sr. No | Description | Unit. | Qty. | Rate | Amount (Rs.) |
| --- | --- | --- | --- | --- | --- |
| 1 | 3 | 4 | 5 | 6 | 7 |
| PART I-SCAFFOLDING |  |  |  |  |  |
| 1 | Providing and fixing double scaffolding system (cup lock type) on the exterior side of building/structure, upto 25 metre height, above ground level, including additional rows of scaffolding in stepped manner as per requirement of site, made with 40mm dia M.S. tube, placed 1.5 metre centre to centre, horizontal & vertical tubes joint with cup & lock system with M.S. Tubes, M.S. tube challis, M.S. clamps and staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for execution of work of cleaning and/ or pointing and/ or applying chemical and removing it thereafter. The scaffolding system shall be stiffened with bracings, runners, connecting with the building etc, wherever required, if feasible, for inspection of work at required locations with essential safety features for the workmen etc., complete as per directions and approval of Engineer-in-charge. |  |  |  |  |
|  | Perimeter * ht. Of BuIlding | Sqm | 1701 |  |  |
| PART II-DISMENTALING/DEMOLISHING |  |  |  |  |  |
| 2 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge |  |  |  |  |
|  | 50mm average thickness |  |  |  |  |
|  | Chipping work | Sqm | 281 |  |  |
| 3 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. |  |  |  |  |
|  | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) |  |  |  |  |
|  | Column on terrace for future extension (275*450) | Cum | 2.49 |  |  |
| 4 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead |  |  |  |  |
|  | Internal Plaster | Sqm | 600.72 |  |  |
|  | External Plaster | Sqm | 1701 |  |  |
| 5 | Dismantling roofing including ridges, hips, valleys and gutters etc., and stacking the material within 50 metres lead of: |  |  |  |  |
|  | G.S. Sheet | Sqm | 30 |  |  |
| 6 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. |  |  |  |  |
|  | Paint Removal | Sqm | 130 |  |  |
| 7 | Removing chockes and leakages from down take G.I/CI/PVC pipe line on walls floor level by using zoola / scaffolding and rectify the same for functioning with all lifts etc. complete. |  |  |  |  |
|  | Chockes and Leakages | No. | 100 |  |  |
| 8 | Removal of Vegitation/Plants:- Removal of entire root inside the bridge portion. Remains of the root shall be treated with special chemical Steripure MBT 20. Top 50 mm shall filled with high strength grout including cost of all material, machinery, labour, scaffolding, etc.as per specification and as directed by Engineer-in-Charge. |  |  |  |  |
|  | Around the Peripherry | Sqm | 10 |  |  |
| 9 | Dismantling tile work in floors/walls and roofs laid in cement mortar including stacking material within 50 metres lead. |  |  |  |  |
|  | Wall tiles/cladding | Sqm | 115 |  |  |
| 10 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. |  |  |  |  |
|  | Disposal of waste material | Cum | 428.14 |  |  |
| 11 | Dismantling false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge |  |  |  |  |
|  | False Ceiling | Sqm | 27.5 |  |  |
| PART III- STRUCTURAL REPAIRS |  |  |  |  |  |
| 12 | Cleaning of reinforcement from rust from the reinforcing bars to give it a total rust free steel surface by using alkaline chemical rust remover of approved make with paint brush and removing loose particles after 24 hours of its application with wire brush and thoroughly washing with water and allowing it to dry, all complete as per direction of Engineer-In-Charge |  |  |  |  |
|  | Bars upto 12 mm diameter | Metre | 499.3 |  |  |
|  | Bars above 12 mm diameter | Metre | 472.5 |  |  |
| 13 | Providing and inserting 12mm dia galvanised steel injection nipple in honey comb area and along crack line including drilling of holes of required diametre (20mm to 30mm) up to depth from 30mm to 80mm at required spacing and making the hole & crack dust free by blowing compressed air, sealing the distance between injection nipple with adhesive chemical of approved make and allow it to cure complete as per direction of Engineer-In-Charge. |  |  |  |  |
|  | Grouting nipples | Each | 3137 |  |  |
| 14 | Providing and injecting approved grout in proportion recommended by the manufacturer into cracks/honey-comb area of concrete/ masonry by suitable gun/pump at required pressure including cutting of nipples after curing etc. complete as per directions of Engineer-in Charge. |  |  |  |  |
|  | Consider 1 kg grout required through each nipple | KG | 4357 |  |  |
| 15 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. |  |  |  |  |
|  | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make |  |  |  |  |
|  | Qty. Same as item No. 2.0 | Sqm | 281 |  |  |
| 16 | Providing and fixing expansion joint sealant of width 25 mm and depth 10 mm, using approved epoxy based filler / silicone or polyurethane sealant, over suitable closed-cell polyethylene backer rod, including cleaning of joint faces, priming with compatible primer, proper application with sealant gun, tooling, finishing and curing, complete as per CPWD specifications, manufacturer’s instructions and direction of LNMIIT. | Metre | 300 |  |  |
| 17 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. |  |  |  |  |
|  | 50 mm average thickness in 3 layers |  |  |  |  |
|  |  | Sqm | 208 |  |  |
| 18 | Providing and applying 30 mm thick self curing Ceremic Polymer Microconcrete of approved make having Compressive strength above M30, non shrink, impermeable , filling mortar to load carrying R.C.C member in two layers on cleaned concrete surface , including honey comb area (using manual/mechanical means). Mixing mortar of Nicosil C80 and fresh 53 grade cement with required water cement ratio for desired consistency and applying and finishing by manual trawelling , curing after curing initial setting time etc, as per manufacturers specification etc. complete as per specification and as directed by engineer-in- charge. Work shall be executed by certified applicator only and work shall be guaranteed for 5 years and guarantee shall be provided on Rs. 500 /- stamp paper. (Bond coat mentioned below is to be done before coating) |  |  |  |  |
|  | Column | Sqm | 73 |  |  |
| PART IV- WATER PROOFING |  |  |  |  |  |
| 19 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. |  |  |  |  |
|  | Terrace water proofing | Sqm | 1771.41 |  |  |
| PART V- CIVIL WORK |  |  |  |  |  |
| 20 | 12 mm cement plaster finished with a floating coat of neat cement : |  |  |  |  |
|  | 1:3 (1 cement : 3 fine sand) for Internal Work |  |  |  |  |
|  | Internal Cement Plaster | Sqm | 600.72 |  |  |
| 21 | Washed stone grit plaster on exterior walls of height upto 10 M. above level in two layers, under layer 12mm cement plaster 1:4 (1 cement : 4 coarse sand ) furrowing the under layer with scratching tool, applying cement slurry on the under layer @ 2kg of cement per sqm, top layer 15 mm cement plaster 1:1/2:2 ( 1 cement : 1/2 coarse sand : 2 stone chipping size 10 mm nominal size) in panel with groove all around as per approved pattern including scrubbing and washing, the top layer with brushes and water to expose the stone chipping, complete as per specification and direction of Engineer in charge. (Payment for providing grooves shall be made separately) |  |  |  |  |
|  | External Plaster | Sqm | 1701 |  |  |
| 22 | Providing and Fixing Processed Stone Cladding on wall surface/ plywood surface. RCC pardi/ Wall and all type of Interior, Exterior Compound wall and Gate etc. of cladding processed stone with material of Processed clay, Wooden chips, Silica sand, Cement, GFRC admixtures, Colour pigments, Fiber up to thick of 230 mm/ 25 mm including scaffolding, fixing of screw, etc. (As directed by Engineer in Charge) |  |  |  |  |
|  | Qty Same as Item no. 7 | Sqm | 115 |  |  |
| 23 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. |  |  |  |  |
|  | Around the peripherry | Sqm | 171.94 |  |  |
| 24 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge |  |  |  |  |
|  | Paver Blocks | Sqm | 30 |  |  |
| 25 | Providing and inserting 12mm dia galvanised steel injection nipples in soil for soil stabilization by grouting method which including drilling of holes of required diametre up to required depth at required spacing as per direction of Engineer-In-Charge. |  |  |  |  |
|  | For soil Strengthening | Each | 100 |  |  |
| 26 | It is ready to use inorganic, bio compatible, low viscosity, non hazardous, soil stabilizing two component colloidal silica base chemical grout. Providing and carrying out this grouting to stabilize the strata above the tunnel, foundations, cutting slope stabilization and sub structures by using ultimate fine Nano grout as approved by Engineer in charge. Drill injecting holes to required depth in loose soil strata. Fix the grouting pipes. Grout must be continuously stirred during addition of accelerator and fully mixed to transparent solution prior to grouting into the soil/strata. No white precipitates should remain in the grout mix. This is ultimate fine grouting can be completed by Nano grout. Solvent Free, Inorganic, Hydrophilic, Non- hazardous, Low Viscosity Chemical Grout for Stabilization and Consolidation of Sandy/Silty Soil should have following minimum properties: Grout: (Rate for fixing nozzle is not included in this item) |  |  |  |  |
|  | Consider 1kg grout through each nipple. For Qty from Item no 24 | KG | 1000 |  |  |
| 27 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. |  |  |  |  |
|  | 60mm thick cement concrete paver block of M-35 grade with approved colour, design & pattern. |  |  |  |  |
|  | Paving Blocks | Sqm | 30 |  |  |
| 28 | Providing and fixing corrugated galvanised iron sheets of 0.63mm thick (24 B.W.G.) for roofing without wind tiles including fastening with galvanised iron screws and bolts, lead and bitumen washers as per drawing etc. complete.(Weight of 5.5 Kilogram/sq.m.). |  |  |  |  |
|  | Qty. same as item no. 5 | Sqm | 30 |  |  |
| 29 | Providing and laying in position ready mixed or site batched design mix cement concrete for plain cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana/Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering and finishing as per direction of the engineer-in-charge; for the following grades of concrete. |  |  |  |  |
|  | Concrete of M20 grade with minimum cement content of 270 kg /cum |  |  |  |  |
|  | Pcc work | Cum | 5.26 |  |  |
| 30 | Providing and fixing false ceiling of teak wood particle board half perforated sheet 12 mm thick including scaffolding, if necessary, all iron work and two coats of oil painting to boards and beading i.e. visible surface etc. complete. (excluding frame work and runners) |  |  |  |  |
|  | Qty. same as item no. 11 | Sqm | 27.5 |  |  |
| 31 | Providing and applying external raincoat painting with crack filling acrylic polymer based chemical compound coating to the external surface of walls to prevent water seepage in the masonry walls during monsoon added with required shade Steiner to give required shade to the surface in two coats. Including providing three coat of priming of polymer base primer including preparing surface scrapping the existing loose old paint, removing loose particles of sand on the surface opening and cleaning the cracks developed in the external plaster, removing loose particles by chiseling, filling cracks by chemicals compound of approved make with proper penetration etc. Coating of Raincoat with the help of brush and as per instructions and specification given by manufacturer and with instruction from Engineer in- charge. Work shall be executed by certified applicator only and covering gurantee of 3 years on court stamp paper of Rs. 500/- and necessary testing etc. complete. |  |  |  |  |
|  | Plaster Surface | Sqm | 4617 |  |  |
| 32 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. |  |  |  |  |
|  | Two coats (Internal palster surface) |  |  |  |  |
|  | Qty. same as Item no 4a | Sqm | 600.72 |  |  |
| 33 | Painting exterior surface of Wall with 100% acrylic exterior paint of approved brand and manufacture to give an even shade with two or more coats including preparation of base with sand papering, primer, putty, etc complete in all respects including scaffolding and safety provision. Old Work (Three or more coats) (Make - Asian Apex Series). | Sqm | 11700 |  |  |
|  | TOTAL AMOUNT (INR) |  |  |  |  |
|  | NET TOTAL (INR) |  |  |  |  |
| NOTE: GST IS NOT INCLUDED IT WILL BE APPLICABLE AS PER PREVAILING GOVT. RULES |  |  |  |  |  |
| AMOUNT: |  |  |  |  |  |

Date: - 								Seal & Signature.

Name: -

Designation: -

Place: -								Mobile No.: -