THE PROPOSED RENOVATION

OF

HOSTEL TOILET BLOCKS AT LNMIIT UNIVERSITY JAIPUR

TENDER DOCUMENT

FOR

TOILET BLOCKS RENOVATION

(Tender No.: 2025-26/Estate/2B/LNM-1230)

THE LNM INSTITUTE OF INFORMATION TECHNOLOGY,

RUPA KI NANGAL, VIA JAMDOLI, JAIPUR, RAJASTHAN.

Index

| Sno. | Description | Page No. |
| --- | --- | --- |
| 1. | Notice Inviting Tender | 3 |
| 2. | Instructions to bidders | 4 |
| 3. | Eligibility Criteria | 6 |
| 4. | Scope of work | 8 |
| 5. | General Terms of Conditions | 11 |
| 7. | Technical Specifications for Toilet Block Work | 16 |
| 8. | List of Approved makes | 20 |
| 9. | Schedule of Quantities | 27 |
| 10. | Affidavit | 32 |
| 11. | Proforma EMD/Performance bank guarantee/Security deposit | 33 |
| 12. | Price bid | 36 |

Notice Inviting Bid

(Competitive bidding)

Tender/NIT no.: 2025-26/Estate/2B/LNM-1230

The Director on behalf of THE LNM INSTITUTE OF INFORMATION TECHNOLOGY, JAIPUR (“LNMIIT”) having its office at Rupa ki Nangal, Via Jamdoli, Jaipur Invites item-rate tenders from eligible firms/agencies for the following works through online and hard-copy submission under a two-bid system: the Technical Bid to be submitted both online and in hard copy, and the Financial Bid to be submitted in hard copy only.

tender-document@lnmiit.ac.in (password-protected document)

Name of the Project: Construction of Toilet Block Renovation of Boys and Girls Hostel in University Campus.

Sub Head: Renovation of Toilet Blocks

Detail of the Tender bid:

Earnest Money: Rs.21,00,000.00

Period of Completion: 2 Months. (Work to be completed by 15 July 26)

Mobilization time - Nil

Last date & time of submission of bid document: 23.03.2026

For technical clarification(if any), please contact to Estate Manager at Email id: estate.manager@lnmiit.ac.in

Director

LNMIIT

Instructions for the Bidder

- This Notice Inviting Tenders (Part-1,2,3 & 4) i.e. Eligibility criteria for the bidder, Scope of work, Terms & conditions, Comprehensive warranty, Defects liability period, Comprehensive Maintenance for 5 years, General terms & conditions, General technical conditions, technical specifications, List of approved makes, Affidavit, Proforma for Bank guarantee, Price bid & Drawings shall form the TENDER DOCUMENTS.

- The bid document shall be submitted in two envelopes consisting of the following:

Envelope 1: Bid document duly signed and stamped by the authorised signatory along with the EMD as specified.

Envelope :2: Price Bid.

Price bid envelope i.e envelope 2 will be opened only of those bidders who successfully meet the eligibility criteria.

- The Contractors are to pay the amount of earnest money as specified in the tender notice separately along with the Tender. Tenders for which earnest money deposit has not been received separately shall be returned unopened/not to be considered for further processing.

- The Contractor should certify that he has studied the Work at site and acquainted himself with the position regarding construction, materials & labour required for the work.

- Should the Contractor notice any discrepancy or error in any statement made, he shall immediately bring to the notice of the LNMIIT-Estate Manager of LNMIIT, Jaipur (estate.manager@lnmiit.ac.in) and obtain clarifications before submitting the tender.  The tender shall be recorded as such in the covering letter to the tender, failing which the Owner shall have right to ask the Contractor to execute the Work according to the statement made in the tender, without any compensation.

- The Rates should be quoted in figures and words, and the respective amounts or total shall be given by each TENDERER. In case of any difference in rates in figures / words, those given in words, shall hold good as quoted rate and in case of any difference in rates and Total amount, quoted Rates shall hold good.

- The TENDERS shall remain valid for acceptance for 60 days from the last date of Submission.

- The successful TENDERER shall be intimated about the Award of Work and the Earnest Money Deposits of other TENDERERS shall be returned without any interest on the amount deposited.

- The LNMIIT reserves the right to reject any / all TENDERS without assigning any reason and shall not be bound to accept the lowest or any other TENDER.

- TENDER not accompanied by the requisite EARNEST MONEY DEPOSIT in the specified form or accompanied with the conditional offer are liable to be summarily rejected.

- The Bidder should stamp and sign the document in order to ascertain that he complies with all the specifications and terms and conditions mentioned in the Bid.

- Earnest money deposit will be paid online or thru Demand draft  or by online bank transfer to the following bank account:

Account Name         : “ The LNM Institute of Information Technology”

Account No.     :       001201038168

Bank                    :       ICICI Bank Ltd.

Branch         :     C-Scheme, Jaipur

IFSC Code     :       ICIC0000012

Account type    :       Saving account

The acknowledgement of the EMD should be mailed to the chief finance officer on the email: cfo@lnmiit.ac.in.

- Co-ordination with other agencies / contractors appointed directly by the owner:

The Successful bidder shall co-ordinate and provide facilities for the contractors appointed by the LNMIIT.

In addition to the above Clauses all requirements will have to be implemented by the Bidder for all persons employed by him working on the Site including monitoring to ensure implementation etc., employed directly by the Owner.

- The tender of any Contractor not complying with any of the above instructions 1 to 12 may be rejected.

I / We have carefully read the above said instructions have understood the same and shall comply with the same.

Place : 							Signature of the Contractor

Date:								With seal & address

Name of the Contractor: -

Contact No.

e-mail id:

Part-1

Eligibility Criteria for the Bidder

| Sno. | Parameter | Documents to be submitted by Bidder |
| --- | --- | --- |
| 1 | Earnest Money Deposit: | The bidder should submit and EMD of Rs. 21,00,000/- (Twenty one lacs only) |
| 2. | Bidder Turnover | The bidder should submit the CA Certified turnover document for the Financial Turnover of Bidder for last three Financial Years. |
| 3. | Contractor Certificate | The bidder shall submit a valid Class ‘A’ Contractor Certificate issued by the competent authority along with the bid. The certificate shall be in the name of the bidding firm/contractor and shall remain valid on the date of submission of the bid. In case the bidder does not possess a Class ‘A’ Contractor Certificate, the bidder shall submit a self-undertaking on its letterhead, duly signed and stamped by the authorized signatory, declaring that the bidder is a Class ‘A’ Contractor, along with supporting registration documents. ** “Class A Contractor” Shall mean a contractor holding a valid Class A certificate issued by any Government Authority, whether Central Government, State Government |
| 4. | Experience criteria & Past performance for the bidder | To qualify, the bidder shall have successfully executed similar nature of works, i.e., renovation of toilet blocks or equivalent civil, plumbing, sanitary, electrical and allied MEP works, in any Government Department, PSU, Autonomous Body, Educational Institution or Public Listed Company during the last five (5) years. One works of minimum value of Rs. 7,00,00,000/- Or Two works of minimum value of Rs. 4,00,00,000/- Or Three works of minimum value of Rs. 3,00,00,000/- Requirements: - Completion certificates mentioning order number and order value issued by the relevant competent Authority |
| 5. | Experience Criteria & Past Performance of the Bidder | The Bidder shall have a minimum of 15 (fifteen) years of proven experience in execution of civil, plumbing, sanitary, electrical and allied MEP works, including renovation of toilet blocks or similar facilities. The Bidder shall submit valid documentary evidence such as work orders, completion. .certificates or client certificates in support of the same. |
| 6. | Necessary Qualifying Criteria for bidder | To qualify, the bidder should comply to following conditions: |
| 7. | GST number | The bidder should attach GST number detail mandatorily |
| 8. | PAN Card | The bidder should attach PAN card detail mandatorily |
| 10. | BOQ Compliance | The Bidder should stamp and sign the document in order to ascertain that he complies all the specifications and terms and conditions mentioned in the Bid |
| 11. | Location of the nearest Service Centre | The Bidder has to provide the Address of the Service Office along with Contact Number |
| 12. | ISO 9001:2015 Certificate | The Bidder should submit the valid ISO 9001:2015 Certificate of the Bidder |
| 13. | Affidavit as per Annexure-1 | The Bidder should submit the Affidavit as per Annexure-1 |
| 14. | Retention Money | The retention Money shall be 5%(five Percent) of the gross bill value for a period of one year. |

Part-2

Scope of Work:

- This work covers carrying out all preparatory activities including supply, inspection and testing of materials as required, delivery at site, unloading, handling, dismantling of existing fixtures and finishes, civil repairs, waterproofing, plumbing, sanitary, electrical and allied works, assembly, installation, testing and commissioning, and putting into operation of renovated toilet blocks in Boys and Girls Hostels in the University Campus. The work shall be complete in all respects, including comprehensive maintenance for a period of one year after successful completion of the Defects Liability Period.

- Location: The work shall be carried out in the Building of LNMIIT Campus, at Jaipur

- The work shall be executed as per CPWD/NBC General Specifications Toilet block renovation, as amended up to date, relevant I.E. Rules, BIS/IEC and as per directions of LNMIIT Representative. These additional specifications/ conditions are to be read in conjunction with above and in case of variations; specifications given in these additional conditions shall apply. However, nothing extra shall be paid on account of these additional specifications and conditions, as the same are to be read along with the schedule of quantities for the work.

- The tenderer should in his own interest visit the site and get familiarized with the site conditions before tendering.

- The work shall comprise of entire labour including supervision and all materials necessary to make a complete installation and such tests and adjustments and commissioning as may be required by the department. The term complete installation shall not only mean major items of the plant and equipment’s covered by specifications but all incidental sundry components necessary for complete execution and satisfactory performance of installation with all layout charts whether or not those have been mentioned in details in the tender document in connection with this contract.

- All debris/Malba resulting due to work shall be removed on daily basis and completion of the work shall only be accepted after the site has been cleaned of all malba. The malba is to be taken outside the Institute premises by the Contractor and dumped at an authorized place.  In case contractor fails to comply the same shall be got removed by the other agency at the payment shall be recovered from the bill of the contractor.

- Minor building works necessary for installation of equipment’s, making of opening in walls or in floor and restoring to their original conditions, finish and necessary grouting etc. as required.

- The contractor shall be bound to execute such additional items for S.I.T.C n be termed as logical, essential and necessary (even though not listed in schedule of work) for the effective execution of the work in totality.

- Maintenance (routine and preventive) DLP for one year from date of completion and handing over to department/Client.

- Inspection and testing: All routine tests confirming to be relevant shall be carried out and the test reports shall be submitted to the LNMIIT Representative. The copies of all documents of routine and type test certificates of the equipment, carried out at the manufacturer’s premises shall be furnished to the Estate Manager and consignee at the time of delivery of material at site. After completion of the work in all respects the contractor shall offer the installation for testing and operation.

12) COMPLIANCE WITH REGULATIONS AND INDIAN STANDARDS: All works shall be carried out in accordance with the relevant statutory regulations and the Indian Standards applicable to the works covered by this specification.

In particular, the equipment, materials, workmanship, and installation shall comply with the following:

i) Applicable Labour Codes of Government of India, including all rules, amendments, and notifications issued thereunder.

ii) Indian Electricity Act, 2003, Indian Electricity Rules / applicable CEA Regulations.

iii) Bureau of Indian Standards (BIS) and other relevant Indian Standards as applicable.

The contractor shall ensure full compliance with all statutory labour, safety, welfare, and regulatory requirements for the workforce engaged for the work.

Part-3	Terms & Conditions for comprehensive warranty/defects liability period of one year and comprehensive maintenance for 1 years.

1) The Contractor shall deploy an authorized representative who shall visit the site at least once every month or as directed by the Engineer-in-Charge to inspect the toilet blocks and associated fixtures. The representative shall check the operation of sanitary fittings, plumbing systems, flushing arrangements, valves, accessories, and allied installations, and shall carry out necessary adjustments, tightening, minor repairs, and rectification of defects to ensure proper functioning.

2) The Contractor shall repair or replace any parts detail in the following clause which are found to be defective.

4) The work shall be carried out as per technical Specifications and schedule of quantities specified in this document the entire satisfaction of the Estate manager.

5) The tendered rates shall be deemed to include all services covered under this contract and no extra payment will be made on this account.

6)  Any accident that occurred due to negligence will be the entire responsibility of the contractor.

7) The time allotted for attending the complaints is 36 Hours and if the complaints are not done within 36 hours of the registration, a recovery @ Rs. 500/- per day shall be made against the contractor.

8) Maintenance:

a. The comprehensive maintenance, routine as well as preventive maintenance for 01 year from the date of completion of DLP shall be carried out and the record of the same shall have to be maintained by bidder.

b. Sufficient trained and experienced staff & Engineer shall be made available to meet any exigency of work during the guarantee period of one year from the handing over of the installation.

c. The following activities are covered under the scope of work, including cost of spares, provision of repair component and replacement of items as required.

i) In addition to the operation of toilet blocks / replacement of any kinds of fixtures, components and associated items is included in the scope of work of this contract

Part-4

General Terms & Conditions

1)  The intending bidder must read the terms and conditions of the bid carefully. He should only submit his bid if he considers himself eligible and he is in possession of all the documents required.

2) Information and Instructions for bidders posted shall form part of bid document.

3) The LNMIIT-Jaipur reserves the right to reject any prospective bid at any point of time, if the documents provided by the bidder appear to be fake or any false information is provided by the bidder.

4) The intending contractor is advised to visit the site of work, of his own, to acquainting himself regarding site details etc. prior to quoting the tender.

5) All materials and items shall be procured on or before 30 April 2026.
The work shall commence from 15 May 2026 and shall be completed in all respects by 15 July 2026

6) Payment Terms:

A)   Payment to the bidder shall be released as follows:

- Advance Payment:
10% of the quoted cost shall be paid as advance after award of work and submission of Performance Security/Advance BG.

- Delivery Stage:
50% of the quoted cost shall be paid after successful delivery of all materials/items at site.

- Installation, Testing & Commissioning Stage:
35% of the quoted cost shall be paid after successful installation, testing, and commissioning of all Materials/ items

- DLP Completion Stage:
The remaining 5% of the quoted cost for all Materials/items shall be released after successful completion of the Defect Liability Period (DLP).

- Payment shall be made on an item-rate basis for the actual quantities measured and the actual work executed at site, duly verified and certified by the Engineer-in-Charge.

B)  If the bidder fails to complete the work, deliver materials, or perform installation, testing    and commissioning within the time schedule specified in the contract, liquidated damages shall be levied as follows:

- Delay in Delivery of Materials/Items: 0.5% of the total contract value of delayed materials/items per week of delay, subject to a maximum of 5% of the total contract value.

- Delay in Installation, Testing & Commissioning: 0.5% of the total contract value of work pending installation/commissioning per week of delay, subject to a maximum of 5% of the total contract value.

- Delay in Completion of Defect Liability Period (DLP) / Rectification of Defects: If defects pointed out during the DLP are not rectified within the stipulated time, liquidated damages at the rate of 0.5% of the total contract value per week of delay, subject to a maximum of 5% of the total contract value, shall be levied.
The deduction of liquidated damages shall be made from any payments due to the contractor or from the Performance Security/Bank Guarantee. The levy of liquidated damages shall be without prejudice to any other rights or remedies of the Employer under the contract.

- Water and Electricity required for execution of the work shall be provided free of cost by the institute.

7) Intending bidders are advised to inspect and examine the site and its surroundings and satisfy themselves before submitting their bids as to the nature of the ground and sub-soil (so far as is practicable), the form and nature of the site, the means of access to the site, the accommodation they may require and in general shall themselves obtain all necessary information as to risks, contingencies and other circumstances which may influence or affect their bid. The bidder shall be deemed to have full knowledge of the site whether he inspects it or not and no extra charge consequent on any misunderstanding or otherwise shall be allowed. The bidders shall be responsible for arranging and maintaining at his own cost all.

8) It is required that each Bidder/Contractor (including their respective officers, employees and agents) adhere to the highest ethical standards, and report to the Director-LNMIIT all suspected acts of fraud or corruption or Coercion or Collusion of which it has knowledge or becomes aware, during the tendering process and throughout the negotiation or award of a contract.

9) Performance Guarantee:

a) The contractor whose bid is accepted will be required to furnish a performance guarantee of 5% (Five Percent) of the bid amount valid till the successful completion and handing over of complete work , order within 20 days of the issuing of contract order. This guarantee shall be in the prescribed form mentioned in the Bid document. The performance Guarantee shall be released after 30 days of successful completion handing over of complete work .

b) In addition to the above the successful bidder should furnish a performance guarantee of 5% (Five percent) of bid amount prior to the commencement of the comprehensive maintenance period of 5 years valid for 66 months. This comprehensive maintenance period will begin after the successful handover of the work.

The successful bidder shall submit a Performance Guarantee (PG) equivalent to 5% of the accepted contract value within the stipulated time after issue of the Letter of Acceptance.

The Performance Guarantee shall remain valid for a period of Five (5) Years from the date of completion of the work or handing over of the toilet blocks, as applicable, covering the entire guarantee period includes,

- The entire construction/execution period

- The subsequent Defect Liability Period(DLP)

During the five-year guarantee period, the contractor shall be responsible for:

- Rectification of all defects arising due to faulty materials, workmanship, or installation.

- Replacement or repair of defective sanitary fittings, plumbing components, fixtures, and allied works at no extra cost to the Employer.

- Ensuring proper functioning and performance of the toilet blocks as per approved specifications.

In the event of failure on the part of the contractor to rectify defects within the stipulated time, the Employer shall be entitled to recover the cost of rectification from the Performance Guarantee or take any other action as per contract conditions.

The Performance Guarantee shall be released only after satisfactory completion of the five-year guarantee period, subject to fulfillment of all contractual obligations.

The performance Guarantee in respect to comprehensive maintenance

will be released after 45 days from the completion of the Completion of comprehensive maintenance Period.

This guarantee shall be in the form of Insurance Surety Bonds, Account Payee Demand Draft, Fixed Deposit Receipt or Bank Guarantee from any of the Commercial banks in accordance with the prescribed form as provided in the bid. In case, the Bidder fails to deposit the said Performance Guarantee within the period as mentioned above including the extended period, if any, the Earnest Money deposited by the Bidder shall be forfeited automatically without any notice to the Bidder. The earnest money deposited along with the bid shall be returned after receiving the aforesaid performance guarantee.

10) Rates: The rates quoted by the tenderer, shall be firm and inclusive of all taxes (including works GST, labour cess), duties, levies, octrori etc. and all charges for packing forwarding, insurance, freight and delivery, installation, testing, commissioning etc. and clearance required if any.

11) The Contractor has to carry out comprehensive, routine and preventive maintenance as per manufacturer’s standard for a period of minimum 12 months from the date of handing over. Nothing extra shall be paid on this account.

12) WARANTEE: All equipment’s shall be guaranteed for a minimum period of 12 months, from the date of taking over the installation by the department/Client against unsatisfactory performance and/or breakdown due to defective design, workmanship or material. The equipment or components, or any part thereof, found defective during the guarantee period shall be forthwith repaired or replaced free of cost, to the satisfaction of the Estate Manager. In case it is felt by the department that undue delay is being caused by the contractor in doing this, the same will be got done by the department at the risk and cost of the contractor. The decision of the Estate manager in this regard shall be final & binding on the contractor.

13) The successful tenderer should furnish well in advance three copies of detailed instructions and manuals of manufacturers for all items of equipment’s regarding installation, adjustments, operation and maintenance i/c preventive maintenance and troubleshooting together with all the relevant data sheets, spare parts, catalogue and workshop procedure for repairs, assembly and adjustments etc all in triplicate.

14)   Dispute Resolution: If any dispute with regard to the terms of this Contract shall be handled through Arbitration, as per the following terms, between them:

(I) THAT, the parties agree that any dispute or difference whatsoever arising between them out of/under or in connection with or relating to the existence, meaning, scope, validity, termination, breach, or any other effect flowing from the Contract shall be referred to a Sole Arbitrator, as appointed under clause (IV) herein below.

(II) AND THAT, the parties agree that in respect of those matters, as are not defined in the terms and conditions of this Dispute Resolution Clause, or anywhere else in the Contract, the same shall be decided and settled by the Sole Arbitrator, in accordance with the Arbitration and Conciliation Act, 1996 and the amendments thereof as in operation on the date of execution of the Contract.

(III) AND THAT, the parties agree that the place of Arbitration shall be at Jaipur, Rajasthan.

(IV) AND THAT, whenever the parties decide to resort/resolve to Arbitration for dispute

resolution, the Director, LNMIIT shall be the authority to appoint the Sole Arbitrator, and such appointment shall be binding on both the parties:

Provided that before approaching Director-LNMIIT for appointment of Sole Arbitrator, the parties shall make a sincere attempt to resolve their dispute, within a time period of 3 months, through mutual conciliation/ negotiations. The sole arbitrator shall not be an employee of any of the party to this tender.

(V) AND THAT all costs relating to the Arbitration proceedings shall be borne equally by both parties.

(VI) AND THAT, the parties agree that the language for making all submissions and evidence will be presented in ENGLISH during the proceedings.

(VII) AND THAT, it is agreed between the parties that they shall extend their fullest support and co-operation to the Sole Arbitrator and not seek adjournment of the Arbitration proceedings, without explaining the reasons therefore, in writing, in advance, for seeking of such adjournment, and further that there shall not be more than two such adjournments granted, even when there exists a valid reason for seeking such adjournment. And, it is further agreed that the parties should cooperate in completing the arbitration process and the broader dispute resolution within 6 months or at most with an extension, on mutual consent, of another 6 months.

(VIII) The sole Arbitrator shall record, in writing, the arguments of the two parties on each of the points of dispute and pass a reasoned and speaking Award thereon, within the Terms and Conditions of the Contract Agreement.

(IX) If any difference remains after an Arbitral award, and an appeal could be raised under the Arbitration and Conciliation Act, 1996, the appropriate Court within the Jaipur , Rajasthan shall deal with the matter.

TECHNICAL SPECIFICATIONS

1. General

- Complete renovation of 37 toilet blocks

- Work includes civil, sanitary, plumbing, electrical, waterproofing, finishes, fixtures, and integration with existing services.

- Contractor shall execute work including dismantling, supply, installation, testing, commissioning, debris disposal, and making-good of all surfaces.

2.Civil & Structural Works

- Dismantling of damaged wall/ floor finishes, plaster, doors, windows, false ceilings where required.

- Surface preparation and structural repair of RCC members (columns, beams, slabs) including crack filling, polymer mortar, and protective coatings.

- Plastering, screed laying, slope correction near floor traps, and IPS/concrete work.

- Installation of new flooring and wall tiles (anti-skid ceramic/vitrified floor tiles, glazed wall tiles up to ceiling height).

- Providing and fixing new PVC/laminate flush doors, windows (aluminium/UPVC), louvers with frames.

- Waterproofing of wet areas with approved branded system (Dr. Fixit/Sika/Fosroc).

- Finishing with washable emulsion paint for ceilings/walls, enamel paint for MS/wood works.

3. Sanitary & Plumbing Works

- Supply and installation of WCs, Urinals, table-top basins per block with approved brands and CP fittings.

- Fixing of auto-flush systems for urinals (optional provision).

- Replacement of old CI sewage pipes (vertical and horizontal runs) with new CI/uPVC/HDPE (as approved) including chambers, traps, bends, and connections.

- Supply & fixing of floor traps, gratings, bottle traps, angle valves, stop cocks, flush valves, etc.

- Installation of 50 L geyser per block with necessary CPVC piping for hot water distribution.

- Testing of all pipelines for leakage and performance before commissioning.

4.Fixtures & Accessories

- Mirrors, soap dispensers, towel holders, grab bars (where required).

- Stainless steel hardware fittings (hinges, handles, locks).

- All accessories to be robust, easy to maintain, and vandal-resistant for hostel use.

5.Safety & Environmental Provisions

- Safe dismantling and disposal of debris to designated area outside campus.

- Use of dust barriers, signage, and PPE for workers during execution.

- Ensuring uninterrupted functioning of other hostel areas during construction.

- Strict compliance with fire safety, electrical safety, and sanitary codes.

6.Testing, Commissioning & Handover

- Testing of all sanitary, plumbing, electrical, waterproofing and fixture installations.

- Rectification of any defects prior to handover.

- Submission of as-built drawings, warranties/guarantees, and O&M manuals for geysers, exhausts, and electrical DBs.

- Training hostel maintenance staff for routine upkeep.

7.Contractor Deliverables

- BOQ with brand makes and specifications (as per approved list).

- Quality assurance & inspection reports.

- Compliance with DSR rates/IS codes where applicable.

- Warranty for minimum 12 months defect liability period.

Note: Above functions are minimum & tentative to be provided however, bidder has to consider any other points which are not indicated above but required for smooth and efficient operation of toilet blocks.

SCOPE OF WORK – ELECTRICAL WORKS FOR RENOVATION OF BATHROOMS FOR HOSTELS

1. Scope of Work

The contractor shall supply, install, test and commission electrical system for bathroom renovation works, complete in all respects, as per site requirements and directions of the Engineer-in-Charge (EIC). The scope shall include but not be limited to the following:

1.1 Trunking Supply & Installation

- Supplying and fixing heavy-duty PVC electrical trunking of approved make and size (25×16 mm / 38×25 mm / 50×25 mm or as required).

- Trunking shall be ISI marked, fire retardant (FR), UV-resistant, suitable for wet and humid bathroom environments.

- Fixing of trunking using approved screws, Rawl plugs, clamps and accessories ensuring proper alignment and neat finish.

- Provision of all accessories such as bends, tees, couplers, end caps, reducers, junction covers etc., as required at site.

- Trunking layout shall be decided at site by EIC to avoid interference with plumbing, tiles, mirrors, fixtures and civil finishes.

1.2 Cable Laying Inside Trunking

- Laying, dressing and clamping of FRLS copper conductors / cables inside trunking.

- Proper segregation of power and lighting circuits wherever required.

- No over-crowding of cables; trunking fill factor shall comply with IS standards.

1.3 Cutting, Making Good & Finishing

- Minor cutting, drilling and surface preparation required for trunking installation.

- Making good the surface after fixing trunking.

- Cleaning of area after completion of work.

1.4 Testing & Commissioning

- Checking of continuity, polarity and insulation resistance of all circuits laid in trunking.

- Rectification of defects noticed during testing at no extra cost.

2. Mode of Measurement

- Measurement shall be made in running meters (Rmt) of installed at site.

- No allowance shall be made for wastage, overlaps or extra lengths.

- Accessories such as bends, tees, couplers etc. shall be deemed included in the rate unless specifically mentioned otherwise.

3. Payment Terms (VERY IMPORTANT)

- Payment shall be made strictly on actual measured quantity executed at site, certified by the Engineer-in-Charge.

- No minimum quantity guarantee is implied.

- Quantities indicated in BOQ (if any) are tentative and for reference only.

- The department shall not be liable to pay for any quantity executed without written approval of EIC.

- Rates shall be inclusive of supply, installation, labour, tools, tackles, consumables and accessories required to complete the work.

4. Rates to be Inclusive Of

The quoted rates shall be deemed to include:

- Cost of accessories and fixing hardware

- Labour, supervision, tools & tackles

- Minor cutting, drilling and surface making good

- All leads, lifts and incidental works

- Compliance with safety norms

- Testing and commissioning

No extra payment shall be entertained on these accounts.

5. Quality & Make

- Trunking shall be of approved make

- Inferior or non-approved material shall be rejected and replaced at contractor’s cost.

- All screws shall be of SS

********

LIST OF APPROVED MAKES FOR TOILET BLOCK                                              RENOVATIONWORKS

Sanitary wares (WC, basins, urinals)

Recommended makes (choose 1): Hindware, Jaquar, Somany, Kohler. 
Suggested spec / note: vitreous china, wall-hung or floor-mounted WCs as per layout, dual-flush 3/6 L (water saving). Rimless & anti-bacterial glazed models for easier cleaning.

Faucets / mixers / flushing fittings

Recommended makes: Jaquar, Grohe, Kohler, Somany, ESSCO, EssEss, Hindware.
Spec / note: heavy-duty single-lever mixers with ceramic cartridge (≥35 mm), pillar-type for basins if table-top basins used; floor-mounted or concealed mixers where required. For urinals use auto-flush sensor units (optional).

Floor & wall tiles

Recommended makes: Somany. 
Spec / note:

- Floor: anti-skid vitrified tiles Somany  (basic rate Rs. 38 per sqft) (Delmon beige - 600 x 600mm)

- Wall: Vitrified tile Somany ( basic rate Rs. 40 per sqft ) (Grande callis brown fp -600 x 1200 mm) up to false ceiling / dado height. Use neutral grout or epoxy grout for high durability.

Tile adhesives, grouts, sealants & joint fillers

Recommended makes: Dr. Fixit (Pidilite), Fosroc, Sika, Pidilite tile adhesives, ARDEX . Roff tile adhesive for tiles. 
Spec / note: use polymer-modified tile adhesive (conforming to IS standards), epoxy grout for heavy traffic/wet zones, silicone sealant for junctions.

Waterproofing (terrace/parapet/intersection)

Recommended makes / systems: Dr. Fixit (Pidilite), Fosroc, Sika, BASF / Fosroc products.
Spec / note: choose a system per area: cementitious/synthetic membrane + protection screed for terrace; bituminous or polymer liquid applied membranes for junctions as required. Include primer, bonding coat, and protection screed. (You used a turnkey waterproof approach earlier — stick to branded, warranted systems.)

Sewage pipes (replacement of old CI runs)

Options & recommended makes:

- UPVC / PVC-SDR sewage system (commonly used, economical, corrosion-resistant): Astral, Supreme, Ashirvad.

- Ductile Iron (DI) / Cast Iron (traditional, heavy-duty — use where mechanical strength and fire resistance required): manufacturers include Jindal, Tata (local DI suppliers).
Spec / note: for replacing old CI inside buildings, many projects move to uPVC (ISI/ASTM grade) for cost & maintenance reasons — confirm structural/support and fire requirements before switching. Use solvent-welded fittings or rubber-sealed joints as per OE. Include inspection chambers and rodding access points.

CPVC / potable water distribution pipes & fittings

Recommended makes: Astral, Supreme, Ashirvad, Finolex.
Spec / note: CPVC (hot water) / UPVC (cold water) as per plumbing practice; ISI-marked pipes and pressure rating suitable for hostel supply. Use brass/Cu fittings or approved push-fit systems per standard.

Doors & windows (toilet doors / windows / frames)

Recommended makes / materials:

- WPC doors / frames: WPC door manufacturers ( ISI mark)

- Metal doors / MS frames: use pre-painted steel doors (Jindal or local fabricator) for durability.

- Aluminium / UPVC windows (louvers): Fenesta, Kajaria, 
Spec / note: water-resistant PVC doors for WC cubicles (or laminated flush doors with MS frame), stainless steel fittings/hinges; louvers with insect mesh and provision for glass/ventilation. (For heavy use hostels prefer flush doors with laminate for robustness or PVC doors for wet zones.)

Misc consumables & hardware

- Cements & aggregates: UltraTech, ACC, Birla.

- Steel reinforcement: TATA Steel, Jindal Steel.

- Adhesives & sealants: Pidilite (Dr. Fixit range), Sika, Fosroc.

- Locks & hardware: Godrej, DORMA (heavy duty) — use stainless steel hinges for wet areas.

Paints & finishing

Recommended makes: Asian Paints, Berger, Nerolac.
Spec / note: use anti-fungal & washable emulsion for internal walls (toilet ceilings), and exterior emulsion for external faces; use enamel for metal doors/frames.

Accessories (soap holders, mirrors, grab rails)

Recommended makes: Jaquar, Hindware, Somany, Parryware, Hafele (hardware).
Spec / note: stainless steel (304) grab rails and brackets in toilets (safety + durability). Mirrors with anti-fog film for hostel usage are useful.

Electrical Items – Approved Make Table

| Electrical Items Used in Bathroom – Approved Make Table |  |  |  |
| --- | --- | --- | --- |
| S. No. | Item Description | Specification / Rating | Recommended Make(s) |
| 1 | LED Light Fixture | Surface/ Batten light | Philips / Wipro |
| 2 | Exhaust Fan | 200–250 mm sweep, 230 V AC | Havells / Crompton / Bajaj |
| 3 | Geyser (Water Heater) | 5 Star Rating | Racold / Venus |
| 4 | Geyser Control Switch MCB Protected | 20-25 A DP Switch | Anchor (Panasonic) / Legrand / Havells |
| 5 | Modular Switches & Socket | Legrand Mylinc | Legrand |
| 6 | Conduit & Accessories | Heavy-duty FR PVC | AKG / Precision |
| 7 | Wires/Cables | FRLS, Copper, 1.5–4 sqmm | Polycab / Finolex / KEI / Havells |

Note:- In case any of makes for any of the material is missed out in the above list for using at site then the contractor shall inform to the LNMIIT representative about the same and obtain the approval. Thereafter, he can proceed with the supply of the material.

ENABLING WORKS –

The following enabling works shall be completed prior to commencement of major demolition/renovation activities, ensuring smooth, safe and disruption-free execution during the hostel vacation period:

1. Site Assessment & Pre-Execution Surveys

Detailed joint inspection of all 37 toilet blocks with Engineer-in-Charge (EIC).

Mapping of existing electrical, plumbing, drainage, ventilation, and structural conditions.

Identification & marking of areas requiring urgent attention (leakage points, damaged CI lines, unsafe electrical wiring, damaged tiles, seepage zones).

Preparation of Pre-Renovation Condition Report with photographs.

2. Measurement, Layout & Coordination Drawings

Taking actual measurements of all blocks.

Preparing detailed Good-for-Construction (GFC) drawings including:

- Plumbing line routes

- Electrical conduit routes

- Exhaust ducting layout

- Tile layout & slope plan

- Door/window schedule

- Getting all drawings approved before work begins.

3. Material Submittals & Approvals

Submission of complete list of proposed makes (as per Approved Make List).

Submission of technical datasheets for:

- Tiles and adhesives

- CP fittings & sanitaryware

- Electrical DB, cables, switches

- Exhaust systems

- Waterproofing materials

- Geysers

- Mock-up sample board for tiles, doors, CP fittings for approval by institute.

4. Temporary Arrangements & Service Continuity

Providing temporary toilet and bathing facilities for hostel students/staff during the initial dismantling phase (if required).

Ensuring uninterrupted water supply, drinking water lines, and electrical services to occupied areas.

Provision of temporary lighting near work zones.

Setting up dust barriers/plastic curtains and “Work in Progress” signage.

5. Safety, Barricading & Access Control

Barricading of work areas on each floor with sheet panels/temporary partition.

Installation of safety signage, caution tape, and emergency access markers.

Preparation of a Safety Plan covering:

- PPE use

- Safe dismantling

- Plumbing & electrical isolation

- Scaffolding usage

- Fire safety arrangements including fire extinguishers in work zones.

6. Pre-Shutdown / Disconnection Activities

Scheduled disconnection of old plumbing lines, water supply, geyser points, electrical circuits, and exhaust fans.

Safe isolation of electrical supply in consultation with hostel electrician.

Emptying/cleaning of nearby inspection chambers before main work begins.

7. Establishment of Contractor Site Facilities

Setting up site office, storage area, and secured material stacking zone within campus.

Providing lockable storage for tiles, sanitaryware, and electrical accessories.

Setting up area for pre-fabrication of door frames, CPVC/uPVC pipe cutting, tile cutting zone.

Ensuring waste bins and debris collection containers are in place.

8. Mobilization of Labour, Machinery & Tools

Deployment of skilled manpower teams (civil, plumbing, electrical, tile layers).

Mobilization of tools: tile cutters, drill machines, grinding tools, mixing machines, scaffolding, safety equipment.

Mobilization of demolition tools with safety audit inspection.

9. Initial Debris Removal & Cleaning

Clearing of unused items, old hardware, abandoned materials from the toilet blocks before vacation starts.

Identification of debris disposal route and designated dumping area (outside campus). All the demolished materials/debris generated during execution of the work shall be disposed of outside the institute/campus premises by the contractor at his own cost.

Ensuring proper protection to floors, passageways, and staircase areas during debris movement.

10. Work Planning & Scheduling

Preparation of Block-wise Execution Plan for 37 blocks with timelines.

Planning for parallel activity execution (plumbing + electrical + tiling) to complete within vacation schedule.

Submission of master Project Execution Schedule (3–6 weeks) depending on vacation duration.

11. Pre-Renovation Stakeholder Coordination

Coordination with hostel wardens, administration, students’ representatives regarding movement, safety & shutdown schedule.

Issuing notices for planned shutdown of toilets (block-wise).

Daily work logbook & communication protocol finalized.

12. Verification of Existing Service Integration

Identifying:

- Main sewer line connections

- Vertical CI lines & junction points

- Existing DB circuits

- Water tank supply routes

- Planning modifications to integrate new installations.

Outcome of Enabling Works

Upon completion of enabling works, the contractor shall provide:

- Approved drawings & material submittals

- Detailed bar chart & execution plan

- Safety & traffic movement plan

- Pre-execution condition report

- Site readiness certification

Only after the above is completed, the institute shall issue approval for commencement of full-scale dismantling & renovation work.

| Estimate of the Hostels (BH1, BH2, and GH) Toilet Renovation Work |  |  |  |
| --- | --- | --- | --- |
| Sr. No. | Item Description | UOM | ǪTY. |
| 1.00 | Dismantling tile work in walls (including removing of Mirrors, glasses, etc.) laid in cement mortar including stacking of serviceable material and disposal of unserviceable material shall be disposed of outside the institute/campus premises |  |  |
| 1.01 | For thickness of tiles 25mm to 50mm | sqm | 8002.95 |
| 2.00 | Dismantling tile work in floors (including removing etc.) laid in cement mortar including stacking of serviceable material and disposal of unserviceable material shall be disposed of outside the institute/campus premises |  |  |
| 2.01 | For thickness of tiles 25mm to 50mm | sqm | 2216.54 |
| 3.00 | Dismantling doors, windows and clearstory windows steel or wood shutter including chowkhats and holdfasts etc. complete and stacking within 500 meters lead: |  |  |
| 3.01 | Of area 3 square meter and below. | Each | 309.00 |
| 4.00 | Dismantling doors, windows and clearstory windows steel or wood shutter including chowkhats and holdfasts etc. complete and stacking within 500 meters lead: |  |  |
| 4.01 | Of area 3 square meter and above. | Each | 24.00 |
| 5.00 | Dismantling of flushing (WC/EWC) with their cisterns, urinals with partitions of any size including stacking of useful materials near the site and disposal of unserviceable material shall be disposed of outside the institute/campus premises |  |  |
| 5.01 | For thickness of tiles 25mm to 50mm. | Each | 212.00 |
| 6.00 | Dismantling of light reinforced cement concrete platform along with curtain walls, washbasins, base concrete etc. including stacking of useful materials near the site and disposal of unserviceable materials shall be disposed of outside the institute/campus premises |  |  |
| 6.01 | Above 2.52 Sqm | sqm | 76.03 |
| 7.00 | Dismantling of old sewage drainage pipes in lavatory & shaft (say PVC/CI) including removal, cutting, stacking, disposal shall be disposed of outside the institute/campus premises | metre | 3330.00 |
| 7.01 | Dismantling of old rainwater pipes in shaft (say PVC/CI) including removal, cutting, stacking, disposal shall be disposed of outside the institute/campus premises. Complete in all respects. | metre | 170.00 |
| 8.00 | Dismantling of existing water supply lines in lavatory & shaft (GI/CPVC/UPVC), including valves/fittings/ facuets,etc from riser/trunk including removal, disposal. Complete in all respects. | metre | 3145.00 |
| 9.00 | Providing & laying new sewage drainpipe (e.g. HDPE/PVC- Size 110/75/40 mm) of specified diameter (existing dia, with all necessary fittings - eg. Nani Trap, P-Trap, Sockets, Elbows, etc.) including trenching, bedding, jointing, testing, backfill. | metre | 3330.00 |
| 9.01 | Providing & laying new rainwater pipe (e.g. PVC- Size 150 mm) of specified diameter (existing dia, with all necessary fittings - eg. Sockets, Elbows, etc.) including trenching, jointing, testing, etc. | metre | 170.00 |
| 10.00 | Providing & laying new water supply line (e.g. CPVC/UPVC- Size 20/25/ 32/50/63 mm) of specified diameter (existing dia, with all necessary fittings- Tee, Sockets, Elbows, etc.) including fittings, testing, flushing. | metre | 3145.00 |
| 11.00 | Providing and laying Plain Cement Concrete (PCC) of mix 1:4:8 (M7.5) with 40 mm nominal size stone aggregate in foundation and bedding below pipeline, including compacting with plate vibrator, curing, etc., complete in all respects as per the engineers and CPWD/ PWD Norms . | cum | 2146.00 |
| 12.00 | Providing the waterproofing as per the IS norms for the sump portion | sqm | 2208.00 |
| 13.00 | Providing and laying tile flooring of approval make, shade as approved over adequate adhesive of approved brand making joint with PVC spacers of 3 mm to be filled with tile grout with approved pigmented to match the shade of tile & laid as per design & drawing approved for various thick of tiles but including cost of adhesive. |  |  |
| 13.01 | Vitrified tile Somany (basic rate Rs. 40 per sqft ) (Grande callis brown fp -600 x 1200 mm) | sqm | 7022.95 |
| 13.02 | Vitrified tile Somany (basic rate Rs. 38 per sqft) (Delmon beige - 600 x 600mm) | sqm | 2016.54 |
| 14.00 | Providing & fixing new 19 mm single door shutter WPC including with all hardwares (hinges, bolts, plate, tower bolt, handle, grab rail, aldrop, cloth hanger, etc.),with primer, painting, etc. | Each | 296.00 |
| 15.00 | Providing & fixing new 19 mm double door shutter WPC including with all hardwares (hinges, bolts, lock, plate, tower bolt, handle, grab rail, aldrop, door stoppers, door closer, etc.), with primer, painting, etc. | Each | 37.00 |
| 16.00 | Providing, laying & testing cast - in - place structural controlled cement concrete grade M25 using 20mm down coarse aggregates but including cost of centering & cement, shuttering and steel reinforcement but including cost of making shear keys and provision of construction / contraction / control joints in various locations, laid, consolidated and cured. Item to include all structural items like base raft, ramp, column, wall, footings, equipment foundations, fins, mullions, beams, lintels, pergola, chajja, facia, parapet, railing, slab trenches, drains and sumps etc. The rates of concrete to include the cost of admixtures / plasticizers were required. This item to also include the concrete requiring waterproofing like water tanks, retaining walls, base raft, etc. On Counters | cum | 7.60 |
| 17.00 | Providing and fixing pre polished 20mm thick stone slab for the toilet counter & facial laid over 12mm thick cement mortar 1:4 (1 cement: 4 coarse sand) inclusive of making and rounding off edges and cutting holes (circular or oval) for wash basin, MS angle to fix bottom stone including rubbing polishing complete including cost of cement. (Basic rate of granite as per SCC - 250 / sq ft) - Counter top/ Facial Dado granite | sqm | 89.66 |
| 18.00 | Providing & fixing of new mirrors of 6mm thick with proper moulding including provision of WPC frame & 4 holes including the SS desginer bolts. Size 3 ft x 3 ft | Each | 140.00 |
| 19.00 | Providing & fixing vitreous china oval (Table top) wash basin 550x400mm dia. for under counter mounting, specially fabricated brackets painted white, 32mm C.P.cast brass bottle trap and pipe to wall with C.P. wall flange and rubber adapter for waste connection complete, including cutting and making good the walls wherever required. |  |  |
| 19.01 | White colour | EACH | 140.00 |
| 20.00 | Providing and fixing white vitreous China Indian water closet/ Floor mounted EWC with 100mm / 110mm sand cast iron ‘P‘ or ‘S‘ trap set in cement concrete 1:2:4 mix (1 cement :2 coarse sand :4 graded stone aggregate 20mm nominal size) with 10 litre capacity high or low level PVC cistern with top button or front handle operation along with 32mm dia PVC flush pipe with clamps and rubber adapter joint with C.P. brass screws and washer complete, including cutting and making good the walls and floors etc. Indian type Orissa Pattern size 580x440mm. |  |  |
| 20.01 | White colour | EACH | 148.00 |
| 21.00 | Providing & fixing 15mm dia C.P. brass bib tap complete including cutting and making good the walls wherever required. |  |  |
| 21.01 | Two way Bib Cock (ESS ESS, Croma series, code- C-203) | EACH | 148.00 |
| 22.00 | Providing & fixing 15mm C.P brass angle valve with C.P. copper connecting pipe 375mm long & nuts, washer and C.P. brass flange complete, including cutting & making good the wall wherever required. ((ESS ESS, Croma series, code- C-204) | EACH | 442.00 |
| 23.00 | Providing & fixing 15mm C.P. pillar tap for W.B.(ESS ESS, Croma series, code- C-201) | EACH | 140.00 |
| 24.00 | Bottle Trap PVC (Prayag) | EACH | 220.00 |
| 25.00 | Washbasin/ Urinal Waste Coupling (Prayag) | EACH | 220.00 |
| 26.00 | PVC Connection Pipe 18 inch (Asian Paint ESS ESS B2CH218) | EACH | 442.00 |
| 27.00 | Providing & fixing new urinal of with partions approved make (Hindware) along with trap, connection to existing drainage line, including testing & finishing. Complete in all respects. | EACH | 80.00 |
| 28.00 | SS chrome polished Bathroom Jali | EACH | 605.00 |
| 29.00 | Health Faucet Set with 1 Mtr. Or 1.5 Mtr. SS Hose. ESS ESS Cat No. C232Y | EACH | 148.00 |
| 30.00 | Brass Urinal Jibbi (Spreader) | EACH | 80.00 |
| 31.00 | Providing & fixing 15mm C.P. Long Body | EACH | 185.00 |
| 32.00 | Providing & fixing C.P. WM shower with arm (ESS ESS OH-202) | EACH | 148.00 |
| 33.00 | SS Soap Dish | EACH | 148.00 |
| 34.00 | SS 304 Soap Dispenser | EACH | 148.00 |
| 35.00 | Providing & fixing new glasses of 5 mm thickness including all hardware (like rubber, silicon, clay, etc.) with window frame painting, etc. | sqm | 423.00 |
| 36.00 | Providing and fixing heavy duty Cast Iron (CI) manhole cover with frame with chamber construction of required size and shape as existing according to the chamber opening, medium duty (500 mm dia, total weight not less than 38 kg) for chamber openings, including fixing in cement concrete 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 20 mm nominal size), curing, and finishing the surface smooth, complete as per direction of Engineer and CPWD norms. | EACH | 15.00 |
| 37.00 | Providing & Laying of Waterproofing inside wall including scrubbing of old loose particles (complete plaster) + Dr Fixit chemical SWR latex mixed with cement slurry + laying of Asian paint damp proof course) (2-3 coats), Primer (Oil/Water), Birla putty old surface, Tractor emulsion (2-3 coats), & others. Note: Colour change shall be considered only when a different colour family shall be applied. For the same family no colour change shall be considered. | sqm | 3994.32 |
| B | Electrical Work |  |  |
| 1.00 | Dismantling existing electrical wiring including switches, sockets, conduits, exhaust, gyser etc., | Job | 37 |
| 2.00 | Wiring for light/fan/exhaust point with 2Cx1.5+.75 E sqmm FRLS copper conductor in concealed PVC conduit including cost of wall cutting, chasing plastering, painting etc. as decided by EIC | Mtr | 100 |
| 3.00 | Wiring point with 2Cx4+ 1.5E sqmm FRLS copper conductor in concealed PVC conduit including cost of wall cutting ,chasing plastering, painting etc. as decided by EIC | Mtr | 400 |
| 4.00 | Providing & fixing 6A modular switch with face plate, grid plate, hot dipped galvanised modular box with all other accessories. | Each | 225 |
| 5.00 | Providing & fixing 6A modular Socket with Shutter, face plate, grid plate, hot dipped galvanised modular box with all other accessories. | Each | 70 |
| 6.00 | Providing & fixing 16A modular switch with face plate, grid plate, hot dipped galvanised modular box with all other accessories. | Each | 37 |
| 7.00 | Providing & fixing 16A modular socket with Shutter, face plate, grid plate, hot dipped galvanised modular box with all other accessories. | Each | 37 |
| 8.00 | Providing & fixing 20/25A DP switch with ELCB | Each | 40 |
| 9.00 | Reinstallation, Testing & commissioning of existing storage geyser, exhaust fans and other accessories already installed before renovation including electrical connection and earthing as decided by EIC if any item required for reinstalling of items like nut bolts, any minor structure, geyser connections pipe etc shall be bear by vendor. | Job | 37 |
| 10.00 | Providing & fixing LED light fitting (24W),Surface/Recessed/Batten light as decided by EIC | Each | 260 |
| 11.00 | Supply & Installation of Hand dryer for washroom, wall mounted, touchless, drying time 8-10 sec, Make Dolphy/Euronics/Jaquar etc as decided by EIC | Each | 37 |
| 12.00 | Supply & Installation of 50 Ltr Gyser with all accessories as decided by EIC. | Each | Rate Only |
| 13.00 | Supply & Installation of 200mm-250 mm sweep exhaust fan with all accessories as decided by EIC. | Each | Rate Only |

Annexure-1

AFFIDAVIT

- I, the undersigned, do hereby certify that all the statements made in the required statements are true & correct.

- The undersigned also hereby certifies that neither our firms M/s___________________ have abandoned any work in previous projects or in any other Department nor any contract awarded to us for such works have been rescinded, during last five years prior to the date of this bid.

- The undersigned understand and agrees that further qualifying information may be requested and agrees to furnish any such information at the request of M/s Lakshmi Niwas Mittal Institute of Information Technology LNMIIT, Jaipur.

………………………………………………………..

(Signed by an Authorized Person of Firm)

………………………………………………

(Title of the Authorized Person)

…………………………………………….

(Name of Firm )

(On non-judicial stamp paper of minimum Rs. 100/-)

Form of Bank Guarantee for Earnest Money Deposit /                     Performance Guarantee / Security Deposit

To

M/s LNM Institute of Information Technology,

Gram: Rupa ki Nangal,

Post: Sumel

Jaipur-302031

Rajasthan.

- In consideration of M/s Lakshmi Niwas Mittal Institute of Information Technology     ( LNMIIT) – jointly established in 2002 by the state government of Rajasthan and the Lakshmi & Usha Mittal foundation, having its registered office at Gram: Rupa Ki Nangal, Post Sumel, Via Jamdoli, Jaipur, Rajasthan ( India ) – 302031  (hereinafter called “the Company” (which expression shall include its successor in business and assignees) have agreed to accept irrevocable bank guarantee of Rs……………………….( rupees………………….only ) valid upto……… (date) as Earnest Money Deposit from…………………( name and address of the “contractor”) for compliance of his obligations in accordance with the terms and conditions of the said NIT.

OR

In consideration of M/s Lakshmi Niwas Mittal Institute of Information Technology     ( LNMIIT ) – jointly established in 2002 by the state government of Rajasthan and the Lakshmi & Usha Mittal foundation, having its registered office at Gram: Rupa Ki Nangal, Post Sumel, Via Jamdoli, Jaipur, Rajasthan ( India ) – 302031  (hereinafter called “the Company” (which expression shall include its successor in business and assignees) have agreed to accept irrevocable bank guarantee of Rs……………………….( rupees………………….only ) valid upto……… (date) as Performance Guarantee/Security Deposit/Mobilisation Advance from the said contractor for compliance of his obligations in accordance with the terms and conditions of the agreement.

- We, ................ (Indicate the name of the bank) ..........................., (herein after referred to as “the Bank”), hereby undertake to pay to the COMPANY an amount not exceeding Rs ................................ (Rupees.............................................. only) on demand by the COMPANY within 10 days of the demand.

- We, ......................... (Indicate the name of the Bank) ................, do here by undertake to pay the amount due and payable under this guarantee without any demur, merely on a demand from the Government stating that the amount claimed is required to meet the recoveries due or likely to be due from the said Contractor. Any such demand made on the Bank shall be conclusive as regards the amount due and payable by the Bank under this Guarantee. However, our liability under this guarantee shall be restricted to an amount not exceeding Rs................... (Rupees ........................ only)

- We, .......................................(indicate the name of the Bank) ..................., further undertake to pay the Company any money so demanded notwithstanding any dispute or disputes raised by the contractor in any suit or proceeding pending before any Court or Tribunal, our liability under this Bank Guarantee being absolute and unequivocal. The payment so made by us under this Bank Guarantee shall be a valid discharge of our liability for payment there under and the Contractor shall have no claim against us for making such payment.

- We, ....................................(indicate the name of the Bank..............................., further agree that the Company shall have the fullest liberty without our consent and without affecting in any manner our obligation here under to vary any of the terms and conditions of the said agreement or to extend time of performance by the said Contractor from time to time or to postpone for any time or from time to time any of the powers exercisable by the Company against the said contractor and to forbear or enforce any of the terms and conditions relating to the said agreement and we shall not be relieved from our liability by reason of any such variation or extension being granted to the said Contractor or for any forbearance, act of omission on the part of the Company or any indulgence by the Company to the said Contractor or by any such matter or thing whatsoever which under the law relating to sureties would, but for this provision, have effect of so relieving us.

- We, ...................(indicate the name of the Bank) ........................................................ further agree that the Company at its option shall be entitled to enforce this guarantee against the Bank as a principal debtor at the first instance without proceeding against the Contractor and notwithstanding any security or other guarantee the Company may have in relation to the Contractor's liabilities.

- This guarantee will not be discharged due to the change in the constitution of the Bank or the Contractor.

- We, .......................................(Indicate the name of the Bank) ...................undertake not to revoke this guarantee except with the consent of the Company in writing.

- This Bank Guarantee shall be valid up to ...................................................... unless extended on demand by the Government. Notwithstanding anything mentioned above, our liability against this guarantee is restricted to Rs......................... (Rupees............................................................only) and unless a claim in writing is lodged with us within the date of expiry or extended date of expiry of this guarantee, all our liabilities under this guarantee shall stand discharged.

Date :…………….

Witnesses:

- Signature……….

Name and Address							Authorised signatory.

Name ……….

Designation……..

Staff code No…….

Bank seal………..

- Signature……….

Name and Address

- In paragraph 1, strike out the portion not applicable. Bank Guarantee will be made either for earnest money or for performance guarantee/security deposit/mobilization advance, as the case may be.

Price Bid

(To be submitted separately in a sealed Envelope on company’s letter head )

Name of the Project: Renovation of Toilet Blocks in Boys and Girls Hostel in University Campus.

Sub Head: Supply Installation, Testing, and commissioning of Toilet Block works.

| Sr. No. | Item Descrpition | UOM | ǪTY. | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1.00 | Dismantling tile work in walls (including removing of Mirrors, glasses, etc.) laid in cement mortar including stacking of serviceable material and disposal of unserviceable material shall be disposed of outside the institute/campus premises |  |  |  |  |
| 1.01 | For thickness of tiles 25mm to 50mm | sqm | 8002.95 |  |  |
| 2.00 | Dismantling tile work in floors (including removing etc.) laid in cement mortar including stacking of serviceable material and disposal of unserviceable material shall be disposed of outside the institute/campus premises |  |  |  |  |
| 2.01 | For thickness of tiles 25mm to 50mm | sqm | 2216.54 |  |  |
| 3.00 | Dismantling doors, windows and clearstory windows steel or wood shutter including chowkhats and holdfasts etc. complete and stacking within 500 meters lead: |  |  |  |  |
| 3.01 | Of area 3 square meter and below. | Each | 309.00 |  |  |
| 4.00 | Dismantling doors, windows and clearstory windows steel or wood shutter including chowkhats and holdfasts etc. complete and stacking within 500 meters lead: |  |  |  |  |
| 4.01 | Of area 3 square meter and above. | Each | 24.00 |  |  |
| 5.00 | Dismantling of flushings (WC/EWC) with their cisterns, urinals with partitions of any size including stacking of useful materials near the site and disposal of unserviceable material shall be disposed of outside the institute/campus premises |  |  |  |  |
| 5.01 | For thickness of tiles 25mm to 50mm. | Each | 212.00 |  |  |
| 6.00 | Dismantling of light reinforced cement concrete platform along with curtain walls, washbasins, base concrete etc. including stacking of useful materials near the site and disposal of unserviceable materials shall be disposed of outside the institute/campus premises, complete in all respects. |  |  |  |  |
| 6.01 | Above 2.52 Sqm | sqm | 76.03 |  |  |
| 7.00 | Dismantling of old sewage drainage pipes in lavatory & shaft (say PVC/CI) including removal, cutting, stacking, disposal shall be disposed of outside the institute/campus premises Complete in all respects. | metre | 3330.00 |  |  |
| 7.01 | Dismantling of old rain water pipes in shaft (say PVC/CI) including removal, cutting, stacking, disposal shall be disposed of outside the institute/campus premises Complete in all respects. | metre | 170.00 |  |  |
| 8.00 | Dismantling of existing water supply lines in lavatory & shaft (GI/CPVC/UPVC), including valves/fittings/ facuets,etc from riser/trunk including removal, disposal. Complete in all respects. | metre | 3145.00 |  |  |
| 9.00 | Providing & laying new sewage drain pipe (e.g. HDPE/PVC- Size 110/75/40 mm) of specified diameter (existing dia, with all necessary fittings - eg. Nani Trap, P-Trap, Sockets, Elbows, etc.) including trenching, bedding, jointing, testing, backfill. | metre | 3330.00 |  |  |
| 9.01 | Providing & laying new rain water pipe (e.g. PVC- Size 150 mm) of specified diameter (existing dia, with all necessary fittings - eg. Sockets, Elbows, etc.) including trenching, jointing, testing, etc. | metre | 170.00 |  |  |
| 10.00 | Providing & laying new water supply line (e.g. CPVC/UPVC- Size 20/25/ 32/50/63 mm) of specified diameter (existing dia, with all necessary fittings- Tee, Sockets, Elbows, etc.) including fittings, testing, flushing. | metre | 3145.00 |  |  |
| 11.00 | Providing and laying Plain Cement Concrete (PCC) of mix 1:4:8 (M7.5) with 40 mm nominal size stone aggregate in foundation and bedding below pipeline, including compacting with plate vibrator, curing, etc., complete in all respects as per the engineers and CPWD/ PWD Norms . | cum | 2146.00 |  |  |
| 12.00 | Providing the waterproffing as per the IS norms for the sump portion | sqm | 2208.00 |  |  |
| 13.00 | Providing and laying tile flooring of approval make, shade as approved over adequate adhesive of approved brand making joint with PVC spacers of 3 mm to be filled with tile grout with approved pigmented to match the shade of tile & laid as per design & drawing approved for various thick of tiles but including cost of adhesive |  |  |  |  |
| 13.01 | Vitrified tile Somany ( basic rate Rs. 40 per sqft ) (Grande callis brown fp -600 x 1200 mm) | sqm | 7022.95 |  |  |
| 13.02 | Vitrified tile Somany (basic rate Rs. 38 per sqft) (Delmon beige - 600 x 600mm) | sqm | 2016.54 |  |  |
| 14.00 | Providing & fixing new 19 mm single door shutter WPC including with all hardwares (hinges, bolts, plate, tower bolt, handle, grab rail, aldrop, cloth hanger, etc.),with primer, painting, etc. | Each | 296.00 |  |  |
| 15.00 | Providing & fixing new 19 mm double door shutter WPC including with all hardwares (hinges, bolts, lock, plate, tower bolt, handle, grab rail, aldrop, door stoppers, door closer, etc.),with primer, painting, etc. | Each | 37.00 |  |  |
| 16.00 | Providing, laying & testing cast - in - place structural controlled cement concrete grade M25 using 20mm down coarse aggregates but including cost of centering & cement, shuttering and steel reinforcement but including cost of making shear keys and provision of construction / contraction / control joints in various locations, laid, consolidated and cured. Item to include all structural items like base raft, ramp, column, wall, footings, equipment foundations, fins, mullions, beams, lintels, pergola, chajja, facia, parapet, railing, slab trenches, drains and sumps etc. The rates of concrete to include the cost of admixtures / plasticizers where required . This item to also include the concrete requiring waterproofing like water tanks, retaining walls, base raft, etc. On Counters | cum | 7.60 |  |  |
| 17.00 | Providing and fixing prepolished 20mm thick stone slab for the toilet counter & facial laid over 12mm thick cement mortar 1:4 (1 cement : 4 coarse sand) inclusive of making and rounding off edges and cutting holes (circular or oval) for wash basin, MS angle to fix bottom stone including rubbing polishing complete including cost of cement. (Basic rate of granite as per SCC - 250 / sq ft) - Counter top/ Facial Dado granite | sqm | 89.66 |  |  |
| 18.00 | Providing & fixing of new mirrors of 6mm thick with proper moulding including provision of WPC frame & 4 holes including the SS desginer bolts. Size 3 ft x 3 ft | Each | 140.00 |  |  |
| 19.00 | Providing & fixing vitreous chi na oval (Table top) wash basin 550x400mm dia. for under counter mounting, specially fabricated brackets painted white, 32mm C.P.cast brass bottle trap and pipe to wall with C.P. wall flange and rubber adapter for waste connection complete, including cutting and making good the walls wherever required. |  |  |  |  |
| 19.01 | White colour | EACH | 140.00 |  |  |
| 20.00 | Providing and fixing white vitreous China Indian water closet/ Floor mounted EWC with 100mm / 110mm sand cast iron ‘P‘ or ‘S‘ trap set in cement concrete 1:2:4 mix (1 cement :2 coarse sand :4 graded stone aggregate 20mm nominal size) with 10 litre capacity high or low level PVC cistern with top button or front handle operation along with 32mm dia PVC flush pipe with clamps and rubber adapter joint with C.P. brass screws and washer complete, including cutting and making good the walls and floors etc. Indian type Orissa Pattern size 580x440mm. |  |  |  |  |
| 20.01 | White colour | EACH | 148.00 |  |  |
| 21.00 | Providing & fixing 15mm dia C.P. brass bib tap complete including cutting and making good the walls wherever required. |  |  |  |  |
| 21.01 | Two-way Bib Cock (ESS ESS, Croma series, code- C-203) | EACH | 148.00 |  |  |
| 22.00 | Providing & fixing 15mm C.P brass angle valve with C.P. copper connecting pipe 375mm long & nuts, washer and C.P. brass flange complete, including cutting & making good the wall wherever required. ((ESS ESS, Croma series, code- C-204) | EACH | 442.00 |  |  |
| 23.00 | Providing & fixing 15mm C.P. pillar tap for W.B.(ESS ESS, Croma series, code- C-201) | EACH | 140.00 |  |  |
| 24.00 | Bottle Trap PVC (Prayag) | EACH | 220.00 |  |  |
| 25.00 | Washbasin/ Urinal Waste Coupling (Prayag) | EACH | 220.00 |  |  |
| 26.00 | PVC Connection Pipe 18 inch (Asian Paint ESS ESS B2CH218) | EACH | 442.00 |  |  |
| 27.00 | Providing & fixing new urinal of with partions approved make (Hindware) along with trap, connection to existing drainage line, including testing & finishing. Complete in all respects. | EACH | 80.00 |  |  |
| 28.00 | SS chrome polished Bathroom Jali | EACH | 605.00 |  |  |
| 29.00 | Health Faucet Set with 1 Mtr. Or 1.5 Mtr. SS Hose. ESS ESS Cat No. C232Y | EACH | 148.00 |  |  |
| 30.00 | Brass Urinal Jibbi (Spreader) | EACH | 80.00 |  |  |
| 31.00 | Providing & fixing 15mm C.P. Long Body | EACH | 185.00 |  |  |
| 32.00 | Providing & fixing C.P. WM shower with arm (ESS ESS OH-202) | EACH | 148.00 |  |  |
| 33.00 | SS Soap Dish | EACH | 148.00 |  |  |
| 34.00 | SS 304 Soap Dispenser | EACH | 148.00 |  |  |
| 35.00 | Providing & fixing of new glasses of 5 mm thickness including all hardwares (like rubber, silicon, clay, etc) with window frame painting, etc. | sqm | 423.00 |  |  |
| 36.00 | Providing and fixing heavy duty Cast Iron (CI) manhole cover with frame with chamber construction of required size and shape as existing according to the chamber opening, medium duty (500 mm dia, total weight not less than 38 kg) for chamber openings, including fixing in cement concrete 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 20 mm nominal size), curing, and finishing the surface smooth, complete as per direction of Engineer and CPWD norms. | EACH | 15.00 |  |  |
| 37.00 | Providing & Laying of Waterproofing inside wall including scrubbing of old loose particles (complete plaster) + Dr Fixit chemical SWR latex mixed with cement slurry + laying of Asian paint damp proof course) (2-3 coats), Primer (Oil/Water), Birla putty old surface, Tractor emulsion (2-3 coats), & others. Note: Colour change shall be considered only when a different colour family shall be applied. For the same family no colour change shall be considered. | sqm | 3994.32 |  |  |
| B | Electrical Work |  |  |  |  |
| 1.00 | Dismantling existing electrical wiring including switches, sockets, conduits, exhaust, gyser etc., | Job | 37 |  |  |
| 2.00 | Wiring for light/fan/exhaust point with 2Cx1.5+.75 E sqmm FRLS copper conductor in concealed PVC conduit including cost of wall cutting, chasing plastering, painting etc. as decided by EIC | Mtr | 100 |  |  |
| 3.00 | Wiring point with 2Cx4+ 1.5E sqmm FRLS copper conductor in concealed PVC conduit including cost of wall cutting, chasing plastering, painting etc. as decided by EIC | Mtr | 400 |  |  |
| 4.00 | Providing & fixing 6A modular switch with face plate, grid plate, hot dipped galvanised modular box with all other accessories. | Each | 225 |  |  |
| 5.00 | Providing & fixing 6A modular Socket with Shutter, face plate, grid plate, hot dipped galvanised modular box with all other accessories. | Each | 70 |  |  |
| 6.00 | Providing & fixing 16A modular switch with face plate, grid plate, hot dipped galvanised modular box with all other accessories. | Each | 37 |  |  |
| 7.00 | Providing & fixing 16A modular socket with Shutter, face plate, grid plate, hot dipped galvanised modular box with all other accessories. | Each | 37 |  |  |
| 8.00 | Providing & fixing 20/25A DP switch with ELCB | Each | 40 |  |  |
| 9.00 | Reinstallation, Testing & commissioning of existing storage geyser, exhaust fans and other accessories already installed before renovation including electrical connection and earthing as decided by EIC if any item required for reinstalling of items like nut bolts, any minor structure, geyser connections pipe etc shall be bear by vendor. | Job | 37 |  |  |
| 10.00 | Providing & fixing LED light fitting (24W),Surface/Recessed/Batten light as decided by EIC | Each | 260 |  |  |
| 11.00 | Supply & Installation of Hand dryer for washroom, wall mounted, touchless, drying time 8-10 sec, Make Dolphy/Euronics/Jaquar etc as decided by EIC | Each | 37 |  |  |
| 12.00 | Supply & Installation of 50 Ltr Geyser with all accessories as decided by EIC. | Each | Rate Only |  |  |
| 13.00 | Supply & Installation of 200mm-250 mm sweep exhaust fan with all accessories as decided by EIC. | Each | Rate Only |  |  |
|  | Total |  |  |  |  |
|  | GST 18 % |  |  |  |  |
|  | Total Amount with GST |  |  |  |  |

Date: - 								Seal & Signature.

Name: -

Designation: -

Place: -								Mobile No.: -