Tender No:. 2025-26/LUCS/2B/LNM-1315

The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non-Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for “Facility Management Services (FMS) and Annual Maintenance Contract (AMC)”. Bidders can submit their sealed offers/s at the following address by Email/Speed-Post/ Registered Post/ By-hand/courier before 05:00 PM on 23.03.2026 (Last date of bid receiving).

Filing of Tender:

Option 1: Physical submission of offers (hard copy) in sealed envelopes.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the institute in person/ Speed-Post/ Registered Post/ By-hand/courier of the Institute after marking due entries in the Receipt Book available with the Security Officer at the main gate.

The tender subject and reference number must be mentioned on the envelope.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Option 2: Password-protected online submission via Email

Password-protected offers can be submitted by the bidders via email at the below-mentioned email IDs.

tender-document@lnmiit.ac.in (password-protected document)

tender-password@lnmiit.ac.in (password only)

The tender subject and reference number must be mentioned in the subject line of the emails.

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory, are required to be submitted in two separate envelopes/emails.

Envelopes/Emails should be duly marked as follows:

- Technical bid for the “Facility Management Services (FMS) and Annual Maintenance Contract (AMC)”. (Technical bid must be submitted without password protection)

- Commercial Bid for the “Facility Management Services (FMS) and Annual Maintenance Contract (AMC)”. (The Commercial bid must be submitted with password protection.)

Both Envelopes/files should be enclosed/attached in a single envelope/email bearing the heading “Bid for the “Facility Management Services (FMS) and Annual Maintenance Contract (AMC)”. (Tender No. : 2025-26/LUCS/2B/LNM-1315) ”.

Note: The bidders/vendors are requested to go through the tender document carefully and ensure compliance with all specifications/instructions in this tender

Bids are liable to be rejected:

- If the above-mentioned bid submission procedure is not followed.

- Incomplete and non-conforming bids.

- Arbitration: All disputes and differences arising between the two parties in connection with this order shall be mutually settled as far as possible, failing which, all such disputes shall be referred to arbitration and settlement under the provision of the Arbitration and Conciliation Act, 1996 and as amended from time to time or any such law for the time being prevailing in India. The venue of such arbitration shall be Jaipur.

Technical Bid: (in a separate sealed envelope/via email)

# Bid for the “Facility Management Services (FMS) and Annual Maintenance Contract (AMC)”

# (Tender No. : 2025-26/LUCS/2B/LNM-1315)

Bidder is required to furnish the requisite details as per the below mentioned table format and proof of such documents to be uploaded along with the bid under respective title/ headings as mentioned at column no ‘C’ accordingly.

| S.No. | Title/ Heading Details sought by buyer | Details/ Certificate No. (Attached Y/N) |
| --- | --- | --- |
| A | B | C |
| 1. | Bidder Firm Name & Registration No, |  |
| 2. | Bidder’s Company profile or brief note |  |
| 3. | PAN Card No,. |  |
| 4. | GST Number |  |
| 5. | List of Directors/ Partners/Proprietor/ Members of the Bidder’s Firm |  |
| 6. | Detail of other associated/sister concerns (if any) of Directors/Partners/ Proprietor/ Members |  |
| 7. | Bidder Turnover - Average annual turnover for last three years |  |
| 8. | The Client List with some purchase orders and satisfactory certificate (to whom the vendor has delivered the goods/provided the services in the past (Three (03) purchase orders/work orders, at least one from each of the last three years, including the previous year.) |  |
| 9. | If the bidder is authorized by the OEM/Manufacturer. Proof of the same is to be submitted with the Technical Bid |  |
| 10. | An undertaking (self-certificate) that the agency has not been blacklisted by a Central/State/UT Government Institutions and there has been no litigation with any government department/institution on account of any services/supplies. |  |
| 11. | Scanned copy of EMD/ Tender Fees paid through RTGS/NEFT (if required/asked in the tender) |  |
| 12. | Xerox copies of MoUs with previous colleges (minimum three) must be attached. (Applicable for student fest only). |  |
| 13. | Be a registered entity with minimum 5 years’ experience in IT services |  |
| 14. | Have executed similar FMS/AMC projects in educational or enterprise environments |  |
| 15. | Provide at least 3 relevant client references |  |
| 16. | Have certified and trained technical manpower |  |
| 17. | Eligibility documents |  |
| 18. | Staffing & Resume details |  |
| 19. | SLA acceptance |  |

Scope of work

- The scope of work will cover the supply /arrangement of given items at LNMIIT Jaipur campus.

- The Vendor is required to submit the complete documentation of the supplied item after delivery.

Technical specification:

1. 	Contract Period

3 Years (Subject to Satisfactory annual review, mutual consent, and Acceptable SLA based performance)

2. 	Introduction

The LNM Institute of Information Technology (LNMIIT), Jaipur invites sealed bids from eligible, experienced, and competent service providers for providing Integrated Facility Management Services (FMS) and Annual Maintenance Contract (AMC) for its IT infrastructure and end-user computing assets installed across the campus.

The objective of this tender is to ensure high availability, operational reliability, and user satisfaction through structured service delivery, defined SLAs, performance metrics, and robust governance.

3. 	Scope of Services

The selected vendor shall provide end-to-end IT support services, comprising:

3.1 	Facility Management Services (FMS)

3.1.1 	Manpower Deployment

- Front-end Support Engineers: 7 (Seven)

- Team Lead / IT Service Manager: 1 (One)

3.1.2 	Manpower Approval:

All manpower proposed to be deployed under this contract, including but not limited to Front-end Support Engineers, Team Lead / IT Service Manager, replacement resources, and any additional manpower, shall be subject to prior discussion, vetting, and written approval by the IT Manager / ERP Manager or any authorized representative of LNMIIT.

In the event of resignation, exit, removal, or unavailability of any deployed manpower for any reason whatsoever, the vendor shall provide a suitable replacement resource within fifteen (15) calendar days from the effective date of resignation or disengagement.

LNMIIT reserves the right to accept or reject any proposed resource based on qualifications, experience, performance history, or institutional requirements, without any financial or contractual implication to the Institute.

3.1.3 	Scope of FMS Work

- First-line IT helpdesk and on-site user support

- Desktop, laptop, printer, and peripheral support

- OS and application installation, configuration, and troubleshooting

- Network connectivity support at user end

- Ticket logging, tracking, and closure through Helpdesk system

- User onboarding/offboarding IT support

- Basic training and user awareness sessions

- Coordination with internal IT teams and AMC support

- Maintenance of knowledge base and documentation

3.1.4	 Team Lead Responsibilities

- Overall management of FMS operations

- SLA adherence and escalation management

- Performance monitoring of support engineers

- Reporting of KPIs and service metrics

- Single Point of Contact (SPOC) for LNMIIT

3.2 	Annual Maintenance Contract (AMC)

3.2.1 Assets Covered (Indicative)

- Desktops: ~637 Units

- Laptops: ~60 Units

- Monitors: ~630 Units

- Network Switches: ~55 Units (L2/L3)

- Servers: ~20 Units

- Workstations: ~6 Units

A detailed and updated asset list shall be shared with the successful bidder.

3.2.2 Scope of AMC Work

- Preventive maintenance (quarterly)

- Breakdown and corrective maintenance

- Replacement of faulty components (RAM, HDD/SSD, SMPS, motherboard, fans, cables, etc.)

- Network switch troubleshooting and configuration support

- Server hardware diagnostics and fault rectification

- OS reinstallation support (licenses provided by LNMIIT)

- Configuration backup and restoration

4. Service Level Agreement (SLA)

4.1 Incident Severity & Response

| Severity | Description | Response Time | Resolution Time |
| --- | --- | --- | --- |
| Critical | Server/Core Network Down | ≤ 1–2 Hours | ≤ 4–8 Hours |
| High | Multiple systems affected | ≤ 2–4 Hours | ≤ 1 Business Day |
| Medium | Single system issue | ≤ 4–8 Hours | ≤ 2 Business Days |
| Low | Minor issues | ≤ 1 Business Day | ≤ 3 Business Days |

Detailed SLA format as per Appendix A – SLA Template.

5. 	Uptime, Penalty & Service Credit Clauses (AMC)

5.1 Guaranteed Uptime

- Servers & Core/Distribution Switches: 99.5%

- Access Switches: 99.0%

- End-user devices: 98.5%

5.2 Penalty for SLA Breach

- Delay in response: Rs. 500 per hour

- Delay in resolution: Rs. 1,000 per hour

- Repeated failure (≥3/month): Rs. 5,000 per instance

- Monthly penalty cap: 10% of monthly AMC value

5.3 Uptime Service Credit

| Uptime Shortfall | Credit on Monthly AMC |
| --- | --- |
| ≤ 0.5% | 5% |
| 0.5–1.0% | 10% |
| 1.0–2.0% | 20% |
| > 2.0% | 30% |

Credits shall be adjusted against subsequent invoices.

5.4 Chronic Non-Performance

LNMIIT reserves the right to issue warnings, terminate the contract, or get services executed at vendor’s risk and cost.

6. 	Performance Measurement & Reporting

- CSAT Target: ≥ 90%

- Ticket Resolution Rate: ≥ 95%

- First Contact Resolution: ≥ 80%

- Monthly and quarterly performance reports

Refer Appendix C – Performance Metrics Template and CSAT Feedback Form.

7. Commercial & Payment Terms

- Prices to be quoted separately for FMS manpower and AMC services

- No price escalation during contract period

- There may be a deviation of up to 10% in the AMC items list (Make/Specification)  at the time of award of the order.

- Payments:

  - FMS: Quarterly

  - AMC: Quarterly

- Payment within 30 days of invoice submission

7.1 	Fooding and Lodging:

The Institute shall not provide or bear any cost towards fooding, lodging, boarding, accommodation, transportation, or any other personal expenses of the vendor’s deployed manpower.

All such expenses shall be deemed to be included in the vendor’s quoted price and shall be the sole responsibility of the successful bidder.

8. 	Bid Submission Structure

Envelope 1 – Technical Bid

- Company Profile & Credentials

- Eligibility documents

- Staffing & Resume details

- SLA acceptance

- Vendor response as per Appendix B

Envelope 2 – Financial Bid

- Commercial proposal in prescribed format

9. Contract Termination

LNMIIT may terminate the contract with 30 days’ notice for non-performance, SLA breach, or contractual violation.

10. General Terms & Conditions

- LNMIIT reserves the right to accept or reject any or all bids

- Any change, replacement, or augmentation of manpower during the contract period shall require prior written approval of the IT/ERP Manager, LNMIIT. Unauthorized deployment shall be treated as a material breach of contract.

- Under no circumstances shall LNMIIT be liable for any claims related to accommodation, meals, conveyance, or stay of the vendor’s personnel, whether on-campus or off-campus.

- Failure to deploy an approved replacement within the stipulated 15-day period shall be treated as a service deficiency and SLA breach, and may attract penalties, service credits, or other contractual remedies as deemed appropriate by LNMIIT, including but not limited to proportionate payment deductions or contract termination in case of repeated non-compliance.

- Quantity variation up to ±10%

- Jurisdiction: Jaipur, Rajasthan

11. Appendices

- Appendix A: SLA Template

- Appendix B: Vendor Response Template

- Appendix C: Performance Metrics Template

- Appendix D: CSAT Feedback Form

AMC ITEM LIST

| CPU |  |  |
| --- | --- | --- |
| Model | Configuration | Qty |
| Dell Optiplex 3010 | Intel Core i5 /4GB RAM / 500 GB HDD / 500 GB SSD | 2 |
| Dell Optiplex 3020 | Intel Core i5 /8GB RAM / 500 GB HDD / 500 GB SSD | 23 |
| Dell Optiplex 3050 | Intel Core i7/ 16 GB RAM / 1 TB HDD | 2 |
| Dell Optiplex 3060 | Intel Core-i7/16 GB RAM/1 TB HDD / 500 GB SSD | 47 |
| Dell Optiplex 3070 | Intel Core-i7/16 GB RAM/1 TB HDD / Samsung 500 GB SSD | 29 |
| HP PRODESK 400 - G2 | Intel Core i5 /8GB RAM / 500 GB HDD / 500 GB SSD / 1 GB GTX | 197 |
| Dell Optiplex 5050 | Intel Core i7 /16GB RAM / 1 TB HDD / 500 GB SSD | 30 |
| HP ProDesk 600 G5 | Intel Core i5 /4GB RAM / 500 GB HDD | 5 |
| Dell Optiplex 7010 | Intel Core i5 /16GB RAM / 500 GB HDD / 1 TB SSD | 36 |
| Dell OptiPex 7040 | Intel Core i7 /16GB RAM / 500 GB SSD / 1 TB HDD | 79 |
| HP Elitedesk 800 - G2 | Intel Core i7 /16GB RAM / 500 GB SSD / 1 TB HDD | 109 |
| HP Prodesk 800 G3 | Intel Core i7 /16GB RAM / 500 GB SSD / 1 TB HDD | 41 |
| Dell Optiplex 9020 | Intel Core i5 /8GB RAM / 500 GB SSD / 1 TB HDD | 10 |
| Dell Optiplex 5270 All in One |  | 7 |
| Wipro |  | 20 |
|  |  | 637 |

| Monitor |  |  |
| --- | --- | --- |
| Model | Configuration | Qty |
| Dell | Dell 18.5 inch Monitor | 282 |
| Dell | Dell 21.5 inch Monitor | 23 |
| Dell | Dell 24 inch Monitor | 3 |
| HP | HP 18.5 inch Monitor | 239 |
| HP | HP 22 inch Monitor | 2 |
| Wipro | Wipro 18.5 inch Monitor | 36 |
| LG | LG 18 inch Monitor | 43 |
| Samsung | samsung 27 inch Monitor | 2 |
|  |  | 630 |

| Laptop |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Model |  | Configuration |  |  | Qty |
| Dell Inspiron 5418 |  | Intel core-i5 / 16 GB RAM / 512 GB SDD |  |  | 4 |
| Dell Inspiron 3511 |  | Intel core i5-11th Gen. / 8 GB RAM / 512 GB SSD with 15.6" Display |  |  | 2 |
| Dell Inspiron 5410 |  | Intel Core-i5,11th Gen/16 GB RAM/512 GB SSD/Pen/ 14" Display with Touch Screen |  |  | 30 |
| Dell Lattitude 5310 |  | Intel Core i7 10th Gen / 16 GB RAM /500 GB HDD |  |  | 1 |
| Dell latitude E5530 |  | Intel core i5 / 8 GB RAM / 500 GB SSD |  |  | 6 |
| Dell latitude 3400 |  | Intel core i5 / 8 GB RAM / 500 GB SSD |  |  | 3 |
| Dell latitude 3490 |  | Intel core i5 / 8 GB RAM / 500 GB SSD |  |  | 3 |
| Dell latitude 3480 |  | Intel core i5 / 8 GB RAM / 500 GB SSD |  |  | 5 |
| Dell Inspiron 7570 |  | Intel core i5 / 8 GB RAM / 256 GB SSD |  |  | 1 |
| HP Laptop |  | Intel core i5 / 8 GB RAM / 500 GB SSD |  |  | 1 |
| Dell Latitude 3570 |  | Intel core i5 / 8 GB RAM / 500 GB SSD |  |  | 5 |
|  |  |  |  |  | 61 |
| Switch |  |  |  |  |  |  |
| Model |  |  | Configuration | Qty |  |  |
| L3 CISCO Switch | Catalyst 3750 12S |  | 12 PORT SFP | 1 |  |  |
|  | Catalyst 3850 24S |  | 24 1G SFP Port + C3850-NM-2-10G | 1 |  |  |
| L2 CISCO Switch | WS-C2960-24TC-L |  | 24 Port RJ45 & 2 Port SFP + RJ45 Combo | 13 |  |  |
|  | WS-C2960+24TC-L |  |  | 4 |  |  |
|  | WS-C2960-48TC-L |  | 48 Port RJ45 & 2 Port SFP + RJ45 Combo | 11 |  |  |
|  | SG300-24 |  | 26 Port RJ45 & 2 Port SFP + RJ45 Combo | 3 |  |  |
|  | SG300-48 |  | 50 port RJ45 & 2 Port SFP + RJ45 Combo | 21 |  |  |
|  | WS-C2950-G-24-EI |  | 24 Port RJ45 & 2 Fiber Port | 1 |  |  |
|  |  |  |  | 55 |  |  |

| Server |  |  |  |
| --- | --- | --- | --- |
| Model |  | Configuration | Qty |
| IBM | IBM X Server X3550 M3 | Intel Xeon E5-2609@2.4 Ghz/20GB, ECC RAM/SAS_HS600 GBx3 | 1 |
|  | IBM X Server X3550 M3 | Intel Xeon E5-2609@2.4 Ghz/20GB, ECC RAM/SAS_HS600 GBx3 | 1 |
|  | IBM X NAS Server X3620 M3 | Intel Xeon E5-620@2.4 Ghz/8GB, ECC RAM HDD 500 GBx1 & 3TBx2 | 1 |
| HP | HP PROLIANT DL 160/GEN 5 | Intel Xeon CPU E5430@2.6 Ghz/4 GB RAM,ECC/146*4 HDD Intel Xeon CPU E5430@2.6 Ghz/24 GB RAM,ECC/146*4 HDD | 1 |
|  | HP PROLIANT DL 160/GEN 5 |  | 1 |
|  | HP PROLIANT DL 160/GEN 5 | Intel Xeon CPU E5430@2.6 Ghz/24 GB RAM,ECC/146*4 HDD | 1 |
|  | HP PROLIANT DL 160/GEN 5 | Intel Xeon CPU E5430@2.6 Ghz/24 GB RAM,ECC/146*4 HDD | 1 |
|  | HP PROLIANT DL 160/GEN 5 | Intel Xeon CPU E5430@2.6 Ghz/4 GB RAM,ECC/146*4 HDD | 1 |
|  | HP PROLIANT DL 160/GEN 5 | Intel Xeon CPU E5430@2.6 Ghz/24 GB RAM,ECC/146*4 HDD | 1 |
|  | HP PROLIANT DL 160/GEN 5 | Intel Xeon CPU E5430@2.6 Ghz/24 GB RAM,ECC/146*4 HDD | 1 |
|  | HP PROLIANT DL 160/GEN 5 | Intel Xeon CPU E5430@2.6 Ghz/24 GB RAM,ECC/146*4 HDD | 1 |
|  | HP PROLIANT DL 145 | Intel Xeon CPU E5430@2.6 Ghz/24 GB RAM,ECC/146*4 HDD | 1 |
|  | HP PROLIANT DL380/G9 | Processor: Dual 10-core Intel Xeon E5-2650 v3 2.30GHz Memory: 64GB GPU: 2 x Nvidia Quadro K4200 modules GPU Memory: 8GB Nvidia CUDA cores: 2688 (1344 per GPU) Storage: 2 x 600GB SAS 2.5-inch 10K RPM 2TB from 3PAR SAN through HBA Card | 1 |
|  | HPE ProLiant DL560 Gen10 | Processor : Dual 18-core Intel Xeon Gold 6240 @ 2.6GHz Memory : 4×32GB DDR4 ECC FSB2933 Storage : 3×960GB 2.5-inch SSD HS HDD | 1 |
|  | HP STORE EASY-1650 STORAGE | Processor – Intel Xeon 6-cores 1.90GHz, Memory – 16GB ECC, Storage – 4×1TB SAS HDD | 1 |
|  | HP STORE EASY-1660 STORAGE | Processor – Intel Xeon Bronze 6-Core 3104 1.70GHz, Memory – 16GB ECC, Storage – 100TB SAS HDD | 1 |
|  | HPE 3PAR StoreServ 8000 | Processor – Intel Xeon, Memory – 60 GB per Array or higher, Cache Memory – Scale up to 768GB, Storage – 40 TB | 1 |
|  | HPC- HP PROLIANT SL230s Gen8 | 1MASTER NODE & 6 COMPUTE NODE PROCESSOR - INTEL XEON E52680 2.8 GHZ CORE - 120 CORES MEMORY - 672 GB | 1 |
| Dell | DELL PowerEdge R540+A38:B45B35A38:B44A38:B46 | Processor – 10-Core Intel Xeon Silver 4210R 2.4GHz, Memory – 1×16GB ECC, Storage – 5×4 TB SAS HDD. | 1 |
|  | DELL PowerEdge R540 | Processor – 10-Core Intel Xeon Silver 4210R 2.4GHz, Memory – 1×16GB ECC, Storage – 5×4 TB SAS HDD. | 1 |
|  | DELL PowerEdge R540 | Processor – 10-Core Intel Xeon Silver 4210R 2.4GHz, Memory – 1×16GB ECC, Storage – 5×4 TB SAS HDD. | 1 |
|  | Dell EMC R540 | Processor – 10-Core Intel Xeon Silver 4210R 2.4GHz, Memory – 1×16GB ECC, Storage – 5×4 TB SAS HDD. | 1 |
|  | DELL PowerEdge R740 | Processor: Dual 12-core Intel(R) Xeon(R) Gold 5118 CPU @ 2.30GHz Memory: 128GB DDR4 ECC Storage: 4 x 2TB SAS HDD GPU: Nvidia Tesla V100 module GPU Memory: 16GB Nvidia CUDA cores: 5,120 | 1 |
|  | DELL PowerEdge R440 | Processor: Dual 10-Core Intel Xeon @ 2.20GHz Memory: 128GB ECC DDR4 Storage: 4 x 2TB SAS HDD | 1 |
|  | DELL PowerEdge R650xs | Motherboard with Broadcom 5720 Dual Port 1Gb Onboard LOM Processor: 1 × Intel Xeon Silver 4309Y, 2.8G, 8C/16T, 10.4GT/s, 12M Cache, Turbo, HT (105W) DDR4-2666 Processor Socket: 2 Socket Server Chipset: Intel C621 Graphics: Standard Memory Socket: 16 Nos Chassis: 2.5" chassis with up to 8 Hard Drives (SAS/SATA) Memory Installed: 2 × 16GB RDIMM, 3200MT/s, Dual Rank Storage: 2 × 960GB SSD SATA Read Intensive 6Gbps, 512, 2.5in Hot-plug AG Drive, 1 DWPD RAID Controller: PERC H755 SAS (Front Support),Supports RAID 0, 1, and 5 | 1 |
|  | DELL Precision 3930 Rack | Processor: 4-core Intel Xeon E-2174G @ 3.80 GHz Memory: 4 x 16GB ECC DDR4 RAM Storage: 2TB HDD Graphic Card: P400 2GB | 1 |
|  | NVIDIA DGX – 1 | Processor : Dual 20-core Intel Xeon E5-2698 v4 @ 2.2GHz Memory : 512GB GPU Memory : 256GB GPU : 8 × GPUs (Tesla V100) CUDA Cores : (5000 per GPU) Tensor Cores : (600 per GPU) Storage : (4 × 1.92TB SSD RAID 0) | 1 |

| Workstation |  |  |  |
| --- | --- | --- | --- |
| Model |  | Configuration | Qty |
| HP | HP Z620 | INTEL® XEON E5-2609 @ 2.40GHz / 16GB ECC RAM / 1 TB HDD | 1 |
|  | HP ProLiant ML110 | INTEL® P4 @ 3.20GHz CPU / 4GB RAM / 229.8GB × 4 SCSI HDD | 1 |
|  | HP ProLiant ML110 ML 350 G9 |  | 1 |
| Dell | DELL PRECISION T5500 | INTEL® XEON X555 @ 2.67GHz CPU / 12GB ECC RAM / 300GB HDD | 1 |
|  | DELL PowerEdge SC1430 | INTEL® XEON 5120 @ 1.86GHz CPU / 2GB ECC RAM / 160GB HDD | 1 |
|  | DELL Precision T7500 | INTEL® XEON 5630 @ 2.53GHz CPU / 4GB ECC RAM / NVIDIA GPU 1 × 4GB GFX / 500 GB HDD | 1 |

There may be a deviation of up to 10% in the items list (Make/Specification)  at the time of award of the order.

FMS Services

| S.No. | Manpower | Qty |
| --- | --- | --- |
| 1. | Front and Support Engineers | 7 |
| 2. | Team Lead/It Service Manager | 1 |

Annexure

To Whomsoever It May Concern

This is to confirm that we, the undersigned, intend to participate in Tender No. : 2025-26/LUCS/2B/LNM-1315 (Tender Number) for the tender/work titled: “Facility Management Services (FMS) and Annual Maintenance Contract (AMC)”. We hereby certify the following:

No Conflict of Interest:

- We declare that we have no conflict of interest in participating in the above tender. We further confirm that we are not engaged in any activity or association that may compromise, or be perceived to compromise, our impartiality or ability to fulfil the obligations of the tender.

Undertaking on Blacklisting & Litigation (Self-Certificate):

- We hereby undertake that:

- Our agency/firm has never been blacklisted or debarred by any Central Government, State Government, Union Territory administration, or any other Institution/Organization.

- There is no ongoing or past litigation against our agency/firm with any Central Government, State Government, Union Territory administration, or any other Institution/Organization on account of any services/supplies.

- If at any stage the above declaration is found to be false, the Institute shall have the right to take any action as deemed appropriate, including rejection of our bid.

Site Visit /Understanding:

- We confirm that we have visited the site/clearly understood the requirements and expectations of the college authorities.

Scope of Work:

- We have thoroughly reviewed the scope of work mentioned in the bid document. The entire inventory/requirement/work has been verified and found to be in order. We also confirm that no additional items beyond the listed inventory/requirement will be required for successful completion of the work. However, if any additional item is required during execution, the same shall be provided by us as per the requirement.

Bidder Details

Name of Bidder: ______________________________________

Address: _____________________________________________

Contact Person: _______________________________________

Mobile No.: ___________________________________________

Email ID: _____________________________________________

Authorized Signatory: __________________________________

Signature & Stamp: ____________________________________

Date: _________________

Place: ________________

Commercial Bid: (in separate sealed envelope/password protected file via email)

# Bid for the “Facility Management Services (FMS) and Annual Maintenance Contract (AMC)”.

# (Tender No. : 2025-26/LUCS/2B/LNM-1315)

# A) AMC of Equipment (There may be a deviation of up to 10% in the items list (Make/Specification)  at the time of award of the order)

| CPU |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Model | Configuration | Qty | UOM | Rate | Amt. |
| Dell Optiplex 3010 | Intel Core i5 /4GB RAM / 500 GB HDD / 500 GB SSD | 2 | Nos. |  |  |
| Dell Optiplex 3020 | Intel Core i5 /8GB RAM / 500 GB HDD / 500 GB SSD | 23 | Nos. |  |  |
| Dell Optiplex 3050 | Intel Core i7/ 16 GB RAM / 1 TB HDD | 2 | Nos. |  |  |
| Dell Optiplex 3060 | Intel Core-i7/16 GB RAM/1 TB HDD / 500 GB SSD | 47 | Nos. |  |  |
| Dell Optiplex 3070 | Intel Core-i7/16 GB RAM/1 TB HDD / Samsung 500 GB SSD | 29 | Nos. |  |  |
| HP PRODESK 400 - G2 | Intel Core i5 /8GB RAM / 500 GB HDD / 500 GB SSD / 1 GB GTX | 197 | Nos. |  |  |
| Dell Optiplex 5050 | Intel Core i7 /16GB RAM / 1 TB HDD / 500 GB SSD | 30 | Nos. |  |  |
| HP ProDesk 600 G5 | Intel Core i5 /4GB RAM / 500 GB HDD | 5 | Nos. |  |  |
| Dell Optiplex 7010 | Intel Core i5 /16GB RAM / 500 GB HDD / 1 TB SSD | 36 | Nos. |  |  |
| Dell OptiPex 7040 | Intel Core i7 /16GB RAM / 500 GB SSD / 1 TB HDD | 79 | Nos. |  |  |
| HP Elitedesk 800 - G2 | Intel Core i7 /16GB RAM / 500 GB SSD / 1 TB HDD | 109 | Nos. |  |  |
| HP Prodesk 800 G3 | Intel Core i7 /16GB RAM / 500 GB SSD / 1 TB HDD | 41 | Nos. |  |  |
| Dell Optiplex 9020 | Intel Core i5 /8GB RAM / 500 GB SSD / 1 TB HDD | 10 | Nos. |  |  |
| Dell Optiplex 5270 All in One |  | 7 | Nos. |  |  |
| Wipro |  | 20 | Nos. |  |  |
|  |  | 637 |  |  |  |

| Monitor |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Model | Configuration | Qty | UOM | Rate | Amt. |
| Dell | Dell 18.5 inch Monitor | 282 | Nos. |  |  |
| Dell | Dell 21.5 inch Monitor | 23 | Nos. |  |  |
| Dell | Dell 24 inch Monitor | 3 | Nos. |  |  |
| HP | HP 18.5 inch Monitor | 239 | Nos. |  |  |
| HP | HP 22 inch Monitor | 2 | Nos. |  |  |
| Wipro | Wipro 18.5 inch Monitor | 36 | Nos. |  |  |
| LG | LG 18 inch Monitor | 43 | Nos. |  |  |
| Samsung | samsung 27 inch Monitor | 2 | Nos. |  |  |
|  |  | 630 |  |  |  |
| Laptop |  |  |  |  |  |
| Model | Configuration | Qty | UOM | Rate | Amt. |
| Dell Inspiron 5418 | Intel core-i5 / 16 GB RAM / 512 GB SDD | 4 | Nos. |  |  |
| Dell Inspiron 3511 | Intel core i5-11th Gen. / 8 GB RAM / 512 GB SSD with 15.6" Display | 2 | Nos. |  |  |
| Dell Inspiron 5410 | Intel Core-i5,11th Gen/16 GB RAM/512 GB SSD/Pen/ 14" Display with Touch Screen | 30 | Nos. |  |  |
| Dell Lattitude 5310 | Intel Core i7 10th Gen / 16 GB RAM /500 GB HDD | 1 | Nos. |  |  |
| Dell latitude E5530 | Intel core i5 / 8 GB RAM / 500 GB SSD | 6 | Nos. |  |  |
| Dell latitude 3400 | Intel core i5 / 8 GB RAM / 500 GB SSD | 3 | Nos. |  |  |
| Dell latitude 3490 | Intel core i5 / 8 GB RAM / 500 GB SSD | 3 | Nos. |  |  |
| Dell latitude 3480 | Intel core i5 / 8 GB RAM / 500 GB SSD | 5 | Nos. |  |  |
| Dell Inspiron 7570 | Intel core i5 / 8 GB RAM / 256 GB SSD | 1 | Nos. |  |  |
| HP Laptop | Intel core i5 / 8 GB RAM / 500 GB SSD | 1 | Nos. |  |  |
| Dell Latitude 3570 | Intel core i5 / 8 GB RAM / 500 GB SSD | 5 | Nos. |  |  |
|  |  | 61 |  |  |  |

| Model |  | Configuration | Qty | UOM | Rate | Amt. |
| --- | --- | --- | --- | --- | --- | --- |
| L3 CISCO Switch | Catalyst 3750 12S | 12 PORT SFP | 1 | Nos. |  |  |
|  | Catalyst 3850 24S | 24 1G SFP Port + C3850-NM-2-10G | 1 | Nos. |  |  |
| L2 CISCO Switch | WS-C2960-24TC-L | 24 Port RJ45 & 2 Port SFP + RJ45 Combo | 13 | Nos. |  |  |
|  | WS-C2960+24TC-L |  | 4 | Nos. |  |  |
|  | WS-C2960-48TC-L | 48 Port RJ45 & 2 Port SFP + RJ45 Combo | 11 | Nos. |  |  |
|  | SG300-24 | 26 Port RJ45 & 2 Port SFP + RJ45 Combo | 3 | Nos. |  |  |
|  | SG300-48 | 50 port RJ45 & 2 Port SFP + RJ45 Combo | 21 | Nos. |  |  |
|  | WS-C2950-G-24-EI | 24 Port RJ45 & 2 Fiber Port | 1 | Nos. |  |  |
|  |  |  |  | 55 |  |  |

| Server |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Model |  | Configuration | Qty | UOM | Rate | Amt. |
| IBM | IBM X Server X3550 M3 | Intel Xeon E5-2609@2.4 Ghz/20GB, ECC RAM/SAS_HS600 GBx3 | 1 | Nos. |  |  |
|  | IBM X Server X3550 M3 | Intel Xeon E5-2609@2.4 Ghz/20GB, ECC RAM/SAS_HS600 GBx3 | 1 | Nos. |  |  |
|  | IBM X NAS Server X3620 M3 | Intel Xeon E5-620@2.4 Ghz/8GB, ECC RAM HDD 500 GBx1 & 3TBx2 | 1 | Nos. |  |  |
| HP | HP PROLIANT DL 160/GEN 5 | Intel Xeon CPU E5430@2.6 Ghz/4 GB RAM,ECC/146*4 HDD | 1 | Nos. |  |  |
|  | HP PROLIANT DL 160/GEN 5 | Intel Xeon CPU E5430@2.6 Ghz/24 GB RAM,ECC/146*4 HDD | 1 | Nos. |  |  |
|  | HP PROLIANT DL 160/GEN 5 | Intel Xeon CPU E5430@2.6 Ghz/24 GB RAM,ECC/146*4 HDD | 1 | Nos. |  |  |
|  | HP PROLIANT DL 160/GEN 5 | Intel Xeon CPU E5430@2.6 Ghz/24 GB RAM,ECC/146*4 HDD | 1 | Nos. |  |  |
|  | HP PROLIANT DL 160/GEN 5 | Intel Xeon CPU E5430@2.6 Ghz/4 GB RAM,ECC/146*4 HDD | 1 | Nos. |  |  |
|  | HP PROLIANT DL 160/GEN 5 | Intel Xeon CPU E5430@2.6 Ghz/24 GB RAM,ECC/146*4 HDD | 1 | Nos. |  |  |
|  | HP PROLIANT DL 160/GEN 5 | Intel Xeon CPU E5430@2.6 Ghz/24 GB RAM,ECC/146*4 HDD | 1 | Nos. |  |  |
|  | HP PROLIANT DL 160/GEN 5 | Intel Xeon CPU E5430@2.6 Ghz/24 GB RAM,ECC/146*4 HDD | 1 | Nos. |  |  |
|  | HP PROLIANT DL 145 | Intel Xeon CPU E5430@2.6 Ghz/24 GB RAM,ECC/146*4 HDD | 1 | Nos. |  |  |
|  | HP PROLIANT DL380/G9 | Processor: Dual 10-core Intel Xeon E5-2650 v3 2.30GHz | 1 | Nos. |  |  |
|  |  | Memory: 64GB |  |  |  |  |
|  |  | GPU: 2 x Nvidia Quadro K4200 modules |  |  |  |  |
|  |  | GPU Memory: 8GB |  |  |  |  |
|  |  | Nvidia CUDA cores: 2688 (1344 per GPU) |  |  |  |  |
|  |  | Storage: 2 x 600GB SAS 2.5-inch 10K RPM 2TB from 3PAR SAN through HBA Card |  |  |  |  |
|  | HPE ProLiant DL560 Gen10 | Processor : Dual 18-core Intel Xeon Gold 6240 @ 2.6GHz | 1 | Nos. |  |  |
|  |  | Memory : 4×32GB DDR4 ECC FSB2933 |  |  |  |  |
|  |  | Storage : 3×960GB 2.5-inch SSD HS HDD |  |  |  |  |
|  | HP STORE EASY-1650 STORAGE | Processor – Intel Xeon 6-cores 1.90GHz, | 1 | Nos. |  |  |
|  |  | Memory – 16GB ECC, |  |  |  |  |
|  |  | Storage – 4×1TB SAS HDD |  |  |  |  |
|  | HP STORE EASY-1660 STORAGE | Processor – Intel Xeon Bronze 6-Core 3104 1.70GHz, | 1 | Nos. |  |  |
|  |  | Memory – 16GB ECC, |  |  |  |  |
|  |  | Storage – 100TB SAS HDD |  |  |  |  |
|  | HPE 3PAR StoreServ 8000 | Processor – Intel Xeon, | 1 | Nos. |  |  |
|  |  | Memory – 60 GB per Array or higher, |  |  |  |  |
|  |  | Cache Memory – Scale up to 768GB, |  |  |  |  |
|  |  | Storage – 40 TB |  |  |  |  |
|  | HPC- HP PROLIANT SL230s Gen8 | 1MASTER NODE & 6 COMPUTE NODE | 1 | Nos. |  |  |
|  |  | PROCESSOR - INTEL XEON E52680 2.8 GHZ |  |  |  |  |
|  |  | CORE - 120 CORES |  |  |  |  |
|  |  | MEMORY - 672 GB |  |  |  |  |
|  | DELL PowerEdge R540+A38:B45B35A38:B44A38:B46 | Processor – 10-Core Intel Xeon Silver 4210R 2.4GHz, | 1 | Nos. |  |  |
|  |  | Memory – 1×16GB ECC, |  |  |  |  |
|  |  | Storage – 5×4 TB SAS HDD. |  |  |  |  |
| Dell | DELL PowerEdge R540 | Processor – 10-Core Intel Xeon Silver 4210R 2.4GHz, | 1 | Nos. |  |  |
|  |  | Memory – 1×16GB ECC, |  |  |  |  |
|  |  | Storage – 5×4 TB SAS HDD. |  |  |  |  |
|  | DELL PowerEdge R540 | Processor – 10-Core Intel Xeon Silver 4210R 2.4GHz, | 1 | Nos. |  |  |
|  |  | Memory – 1×16GB ECC, |  |  |  |  |
|  |  | Storage – 5×4 TB SAS HDD. |  |  |  |  |
|  | Dell EMC R540 | Processor – 10-Core Intel Xeon Silver 4210R 2.4GHz, | 1 | Nos. |  |  |
|  |  | Memory – 1×16GB ECC, |  |  |  |  |
|  |  | Storage – 5×4 TB SAS HDD. |  |  |  |  |
|  | DELL PowerEdge R740 | Processor: Dual 12-core Intel(R) Xeon(R) Gold 5118 CPU @ 2.30GHz | 1 | Nos. |  |  |
|  |  | Memory: 128GB DDR4 ECC |  |  |  |  |
|  |  | Storage: 4 x 2TB SAS HDD |  |  |  |  |
|  |  | GPU: Nvidia Tesla V100 module |  |  |  |  |
|  |  | GPU Memory: 16GB |  |  |  |  |
|  |  | Nvidia CUDA cores: 5,120 |  |  |  |  |
|  | DELL PowerEdge R440 | Processor: Dual 10-Core Intel Xeon @ 2.20GHz | 1 | Nos. |  |  |
|  |  | Memory: 128GB ECC DDR4 |  |  |  |  |
|  |  | Storage: 4 x 2TB SAS HDD |  |  |  |  |
|  | DELL PowerEdge R650xs | Motherboard with Broadcom 5720 Dual Port 1Gb Onboard LOM | 1 | Nos. |  |  |
|  |  | Processor: 1 × Intel Xeon Silver 4309Y, 2.8G, 8C/16T, 10.4GT/s, 12M Cache, Turbo, HT (105W) DDR4-2666 |  |  |  |  |
|  |  | Processor Socket: 2 Socket |  |  |  |  |
|  |  | Server Chipset: Intel C621 |  |  |  |  |
|  |  | Graphics: Standard |  |  |  |  |
|  |  | Memory Socket: 16 Nos |  |  |  |  |
|  |  | Chassis: 2.5" chassis with up to 8 Hard Drives (SAS/SATA) |  |  |  |  |
|  |  | Memory Installed: 2 × 16GB RDIMM, 3200MT/s, Dual Rank |  |  |  |  |
|  |  | Storage: 2 × 960GB SSD SATA Read Intensive 6Gbps, 512, 2.5in Hot-plug AG Drive, 1 DWPD |  |  |  |  |
|  |  | RAID Controller: PERC H755 SAS (Front Support),Supports RAID 0, 1, and 5 |  |  |  |  |
|  | DELL Precision 3930 Rack | Processor: 4-core Intel Xeon E-2174G @ 3.80 GHz | 1 | Nos. |  |  |
|  |  | Memory: 4 x 16GB ECC DDR4 RAM |  |  |  |  |
|  |  | Storage: 2TB HDD |  |  |  |  |
|  |  | Graphic Card: P400 2GB |  |  |  |  |
|  | NVIDIA DGX – 1 | Processor : Dual 20-core Intel Xeon E5-2698 v4 @ 2.2GHz | 1 | Nos. |  |  |
|  |  | Memory : 512GB |  |  |  |  |
|  |  | GPU Memory : 256GB |  |  |  |  |
|  |  | GPU : 8 × GPUs (Tesla V100) |  |  |  |  |
|  |  | CUDA Cores : (5000 per GPU) |  |  |  |  |
|  |  | Tensor Cores : (600 per GPU) |  |  |  |  |
|  |  | Storage : (4 × 1.92TB SSD RAID 0) |  |  |  |  |

| Workstation |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Model |  |  | Configuration |  | Qty | UOM | Rate |  | Amt. |
| HP |  | HP Z620 | INTEL® XEON E5-2609 @ 2.40GHz / 16GB ECC RAM / 1 TB HDD |  | 1 | Nos |  |  |  |
|  |  | HP ProLiant ML110 | INTEL® P4 @ 3.20GHz CPU / 4GB RAM / 229.8GB × 4 SCSI HDD |  | 1 | Nos |  |  |  |
|  |  | HP ProLiant ML110 ML 350 G9 |  |  | 1 | Nos |  |  |  |
| Dell |  | DELL PRECISION T5500 | INTEL® XEON X555 @ 2.67GHz CPU / 12GB ECC RAM / 300GB HDD |  | 1 | Nos |  |  |  |
|  |  | DELL PowerEdge SC1430 | INTEL® XEON 5120 @ 1.86GHz CPU / 2GB ECC RAM / 160GB HDD |  | 1 | Nos |  |  |  |
|  |  | DELL Precision T7500 | INTEL® XEON 5630 @ 2.53GHz CPU / 4GB ECC RAM / NVIDIA GPU 1 × 4GB GFX / 500 GB HDD |  | 1 | Nos |  |  |  |

# B) FMS Services

| FMS Services |  |  |  |  |
| --- | --- | --- | --- | --- |
| Manpower | Qty | UOM | Rate | Amt. |
| Front and Support Engineers | 7 | Nos. |  |  |
| Team Lead/It Service Manager | 1 | Nos. |  |  |
|  | 8 |  |  |  |

| S.No. | Particulars | Qty. | Amount |
| --- | --- | --- | --- |
| # 1. | # Total Amount AMC services (Equipment-CPU+ Monitor + Laptop + Switch + Server + Workstation | # As mentioned above |  |
| # 2. | # Total Amount FMS Services (Manpower) | # As mentioned above |  |
| # Total (AMC Services + FMS Services) |  |  |  |
| # GST@_______ |  |  |  |
| # Total including GST |  |  |  |

GENERAL TERMS AND CONDITIONS:

- All applicable taxes such as GST must be clearly mentioned. If not specified, it shall be deemed that all such charges are included in the quoted price.

- If the supplier does not have a particular item or proposes a different make than that specified in the tender, the same must be clearly highlighted in the bid.

- Prices must be inclusive of all charges such as packing, forwarding, transit insurance, transportation, loading, unloading (up to 50 meters), installation, and any other incidental expenses.

- Bid must be submitted on an F.O.R. basis for delivery at: The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur – 302031.

- Bid shall remain valid for a minimum period of 30 days. No change in prices will be accepted during the validity period.

- The LNMIIT reserves the right to reject any quotation without assigning any reason.

- Payment terms shall be mutually decided and agreed upon between the Institute and the vendor.

- The bidder must submit a No Conflict of Interest Declaration along with the bid.

- The bid must be submitted on the company’s letterhead and in the LNMIIT-prescribed format only.

- Any item or service not being supplied by the bidder must be clearly mentioned separately in the bid.

- Vendors must provide a photocopy of their cheque/cancelled cheque along with the invoice for payment processing.

- Prices shall be quoted in Indian Rupees (INR) only.

- Total prices shall be quoted for the complete scope of work as per technical specifications, inclusive of all taxes, duties, insurance, packing, forwarding, and incidental charges.

- Agencies or individuals who are debarred or blacklisted are not permitted to participate in the tendering process. Any agency engaging a debarred person for negotiations or representation is also liable to be debarred.

- If the work is not completed within the stipulated time mentioned in the work order, the competent authority of LNMIIT reserves the right to accept partial work on suitable terms, cancel the supply/work order, withhold or stop payment, forfeit the Earnest Money Deposit, or debar the agency. The decision of the Competent Authority shall be final and binding.

- In case two or more bidders quote the same rates, the final selection shall be made through a draw of lots conducted by a committee comprising LNMIIT administrative members(PCC).

- Vendors are required to visit the site and conduct a detailed survey before submitting their bid to understand the exact requirements. No request for additional items or modifications will be entertained later.

- A pre-bid meeting and/or site visit may be arranged prior to submission of bids to clarify any doubts regarding project details, scope of work, and required documents.

Signature with seal