Tender No:. 2024-25/Estate/2B/LNM-1022

The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non-Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for “Rate Contract of Paint Work (services with material)”. Bidders can submit their sealed offers/s at the following address by Email/Speed-Post/ Registered Post/ By-hand/courier before 05:00 PM on 18.04.2026.

Filing of Tender:

Option 1: Physical submission of offers (hard copy) in sealed envelopes.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the institute in person/ Speed-Post/ Registered Post/ By-hand/courier of the Institute after marking due entries in the Receipt Book available with the Security Officer at the main gate.

The tender subject and reference number must be mentioned on the envelope.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Option 2: Password-protected online submission via Email

Password-protected offers can be submitted by the bidders via email at the below-mentioned email IDs.

tender-document@lnmiit.ac.in (password-protected document)

tender-password@lnmiit.ac.in (password only)

The tender subject and reference number must be mentioned in the subject line of the emails.

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory, are required to be submitted in two separate envelopes/emails.

Envelopes/Emails should be duly marked as follows:

- Technical bid for the “Rate Contract of Paint Work (services with material)”.  (Item Name) (Technical bid must be submitted without password protection)

- Commercial Bid for the “Rate Contract of Paint Work (services with material)”. (Item Name) (The Commercial bid must be submitted with password protection.)

Both Envelopes/files should be enclosed/attached in a single envelope/email bearing the heading “Bid for the “Rate Contract of Paint Work (services with material)” (Item Name)  (Tender No. : 2024-25/Estate/2B/LNM-1022) ”.

Note: The bidders/vendors are requested to go through the tender document carefully and ensure compliance with all specifications/instructions in this tender

Bids are liable to be rejected:

- If the above-mentioned bid submission procedure is not followed.

- Incomplete and non-conforming bids.

- Arbitration: All disputes and differences arising between the two parties in connection with this order shall be mutually settled as far as possible, failing which, all such disputes shall be referred to arbitration and settlement under the provision of the Arbitration and Conciliation Act, 1996 and as amended from time to time or any such law for the time being prevailing in India. The venue of such arbitration shall be Jaipur.

Technical Bid: (in a separate sealed envelope/via email)

# Bid for the Rate Contract of Paint Work (services with material)

# (Tender No. : 2024-25/Estate/2B/LNM-1022)

Bidder is required to furnish the requisite details as per the below mentioned table format and proof of such documents to be uploaded along with the bid under respective title/ headings as mentioned at column no ‘C’ accordingly.

| S.No. | Title/ Heading Details sought by buyer | Details/ Certificate No. (Attached Y/N) |
| --- | --- | --- |
| A | B | C |
| 1. | Bidder Firm Name & Registration No, |  |
| 2. | Bidder’s Company profile or brief note |  |
| 3. | PAN Card No,. |  |
| 4. | GST Number |  |
| 5. | List of Directors/ Partners/Proprietor/ Members of the Bidder’s Firm |  |
| 6. | Detail of other associated/sister concerns (if any) of Directors/Partners/ Proprietor/ Members |  |
| 7. | Bidder Turnover - Average annual turnover for last three years |  |
| 8. | The Client List with some purchase orders and satisfactory certificate (to whom the vendor has delivered the goods/provided the services in the past (Three (03) purchase orders/work orders, at least one from each of the last three years, including the previous year.) |  |
| 9. | If the bidder is authorized by the OEM/Manufacturer. Proof of the same is to be submitted with the Technical Bid |  |
| 10. | An undertaking (self-certificate) that the agency has not been blacklisted by a Central/State/UT Government Institutions and there has been no litigation with any government department/institution on account of any services/supplies. |  |
| 11. | Scanned copy of EMD/ Tender Fees paid through RTGS/NEFT (if required/asked in the tender) |  |
| 12 | Xerox copies of MoUs with previous colleges (minimum three) must be attached. (Applicable for student fest only). |  |

Finalization of Rates:

- Finalized rates shall be valid for the period of Two years. Also, the time period may get extended or reduced depending upon how the work quality, and services are provided by the vendor.

Payment terms:

- 95% payment of every Running Bill shall be released within the period of 10-20 days on submission of invoice checked by Engineer and verified by the Estate Manager and 5% retention money will be released after nine months on a satisfactory report checked by engineer-in-charge and verified by the Estate manager.

- Advance payment will not be made under any circumstances.

- TDS and all other taxes will be deducted as per applicable rules.

- No additional payment will be made on account of freights/transportation.

Safety & Security Norms:

- All standard & regulatory and safety norms (all types including fire, flood, machinery and manpower-related safety) must be fulfilled by your workforce and should be adequately equipped with the necessary equipment, permission etc. LNMIIT shall bear no responsibility for any kind of harm, loss, or damage to your equipment or manpower as you are solely responsible to safeguard your manpower, tools and equipment.

GUARANTEE/WARRANTY:

- The successful tenderer shall ensure that the work done shall be as per the specifications mentioned in the order and material used for the work shall be of good quality & free from defects.

DURATION OF CONTRACT:

- The contract shall be awarded for a period of one year initially from the date of common cement of the Contract. The institute will have the discretion for extending it for a further term of one or more years on mutually acceptable terms and conditions and rates at the sole discretion of the institute.

To complement the following specifications, below is the Scope of Work and Technical Requirements, to ensures that the quality of execution matches the modern material standards established by the institute.

Part A: Scope of Work

The scope involves providing all labor, premium materials, scaffolding, tools, and equipment necessary for the complete execution of internal and external painting, polishing, and waterproofing works. This includes:

- Surface Preparation: Complete removal of loose paint, dust, grease, and efflorescence using mechanized tools where specified.

- Repairs: Filling of cracks using non-shrink grout or acrylic fillers and leveling surfaces with high-grade putty.

- Application: Systematic application of primers, undercoats, and finish coats as per manufacturer-specified intervals and thickness (DFT).

- Specialized Treatments: Execution of high-build waterproofing on roofs and damp-proofing of internal walls using SBR latex and fiber-reinforced membranes.

- Protection: Covering of floors, furniture, glass, and electrical fittings with plastic/masking tape prior to work and thorough cleaning post-completion.

Part B: Technical Requirements

1. Material Quality Standards

- Approved Brands: All materials (Paints, Primers, Putty, and Chemicals) must be from Tier-1 manufacturers (e.g., Asian Paints, Berger, or Nerolac, ) and delivered in original, sealed containers.

- Eco-Friendly Compliance: All interior paints must be Low-VOC (Volatile Organic Compounds) to ensure health safety and environmental compliance.

- Storage: Materials must be stored in a dry, cool, and well-ventilated space. Expired or thinned materials beyond manufacturer limits shall be rejected.

- Execution & Workmanship

- Moisture Content: Painting must only proceed when the moisture content of the wall surface is below 12% (to be verified with a moisture meter).

- Scaffolding: For exterior works (Items 18–21) and high-ceiling interiors, double-legged steel scaffolding must be used to ensure worker safety and reach.

- Application Tools:

  - Rollers: High-density felt rollers for smooth emulsion finishes.

  - Sprays: Compressor-based spray for Melamine/PU polishing (Items 25–26).

  - Trowels: Stainless steel trowels for textured finishes (Item 21).

- Surface Preparation Hierarchy

- New Work: Minimum two coats of acrylic putty followed by one coat of primer before the final paint layers.

- Old Work: Biological wash or pressure washing is required for exterior walls to remove algae/fungi before repainting.

- Metal/Pipes: Mechanical wire brushing or sanding to remove rust, followed immediately by an anti-corrosive primer (Red Oxide/Zinc Chromate).

- Waterproofing & Special Coatings

- Roof Treatment: Surface must be cleared of all debris. The Liquid Applied Membrane (LAM) must be applied in cross-directional coats to ensure 100% coverage.

- Internal Dampness: Treatment must include the removal of plaster up to the brick level if efflorescence is severe, followed by an epoxy-based damp-blocker.

- Inspection & Quality Control

- Patch Test: A sample patch (\(1m \times 1m\)) of the approved shade and finish must be applied for the Engineer-in-Charge’s approval before proceeding with the full area.

- Finish Criteria: The final surface must be free from brush marks, sags, runs, or "orange peel" textures (unless specified). It must provide a uniform shade and gloss level across all surfaces

- Check list: Vendor must obtain a duly signed checklist (as listed below) upon completion of the work from the JEN (Civil) or an authorized representative

- The vendor shall submit a detailed methodology and work procedure, along with the earliest completion timeline for each type of work.

| Site Inspection & Quality Assurance Checklist |  |  |  |
| --- | --- | --- | --- |
| Phase | Inspection Point | Acceptance Criteria | Status (P/F) |
| Phase 1: Pre-Application | Material Verification | Containers are sealed, from approved brands, and within expiry dates. |  |
|  | Surface Moisture | Moisture content is \(<12\%\) (verified by moisture meter). |  |
|  | Surface Prep (Masonry) | Old paint/loose particles removed; cracks filled with non-shrink grout. |  |
|  | Surface Prep (Metal/Wood) | Rust removed via wire brush; wood sanded to smooth finish (\(>180\) grit). |  |
|  | Protection/Masking | Floors, glass, and electrical fittings covered with plastic/masking tape. |  |
| Phase 2: Execution | Primer Application | Uniform coat applied; no patches; allowed to dry for 6–8 hours. |  |
|  | Putty Leveling | Two coats of acrylic putty applied; surface is perfectly flat (checked with light). |  |
|  | Inter-coat Sanding | Surface sanded with fine emery paper between every coat for smoothness. |  |
|  | Mixing/Thinning | Paint thinned strictly as per manufacturer ratio (no over-thinning). |  |
|  | Application Method | Rollers used for walls; spray used for Melamine/PU; no visible brush marks. |  |
| Phase 3: Final Finish | Visual Uniformity | Color is consistent; no "flashing" or visible patches under light. |  |
|  | Opacity (Coverage) | No "see-through" of the base coat/putty; uniform hide achieved. |  |
|  | Cleanliness | No paint drips on floors/fittings; all masking tape removed cleanly. |  |
|  | Texture/Thickness | Textured finishes meet specified micron thickness (\(400-2000\mu m\)). |  |
|  | Waterproofing Test | Roof areas show no ponding; internal damp spots are treated and dry. |  |

Vendor Representative                                      LNMIIT Representative

Technical specifications

| Sr. No. | Item Description | Unit |
| --- | --- | --- |
| 1 | Distempering with low-VOC oil-bound washable distemper of approved brand and manufacture to give an even shade including all scaffolding: New work (two or more coats) over and including mechanized scrapping, alkali-resistant primer, putty, lippy etc. complete in all respect. | Sqm |
| 2 | Distempering with oil-bound washable distemper of approved brand: Old work (two or more coats) including bio-wash/fungal treatment, scrapping surface and necessary repairs (primer, putty, lippy etc. complete in all respect). - Colour Change. | sqm |
| 3 | Distempering with oil-bound washable distemper of approved brand: Old work (two or more coats) including scrapping surface and necessary repairs (primer, putty, lippy etc. complete in all respect). – Same Colour. | sqm |
| 4 | Painting with high-gloss/satin finish synthetic enamel paint of approved brand to give an even shade: Two or more coats on new work. Including anti-corrosive repair/finishing through materials on the surface before enamel. | sqm |
| 5 | Painting with synthetic enamel paint of approved brand: Two or more coats on old work. Including all kinds of necessary repair/finishing through materials on the surface before enamel. | sqm |
| 6 | Painting (two or more coats) on rain water, soil, waste and vent pipes and fittings with PU-based synthetic enamel paint of approved brand and required colour over a priming coat of zinc-chromate steel primer on old work: 50mm dia. Pipes. | mtr |
| 7 | Painting (two or more coats) on pipes and fittings with synthetic enamel paint over a priming coat of approved steel primer on old work: 75mm dia. Pipes. | mtr |
| 8 | Painting (two or more coats) on pipes and fittings with synthetic enamel paint over a priming coat of approved steel primer on old work: 100mm dia. Pipes. | mtr |
| 9 | Painting (two or more coats) on pipes and fittings with synthetic enamel paint over a priming coat of approved steel primer on old work: 150mm dia. Pipes. | mtr |
| 10 | Applying priming coat: With ready mix pink or grey water-based primer of approved brand and manufacture on wood work hard and soft wood. | sqm |
| 11 | Applying priming coat: With ready mix of Aluminium primer of approved brand and manufactured on resinous wood and plywood. | sqm |
| 12 | Applying priming coat: With ready mixed epoxy-based red oxide zinc chromate primer of approved brand on steel galvanised iron/steel works. | sqm |
| 13 | Applying priming coat: With ready mixed red oxide zinc chromate primer of approved brand and manufacture on steel work (second coat). | sqm |
| 14 | Wall painting with anti-bacterial plastic emulsion paint (Premium) to give an even shade: Two or more coats on new work including preparation of base with acrylic primer, putty, lippy etc. | sqm |
| 15 | Wall painting with plastic emulsion paint of approved brand: Old work (Two or more coats) on new work including preparation of base with primer, putty, lippy etc. | Sqm |
| 16 | Providing and applying superior quality wall painting with Luxury Silk/Velvet Touch emulsion paint with teflon protector to give an even shade with putty and preparation of surface applying with paint roller: New Work (Three or More coats). | Sqm |
| 17 | Providing and applying superior quality wall painting with Velvet touch emulsion paint: Old Work Analysis (Two or more coats) including preparation of surface with paint roller complete in all respect. | sqm |
| 18 | Painting exterior surface of Wall with 100% acrylic exterior paint with Silicon Additives (Dust-Pick-up Resistance): New Work (Three or more coats) including preparation of base with pressure washing, sand papering, primer, putty, etc. | sqm |
| 19 | Painting exterior surface of Wall with 100% acrylic exterior paint: Old Work (Three or more coats) including preparation of base with sand papering, primer, putty, and safety provision. | Sqm |
| 20 | Finishing walls with textured exterior paint (Scratch/Bubble finish) as per approved colour: Roller Finish (Two or more coats), av. thickness 400 to 500 microns including UV-resistant protecting coat. | sqm |
| 21 | Finishing walls with textured exterior paint: Trowel Finish av. thickness 1500 to 2000 microns (Two or more coats) including primer and protecting coat. | sqm |
| 22 | Polishing on wood work with ready mixed beeswax/premium wax polish: New Work (coats as per the manufacturer instructions). | sqm |
| 23 | Polishing on wood work with ready mixed wax polish: Old Work (coats as per the manufacturer description). | sqm |
| 24 | M.S. PIPE (20x20MM) WITH Epoxy PRIMER And Red Oxide COATING upto 9 mtr (Three coats or more). | mtr |
| 25 | Providing and applying PU/Melamine polish on teak wood work: New work (coats as per manufacturer instructions) including dust-free compressor spray, sand papering, and wood filler. | sqm |
| 26 | Providing and applying Melamine polish on teak wood work: Old work (coats as per manufacturer description) including surface re-conditioning and compressor spray. | sqm |
| 27 | Distempering with oil-bound washable distemper (Low VOC): Old work (Two or more coats) including scraping the surface, etc.—Same/Colour change. | sqm |
| 28 | P & L of Liquid Applied Membrane (LAM) Waterproofing on the roof including parapet as per standard practice mentioned in IS codes | sqm |
| 29 | P & L of Waterproofing on the roof including parapet as per standard practice mentioned in IS codes | sqm |
| 30 | P & L of Silicon-based Transparent repellent on ext. walls including the top of the parapet as per standard practice | sqm |
| 31 | P & L of High-Build Waterproofing inside wall including scrubbing, SBR Latex mixed with cement slurry, Fiber-reinforced damp proof course (2-3 coats), Primer, Birla putty, and Tractor emulsion. | Sqm |

Signature with seal

Annexure

To Whomsoever It May Concern

This is to confirm that we, the undersigned, intend to participate in Tender No. : 2024-25/Estate/2B/LNM-1022) (Tender Number) for the tender/work titled: Rate Contract of Paint Work (services with material)” (Item Name).

We hereby certify the following:

No Conflict of Interest:

- We declare that we have no conflict of interest in participating in the above tender. We further confirm that we are not engaged in any activity or association that may compromise, or be perceived to compromise, our impartiality or ability to fulfil the obligations of the tender.

Undertaking on Blacklisting & Litigation (Self-Certificate):

- We hereby undertake that:

- Our agency/firm has never been blacklisted or debarred by any Central Government, State Government, Union Territory administration, or any other Institution/Organization.

- There is no ongoing or past litigation against our agency/firm with any Central Government, State Government, Union Territory administration, or any other Institution/Organization on account of any services/supplies.

- If at any stage the above declaration is found to be false, the Institute shall have the right to take any action as deemed appropriate, including rejection of our bid.

Site Visit /Understanding:

- We confirm that we have visited the site/clearly understood the requirements and expectations of the college authorities.

Scope of Work:

- We have thoroughly reviewed the scope of work mentioned in the bid document. The entire inventory/requirement/work has been verified and found to be in order. We also confirm that no additional items beyond the listed inventory/requirement will be required for successful completion of the work. However, if any additional item is required during execution, the same shall be provided by us as per the requirement.

Bidder Details

Name of Bidder: ______________________________________

Address: _____________________________________________

Contact Person: _______________________________________

Mobile No.: ___________________________________________

Email ID: _____________________________________________

Authorized Signatory: __________________________________

Signature & Stamp: ____________________________________

Date: _________________

Place: ________________

Commercial Bid: (in separate sealed envelope/password protected file via email)

# Bid for the Rate Contract of Paint Work (services with material)

# (Tender No. : 2024-25/Estate/2B/LNM-1022)

| Sr. No. | Item Description | Unit | Price | Tax (in Rs.) | Net Price |
| --- | --- | --- | --- | --- | --- |
| 1 | Distempering with low-VOC oil-bound washable distemper of approved brand and manufacture to give an even shade including all scaffolding: New work (two or more coats) over and including mechanized scrapping, alkali-resistant primer, putty, lippy etc. complete in all respect. | Sqm |  |  |  |
| 2 | Distempering with oil-bound washable distemper of approved brand: Old work (two or more coats) including bio-wash/fungal treatment, scrapping surface and necessary repairs (primer, putty, lippy etc. complete in all respect). - Colour Change. | sqm |  |  |  |
| 3 | Distempering with oil-bound washable distemper of approved brand: Old work (two or more coats) including scrapping surface and necessary repairs (primer, putty, lippy etc. complete in all respect). – Same Colour. | sqm |  |  |  |
| 4 | Painting with high-gloss/satin finish synthetic enamel paint of approved brand to give an even shade: Two or more coats on new work. Including anti-corrosive repair/finishing through materials on the surface before enamel. | sqm |  |  |  |
| 5 | Painting with synthetic enamel paint of approved brand: Two or more coats on old work. Including all kinds of necessary repair/finishing through materials on the surface before enamel. | sqm |  |  |  |
| 6 | Painting (two or more coats) on rain water, soil, waste and vent pipes and fittings with PU-based synthetic enamel paint of approved brand and required colour over a priming coat of zinc-chromate steel primer on old work: 50mm dia. Pipes. | mtr |  |  |  |
| 7 | Painting (two or more coats) on pipes and fittings with synthetic enamel paint over a priming coat of approved steel primer on old work: 75mm dia. Pipes. | mtr |  |  |  |
| 8 | Painting (two or more coats) on pipes and fittings with synthetic enamel paint over a priming coat of approved steel primer on old work: 100mm dia. Pipes. | mtr |  |  |  |
| 9 | Painting (two or more coats) on pipes and fittings with synthetic enamel paint over a priming coat of approved steel primer on old work: 150mm dia. Pipes. | mtr |  |  |  |
| 10 | Applying priming coat: With ready mix pink or grey water-based primer of approved brand and manufacture on wood work hard and soft wood. | sqm |  |  |  |
| 11 | Applying priming coat: With ready mix of Aluminium primer of approved brand and manufactured on resinous wood and plywood. | sqm |  |  |  |
| 12 | Applying priming coat: With ready mixed epoxy-based red oxide zinc chromate primer of approved brand on steel galvanised iron/steel works. | sqm |  |  |  |
| 13 | Applying priming coat: With ready mixed red oxide zinc chromate primer of approved brand and manufacture on steel work (second coat). | sqm |  |  |  |
| 14 | Wall painting with anti-bacterial plastic emulsion paint (Premium) to give an even shade: Two or more coats on new work including preparation of base with acrylic primer, putty, lippy etc. | sqm |  |  |  |
| 15 | Wall painting with plastic emulsion paint of approved brand: Old work (Two or more coats) on new work including preparation of base with primer, putty, lippy etc. | Sqm |  |  |  |
| 16 | Providing and applying superior quality wall painting with Luxury Silk/Velvet Touch emulsion paint with teflon protector to give an even shade with putty and preparation of surface applying with paint roller: New Work (Three or More coats). | Sqm |  |  |  |
| 17 | Providing and applying superior quality wall painting with Velvet touch emulsion paint: Old Work Analysis (Two or more coats) including preparation of surface with paint roller complete in all respect. | sqm |  |  |  |
| 18 | Painting exterior surface of Wall with 100% acrylic exterior paint with Silicon Additives (Dust-Pick-up Resistance): New Work (Three or more coats) including preparation of base with pressure washing, sand papering, primer, putty, etc. | sqm |  |  |  |
| 19 | Painting exterior surface of Wall with 100% acrylic exterior paint: Old Work (Three or more coats) including preparation of base with sand papering, primer, putty, and safety provision. | Sqm |  |  |  |
| 20 | Finishing walls with textured exterior paint (Scratch/Bubble finish) as per approved colour: Roller Finish (Two or more coats), av. thickness 400 to 500 microns including UV-resistant protecting coat. | sqm |  |  |  |
| 21 | Finishing walls with textured exterior paint: Trowel Finish av. thickness 1500 to 2000 microns (Two or more coats) including primer and protecting coat. | sqm |  |  |  |
| 22 | Polishing on wood work with ready mixed beeswax/premium wax polish: New Work (coats as per the manufacturer instructions). | sqm |  |  |  |
| 23 | Polishing on wood work with ready mixed wax polish: Old Work (coats as per the manufacturer description). | sqm |  |  |  |
| 24 | M.S. PIPE (20x20MM) WITH Epoxy PRIMER And Red Oxide COATING upto 9 mtr (Three coats or more). | mtr |  |  |  |
| 25 | Providing and applying PU/Melamine polish on teak wood work: New work (coats as per manufacturer instructions) including dust-free compressor spray, sand papering, and wood filler. | sqm |  |  |  |
| 26 | Providing and applying Melamine polish on teak wood work: Old work (coats as per manufacturer description) including surface re-conditioning and compressor spray. | sqm |  |  |  |
| 27 | Distempering with oil-bound washable distemper (Low VOC): Old work (Two or more coats) including scraping the surface, etc.—Same/Colour change. | sqm |  |  |  |
| 28 | P & L of Liquid Applied Membrane (LAM) Waterproofing on the roof including parapet as per standard practice mentioned in IS codes | sqm |  |  |  |
| 29 | P & L of Waterproofing on the roof including parapet as per standard practice mentioned in IS codes | sqm |  |  |  |
| 30 | P & L of Silicon-based Transparent repellent on ext. walls including the top of the parapet as per standard practice | sqm |  |  |  |
| 31 | P & L of High-Build Waterproofing inside wall including scrubbing, SBR Latex mixed with cement slurry, Fiber-reinforced damp proof course (2-3 coats), Primer, Birla putty, and Tractor emulsion. | Sqm |  |  |  |

GENERAL TERMS AND CONDITIONS:

- All applicable taxes such as GST must be clearly mentioned. If not specified, it shall be deemed that all such charges are included in the quoted price.

- If the supplier does not have a particular item or proposes a different make than that specified in the tender, the same must be clearly highlighted in the bid.

- Prices must be inclusive of all charges such as packing, forwarding, transit insurance, transportation, loading, unloading (up to 50 meters), installation, and any other incidental expenses.

- Bid must be submitted on an F.O.R. basis for delivery at: The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur – 302031.

- Bid shall remain valid for a minimum period of 30 days. No change in prices will be accepted during the validity period.

- The LNMIIT reserves the right to reject any quotation without assigning any reason.

- Payment terms shall be mutually decided and agreed upon between the Institute and the vendor.

- The bidder must submit a No Conflict of Interest Declaration along with the bid.

- The bid must be submitted on the company’s letterhead and in the LNMIIT-prescribed format only.

- Any item or service not being supplied by the bidder must be clearly mentioned separately in the bid.

- Vendors must provide a photocopy of their cheque/cancelled cheque along with the invoice for payment processing.

- Prices shall be quoted in Indian Rupees (INR) only.

- Total prices shall be quoted for the complete scope of work as per technical specifications, inclusive of all taxes, duties, insurance, packing, forwarding, and incidental charges.

- Agencies or individuals who are debarred or blacklisted are not permitted to participate in the tendering process. Any agency engaging a debarred person for negotiations or representation is also liable to be debarred.

- If the work is not completed within the stipulated time mentioned in the work order, the competent authority of LNMIIT reserves the right to accept partial work on suitable terms, cancel the supply/work order, withhold or stop payment, forfeit the Earnest Money Deposit, or debar the agency. The decision of the Competent Authority shall be final and binding.

- In case two or more bidders quote the same rates, the final selection shall be made through a draw of lots conducted by a committee comprising LNMIIT administrative members(PCC).

- Vendors are required to visit the site and conduct a detailed survey before submitting their bid to understand the exact requirements. No request for additional items or modifications will be entertained later.

- A pre-bid meeting and/or site visit may be arranged prior to submission of bids to clarify any doubts regarding project details, scope of work, and required documents.

Signature with seal