Tender No:. 2025-26/Estate/2B/LNM-1297

The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non-Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for “Service of 625 KVA, 380 KVA & 125 KVA Cummins DG Sets (Item Name)”. Bidders can submit their sealed offers/s at the following address by Email/Speed-Post/ Registered Post/ By-hand/courier before 05:00 PM on 30.04.2026 (Last date of bid receiving).

Filing of Tender:

Option 1: Physical submission of offers (hard copy) in sealed envelopes.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the institute in person/ Speed-Post/ Registered Post/ By-hand/courier of the Institute after marking due entries in the Receipt Book available with the Security Officer at the main gate.

The tender subject and reference number must be mentioned on the envelope.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Option 2: Password-protected online submission via Email

Password-protected offers can be submitted by the bidders via email at the below-mentioned email IDs.

tender-document@lnmiit.ac.in (password-protected document)

tender-password@lnmiit.ac.in (password only)

The tender subject and reference number must be mentioned in the subject line of the emails.

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory, are required to be submitted in two separate envelopes/emails.

Envelopes/Emails should be duly marked as follows:

- Technical bid for the “Service of 625 KVA, 380 KVA & 125 KVA Cummins DG Sets”.  (Item Name) (Technical bid must be submitted without password protection)

- Commercial Bid for the “Service of 625 KVA, 380 KVA & 125 KVA Cummins DG Sets”. (Item Name) (The Commercial bid must be submitted with password protection.)

Both Envelopes/files should be enclosed/attached in a single envelope/email bearing the heading “Bid for the “Service of 625 KVA, 380 KVA & 125 KVA Cummins DG Sets”) (Item Name)  (Tender No. : 2025-26/Estate/2B/LNM-1297) ”.

Note: The bidders/vendors are requested to go through the tender document carefully and ensure compliance with all specifications/instructions in this tender

Bids are liable to be rejected:

- If the above-mentioned bid submission procedure is not followed.

- Incomplete and non-conforming bids.

- Arbitration: All disputes and differences arising between the two parties in connection with this order shall be mutually settled as far as possible, failing which, all such disputes shall be referred to arbitration and settlement under the provision of the Arbitration and Conciliation Act, 1996 and as amended from time to time or any such law for the time being prevailing in India. The venue of such arbitration shall be Jaipur.

Technical Bid: (in a separate sealed envelope/via email)

# Bid for the Service of 625 KVA, 380 KVA & 125 KVA Cummins DG Sets

# (Tender No. : 2025-26/Estate/2B/LNM-1297)

Bidder is required to furnish the requisite details as per the below mentioned table format and proof of such documents to be uploaded along with the bid under respective title/ headings as mentioned at column no ‘C’ accordingly.

| S.No. | Title/ Heading Details sought by buyer | Details/ Certificate No. (Attached Y/N) |
| --- | --- | --- |
| A | B | C |
| 1. | Bidder Firm Name & Registration No, |  |
| 2. | Bidder’s Company profile or brief note |  |
| 3. | PAN Card No,. |  |
| 4. | GST Number |  |
| 5. | List of Directors/ Partners/Proprietor/ Members of the Bidder’s Firm |  |
| 6. | Detail of other associated/sister concerns (if any) of Directors/Partners/ Proprietor/ Members |  |
| 7. | Bidder Turnover - Average annual turnover for last three years |  |
| 8. | The Client List with some purchase orders and satisfactory certificate (to whom the vendor has delivered the goods/provided the services in the past (Three (03) purchase orders/work orders, at least one from each of the last three years, including the previous year.) |  |
| 9. | If the bidder is authorized by the OEM/Manufacturer. Proof of the same is to be submitted with the Technical Bid |  |
| 10. | An undertaking (self-certificate) that the agency has not been blacklisted by a Central/State/UT Government Institutions and there has been no litigation with any government department/institution on account of any services/supplies. |  |
| 11. | Scanned copy of EMD/ Tender Fees paid through RTGS/NEFT (if required/asked in the tender) |  |
| 12 | Xerox copies of MoUs with previous colleges (minimum three) must be attached. (Applicable for student fest only). |  |

Scope of work

- The scope of work will cover the supply /arrangement of given items at LNMIIT Jaipur campus.

- The Vendor is required to submit the complete documentation of the supplied item after delivery.

- Technical specification:

Scope of work: -

Diesel Generator (DG) Set Service

- General Inspection

  - Complete visual inspection of DG set, canopy, base frame and accessories.

  - Checking for oil, fuel, coolant leaks and abnormal noise or vibration.

- Engine Maintenance

  - Checking and topping up of engine oil (oil change if specified separately).

  - Checking coolant level, radiator condition and hoses.

  - Inspection of belts, pulleys and tightening if required.

- Fuel System

  - Checking fuel lines, fuel filter and fuel pump for leakage/blockage.

  - Cleaning or replacement of fuel filters (if included in scope).

  - Draining of water/sediment from fuel system, if required.

- Air Intake System

  - Cleaning or replacement of air filter element.

  - Inspection of air intake piping and clamps.

- Lubrication System

  - Checking lubrication lines and oil pressure.

  - Replacement of lube oil filter (if included).

- Electrical System

  - Checking battery voltage, electrolyte level and terminal tightness.

  - Checking battery charger operation.

  - Inspection of wiring, control panel connections and indicators.

- Alternator & Control Panel

  - Checking alternator condition, bearings and mounting bolts.

  - Checking control panel parameters, alarms and safety interlocks.

  - Verification of voltage, current, frequency and load sharing (if applicable).

- Exhaust System

  - Inspection of exhaust piping, flexible bellow, silencer and supports.

  - Checking for exhaust leakage and excessive vibration.

- Cooling System

  - Radiator cleaning (dry/wet as applicable).

  - Checking fan blades, fan belt and guard.

- Safety & Protection Systems

  - Checking emergency stop switch.

  - Testing safety trips such as low oil pressure, high temperature, overspeed (as applicable).

- DG Trial Run

  - No-load / load trial run after servicing.

  - Monitoring engine parameters during operation.

- Service Report

  - Submission of detailed service report mentioning observations, readings, parts replaced and recommendations.

- Compliance

  - All service work shall be carried out as per DG manufacturer’s guidelines and standard safety practices.

625 KVA DG Exhaust Repair Work

- Scope:
The work includes inspection, repair and/or replacement of the exhaust system of a 625 KVA Diesel Generator set, including exhaust pipes, flexible bellows, silencer, flanges, clamps, gaskets, supports and rectification of any exhaust leakage.

- Specification
All materials used shall be new, unused and of approved quality, conforming to relevant IS/standard specifications.
Materials may include MS/SS exhaust pipes, flexible bellows, gaskets, clamps and related fittings.

- Workmanship & Quality
All welding and jointing work shall be strong, neat and leak-proof.
The repair work shall be carried out as per DG manufacturer’s guidelines and standard engineering practices.

- Completion Time
The work must be completed within ___ days from the date of issue of the work order.
Any delay without valid justification may attract penalty as decided by the competent authority.

- SafetyCompliance
The contractor shall strictly follow all safety norms during execution of work.
Use of personal protective equipment (PPE) such as helmet, gloves, safety shoes, etc., is mandatory.
The organization shall not be responsible for any accident or injury during the work.

- DG Shutdown Coordination
DG shutdown required for repair shall be carried out in coordination with the concerned authority.
No damage shall be caused to the DG set or any other connected equipment during the work.

- Testing & Trial Run
After completion of the work, a trial run of the DG set shall be conducted.
There should be no exhaust leakage, abnormal vibration, or excessive noise during operation.

- Warranty / Guarantee
The contractor shall provide a warranty of minimum 6 months on the repair work and replaced parts.
Any defect noticed during the warranty period shall be rectified free of cost.

| GENERATORS DETAILS (CUMMINS) |  |  |  |  |
| --- | --- | --- | --- | --- |
| S.NO. | Specifications | DG-I | DG-II | DG-III |
| 1 | KVA | 625 | 380 | 125 |
| 2 | Model | VTA-28-G5-1 | KTA-1150-G | 6BTA5.9G2-I |
| 3 | ENGINE NO. | 25380044 | 25293517 | 62293428 |
| 4 | SERIAL NO. | N12E196540 | 4040212 | 4031241 |

| S.No. | ITEM DESCRIPTION | UOM | QTY |
| --- | --- | --- | --- |
| 1 | B- Check Kit-VTA-28-G5-1 | Nos | 1 |
| 2 | Lube Oil Valvoline Premium Blue-55 Ltr | Nos | 2 |
| 3 | Air Cleaner Element Kit | Nos | 2 |
| 5 | Service Charge | Nos | 1 |
| 6 | B- Check Kit-KTA-1150-G | Nos | 1 |
| 7 | Lube Oil Valvoline Premium Blue-55 Ltr | Nos | 1 |
| 8 | Air Cleaner Element Kit | Nos | 1 |
| 10 | Service Charge | Nos | 1 |
| 11 | B- Check Kit-6BTA5.9G2-I | Nos | 1 |
| 12 | Lube Oil Valvoline Premium Blue-20 Ltr | Nos | 1 |
| 13 | Air Cleaner Element Kit | Nos | 1 |
| 15 | Service Charge | Nos | 1 |
| 16 | 625 KVA Exhaust repair charges | Job | 1 |

Signature with seal

PRE-VISIT & WARRANTY DECLARATION

(For DG Exhaust Repair Work)

Work Order No/Tender No.: 2025-26/Estate/2B/LNM-1297

A. PRE-VISIT INSPECTION DECLARATION (MANDATORY)

We, M/s _________________________________,

having our office at ________________________________,

hereby confirm that we have carried out a mandatory pre-visit / site inspection for the 625 KVA DG Exhaust Repair Work at:

Site/Location: The LNM Institute of Information Technology
Rupa ki Nangal, Post-Sumel, Via-Jamdoli
Jaipur-302031,
(Rajasthan) INDIA

During the pre-visit, we have inspected the complete exhaust system including exhaust piping, flexible bellow, silencer, supports, clamps, accessibility, leakage points, shutdown requirement and safety conditions.

We hereby declare that:

1. We have fully understood the site conditions, scope of work, quantities, materials, manpower and tools required for execution of the job.

2. No claim for additional work, extra material, revised rates or cost escalation shall be raised later.

3. We accept the site conditions in totality and confirm readiness to execute the work as per approved terms and conditions.

B. WARRANTY DECLARATION

We further declare and undertake that:

1. We provide a warranty of Six (06) months on the exhaust repair work executed and, on all parts, /components replaced by us, effective from the date of successful completion and acceptance of the work.

2. During the warranty period, any defect, leakage, failure, or workmanship-related issue shall be rectified by us free of cost, including material and labor.

3. The warranty shall not cover damages due to misuse, abnormal operation, unauthorized modification, or factors beyond our scope.

4. All materials used are new and of standard quality, and work is executed as per manufacturer guidelines and safety norms.

This declaration forms an integral part of the Work Order.

For M/s _________________________________ (Contractor)

Authorized Signatory: ______________________

Name: _________________________________

Designation: ___________________________

Signature: ____________________________

Company Seal:

Date: _______________

Place: ______________

Annexure

To Whomsoever It May Concern

This is to confirm that we, the undersigned, intend to participate in Tender No. : 2025-26/Estate/2B/LNM-1297 for the tender/work titled: “Service of 625 KVA, 380 KVA & 125 KVA Cummins DG Sets (Item Name)”

We hereby certify the following:

No Conflict of Interest:

- We declare that we have no conflict of interest in participating in the above tender. We further confirm that we are not engaged in any activity or association that may compromise, or be perceived to compromise, our impartiality or ability to fulfil the obligations of the tender.

Undertaking on Blacklisting & Litigation (Self-Certificate):

- We hereby undertake that:

- Our agency/firm has never been blacklisted or debarred by any Central Government, State Government, Union Territory administration, or any other Institution/Organization.

- There is no ongoing or past litigation against our agency/firm with any Central Government, State Government, Union Territory administration, or any other Institution/Organization on account of any services/supplies.

- If at any stage the above declaration is found to be false, the Institute shall have the right to take any action as deemed appropriate, including rejection of our bid.

Site Visit /Understanding:

- We confirm that we have visited the site/clearly understood the requirements and expectations of the college authorities.

Scope of Work:

- We have thoroughly reviewed the scope of work mentioned in the bid document. The entire inventory/requirement/work has been verified and found to be in order. We also confirm that no additional items beyond the listed inventory/requirement will be required for successful completion of the work. However, if any additional item is required during execution, the same shall be provided by us as per the requirement.

Bidder Details

Name of Bidder: ______________________________________

Address: _____________________________________________

Contact Person: _______________________________________

Mobile No.: ___________________________________________

Email ID: _____________________________________________

Authorized Signatory: __________________________________

Signature & Stamp: ____________________________________

Date: _________________

Place: ________________

Commercial Bid: (in separate sealed envelope/password protected file via email)

# Bid for the Service of 625 KVA, 380 KVA & 125 KVA Cummins DG Sets

# (Tender No. : 2025-26/Estate/2B/LNM-1297)

| S.No. | Item Name/ Description | Qty. | UOM | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Servicing of 625 KVA DG set | Job | 1 |  |  |
| 2 | Servicing of 380 KVA DG set | Job | 1 |  |  |
| 3 | Servicing of 125 KVA DG set | Job | 1 |  |  |
| 4 | 625 KVA Exhaust repair charges | Job | 1 |  |  |
| 5 | Transportation | Job | 1 |  |  |
| Total |  |  |  |  |  |
| GST |  |  |  |  |  |
| Total including GST |  |  |  |  |  |

GENERAL TERMS AND CONDITIONS:

- All applicable taxes such as GST must be clearly mentioned. If not specified, it shall be deemed that all such charges are included in the quoted price.

- If the supplier does not have a particular item or proposes a different make than that specified in the tender, the same must be clearly highlighted in the bid.

- Prices must be inclusive of all charges such as packing, forwarding, transit insurance, transportation, loading, unloading (up to 50 meters), installation, and any other incidental expenses.

- Bid must be submitted on an F.O.R. basis for delivery at: The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur – 302031.

- Bid shall remain valid for a minimum period of 30 days. No change in prices will be accepted during the validity period.

- The LNMIIT reserves the right to reject any quotation without assigning any reason.

- Payment terms shall be mutually decided and agreed upon between the Institute and the vendor.

- The bidder must submit a No Conflict of Interest Declaration along with the bid.

- The bid must be submitted on the company’s letterhead and in the LNMIIT-prescribed format only.

- Any item or service not being supplied by the bidder must be clearly mentioned separately in the bid.

- Vendors must provide a photocopy of their cheque/cancelled cheque along with the invoice for payment processing.

- Prices shall be quoted in Indian Rupees (INR) only.

- Total prices shall be quoted for the complete scope of work as per technical specifications, inclusive of all taxes, duties, insurance, packing, forwarding, and incidental charges.

- Agencies or individuals who are debarred or blacklisted are not permitted to participate in the tendering process. Any agency engaging a debarred person for negotiations or representation is also liable to be debarred.

- If the work is not completed within the stipulated time mentioned in the work order, the competent authority of LNMIIT reserves the right to accept partial work on suitable terms, cancel the supply/work order, withhold or stop payment, forfeit the Earnest Money Deposit, or debar the agency. The decision of the Competent Authority shall be final and binding.

- In case two or more bidders quote the same rates, the final selection shall be made through a draw of lots conducted by a committee comprising LNMIIT administrative members(PCC).

- Vendors are required to visit the site and conduct a detailed survey before submitting their bid to understand the exact requirements. No request for additional items or modifications will be entertained later.

- A pre-bid meeting and/or site visit may be arranged prior to submission of bids to clarify any doubts regarding project details, scope of work, and required documents.

Signature with seal