Tender No:. 2026-27/Estate/2B/LNM-1351

The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non-Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for “Air Conditioner machines comprehensive Annual Maintenance Contract (AMC)”. Bidders can submit their sealed offers/s at the following address by Email/Speed-Post/ Registered Post/ By-hand/courier before 05:00 PM on 16.05.2026.

Filing of Tender:

Option 1: Physical submission of offers (hard copy) in sealed envelopes.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the institute in person/ Speed-Post/ Registered Post/ By-hand/courier of the Institute after marking due entries in the Receipt Book available with the Security Officer at the main gate.

The tender subject and reference number must be mentioned on the envelope.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Option 2: Password-protected online submission via Email

Password-protected offers can be submitted by the bidders via email at the below-mentioned email IDs.

tender-document@lnmiit.ac.in (password-protected document)

tender-password@lnmiit.ac.in (password only)

The tender subject and reference number must be mentioned in the subject line of the emails.

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory, are required to be submitted in two separate envelopes/emails.

Envelopes/Emails should be duly marked as follows:

- Technical bid for the “Air Conditioner machines comprehensive Annual Maintenance Contract (AMC)”.  (Technical bid must be submitted without password protection)

- Commercial Bid for the “Air Conditioner machines comprehensive Annual Maintenance Contract (AMC)”. (The Commercial bid must be submitted with password protection.)

Both Envelopes/files should be enclosed/attached in a single envelope/email bearing the heading “Bid for the “Air Conditioner machines comprehensive Annual Maintenance Contract (AMC)”) (Item Name)  (Tender No. : 2026-27/Estate/2B/LNM-1351) ”.

Note: The bidders/vendors are requested to go through the tender document carefully and ensure compliance with all specifications/instructions in this tender

Bids are liable to be rejected:

- If the above-mentioned bid submission procedure is not followed.

- Incomplete and non-conforming bids.

- Arbitration: All disputes and differences arising between the two parties in connection with this order shall be mutually settled as far as possible, failing which, all such disputes shall be referred to arbitration and settlement under the provision of the Arbitration and Conciliation Act, 1996 and as amended from time to time or any such law for the time being prevailing in India. The venue of such arbitration shall be Jaipur.

Technical Bid: (in a separate sealed envelope/via email)

# Bid for the Air Conditioner machines comprehensive Annual Maintenance Contract (AMC)

# (Tender No. : 2025-26/Estate/2B/LNM-1351)

Bidder is required to furnish the requisite details as per the below mentioned table format and proof of such documents to be uploaded along with the bid under respective title/ headings as mentioned at column no ‘C’ accordingly.

| S.No. | Title/ Heading Details sought by buyer | Details/ Certificate No. (Attached Y/N) |
| --- | --- | --- |
| A | B | C |
| 1. | Bidder Firm Name & Registration No, |  |
| 2. | Bidder’s Company profile or brief note |  |
| 3. | PAN Card No,. |  |
| 4. | GST Number |  |
| 5. | List of Directors/ Partners/Proprietor/ Members of the Bidder’s Firm |  |
| 6. | Detail of other associated/sister concerns (if any) of Directors/Partners/ Proprietor/ Members |  |
| 7. | Bidder Turnover - Average annual turnover for last three years |  |
| 8. | The Client List with some purchase orders and satisfactory certificate (to whom the vendor has delivered the goods/provided the services in the past (Three (03) purchase orders/work orders and Satisfactory certificate, at least one from each of the last three years, including the previous year.) |  |
| 9. | If the bidder is authorized by the OEM/Manufacturer. Proof of the same is to be submitted with the Technical Bid |  |
| 10. | An undertaking (self-certificate) that the agency has not been blacklisted by a Central/State/UT Government Institutions and there has been no litigation with any government department/institution on account of any services/supplies. |  |

*write NA in front of whichever is not applicable

Scope of work

- The scope of work will cover the supply /arrangement of given items at LNMIIT Jaipur campus.

- The Vendor is required to submit the complete documentation of the supplied item after delivery.

SITE CONDITION:

- Before quoting, the contractor must visit the site to inspect the work and shall fully acquaint himself about the conditions and scope of work with regards to accessibility of site required for the satisfactory execution of work. No compensation on account of any site difficulties will be entertained at a later date, after the award of the works.

- The air conditioner machines will be handed over to the new AMC service provider in their current condition.

- You are requested to inspect all air conditioner machines prior to submitting the AMC bid. This will help ensure transparency regarding the existing condition of the equipment and allow for an accurate and fair quotation.

Scope of the Work

- AMC includes.

- Air conditioners’ services include all types of the parts thereof (Compressor, GAS, Running & Starting Capacitor, Relay,OLP, Motor, Condenser coil, Cooling Coil, Contactors, PCB & blower Non inverter AC). In case due to non-availability of the part(s), the substitute part(s) shall be approved by the Electrical Engineer in writing.  The compressor if replaced will be brand new Kirloskar make.  However, the vendor will furnish the warranty of the new compressors till the end of AMC period only.

- Pre-maintenance/Preventive service of each AC as per scheduled given in writing to our EE.

- All parts must be new and original.

- MIS of each AC shall be maintained – Separate Job Card should be maintained, and a Sticker on each AC’s indoor unit should be affixed mentioning the date of service each time. Affixed permanent ID marks on each outer unit of AC.

- The counter signature of service receiver should be taken on each AC’s job card.

- Shall report to the Electrical Engineer or a person authorized in this regard.

- Per-maintenance/Preventive service of each AC machine: Minimum twelve mandatory services in a year shall have to be provided by the service provider. The AC machine will be examined completely and tune-up accordingly.

- Preventive service maintenance every three months, during which the service provider shall clean filters of the machine, AC machines cleaning, internal electrical interconnections, and check AC for proper functioning.

- All replaced parts must be new and original; parts should be changed as per the company’s standard of useful life.

- Service provider shall report to the engineer, or a person authorized in this regard.

- AC machines under Comprehensive AMC:

*  Spilt AC  1 TR				          28 Nos.

*  Spilt AC 1.2 TR               			          10 Nos.

*  Spilt AC 1.5 TR               			          114 Nos.

*  Spilt AC 2.0 TR               			          86 Nos.

*  Spilt AC 5.0 TR                    			3 Nos.

*  20 Ton Ductable AC 4 nos. 5 TR                        2 Nos

*  Window AC 1.5 TR               		         277 Nos.

*  Window AC 2.0 TR                     			7 Nos.

*  Duct able AC 7.5 TR                     		10 Nos.

*  Duct able AC 11.0 TR                     	           13 Nos.

Total Nos. of AC machines	                                550 Nos.

(The number of AC machines may be added or less then the number shown above, as decided by the engineer due to any reason)

- Any complaint that will not be attended to within the stipulated time will treat as a violation.

- Other requirements

- Attending breakdown calls and repair of units.

- The service provider shall use only new and original genuine spares including all other consumable parts etc. and be shown to the Engineer/authorized person before its use, which are needed for the repair of the unit. Nothing shall be supplied by the institute. Old, repaired parts / material will be the property of the bidder. The replaced parts against purchase by the Institute will be the property of the Institute. Purchased Record for the purchase and utilizing the materials along with the purchase bills shall be maintained by the agency and the same shall be shown to the engineer/authorized person as and when demanded by the institute.

- lf, the work is not found satisfactorily, the work can be got done from another 
agency at the risk & cost of the service provider. A service logbook has to be maintained by the service provider, in which all the repair and maintenance work shall be indicated and duly signed by the engineer, or any other person assigned by the engineer.

- Institute will provide nothing to the service provider, except free electricity, 
water at fixed points, for the completion of the assigned repair works. The rates are to be given accordingly.

- The repair works as far as possible be done at the Institute during Institute 
working hours.

- The Institute will pay no separate charges for the cartage for taking the machines or parts to the service provider repair site, if so, required for any repair.

- While taking the unit for repairs to Service provider workshop if required so, the 
Service provider shall inform the engineer/authorized person in writing, regarding Serial No. of various accessories of the unit and take written permission and the unit shall be brought back within reasonable time. During this period, the service provider shall have to make standby arrangements for other " AC Machine or part of it" at his own level and nothing extra shall be payable for it. During transit of the machine or part from the site to the workshop or vice versa, the safety of the material is the responsibility of the service provider, and he should ensure that the machine or part is not damaged or stolen in transit.

- After getting back the unit duly repaired, the Sr. No. will be verified by 
Institute. The compressor can be replaced if required, by the service provider by original one of the same manufacturers with intimation to the engineer in writing.

- The Contractor shall adopt all safety measures, which are essential for the 
execution of the work. The Institute shall not be responsible for any mishappening if occurred while doing the work; this may please be noted very carefully. The contractor is advised to have insurance for his staff workers against any mishappening while attending the work at his own level.

- The service provider is required to deploy a well-trained technician with sufficient numbers of spares required to maintain the AC machines. Maintenance technicians shall report daily in the institute campus between 9.00 a.m. to 6.00 p.m., ((Biometric attendance necessary per day) except Sunday to attend the complaints as soon as the same is received.

- The technician undertake preventive service of all the machines, every three months and clean all filters of the machine, AC cleaning, internal electrical interconnections and check AC for proper functioning. Service provider shall submit the schedule of preventive service to the office of engineer.

- Technicians deployed at the site shall mark their daily attendance at main gate on routine basis.

- Institute may ask to station a team of two technicians during night hours for managing and rectifications of complaints.

- The Service Engineer will report and coordinate with the engineer or any other maintenance staff authorized by the engineer. The Mobile numbers of the service engineer shall be informed to the engineer to have immediate contact with him.

- Service provider and his staff have to co-ordinate with the Maintenance staff of the Institute for proper functioning of all jobs and require attending the complaint within 4 hours of complaint if the same is being registered during working hours or within 02 hours on next working day if the complaint is registered during non-working hour or holiday.

- Any complaint shall be entertained within 4 hours' period from the time of reporting the complaint, otherwise the Institute may impose monetary penalty of Rs. 500/- for each failure, in addition to the cost of repairing charges, if the repairing is got done from another agency.

- Details of day to day routine/preventive maintenance work/service/repairing of any AC machine will be recorded by your service personnel in a Maintenance Register and AC Machine wise job card duly countersigned by Institute's authorized person/concern user.

- Preventive / routine maintenance shall also be recorded and shall be duly signed by the concerned person/user.

- MIS report should be submitted along with the monthly bill showing summary of job done during the month (abstract of job card).

- Payment shall be made on a monthly basis after receiving the bill from the service provider on the satisfactory report from the engineer. Subject to TDS and any other taxes as applicable.

- The number of AC machines may be added or less than the numbers shown above, as decided by the engineer due to any reason.

- All rights are reserved with the Institute to consider/reject partly or completely any or all the tenders without assigning any reason.

- The institute has all rights to terminate the contract at any time even when it is in progress.

Verified AC  AMC List Month of  April    -2026

| S.No. | Name | Location /Room No. | AC Type in detail | Make | TR |
| --- | --- | --- | --- | --- | --- |
| 1 | Registrar Office | ROOM N..1001 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 2 | Mr. Ajeet Singh Rawat | ROOM N.1002 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 3 | Mr.Sushil Kumar | ROOM N.1005 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 4 | Office | ROOM N.1005 | 1.5 Ton Split AC. | Daikin | 1.5 |
| 5 | Mr.Rajendra Bairwa | ROOM N.1005 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 6 | Mr. Ram Swaroop Sharma | LOUNG ROOM 1006 A | 1.5 Ton Split AC. | Daikin | 1.5 |
| 7 | HR Office | LOUNG ROOM 1006 B | 1.5 Ton Split AC. | Daikin | 1.5 |
| 8 | Mr. Ashok Kumar Salecha | ROOM N.1011 | 1.5 Ton Split AC. | Daikin | 1.5 |
| 9 | CAO | ROOM N.1012 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 10 | Purchase Office | ROOM N.1013 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 11 | Mr. Samar Singh | ROOM N.1014 | 1.5 Ton Split AC. | Voltas | 1.5 |
| 12 | Vccant | ROOM N.1015 | 1.0 Ton Split A.C. | Voltas | 1 |
| 13 | Mr. Deva Ram Rabari/Mr. Surajbhan Sharma | ACCOUNTS 1021 | 1.5 Ton Split AC. | Voltas | 1.5 |
| 14 | Mr. Giriraj Sharma/Mr. Praveen Kumar Tripathi | ACCOUNTS 1022 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 15 | Meeting room (Wooden Cabin ) | OPP.TO ACCOUNTS Room No. 1021 | 2.0 Ton Split A.C. | Carrier | 2 |
| 16 | Dr. Rajbala Singh | ROOM N.1031 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 17 | Dr. Narendra Kumar | ROOM N.1032 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 18 | Dr. Usha Kanoongo | ROOM N.1033 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 19 | Dr. Manju Dhariwal | ROOM N.1034 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 20 | Mrs. Payal Pal | ROOM N.1035 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 21 | Meeting room (HSS deptt.) tea longue | ROOM N.1036 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 22 | Office | ROOM N.1042 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 23 | Mr. Purnendu Karmakar | ROOM N.1043 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 24 | Dr. Surindra S. Nehra | ROOM N.1044 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 25 | Dr. Poonam Gera | ROOM N.1045 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 26 | Dr. Kusum Lata | ROOM N.1046 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 27 | Video Conferencing Room | V.C.ROOM 1051 | 2.0 Ton Split A.C. | Voltas | 2 |
| 28 | Video Conferencing Room | V.C.ROOM 1051 | 2.0 Ton Split A.C. | Voltas | 2 |
| 29 | Advance Instrumentation Lab | ROOM N.1052 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 30 | Advance Instrumentation Lab | ROOM N.1052 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 31 | Material Synthesis Division | ROOM N.1053 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 32 | Material Synthesis Division | ROOM N.1053 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 33 | UPS Room | Room No. 1067 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 34 | UPS Room | Room No. 1067 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 35 | Microprocessor and Interface Lab | Room No. 1071/1073/1074 | 11.0 Ton Ductable A.C | Carrier | 11 |
| 36 | Admission Cell | Room No. 1081 | 7.5 Ton Ductable A.C | Carrier | 7.5 |
| 37 | Scholar Room | Room No. 1083 | 7.5 Ton Ductable A.C | Carrier | 7.5 |
| 38 | Computer Lab 1 | Room No. 1091 | 11.0 Ton Ductable A.C | Carrier | 11 |
| 39 | Computer Lab 1 | Room No. 1091 | 11.0 Ton Ductable A.C | Carrier | 11 |
| 40 | ERP Manger | Office No. 1092 | 1.0 Ton Split A.C. | Hitachi | 1 |
| 41 | ECE Scholar Lab | PG Lab1093 | 11.0 Ton Ductable A.C | Carrier | 11 |
| 42 | Basic Electronics Lab | ECE UG Lab1095 | 11.0 Ton Ductable A.C | Carrier | 11 |
| 43 | Dr. Divyang Rawal | ROOM N.1101 | 1.2 Ton Split A.C | Hitachi | 1.2 |
| 44 | Dr. Santosh Shah | ROOM N.1102 | 1.2 Ton Split A.C | Hitachi | 1.2 |
| 45 | Office | ROOM N.1103 | 1.2 Ton Split A.C | Hitachi | 1.2 |
| 46 | Office | ROOM N.1104 | 1.2 Ton Split A.C | Hitachi | 1.2 |
| 47 | Office | ROOM N.1105 | 1.2 Ton Split A.C | Hitachi | 1.2 |
| 48 | Ms. Joyeeta Singha | ROOM N.1106 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 49 | Office | ROOM N.1107 | 1.2 Ton Split A.C | Hitachi | 1.2 |
| 50 | Dr. R. Gangopadhyay | ROOM N.1112 | 1.2 Ton Split A.C | Hitachi | 1.2 |
| 51 | Dr. Navneet Upadhyay | ROOM N.1113 | 1.2 Ton Split A.C | Hitachi | 1.2 |
| 52 | Dr. Soumitra Debnath | ROOM N.1114 | 1.2 Ton Split A.C | Hitachi | 1.2 |
| 53 | Mr. Abhishek Sharma | ROOM N.1115 | 1.2 Ton Split A.C | Hitachi | 1.2 |
| 54 | ASME Office | WORK SHOP MME | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 55 | Workshop | WORK SHOP MME | 1.0 Ton Split A.C. | Hitachi | 1 |
| 56 | Lecture Hall 5 | LT-5 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 57 | Lecture Hall 5 | LT-5 | 2.0 Ton Split A.C. | Carrier | 2 |
| 58 | Lecture Hall 5 | LT-5 | 2.0 Ton Split A.C. | Carrier | 2 |
| 59 | Lecture Hall 5 | LT-5 | 2.0 Ton Split A.C. | Carrier | 2 |
| 60 | Mini Battery room | UPS Room Lecture Hall | 2.0 Ton Split A.C. | Voltas | 2 |
| 61 | Director's PA. (Ms. Suni Thomas) | DIRECTOR P.A.ROOM N. 2001 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 62 | Director Office | DIRECTOR OFFICE No. 2002 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 63 | Director Office | DIRECTOR OFFICE No. 2002 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 64 | Inner room In Director Office | DIRECTOR OFFICE No. 2002 A | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 65 | Board Room | BOARD ROOM 2003 | 2.0 Ton Split A.C. | Daikin | 1.5 |
| 66 | Board Room | BOARD ROOM 2003 | 2.0 Ton Split A.C. | Daikin | 1.5 |
| 67 | Board Room | BOARD ROOM 2003 | 1.5 Ton Split AC. | Daikin | 1.5 |
| 68 | Dr. Rakesh Tibrewala | ROOM N.2011 | 1.5 Ton Split AC. | Voltas | 1.5 |
| 69 | Dr. Ashok Gairi | ROOM N.2012 | 1.5 Ton Split AC. | Voltas | 1.5 |
| 70 | Office | ROOM N.2013 | 1.5 Ton Split AC. | Voltas | 1.5 |
| 71 | Dr. Amit Neogi | ROOM N.2014 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 72 | Ms. Pomita Ghoshal | ROOM N.2015 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 73 | Dr. Anjishnu Sarkar | ROOM N.2016 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 74 | Dr. Somnath Biswas | ROOM N.2018 | 1.0 Ton Split A.C. | Voltas | 1 |
| 75 | Electrical Characterization Division | ROOM N.2019 | 1.0 Ton Split A.C. | Voltas | 1 |
| 76 | Dr. Manish Kumar Singh | ROOM N.2022 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 77 | Dr. G.D. Sharma | ROOM N.2023 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 78 | Dr. Subhyan Biswas | ROOM N.2024 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 79 | Dr. Anupam Singh | ROOM N.2025 | 1.0 Ton Split A.C. | Voltas | 1 |
| 80 | Dr. Manish Garg | ROOM N.2031 | 1.5 Ton Split AC. | Voltas | 1.5 |
| 81 | Dr. Vikas Gupta | ROOM N.2032 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 82 | Dr. M. K. Kadalbajoo | ROOM N.2033 | 2.0 Ton Split A.C. | Voltas | 2 |
| 83 | Dr. Ajit Patel | ROOM N.2034 | 2.0 Ton Split A.C. | Carrier | 2 |
| 84 | Dr. Pratibha Garg | ROOM N.2035 | 1.5 Ton Split AC. | Voltas | 1.5 |
| 85 | Mr. Sunil Kmar Gautam | ROOM N.2036 | 2.0 Ton Split A.C. | Voltas | 2 |
| 86 | Office | ROOM N.2042 | 2.0 Ton Split A.C. | Carrier | 2 |
| 87 | Office | ROOM N.2043 | 2.0 Ton Split A.C. | Carrier | 2 |
| 88 | Office | ROOM N.2043 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 89 | Dr. Bharavi Mishra | ROOM N.2044 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 90 | Dr. Poonam Gera | ROOM N.2045 | 2.0 Ton Split A.C. | Carrier | 2 |
| 91 | Office | ROOM N.2046 | 2.0 Ton Split A.C. | Carrier | 2 |
| 92 | Computer Help Desk | Computer al. cabin | 1.0 Ton Split A.C. | Hitachi | 1 |
| 93 | UG Physics Lab-Dark Room | ROOM N.2062 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 94 | UG Physics Lab-Dark Room | ROOM N.2062 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 95 | UG Physics Lab-Demo Lab | ROOM N.2063 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 96 | UG Physics Lab-Demo Lab | ROOM N.2063 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 97 | Server Room | SERVER ROOM2067 | 5.0 Ton Split A.C. | Hitachi | 5 |
| 98 | Server Room | SERVER ROOM2067 | 5.0 Ton Split A.C. | Hitachi | 5 |
| 99 | CSE Lab/ IBM Lab | CSE Lab2071 | 11.0 Ton Ductable A.C | Carrier | 11 |
| 100 | DSP Lab/ Mr. Pavan Kumar Sharma/ | DSP Lab2081 | 7.5 Ton Ductable A.C | Carrier | 7.5 |
| 101 | ECAD Lab | ECAD Lab2083 | 7.5 Ton Ductable A.C | Carrier | 7.5 |
| 102 | Computer Lab 2 | CSE Lab2091/2092 | 11.0 Ton Ductable A.C | Carrier | 11 |
| 103 | Computer Lab 2 | CSE Lab2091/2092 | 11.0 Ton Ductable A.C | Carrier | 11 |
| 104 | Mr.Dharm Pal Yadav | ASD Lab2093/2094 | 11.0 Ton Ductable A.C | Carrier | 11 |
| 105 | Microwave Lab/ Mr.Kamta sharma/ | Microwave2095/2096 | 11.0 Ton Ductable A.C | Carrier | 11 |
| 106 | Mr. Sunil Kumar | ROOM N.2101 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 107 | Dr. Subhrat K. Dash | ROOM N.2102 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 108 | Mr. Vikas Bajpai | ROOM N.2103 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 109 | Office | ROOM N.2104 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 110 | Office | ROOM N.2105 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 111 | Ms. Sonam Nahar | ROOM N.2106 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 112 | office | ROOM N.2107 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 113 | Mr. Mukesh Jadon | ROOM N.2112 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 114 | Dr. Rajbir Kaur | ROOM N.2113 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 115 | Dr. Preety Singh | ROOM N.2114 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 116 | Office | ROOM N.2115 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 117 | MME GF 1130 (Sandeep Saxena ji) | R.No. 1130 (MME) | 2.0 Ton Split A.C. | Carrier | 2 |
| 118 | Office | MME 1ST FLOOR, 2128 | 1.0 Ton Split A.C. | Hitachi | 1 |
| 119 | Dr. Manoj Kumar | MME 1ST FLOOR, 2133 | 1.0 Ton Split A.C. | Hitachi | 1 |
| 120 | Dr. Kamal Kishore Khatri ( MME Deptt.) | MME 1ST FLOOR, 2134 | 1.0 Ton Split A.C. | Hitachi | 1 |
| 121 | Dr.Ashok Kr. Dargar | MME 1ST FLOOR, 2135 | 1.0 Ton Split A.C. | Hitachi | 1 |
| 122 | Office | MME 1ST FLOOR, 2136 | 1.0 Ton Split A.C. | Hitachi | 1 |
| 123 | MME 1ST FLOOR, 2130 (NI Lab) | MME 1ST FLOOR, 2130 | 1.5 Ton Split AC. | Voltas | 1.5 |
| 124 | MME 1ST FLOOR, 2130 (NI Lab) | MME 1ST FLOOR, 2130 | 1.5 Ton Split AC. | Voltas | 1.5 |
| 125 | MME 1ST FLOOR, 2137 | MME 1ST FLOOR, 2137 | 1.0 Ton Split A.C. | Hitachi | 1 |
| 126 | MME 1ST FLOOR, 3122 (Robotic Lab) | MME 1ST FLOOR, 3122 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 127 | MME 1ST FLOOR, 3122 (Robotic Lab) | MME 1ST FLOOR, 3122 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 128 | MME 1ST FLOOR, 3122 (Robotic Lab) | MME 1ST FLOOR, 3122 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 129 | Office | MME 2ND FLOOR,3128 | 1.0 Ton Split A.C. | Hitachi | 1 |
| 130 | Dr. Vikram Sharma | MME 2ND FLOOR,3133 | 1.0 Ton Split A.C. | Hitachi | 1 |
| 131 | Dr. Ashok Dargar | MME 2ND FLOOR, CABIN 3134 | 1.0 Ton Split A.C. | Hitachi | 1 |
| 132 | Meeting Hall | MME 2ND FLOOR,3135- 3136 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 133 | Cabin | MME 2ND FLOOR, 3137 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 134 | 8 seater room 3138 | 8 seater room 3138 | 5.0 Ton Split A.C. | Hitachi | 5 |
| 135 | Library | Library | 11.0 Ton Ductable A.C | Carrier | 11 |
| 136 | Library | Library | 11.0 Ton Ductable A.C | Carrier | 11 |
| 137 | Library | Library | 11.0 Ton Ductable A.C | Carrier | 11 |
| 138 | Library | Library | 7.5 Ton Ductable A.C | Carrier | 7.5 |
| 139 | Library | Library | 7.5 Ton Ductable A.C | Carrier | 7.5 |
| 140 | Library | Library | 7.5 Ton Ductable A.C | Carrier | 7.5 |
| 141 | Office | LIBRARY(OFFICE) | 1.0 Ton Split A.C. | Voltas | 1 |
| 142 | Computer Lab 3 | Computer Lab 3 | 7.5 Ton Ductable A.C | Carrier | 7.5 |
| 143 | Computer Lab 3 | Computer Lab 3 | 7.5 Ton Ductable A.C | Carrier | 7.5 |
| 144 | Computer Lab 3 | Computer Lab 3 | 7.5 Ton Ductable A.C | Carrier | 7.5 |
| 145 | Computer Lab 3 | Computer Lab 3 UPS Room | 1.5 Ton Split AC. | Voltas | 1.5 |
| 146 | Mr. Om Prakash Kumawat | DIRECTOR HOUSE shift to Lecture Hall | 2.0 Ton Window A.C. | O General | 2 |
| 147 | Mr. Govind Chandwani | GOVIND JI STORE | 2.0 Ton Window A.C. | Carrier | 2 |
| 148 | Office | Civil Engineer | 2.0 Ton Split A.C. | Carrier | 2 |
| 149 | Dr. Raghuvir Singh Charan | P.T.I. ROOM SAC | 2.0 Ton Window A.C. | Carrier | 2 |
| 150 | Music Room | Music room SAC | 2.0 Ton Window A.C. | Carrier | 2 |
| 151 | Physiotherapy room (Medical Unit) | Medical SAC | 2.0 Ton Split A.C. | Hitachi | 2 |
| 152 | Mr. Nahar Singh Choudhary/Pushpa Devi | Medical Unit SAC | 2.0 Ton Window A.C. | Carrier | 2 |
| 153 | Detention Room | Medical Unit SAC | 2.0 Ton Window A.C. | Carrier | 2 |
| 154 | SAC First Floor | GYM HALL | 1.5 Ton Split AC. | Carrier | 1.5 |
| 155 | SAC First Floor | GYM HALL | 1.5 Ton Split AC. | Carrier | 1.5 |
| 156 | SAC First Floor | GYM HALL | 1.5 Ton Split AC. | Carrier | 1.5 |
| 157 | SAC First Floor | DANCE ROOM | 1.5 Ton Split AC. | Carrier | 1.5 |
| 158 | SAC First Floor | DANCE ROOM | 1.5 Ton Split AC. | Carrier | 1.5 |
| 159 | SAC First Floor | DANCE ROOM | 1.5 Ton Split AC. | Carrier | 1.5 |
| 160 | SPORTS HALL | Bandminton Court | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 161 | SPORTS HALL | Bandminton Court | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 162 | Warden Office Hostel | Shifting Director House to Girls hostels | 1.5 Ton Split A.C. | Daikin | 1.5 |
| 163 | Guest House | G.H. ROOM N.001 | 1.5 TR Split A.C | Daikin | 1.5 |
| 164 | Guest House | G.H. ROOM N.002 | 1.5 TR Split A.C | Daikin | 1.5 |
| 165 | Guest House | G.H. ROOM N.003 | 1.5 TR Split A.C | Daikin | 1.5 |
| 166 | Guest House | G.H. ROOM N.004 | 1.5 TR Split A.C | Daikin | 1.5 |
| 167 | Guest House | G.H. ROOM N.005 | 1.5 Ton Split AC. | Daikin | 1.5 |
| 168 | Guest House | G.H. ROOM N.006 | 1.5 Ton Split AC. | Daikin | 1.5 |
| 169 | Guest House | G.H. ROOM N.007 | 1.5 Ton Split AC. | Daikin | 1.5 |
| 170 | Guest House | G.H. ROOM N.008 | 1.5 Ton Split AC. | Daikin | 1.5 |
| 171 | Guest House | SUIT ROOM 101 | 1.5 Ton Split A.C. | Daikin | 1.5 |
| 172 | Guest House | SUIT ROOM 101 | 1.5 Ton Split A.C. | Daikin | 1.5 |
| 173 | Guest House | SUIT ROOM 102 | 1.5 Ton Split A.C. | Daikin | 1.5 |
| 174 | Guest House | SUIT ROOM 102 | 1.5 Ton Split A.C. | Daikin | 1.5 |
| 175 | Guest House | G.H. ROOM N.103 | 1.5 Ton Split AC. | Daikin | 1.5 |
| 176 | Guest House | G.H. ROOM N.104 | 1.5 Ton Split AC. | Daikin | 1.5 |
| 177 | Guest House | G.H. ROOM N.105 | 1.5 Ton Split AC. | Daikin | 1.5 |
| 178 | Guest House | G.H. ROOM N.106 | 1.5 Ton Split AC. | Daikin | 1.5 |
| 179 | Guest House | G.H. PLACEMENT OFFICES | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 180 | Guest House | G.H. PLACEMENT OFFICES | 1.0 Ton Split A.C. | Hitachi | 1 |
| 181 | Guest House | G.H. PLACEMENT OFFICES | 1.0 Ton Split A.C. | Hitachi | 1 |
| 182 | Guest House | G.H. PLACEMENT OFFICES | 1.0 Ton Split A.C. | Hitachi | 1 |
| 183 | Guest House | Guest House- Placement office | 2.0 Ton Split A.C. | Hitachi | 2 |
| 184 | Guest House | Guest House- Placement office | 2.0 Ton Split A.C. | Hitachi | 2 |
| 185 | Guest House | Guest House- Dining Hall | 2.0 Ton Split A.C. | Voltas | 2 |
| 186 | Guest House | Guest House- Dining Hall | 2.0 Ton Split A.C. | Voltas | 2 |
| 187 | Guest House | Driver AC | 2.0 Ton Window A.C. | Carrier | 2 |
| 188 | Quarter No. D - 05 | D5 quarter | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 189 | Director House Master Bedroom | DIRECTOR HOUSE | 2.5Ton Split A.C. | O General | 2.5 |
| 190 | Director House T.V. Room | DIRECTOR HOUSE | 2.0 Ton Split A.C. | Daikin | 2 |
| 191 | Director House Study Room | DIRECTOR HOUSE | 1.0 Ton Split A.C. | Hitachi | 1 |
| 192 | Director House Dining Hall | DIRECTOR HOUSE | 1.5 Ton Split AC. | Daikin | 1.5 |
| 193 | Director House Child Room Bedroom | DIRECTOR HOUSE | 2.0 Ton Split A.C. | Daikin | 2 |
| 194 | Director House Guest Room | DIRECTOR HOUSE | 1.5 Ton Split AC. | Daikin | 1.5 |
| 195 | Physics deptt office (shifted from 1062-1064) | ROOM No.2013 | 1.5 Ton Split AC. | samsung | 1.5 |
| 196 | TPO Office, Guest House | G.H. PLACEMENT OFFICES | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 197 | TPO Office, Guest House | G.H. PLACEMENT OFFICES | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 198 | TPO Office, Guest House | G.H. PLACEMENT OFFICES | 1.0 Ton Split A.C. | Hitachi | 1 |
| 199 | TPO Office, Guest House | G.H. PLACEMENT OFFICES | 1.0 Ton Split A.C. | Hitachi | 1 |
| 200 | TPO Office, Guest House | G.H. PLACEMENT OFFICES | 1.0 Ton Split A.C. | Hitachi | 1 |
| 201 | TPO Office, Guest House | G.H. PLACEMENT OFFICES | 1.0 Ton Split A.C. | Hitachi | 1 |
| 202 | TPO Office, Guest House | G.H. PLACEMENT OFFICES | 1.0 Ton Split A.C. | Hitachi | 1 |
| 203 | TPO Office, Guest House | G.H. PLACEMENT OFFICES | 1.0 Ton Split A.C. | Hitachi | 1 |
| 204 | UG Physics Lab | UG Physics Lab 2051 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 205 | UG Physics Lab | UG Physics Lab 2051 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 206 | UG Physics Lab | UG Physics Lab 2051 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 207 | UG Physics Lab | UG Physics Lab 2051 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 208 | Lecture Hall 1 | Lecture Hall-1 | 20.0 Ton Ductable AC 4 No. 5 TR | Hitachi | 20 |
| 209 | Lecture Hall 2 | Lecture Hall-2 | 20.0 Ton Ductable AC 4 No. 5 TR | Hitachi | 20 |
| 210 | BH-4 T1 - 136 Nos. | Boys Hostel - 4 T1 | 1.5 Ton Window A.C. | Voltas | 204 |
| 211 | Incubation Center | UPS Room Ist Floor | 1.5 Ton Window A.C. | Voltas | 1.5 |
| 212 | Office | LIBRARY (OFFICE) | 1.5 Ton Window A.C. | Voltas | 1.5 |
| 217 | 1.5 Ton Split AC Incubation Center | UPS Room Ist Floor | 1.5 Ton 1 Nos. | Voltas | 1.5 |
| 218 | Mini Battery room | MINI BATTARY ROOM Lecture Hall | 1.5 Ton Split A.C. | Voltas | 1.5 |
| 219 | Lecture Hall _ 3 | Lecture Hall _ 3 | 2 Ton Split A.C. | Daikin | 2 |
| 220 | Lecture Hall _ 3 | Lecture Hall _ 3 | 2 Ton Split A.C. | Daikin | 2 |
| 221 | Lecture Hall _ 3 | Lecture Hall _ 3 | 2 Ton Split A.C. | Daikin | 2 |
| 222 | Lecture Hall _ 3 | Lecture Hall _ 3 | 2 Ton Split A.C. | Daikin | 2 |
| 223 | Lecture Hall _ 3 | Lecture Hall _ 3 | 2 Ton Split A.C. | Daikin | 2 |
| 224 | Lecture Hall _ 4 | Lecture Hall _ 4 | 2 Ton Split A.C. | Daikin | 2 |
| 225 | Lecture Hall _ 4 | Lecture Hall _ 4 | 2 Ton Split A.C. | Daikin | 2 |
| 226 | Lecture Hall _ 4 | Lecture Hall _ 4 | 2 Ton Split A.C. | Daikin | 2 |
| 227 | Lecture Hall _ 4 | Lecture Hall _ 4 | 2 Ton Split A.C. | Daikin | 2 |
| 228 | Lecture Hall _ 4 | Lecture Hall _ 4 | 2 Ton Split A.C. | Daikin | 2 |
| 229 | Lecture Hall _ 6 | Lecture Hall _ 6 | 2 Ton Split A.C. | Daikin | 2 |
| 230 | Lecture Hall _ 6 | Lecture Hall _ 6 | 2 Ton Split A.C. | Daikin | 2 |
| 231 | Lecture Hall _ 6 | Lecture Hall _ 6 | 2 Ton Split A.C. | Daikin | 2 |
| 232 | Lecture Hall _ 6 | Lecture Hall _ 6 | 2 Ton Split A.C. | Daikin | 2 |
| 233 | Lecture Hall _ 6 | Lecture Hall _ 6 | 2 Ton Split A.C. | Daikin | 2 |
| 234 | Lecture Hall _ 7 | Lecture Hall _ 7 | 2 Ton Split A.C. | Daikin | 2 |
| 235 | Lecture Hall _ 7 | Lecture Hall _ 7 | 2 Ton Split A.C. | Daikin | 2 |
| 236 | Lecture Hall _ 7 | Lecture Hall _ 7 | 2 Ton Split A.C. | Daikin | 2 |
| 237 | Lecture Hall _ 7 | Lecture Hall _ 7 | 2 Ton Split A.C. | Daikin | 2 |
| 238 | Lecture Hall _ 7 | Lecture Hall _ 7 | 2 Ton Split A.C. | Daikin | 2 |
| 239 | Lecture Hall _ 8 | Lecture Hall _ 8 | 2 Ton Split A.C. | Daikin | 2 |
| 240 | Lecture Hall _ 8 | Lecture Hall _ 8 | 2 Ton Split A.C. | Daikin | 2 |
| 241 | Lecture Hall _ 8 | Lecture Hall _ 8 | 2 Ton Split A.C. | Daikin | 2 |
| 242 | Lecture Hall _ 8 | Lecture Hall _ 8 | 2 Ton Split A.C. | Daikin | 2 |
| 243 | Lecture Hall _ 8 | Lecture Hall _ 8 | 2 Ton Split A.C. | Daikin | 2 |
| 244 | BH-4 T2 - 139 Nos. | Boys Hostel - 4 T2 | 1.5 Ton Window A.C. | Voltas | 208.5 |
| 245 | Guest House | New Meeting Room | 1.5 Ton Split AC. | Daikin | 1.5 |
| 246 | Guest House | New Meeting Room | 1.5 Ton Split AC. | Daikin | 1.5 |
| 247 | Gilrs hostesl | Reading ROOM | 1.5 Ton Split AC. | Daikin | 1.5 |
| 248 | Gilrs hostesl | Reading ROOM | 1.5 Ton Split AC. | Daikin | 1.5 |
| 249 | Server Room | Server Room_ 2067 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 250 | Server Room | Server Room_ 2067 | 1.5 Ton Split AC. | Daikin | 1.5 |
| 251 | Lecture Hall_ IT Room | Lecture Hall_ IT Room | 1.5 Ton Split AC. | Carrier | 1.5 |
| 252 | Guest House | CCTV Room | 1.5 Ton Split AC. | Daikin | 1.5 |
| 253 | Guest House | CCTV Room | 1.5 Ton Split AC. | Daikin | 1.5 |
| 254 | Guest House | Guest House- Dining Hall | 1.5 Ton Split AC. | Voltas | 1.5 |
| 255 | Guest House | Guest House- Dining Hall | 2.0 Ton Split A.C. | Toshiba | 2 |
| 256 | Guest House | Guest House- Dining Hall | 2.0 Ton Split A.C. | Toshiba | 2 |
| 257 | Girls Hostels _ B Wing | Guest Room -008 | 2.0 Ton Split A.C. | Daikin | 2 |
| 258 | Girls Hostels _ B Wing | Guest Room -009 | 2.0 Ton Split A.C. | Daikin | 2 |
| 259 | Girls Hostels _ B Wing | Guest Room -010 | 2.0 Ton Split A.C. | Daikin | 2 |
| 260 | Girls Hostels _ B Wing | Guest Room -011 | 2.0 Ton Split A.C. | Daikin | 2 |
| 261 | Medical Unit _ | Doctor Chamber | 2.0 Ton Split A.C. | Daikin | 2 |
| 262 | Medical Unit _ | Physiotherapy Room | 2.0 Ton Split A.C. | Daikin | 2 |
| 263 | Medical Unit _ | Detention Room | 2.0 Ton Split A.C. | Daikin | 2 |
| 264 | Medical Unit _ | Sports Officer Office | 2.0 Ton Split A.C. | Daikin | 2 |
| 265 | Sports complex | Dance Room | 2.0 Ton Split A.C. | Daikin | 2 |
| 266 | Sports complex | Dance Room | 2.0 Ton Split A.C. | Daikin | 2 |
| 267 | Sports complex | Gym Room | 2.0 Ton Split A.C. | Daikin | 2 |
| 268 | Sports complex | Gym Room | 2.0 Ton Split A.C. | Daikin | 2 |
| 269 | Sports complex | Gym Room | 2.0 Ton Split A.C. | Daikin | 2 |
| 270 | MME Block | CAD Lab No. 1131 | 1.5.0 Ton Split A.C. | Daikin | 1.5 |
| 271 | MME Block | CAD Lab No. 1131 | 1.5.0 Ton Split A.C. | Daikin | 1.5 |
| 272 | MME Block | CAD Lab No. 1131 | 1.5.0 Ton Split A.C. | Daikin | 1.5 |
| 273 | MME Block | CAD Lab No. 1131 | 1.5.0 Ton Split A.C. | Daikin | 1.5 |
| 274 | MME Block | Mechatronics Lab No. 2131 | 1.5.0 Ton Split A.C. | Daikin | 1.5 |
| 275 | MME Block | Mechatronics Lab No. 2131 | 1.5.0 Ton Split A.C. | Daikin | 1.5 |
| 276 | MME Block | Mechatronics Lab No. 2131 | 1.5.0 Ton Split A.C. | Daikin | 1.5 |
| 277 | MME Block | Mechatronics Lab No. 2131 | 1.5.0 Ton Split A.C. | Daikin | 1.5 |
|  | Total Nos. | 526+24=550 |  |  |  |

Rate contract for only the inverter Models AC Motors and PCB as follows:

| S.No. | Model | Type of Product | Qty. | UOM |
| --- | --- | --- | --- | --- |
| 1 | Daikin FTXS50FVMA | 1.5 Ton Inverter Heat & Cooled Split AC |  |  |
| a | Indoor Unit Motor | DC Motor | 1 | Nos. |
| b | Outdoor Unit Motor | DC Motor | 1 | Nos. |
| c | Indoor PCB |  | 1 | Nos. |
| d | Outdoor PCB |  | 1 | Nos. |
| 2 | Hitachi RMC32HBEA | 1.5 Ton Inverter Heat & Cooled Split AC |  |  |
| a | Indoor Unit Motor | DC Motor | 1 | Nos. |
| b | Outdoor Unit Motor | DC Motor | 1 | Nos. |
| c | Indoor PCB |  | 1 | Nos. |
| d | Outdoor PCB |  | 1 | Nos. |

Excluding the inverter model AC motor and PCB, you can be ready to take every part in AMC as like other Non-Inverter AC models include.

Signature with seal

Annexure

To Whomsoever It May Concern

This is to confirm that we, the undersigned, intend to participate in Tender No. : 2026-27/Estate/2B/LNM-1351 (Tender Number) for the tender/work titled: Air Conditioner machines comprehensive Annual Maintenance Contract (AMC) (Item Name)”

We hereby certify the following:

No Conflict of Interest:

- We declare that we have no conflict of interest in participating in the above tender. We further confirm that we are not engaged in any activity or association that may compromise, or be perceived to compromise, our impartiality or ability to fulfil the obligations of the tender.

Undertaking on Blacklisting & Litigation (Self-Certificate):

- We hereby undertake that:

- Our agency/firm has never been blacklisted or debarred by any Central Government, State Government, Union Territory administration, or any other Institution/Organization.

- There is no ongoing or past litigation against our agency/firm with any Central Government, State Government, Union Territory administration, or any other Institution/Organization on account of any services/supplies.

- If at any stage the above declaration is found to be false, the Institute shall have the right to take any action as deemed appropriate, including rejection of our bid.

Site Visit /Understanding:

- We confirm that we have visited the site/clearly understood the requirements and expectations of the college authorities.

Scope of Work:

- We have thoroughly reviewed the scope of work mentioned in the bid document. The entire inventory/requirement/work has been verified and found to be in order. We also confirm that no additional items beyond the listed inventory/requirement will be required for successful completion of the work. However, if any additional item is required during execution, the same shall be provided by us as per the requirement.

Bidder Details

Name of Bidder: ______________________________________

Address: _____________________________________________

Contact Person: _______________________________________

Mobile No.: ___________________________________________

Email ID: _____________________________________________

Authorized Signatory: __________________________________

Signature & Stamp: ____________________________________

Date: _________________

Place: ________________

Commercial Bid: (in separate sealed envelope/password protected file via email)

# Bid for the Air Conditioner machines comprehensive Annual Maintenance Contract (AMC)

# (Tender No. : 2026-27/Estate/2B/LNM-1351)

| S.No. | Particulars | Qty | Total TR | Rate Per TR | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | 1 TR Spilt AC | 28 | 28 |  |  |
| 2 | 1.2 TR Spilt AC | 10 | 12 |  |  |
| 3 | 1.5 TR Spilt AC | 114 | 171 |  |  |
| 4 | 2 TR Spilt AC | 86 | 172 |  |  |
| 5 | 5 TR Spilt AC | 3 | 15 |  |  |
| 6 | 20.0 Ton Ductable AC 4 No. 5 TR | 2 | 40 |  |  |
| 7 | 1.5 TR Window AC | 277 | 415.5 |  |  |
| 8 | 2 TR Window AC | 7 | 14 |  |  |
| 9 | 7.5 TR Duct able AC | 10 | 75 |  |  |
| 10 | 11TR Duct able (5.5 +5.5 *13 nos.) | 13 | 143 |  |  |
|  | Total | 550 |  |  |  |
|  |  |  |  | Total |  |
|  |  |  |  | GST |  |
|  |  |  |  | Total Including GST |  |

Rate contract for only the inverter Models AC Motors and PCB as follows:

| S.No. | Model | Type of Product | Qty. | UOM | Rate |
| --- | --- | --- | --- | --- | --- |
| 1 | Daikin FTXS50FVMA | 1.5 Ton Inverter Heat & Cooled Split AC |  |  |  |
| a | Indoor Unit Motor | DC Motor | 1 | Nos. |  |
| b | Outdoor Unit Motor | DC Motor | 1 | Nos. |  |
| c | Indoor PCB |  | 1 | Nos. |  |
| d | Outdoor PCB |  | 1 | Nos. |  |
| 2 | Hitachi RMC32HBEA | 1.5 Ton Inverter Heat & Cooled Split AC |  |  |  |
| a | Indoor Unit Motor | DC Motor | 1 | Nos. |  |
| b | Outdoor Unit Motor | DC Motor | 1 | Nos. |  |
| c | Indoor PCB |  | 1 | Nos. |  |
| d | Outdoor PCB |  | 1 | Nos. |  |
| 3. | Paint Work By Spray Machine |  |  |  |  |
| A | Outdoor unit Stand | Stand Size: 2 x 2 ft, 3 x 3 ft | 1 | Nos. |  |
| B | Outdoor unit | 1.5,2,5,7.5 and 11 Ton Units | 1 | Nos. |  |
| GST 18% extra |  |  |  |  |  |

Excluding the inverter model AC motor and PCB, you can be ready to take every part in AMC as like other Non-Inverter AC models include.

*Price including cost of material, manpower, taxes, statutory obligations, other chargeable.

GENERAL TERMS AND CONDITIONS:

- All applicable taxes such as GST must be clearly mentioned. If not specified, it shall be deemed that all such charges are included in the quoted price.

- If the supplier does not have a particular item or proposes a different make than that specified in the tender, the same must be clearly highlighted in the bid.

- Prices must be inclusive of all charges such as packing, forwarding, transit insurance, transportation, loading, unloading (up to 50 meters), installation, and any other incidental expenses.

- Bid must be submitted on an F.O.R. basis for delivery at: The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur – 302031.

- Bid shall remain valid for a minimum period of 30 days. No change in prices will be accepted during the validity period.

- The LNMIIT reserves the right to reject any quotation without assigning any reason.

- Payment terms shall be mutually decided and agreed upon between the Institute and the vendor.

- The bidder must submit a No Conflict of Interest Declaration along with the bid.

- The bid must be submitted on the company’s letterhead and in the LNMIIT-prescribed format only.

- Any item or service not being supplied by the bidder must be clearly mentioned separately in the bid.

- Vendors must provide a photocopy of their cheque/cancelled cheque along with the invoice for payment processing.

- Prices shall be quoted in Indian Rupees (INR) only.

- Total prices shall be quoted for the complete scope of work as per technical specifications, inclusive of all taxes, duties, insurance, packing, forwarding, and incidental charges.

- Agencies or individuals who are debarred or blacklisted are not permitted to participate in the tendering process. Any agency engaging a debarred person for negotiations or representation is also liable to be debarred.

- If the work is not completed within the stipulated time mentioned in the work order, the competent authority of LNMIIT reserves the right to accept partial work on suitable terms, cancel the supply/work order, withhold or stop payment, forfeit the Earnest Money Deposit, or debar the agency. The decision of the Competent Authority shall be final and binding.

- In case two or more bidders quote the same rates, the final selection shall be made through a draw of lots conducted by a committee comprising LNMIIT administrative members(PCC).

- Vendors are required to visit the site and conduct a detailed survey before submitting their bid to understand the exact requirements. No request for additional items or modifications will be entertained later.

- A pre-bid meeting and/or site visit may be arranged prior to submission of bids to clarify any doubts regarding project details, scope of work, and required documents.

Signature with seal