Tender No:. 2026-27/Estate/2B/LNM-RC-Plumbing

The LNM Institute of Information Technology, Jaipur

TENDER NOTICE
The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non-Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.
The institute invites proposals from competent vendors for “Rate contract for the plumbing items – yearly/ Biennial”. Bidders can submit their sealed offers/s at the following address by Email/Speed-Post/ Registered Post/ By-hand/courier before 05:00 PM on 9th Sept. 2026. 
Filing of Tender:
Option 1: Physical submission of offers (hard copy) in sealed envelopes.
Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the institute in person/ Speed-Post/ Registered Post/ By-hand/courier of the Institute after marking due entries in the Receipt Book available with the Security Officer at the main gate. 
The tender subject and reference number must be mentioned on the envelope. 

Director
The LNM Institute of Information Technology,
Gram – Rupa Ki Nangal, Post – Sumel,
Via – Jamdoli, Jaipur- 302031

Option 2: Password-protected online submission via Email 
Password-protected offers can be submitted by the bidders via email at the below-mentioned email IDs.

tender-document@lnmiit.ac.in (password-protected document)
tender-password@lnmiit.ac.in (password only)
The tender subject and reference number must be mentioned in the subject line of the emails. 

Bid Process:
Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory, are required to be submitted in two separate envelopes/emails. 
Envelopes/Emails should be duly marked as follows: 
1. [bookmark: _Hlk219040947]Technical bid for the “Rate contract for the plumbing items – yearly/ Biennial”.  (Technical bid must be submitted without password protection)
2. [bookmark: _Hlk219038875][bookmark: _Hlk219040953]Commercial Bid for the “Rate contract for the plumbing items – yearly/ Biennial”. (The Commercial bid must be submitted with password protection.)
Both Envelopes/files should be enclosed/attached in a single envelope/email bearing the heading “Bid for the “Rate contract for the plumbing items – yearly/ Biennial”) (Tender No. : 2026-27/Estate/2B/LNM-RC-Plumbing ) ”. 
Note: The bidders/vendors are requested to go through the tender document carefully and ensure compliance with all specifications/instructions in this tender
Bids are liable to be rejected: 
· If the above-mentioned bid submission procedure is not followed.
· Incomplete and non-conforming bids.
· Arbitration: All disputes and differences arising between the two parties in connection with this order shall be mutually settled as far as possible, failing which, all such disputes shall be referred to arbitration and settlement under the provision of the Arbitration and Conciliation Act, 1996 and as amended from time to time or any such law for the time being prevailing in India. The venue of such arbitration shall be Jaipur.
Technical Bid: (in a separate sealed envelope/via email)

Bid for the Rate contract for the Plumbing items – yearly/ Biennial 
(Tender No. : 2026-27/Estate/2B/LNM-RC-Plumbing)

Bidder is required to furnish the requisite details as per the below mentioned table format and proof of such documents to be uploaded along with the bid under respective title/ headings as mentioned at column no ‘C’ accordingly.

	S.No.
	Title/ Heading
Details sought by buyer
	Details/ Certificate No. (Attached Y/N)

	A
	B
	C

	1.
	Bidder Firm Name & Registration No,
	

	2.
	Bidder’s Company profile or brief note
	

	3.
	PAN Card No,.
	

	4.
	GST Number
	

	5.
	List of Directors/ Partners/Proprietor/ Members of the Bidder’s Firm
	

	6.
	Detail of other associated/sister concerns (if any) of Directors/Partners/ Proprietor/ Members
	

	7.
	Bidder Turnover - Average annual turnover for last three years
	

	8.
	The Client List with some purchase orders and satisfactory certificate (to whom the vendor has delivered the goods/provided the services in the past (Three (03) purchase orders/work orders, at least one from each of the last three years, including the previous year.)
	

	9.
	If the bidder is authorized by the OEM/Manufacturer. Proof of the same is to be submitted with the Technical Bid
	

	10.
	An undertaking (self-certificate) that the agency has not been blacklisted by a Central/State/UT Government Institutions and there has been no litigation with any government department/institution on account of any services/supplies.
	

	11.
	Scanned copy of EMD/ Tender Fees paid through RTGS/NEFT (if required/asked in the tender)
	

	12
	Xerox copies of MoUs with previous colleges (minimum three) must be attached. (Applicable for student fest only).
	






Scope of work

· The scope of work will cover the supply /arrangement of given items at LNMIIT Jaipur campus.
· The Vendor is required to submit the complete documentation of the supplied item after delivery.
· To understand the items/works mentioned, including technical specifications, quantity, and quality
· requirements, the vendor may coordinate with the LNMIIT personnel. No objection shall be
· entertained after submission/review of the quotation.








Technical specification: 
	
	Sr. No
	Item Name
	Company 1
	Company 2
	Company 3
	Additional Details
	Unit

	Providing and fixing the following plumbing items, including necessary supports/ clips with essential nuts and bolts, tapes, and solvents, including digging and trench work, either on the ground or wall on open, as per the existing or drawing or EIC, complete in all respects.

	1
	Air Release Valve 25mm
	Jaquar
	ESS
	Kohler
	Valve used to release trapped air in pipelines.
	Each

	2
	Angle Valve Water Cooler
	Jaquar
	ESS
	Kohler
	Valve for regulating water flow in water coolers.
	Each

	3
	Angle Valve (ESS Croma C204)
	ESS
	Jaquar
	Kohler
	A durable angle valve by ESS, suitable for water and gas applications.
	Each

	4
	Angle Valve (Two Way)
	Jaquar
	ESS
	Kohler
	A two-way valve for controlling water flow in various installations.
	Each

	5
	Ball Cock 1.25"
	Jaquar
	ESS
	Kohler
	A ball valve used in tanks for controlling water level.
	Each

	6
	Ball Cock 15mm (1/2")
	Jaquar
	ESS
	Kohler
	Ball cock to control water flow, commonly used in small tanks.
	Each

	7
	Ball Cock 20mm (3/4")
	Jaquar
	ESS
	Kohler
	Similar to other ball cocks, used for regulating water in tanks.
	Each

	8
	Ball Cock 25mm (1")
	Jaquar
	ESS
	Kohler
	Larger ball cock for bigger tanks and systems.
	Each

	9
	Ball Cock Set 1.5"
	Jaquar
	ESS
	Kohler
	Set of ball cocks used in bigger cisterns or tanks.
	Each

	10
	Ball Cock Set 2"
	Jaquar
	ESS
	Kohler
	Large ball cock set used for high-volume tanks.
	Each

	11
	Ball Cock (Water Cooler) 15mm
	Jaquar
	ESS
	Kohler
	Ball cock designed specifically for water coolers.
	Each

	12
	Bathroom Shower
	Jaquar
	ESS
	Kohler
	Shower fitting for bathroom installations.
	Each

	13
	Bathroom Shower ARM 12'
	Jaquar
	ESS
	Kohler
	Adjustable shower arm for a customized shower experience.
	Each

	14
	Bathroom Shower Valve 3/4"
	Jaquar
	ESS
	Kohler
	Valve for controlling water flow in shower systems.
	Each

	15
	Bottle Trap
	Jaquar
	ESS
	Kohler
	Trap used for preventing foul odors in bathroom drains.
	Each

	16
	Bottle Trap Pipe
	Jaquar
	ESS
	Kohler
	Pipe attached to bottle trap to carry wastewater.
	Each

	17
	Bracket Set
	Jaquar
	ESS
	Kohler
	Set of brackets used for mounting sanitary fittings.
	Each

	18
	Brass Concealed Disk
	Jaquar
	ESS
	Kohler
	Concealed disk valve for water supply lines.
	Each

	19
	Butterfly Valve 2"
	ESS
	Jaquar
	Kohler
	Valve used for regulating the flow of fluids in pipelines.
	Each

	20
	Butterfly Valve 3"
	ESS
	Jaquar
	Kohler
	Mid-sized butterfly valve for water and gas pipelines.
	Each

	21
	Butterfly Valve 4"
	ESS
	Jaquar
	Kohler
	Large butterfly valve, usually for high flow applications.
	Each

	22
	Center Valve (Big)
	Jaquar
	ESS
	Kohler
	Larger center valve used for controlling water flow in heavy-duty systems.
	Each

	23
	Center Valve Spindle
	Jaquar
	ESS
	Kohler
	The spindle for a center valve used in plumbing systems.
	Each

	24
	Centre Valve (1/2" Small - Body)
	Jaquar
	ESS
	Kohler
	Small center valve for residential plumbing needs.
	Each

	25
	Chand for Basin Mixer
	Jaquar
	ESS
	Kohler
	Fitting to connect basin mixer taps to plumbing systems.
	Each

	26
	CI Casing Cover 2"
	Jaquar
	ESS
	Kohler
	Cover for CI pipes, typically used in construction.
	Each

	27
	Cistern Ball Cock (1/2") Small
	Jaquar
	ESS
	Kohler
	Small ball cock for toilet cisterns.
	Each

	28
	Cistern Ball Cock Big
	Jaquar
	ESS
	Kohler
	Larger ball cock for larger cisterns or tanks.
	Each

	29
	Cistern Fitting Bolt
	Jaquar
	ESS
	Kohler
	Bolt used for securing cistern fittings.
	Each

	30
	Concealed Body 1/2"
	Jaquar
	ESS
	Kohler
	Concealed body for water supply, typically used in wall-mounted setups.
	Each

	31
	Concealed Face (3/4 inches)
	Jaquar
	ESS
	Kohler
	The visible faceplate for a concealed valve setup.
	Each

	32
	Concealed Face (Jaquar Type)
	Jaquar
	ESS
	Kohler
	Jaquar-designed faceplate for concealed valves.
	Each

	33
	Concealed Valve Upper Parts
	Jaquar
	ESS
	Kohler
	Upper part of a concealed valve setup for plumbing systems.
	Each

	34
	Concealed Center Valve
	Jaquar
	ESS
	Kohler
	Center valve for concealed valve systems in bathrooms.
	Each

	35
	Course Bubble Diffuser Size 150 mm
	Jaquar
	ESS
	Kohler
	Diffuser for improving water flow in large plumbing systems.
	Each

	36
	CP Brass Hose Nipple Male Hose
	Jaquar
	ESS
	Kohler
	Male hose nipple for connecting hoses to other fittings.
	Each

	37
	CP Health Faucet Chain
	Jaquar
	ESS
	Kohler
	Chain used for health faucets in bathrooms and kitchens.
	Each

	38
	CP Hex Nipple 15mm (1/2")
	Jaquar
	ESS
	Kohler
	Hexagonal nipple for plumbing connections.
	Each

	39
	CP Hex Nipple 25mm
	Jaquar
	ESS
	Kohler
	Larger hexagonal nipple for plumbing systems.
	Each

	40
	CP Tube 18"
	Jaquar
	ESS
	Kohler
	Tube for connecting various sanitary fittings.
	Each

	41
	CP Tube Washer - Washer
	Jaquar
	ESS
	Kohler
	Washer for sealing connections in CP tube systems.
	Each

	42
	CPVC 1.25" MABT
	Astral
	Supreme
	Finolex
	CPVC pipe for transporting hot water in plumbing systems.
	Each

	43
	CPVC 1.25" FABT
	Astral
	Supreme
	Finolex
	CPVC pipe with a fitting used for water transport.
	Each

	44
	CPVC 50mm FABT
	Astral
	Supreme
	Finolex
	CPVC pipe of 50mm diameter, used for plumbing applications.
	Each

	45
	CPVC 50mm Pipes
	Astral
	Supreme
	Finolex
	A standard CPVC pipe used for water and waste transport.
	Each

	46
	CPVC Bend - Plain 110mm (4")
	Astral
	Supreme
	Finolex
	CPVC bend for creating smooth curves in the piping system.
	Each

	47
	CPVC Brass Elbow 1/2" x 1/2"
	Astral
	Supreme
	Finolex
	Brass elbow fitting for CPVC piping.
	Each

	48
	CPVC Brass Elbow 3/4" x 3/4"
	Astral
	Supreme
	Finolex
	Brass elbow fitting for larger CPVC pipes.
	Each

	49
	CPVC Brass Tee 1" x 1/2" (25mm x 15mm)
	Astral
	Supreme
	Finolex
	CPVC tee fitting for branching pipes.
	Each

	50
	CPVC Brass Tee 1/2" x 1/2"
	Astral
	Supreme
	Finolex
	Smaller CPVC brass tee fitting for plumbing systems.
	Each

	51
	CPVC Brass Tee 20x15mm
	Astral
	Supreme
	Finolex
	CPVC brass tee fitting, used for connecting 20mm and 15mm pipes.
	Each

	52
	CPVC Brass Tee 20x20mm 3/4"
	Astral
	Supreme
	Finolex
	CPVC brass tee fitting, used for connecting 20mm x 20mm pipes.
	Each

	53
	CPVC Data 1/2"
	Astral
	Supreme
	Finolex
	Data fitting for 1/2" CPVC pipe used in plumbing systems.
	Each

	54
	CPVC Elbow 1"
	Astral
	Supreme
	Finolex
	1" CPVC elbow used for 90-degree connections in plumbing systems.
	Each

	55
	CPVC Elbow 1 1/4" (32mm)
	Astral
	Supreme
	Finolex
	1 1/4" CPVC elbow for larger pipe systems.
	Each

	56
	CPVC Elbow 1/2" (15mm)
	Astral
	Supreme
	Finolex
	1/2" CPVC elbow used for compact connections in residential plumbing.
	Each

	57
	CPVC Elbow 1.5" (40mm)
	Astral
	Supreme
	Finolex
	1.5" CPVC elbow fitting for larger plumbing systems.
	Each

	58
	CPVC Elbow 2.5"
	Astral
	Supreme
	Finolex
	2.5" CPVC elbow fitting used in commercial and industrial systems.
	Each

	59
	CPVC Elbow 3"
	Astral
	Supreme
	Finolex
	3" CPVC elbow used in large-scale plumbing systems.
	Each

	60
	CPVC Elbow 3/4" 20mm
	Astral
	Supreme
	Finolex
	3/4" CPVC elbow fitting for standard pipe connections.
	Each

	61
	CPVC Elbow 4"
	Astral
	Supreme
	Finolex
	4" CPVC elbow for heavy-duty industrial plumbing.
	Each

	62
	CPVC Elbow 50mm "2"
	Astral
	Supreme
	Finolex
	50mm CPVC elbow used for large-diameter pipe installations.
	Each

	63
	CPVC End Cap 1"
	Astral
	Supreme
	Finolex
	End cap for sealing the end of 1" CPVC pipes.
	Each

	64
	CPVC End Cap 1.25"
	Astral
	Supreme
	Finolex
	End cap for 1.25" CPVC pipes, used to block off pipe ends.
	Each

	65
	CPVC End Cap 1.5"
	Astral
	Supreme
	Finolex
	End cap for 1.5" CPVC pipe, used to stop water flow.
	Each

	66
	CPVC End Cap 2"
	Astral
	Supreme
	Finolex
	End cap for 2" CPVC pipes, commonly used for pipe termination.
	Each

	67
	CPVC End Cap 3"
	Astral
	Supreme
	Finolex
	End cap for 3" CPVC pipes, used in larger piping systems.
	Each

	68
	CPVC End Cap 3/4"
	Astral
	Supreme
	Finolex
	End cap for 3/4" CPVC pipes, ideal for smaller installations.
	Each

	69
	CPVC End Cap 4"
	Astral
	Supreme
	Finolex
	End cap for 4" CPVC pipes, typically for industrial applications.
	Each

	70
	CPVC FABT 1" 25mm
	Astral
	Supreme
	Finolex
	CPVC flange adapter, 1" size, used for pipe connections.
	Each

	71
	CPVC FABT 1/2" 15mm
	Astral
	Supreme
	Finolex
	CPVC flange adapter for 1/2" pipes, used in various plumbing setups.
	Each

	72
	CPVC FABT 20x15mm
	Astral
	Supreme
	Finolex
	CPVC flange adapter for connecting 20mm and 15mm pipes.
	Each

	73
	CPVC FABT 2 1/2"
	Astral
	Supreme
	Finolex
	CPVC flange adapter used in larger pipe systems (2.5").
	Each

	74
	CPVC FABT 3/4"
	Astral
	Supreme
	Finolex
	Flange adapter for 3/4" CPVC pipes.
	Each

	75
	CPVC FABT 40mm
	Astral
	Supreme
	Finolex
	40mm CPVC flange adapter used in industrial applications.
	Each

	76
	CPVC FAPT 1.25" 32mm
	Astral
	Supreme
	Finolex
	CPVC fitting adapter for 1.25" pipes.
	Each

	77
	CPVC FAPT 2"
	Astral
	Supreme
	Finolex
	CPVC fitting adapter for 2" pipe connections.
	Each

	78
	CPVC FAPT 3"
	Astral
	Supreme
	Finolex
	CPVC fitting adapter for 3" pipe systems.
	Each

	79
	CPVC FAPT 3/4"
	Astral
	Supreme
	Finolex
	CPVC fitting adapter for 3/4" CPVC pipe connections.
	Each

	80
	CPVC FAPT 4"
	Astral
	Supreme
	Finolex
	CPVC fitting adapter for 4" pipes, used in large installations.
	Each

	81
	CPVC FAPT 40mm 1.5"
	Astral
	Supreme
	Finolex
	CPVC fitting adapter for 40mm and 1.5" pipes.
	Each

	82
	CPVC Flange 4"
	Astral
	Supreme
	Finolex
	Flange for 4" CPVC pipe, used to create flanged connections.
	Each

	83
	CPVC Handle Valve 25mm 1"
	Astral
	Supreme
	Finolex
	Handle valve for controlling flow in 1" CPVC pipe systems.
	Each

	84
	CPVC MABT 1"
	Astral
	Supreme
	Finolex
	CPVC male adapter, 1" size, used for connecting pipes to fittings.
	Each

	85
	CPVC MABT 1/2"
	Astral
	Supreme
	Finolex
	1/2" CPVC male adapter used in residential systems.
	Each

	86
	CPVC MABT 1.5"
	Astral
	Supreme
	Finolex
	1.5" CPVC male adapter used in larger systems.
	Each

	87
	CPVC MABT 2"
	Astral
	Supreme
	Finolex
	CPVC male adapter, 2" size, used for connecting CPVC pipes.
	Each

	88
	CPVC MABT 2.5"
	Astral
	Supreme
	Finolex
	CPVC male adapter for 2.5" pipes, commonly used in industrial systems.
	Each

	89
	CPVC MABT 3/4" (3/4" x 1/2" MABT)
	Astral
	Supreme
	Finolex
	3/4" CPVC male adapter for mixed size piping (3/4" x 1/2").
	Each

	90
	CPVC MABT 3/4" x 3/4"
	Astral
	Supreme
	Finolex
	3/4" CPVC male adapter used in standard plumbing systems.
	Each

	91
	CPVC MAPT 1"
	Astral
	Supreme
	Finolex
	1" CPVC male pipe thread adapter, used in threaded connections.
	Each

	92
	CPVC MAPT 1/2" X 3/4"
	Astral
	Supreme
	Finolex
	CPVC adapter for 1/2" x 3/4" pipe thread connections.
	Each

	93
	CPVC MAPT 1.25"
	Astral
	Supreme
	Finolex
	1.25" CPVC male adapter used for pipe threading.
	Each

	94
	CPVC MAPT 3"
	Astral
	Supreme
	Finolex
	CPVC male pipe thread adapter for 3" pipes.
	Each

	95
	CPVC MAPT 3/4"
	Astral
	Supreme
	Finolex
	CPVC male adapter for 3/4" pipe threading.
	Each

	96
	CPVC MAPT 4"
	Astral
	Supreme
	Finolex
	4" CPVC male adapter, used in large plumbing systems.
	Each

	97
	CPVC MAPT 40mm 1.5"
	Astral
	Supreme
	Finolex
	CPVC male adapter for 40mm pipe threading.
	Each

	98
	CPVC MAPT 50mm "2"
	Astral
	Supreme
	Finolex
	CPVC male adapter for 50mm pipes.
	Each

	99
	CPVC Pipe 1/2"
	Astral
	Supreme
	Finolex
	1/2" CPVC pipe for plumbing and water supply.
	Each

	100
	CPVC Pipe 2"
	Astral
	Supreme
	Finolex
	2" CPVC pipe for larger scale water transport.
	Each

	101
	CPVC Pipe 20mm 3/4" (SDR-11)
	Astral
	Supreme
	Finolex
	20mm CPVC pipe, SDR-11 rating, suitable for low-pressure applications.
	Each

	102
	CPVC Pipe 2.5"
	Astral
	Supreme
	Finolex
	2.5" CPVC pipe used for large-scale plumbing systems and water transport.
	Each

	103
	CPVC Pipe 25mm
	Astral
	Supreme
	Finolex
	25mm CPVC pipe, used in residential and commercial plumbing systems.
	Each

	104
	CPVC Pipe 3"
	Astral
	Supreme
	Finolex
	3" CPVC pipe for medium to high-capacity water flow in industrial systems.
	Each

	105
	CPVC Pipe 32mm
	Astral
	Supreme
	Finolex
	32mm CPVC pipe for large plumbing and water supply systems.
	Each

	106
	CPVC Pipe 4"
	Astral
	Supreme
	Finolex
	4" CPVC pipe used in heavy-duty plumbing systems and large-scale installations.
	Each

	107
	CPVC Pipe 40mm
	Astral
	Supreme
	Finolex
	40mm CPVC pipe for larger industrial plumbing networks.
	Each

	108
	CPVC Reducer Brass Elbow 20mm x 15mm
	Astral
	Supreme
	Finolex
	Brass CPVC reducer elbow, connecting 20mm to 15mm pipes.
	Each

	109
	CPVC Reducer Brass Tee 1" x 1/2"
	Astral
	Supreme
	Finolex
	Brass CPVC tee, connecting 1" to 1/2" pipes in various plumbing systems.
	Each

	110
	CPVC Reducer Brass Tee 20 x 15mm
	Astral
	Supreme
	Finolex
	Brass CPVC reducer tee, used for connecting 20mm to 15mm pipes.
	Each

	111
	CPVC Reducer Bush 1" x 3/4"
	Astral
	Supreme
	Finolex
	CPVC reducer bush to connect 1" and 3/4" pipes.
	Each

	112
	CPVC Reducer Bush 110 x 75 (4" x 3")
	Astral
	Supreme
	Finolex
	CPVC reducer bush, connecting 4" pipe to 3" pipe.
	Each

	113
	CPVC Reducer Bush 1.25" x 1"
	Astral
	Supreme
	Finolex
	CPVC reducer bush for connecting 1.25" and 1" pipes.
	Each

	114
	CPVC Reducer Bush 1.25" x 3/4"
	Astral
	Supreme
	Finolex
	CPVC reducer bush connecting 1.25" to 3/4" pipes.
	Each

	115
	CPVC Reducer Bush 1.5" x 1.25"
	Astral
	Supreme
	Finolex
	CPVC reducer bush for connecting 1.5" to 1.25" pipes.
	Each

	116
	CPVC Reducer Bush 2" x 1"
	Astral
	Supreme
	Finolex
	2" to 1" CPVC reducer bush used in pipe size reduction.
	Each

	117
	CPVC Reducer Bush 2" x 1.25"
	Astral
	Supreme
	Finolex
	CPVC reducer bush for connecting 2" and 1.25" pipes.
	Each

	118
	CPVC Reducer Bush 2" x 1.5"
	Astral
	Supreme
	Finolex
	CPVC reducer bush for connecting 2" and 1.5" pipes.
	Each

	119
	CPVC Reducer Bush 2 1/2" x 1"
	Astral
	Supreme
	Finolex
	2.5" to 1" CPVC reducer bush, used in larger plumbing setups.
	Each

	120
	CPVC Reducer Bush 2.5" x 2"
	Astral
	Supreme
	Finolex
	2.5" to 2" CPVC reducer bush used in plumbing systems for pipe connections.
	Each

	121
	CPVC Reducer Bush 4" x 3"
	Astral
	Supreme
	Finolex
	CPVC reducer bush connecting 4" to 3" pipes, used in heavy-duty plumbing.
	Each

	122
	CPVC Reducer Bush 40MM x 20MM
	Astral
	Supreme
	Finolex
	CPVC reducer bush for 40mm to 20mm pipe connections.
	Each

	123
	CPVC Reducer Bush 40x25 (1.5 x 1)
	Astral
	Supreme
	Finolex
	CPVC reducer bush, connecting 40mm to 25mm pipes.
	Each

	124
	CPVC Reducer Bush 8050 32
	Astral
	Supreme
	Finolex
	80mm to 50mm CPVC reducer bush, used in large plumbing applications.
	Each

	125
	CPVC Reducer Elbow 3/4" x 1/2"
	Astral
	Supreme
	Finolex
	CPVC reducer elbow connecting 3/4" and 1/2" pipes for directional changes.
	Each

	126
	CPVC Reducer Socket 1 x 3/4"
	Astral
	Supreme
	Finolex
	CPVC reducer socket connecting 1" to 3/4" pipes.
	Each

	127
	CPVC Reducer Socket 3/4" x 1/2"
	Astral
	Supreme
	Finolex
	CPVC reducer socket connecting 3/4" and 1/2" pipes.
	Each

	128
	CPVC Reducer Tee 2" x 3/4"
	Astral
	Supreme
	Finolex
	CPVC reducer tee for 2" and 3/4" pipe connections.
	Each

	129
	CPVC Reducer Tee 1" x 1/2"
	Astral
	Supreme
	Finolex
	CPVC reducer tee connecting 1" and 1/2" pipes in plumbing systems.
	Each

	130
	CPVC Reducer Tee 1" x 3/4"
	Astral
	Supreme
	Finolex
	CPVC reducer tee used for 1" x 3/4" pipe connection.
	Each

	131
	CPVC Reducer Tee 1 1/4" x 3/4"
	Astral
	Supreme
	Finolex
	CPVC reducer tee for 1 1/4" to 3/4" pipe connections.
	Each

	132
	CPVC Reducer Tee 1.25" x 2"
	Astral
	Supreme
	Finolex
	CPVC reducer tee connecting 1.25" to 2" pipes.
	Each

	133
	CPVC Reducer Tee 2" x 1"
	Astral
	Supreme
	Finolex
	CPVC reducer tee used for 2" to 1" pipe connections.
	Each

	134
	CPVC Reducer Tee 3" x 1"
	Astral
	Supreme
	Finolex
	CPVC reducer tee used for 3" x 1" pipe connections.
	Each

	135
	CPVC Reducer Tee 3" x 2"
	Astral
	Supreme
	Finolex
	CPVC reducer tee for 3" x 2" pipe connections.
	Each

	136
	CPVC Reducer Tee 4" x 3"
	Astral
	Supreme
	Finolex
	CPVC reducer tee connecting 4" to 3" pipes.
	Each

	137
	CPVC Reducer Tee 40MM x 20MM
	Astral
	Supreme
	Finolex
	CPVC reducer tee for 40mm to 20mm pipe connections.
	Each

	138
	CPVC Socket 32mm 1 1/4"
	Astral
	Supreme
	Finolex
	CPVC socket fitting for 1 1/4" pipes used in high-capacity plumbing.
	Each

	139
	CPVC Socket 40mm 1 1/2"
	Astral
	Supreme
	Finolex
	40mm CPVC socket for 1 1/2" pipe connections.
	Each

	140
	CPVC Socket 1"
	Astral
	Supreme
	Finolex
	Standard 1" CPVC socket for pipe connections.
	Each

	141
	CPVC Socket 1/2" 15mm
	Astral
	Supreme
	Finolex
	CPVC socket for 1/2" (15mm) pipe connections.
	Each

	142
	CPVC Socket 2" 50mm
	Astral
	Supreme
	Finolex
	CPVC socket for 2" (50mm) pipe connections.
	Each

	143
	CPVC Socket 2.5"
	Astral
	Supreme
	Finolex
	CPVC socket for 2.5" pipes, used for medium-to-large plumbing systems.
	Each

	144
	CPVC Socket 3"
	Astral
	Supreme
	Finolex
	3" CPVC socket for large plumbing and water transport.
	Each

	145
	CPVC Socket 3/4"
	Astral
	Supreme
	Finolex
	CPVC socket for 3/4" pipes, commonly used in residential plumbing.
	Each

	146
	CPVC Socket 4"
	Astral
	Supreme
	Finolex
	4" CPVC socket used in large-scale plumbing systems.
	Each

	147
	CPVC Solvent 100ml
	Astral
	Supreme
	Finolex
	CPVC solvent cement, 100ml, used to bond CPVC pipes and fittings.
	Each

	148
	CPVC Solvent 118ml
	Astral
	Supreme
	Finolex
	118ml CPVC solvent for pipe joining.
	Each

	149
	CPVC Solvent 200ml
	Astral
	Supreme
	Finolex
	200ml CPVC solvent for effective sealing and joining of CPVC pipes.
	Each

	150
	CPVC Solvent 237ml
	Astral
	Supreme
	Finolex
	CPVC solvent cement, 237ml, used in heavy-duty plumbing systems.
	Each

	151
	CPVC Solvent 500ml
	Astral
	Supreme
	Finolex
	500ml CPVC solvent cement for bonding CPVC pipes and fittings.
	Each

	152
	CPVC Solvent 946ml
	Astral
	Supreme
	Finolex
	946ml CPVC solvent cement for efficient joining of CPVC pipes.
	Each

	153
	CPVC Tank Connection 2"
	Astral
	Supreme
	Finolex
	CPVC tank connection fitting for 2" pipe, commonly used in tanks.
	Each

	154
	CPVC Tank Nipple 1"
	Astral
	Supreme
	Finolex
	CPVC nipple used to connect 1" CPVC pipes in tank applications.
	Each

	155
	CPVC Tank Nipple 1/2"
	Astral
	Supreme
	Finolex
	CPVC nipple for connecting 1/2" pipes to tanks.
	Each

	156
	CPVC Tank Nipple 1.25"
	Astral
	Supreme
	Finolex
	CPVC nipple for 1.25" pipe connections, used in tank installations.
	Each

	157
	CPVC Tank Nipple 1.5"
	Astral
	Supreme
	Finolex
	CPVC tank nipple for connecting 1.5" pipes in tank systems.
	Each

	158
	CPVC Tank Nipple 3/4"
	Astral
	Supreme
	Finolex
	CPVC nipple for 3/4" pipe connections in tank applications.
	Each

	159
	CPVC Tee 40mm (1 1/2")
	Astral
	Supreme
	Finolex
	40mm CPVC tee for 1 1/2" pipe connections, used in plumbing systems.
	Each

	160
	CPVC Tee 1 1/4" 32mm
	Astral
	Supreme
	Finolex
	1 1/4" CPVC tee for 32mm pipe connections.
	Each

	161
	CPVC Tee 1/2" 15mm
	Astral
	Supreme
	Finolex
	1/2" CPVC tee used in smaller pipe connections.
	Each

	162
	CPVC Tee 1 x 3/4"
	Astral
	Supreme
	Finolex
	CPVC tee used for 1" to 3/4" pipe connections.
	Each

	163
	CPVC Tee 2" 50mm
	Astral
	Supreme
	Finolex
	2" CPVC tee for 50mm pipe connections.
	Each

	164
	CPVC Tee 2.5"
	Astral
	Supreme
	Finolex
	2.5" CPVC tee used in larger pipe connections.
	Each

	165
	CPVC Tee 3/4" 20mm
	Astral
	Supreme
	Finolex
	CPVC tee for 3/4" x 20mm pipe connections.
	Each

	166
	CPVC Tee 4"
	Astral
	Supreme
	Finolex
	4" CPVC tee for large-scale plumbing connections.
	Each

	167
	CPVC Tee 4" x 1 1/4"
	Astral
	Supreme
	Finolex
	CPVC tee for connecting 4" and 1 1/4" pipes.
	Each

	168
	CPVC Union 1"
	Astral
	Supreme
	Finolex
	1" CPVC union for easy disconnection and reconnection of pipes.
	Each

	169
	CPVC Union 1 1/4" 32mm
	Astral
	Supreme
	Finolex
	1 1/4" CPVC union for 32mm pipe connections.
	Each

	170
	CPVC Union 1/2" 15mm
	Astral
	Supreme
	Finolex
	1/2" CPVC union for 15mm pipe connections.
	Each

	171
	CPVC Union 1.5"
	Astral
	Supreme
	Finolex
	1.5" CPVC union, used for larger pipe installations.
	Each

	172
	CPVC Union 2" 50mm
	Astral
	Supreme
	Finolex
	2" CPVC union for 50mm pipe connections.
	Each

	173
	CPVC Union 3"
	Astral
	Supreme
	Finolex
	3" CPVC union for large plumbing and water distribution systems.
	Each

	174
	CPVC Union 3/4" 20mm
	Astral
	Supreme
	Finolex
	CPVC union for 3/4" and 20mm pipe connections.
	Each

	175
	Extension Piece 1/2" x 1"
	Astral
	Supreme
	Finolex
	1/2" to 1" CPVC extension piece for pipe adjustments.
	Each

	176
	Extension Piece 1/2" x 2"
	Astral
	Supreme
	Finolex
	CPVC extension piece for connecting 1/2" to 2" pipes.
	Each

	177
	Extension Piece 1/2" x 3"
	Astral
	Supreme
	Finolex
	1/2" to 3" extension piece used in large pipe plumbing systems.
	Each

	178
	Extension Piece 1/2" (CP Extension 1/2")
	Astral
	Supreme
	Finolex
	Extension piece for connecting 1/2" CPVC pipes.
	Each

	179
	Fine Bubble Diffuser Size 90 x 1000 mm
	-
	-
	-
	Diffuser used in wastewater treatment systems for fine bubble aeration.
	Each

	180
	Flange Brass CP
	Astral
	Supreme
	Finolex
	Brass flange for CP (corrosion-resistant) applications.
	Each

	181
	Flush Button (Cistern)
	Jaquar
	ESS
	Kohler
	Flush button for cisterns, used in sanitary ware.
	Each

	182
	Flushing Valve System (Diverter Set)
	Jaquar
	ESS
	Kohler
	Diverter valve system for controlling water flow in flush systems.
	Each

	183
	Flush valve complete
	Jaquar
	ESS
	Kohler
	Complete flush valve assembly for water conservation in cisterns.
	Each

	184
	Garden Pipe 1/2"
	-
	-
	-
	Garden pipe for water flow in garden irrigation systems.
	Each

	185
	Garden Pipe 1.25"
	-
	-
	-
	Larger garden pipe used in irrigation systems for higher flow rates.
	Each

	186
	Garden Pipe 3/4"
	-
	-
	-
	Standard garden pipe for medium-scale irrigation.
	Each

	187
	Gas Kit 110mm
	-
	-
	-
	Gas kit for 110mm pipe connections, used in gas lines.
	Each

	188
	GI 2" Clamp
	Unik
	-
	-
	Galvanized iron clamp used to secure 2" pipes.
	Each

	189
	GI 25mm Data
	Unik
	-
	-
	Galvanized iron (GI) data pipe, 25mm, used in water supply systems.
	Each

	190
	GI 32mm Data
	Unik
	-
	-
	32mm GI data pipe for medium-scale water transport.
	Each

	191
	GI 40mm Data
	Unik
	-
	-
	40mm GI data pipe for large-scale plumbing systems.
	Each

	192
	GI Bend 2"
	Unik
	-
	-
	Galvanized iron bend for 2" pipes, used for redirection.
	Each

	193
	GI Cap Plug 1" 25mm (Inner threads Female Plug)
	Unik
	-
	-
	1" GI cap plug with female threads, used to seal pipes.
	Each

	194
	GI Cap Plug 1.25" 32mm (Inner threads Female Plug)
	Unik
	-
	-
	GI cap plug for sealing 1.25" pipes with female threads.
	Each

	195
	GI Cap Plug 1.5" 40mm (Inner threads Female Plug)
	Unik
	-
	-
	1.5" GI cap plug for sealing 40mm GI pipes.
	Each

	196
	GI Clamp
	Unik
	-
	-
	GI clamp for securing pipes in various plumbing applications.
	Each

	197
	GI DATA 3"
	Unik
	-
	-
	GI data pipe for large plumbing and water distribution systems.
	Each

	198
	GI Elbow 1" (25mm)
	Unik
	-
	-
	GI elbow for 1" pipe connections, used in plumbing.
	Each

	199
	GI Elbow 1.25" (32mm)
	Unik
	-
	-
	GI elbow for 1.25" pipe bends.
	Each

	200
	GI Elbow 1.5"
	Unik
	-
	-
	GI elbow for 1.5" pipes, commonly used in heavy-duty plumbing.
	Each

	201
	GI Elbow 15MM
	Unik
	-
	-
	15mm GI elbow for plumbing pipe connections.
	Each

	202
	GI Elbow 2"
	Unik
	-
	-
	2" GI elbow used for 2" pipe redirection in plumbing systems.
	Each

	203
	GI Elbow 2.5"
	Unik
	-
	-
	2.5" GI elbow for larger pipe redirection in plumbing systems.
	Each

	204
	GI Elbow 3" 75mm
	Unik
	-
	-
	3" GI elbow for 75mm pipe redirection.
	Each

	205
	GI Elbow 3/4"
	Unik
	-
	-
	3/4" GI elbow, commonly used in smaller plumbing connections.
	Each

	206
	GI Flange 1" 25mm
	Unik
	-
	-
	1" GI flange for secure pipe connections, 25mm size.
	Each

	207
	GI Flange 2"
	Unik
	-
	-
	2" GI flange used for securing 2" GI pipes.
	Each

	208
	GI Flange 3" (75mm)
	Unik
	-
	-
	3" GI flange for 75mm pipe connections.
	Each

	209
	GI Flange 3/4"
	Unik
	-
	-
	3/4" GI flange for securing smaller pipes in plumbing systems.
	Each

	210
	GI Flange 4"
	Unik
	-
	-
	4" GI flange used for large plumbing applications.
	Each

	211
	GI Flange 40mm
	Unik
	-
	-
	GI flange for 40mm pipe connections in various systems.
	Each

	212
	GI Flange 2"
	Unik
	-
	-
	GI flange for 2" pipe installations, used for joining pipe ends.
	Each

	213
	GI Hex Nipple 25MM
	Unik
	-
	-
	25mm GI hex nipple used for thread-to-thread pipe connections.
	Each

	214
	GI Hook
	Unik
	-
	-
	GI hook used to secure and support pipes in place.
	Each

	215
	GI/MS Reducer Bush 3x 2.5"
	Unik
	-
	-
	GI/MS reducer bush for 3" to 2.5" pipe connections.
	Each

	216
	GI Nipple 1" x 12"
	Unik
	-
	-
	1" x 12" GI nipple used to extend plumbing connections.
	Each

	217
	GI Nipple 1" x 1.5" (25mm)
	Unik
	-
	-
	1" x 1.5" GI nipple for plumbing pipe extension.
	Each

	218
	GI Nipple 1" x 2"
	Unik
	-
	-
	1" x 2" GI nipple used to extend or connect pipes.
	Each

	219
	GI Nipple 1" x 3" (25mm)
	Unik
	-
	-
	1" x 3" GI nipple for extending 25mm plumbing connections.
	Each

	220
	GI Nipple 1" x 4" (25mm)
	Unik
	-
	-
	1" x 4" GI nipple used in various pipe installations.
	Each

	221
	GI Nipple 1" x 6" (25mm)
	Unik
	-
	-
	1" x 6" GI nipple for long pipe extensions in plumbing.
	Each

	222
	GI Nipple 1" x 9" (25mm)
	Unik
	-
	-
	1" x 9" GI nipple for extended plumbing pipe installations.
	Each

	223
	GI Nipple 1/2" x 2"
	Unik
	-
	-
	1/2" x 2" GI nipple used for smaller diameter pipe connections.
	Each

	224
	GI Nipple 1/2" x 3"
	Unik
	-
	-
	1/2" x 3" GI nipple for small diameter extensions.
	Each

	225
	GI Nipple 1/2" x 4"
	Unik
	-
	-
	1/2" x 4" GI nipple for pipe connection extensions in plumbing.
	Each

	226
	GI Nipple 1/2" x 6"
	Unik
	-
	-
	1/2" x 6" GI nipple for long small pipe extensions.
	Each

	227
	GI Nipple 1/2" x 9"
	Unik
	-
	-
	1/2" x 9" GI nipple for extended connections in smaller pipes.
	Each

	228
	GI Nipple 1.25" x 3"
	Unik
	-
	-
	1.25" x 3" GI nipple used for pipe extensions in medium-sized systems.
	Each

	229
	GI Nipple 1.25" x 6"
	Unik
	-
	-
	1.25" x 6" GI nipple for medium pipe connections.
	Each

	230
	GI Nipple 1.25" x 9"
	Unik
	-
	-
	1.25" x 9" GI nipple for longer extensions of medium pipes.
	Each

	231
	GI Nipple 1.5" x 2" (40mm)
	Unik
	-
	-
	1.5" x 2" GI nipple for 40mm pipe connections.
	Each

	232
	GI Nipple 1.5" x 3" (40mm)
	Unik
	-
	-
	1.5" x 3" GI nipple for medium-large pipe extensions.
	Each

	233
	GI Nipple 1.5" x 4"
	Unik
	-
	-
	1.5" x 4" GI nipple for larger plumbing systems.
	Each

	234
	GI Nipple 1.5" x 6" (40mm)
	Unik
	-
	-
	1.5" x 6" GI nipple for extended connections in large pipes.
	Each

	235
	GI Nipple 1.5" x 9" (40mm)
	Unik
	-
	-
	1.5" x 9" GI nipple for long pipe extensions, typically for larger systems.
	Each

	236
	GI Nipple 2" x 12"
	Unik
	-
	-
	2" x 12" GI nipple for large plumbing extensions.
	Each

	237
	GI Nipple 2" x 1.5"
	Unik
	-
	-
	2" x 1.5" GI nipple for pipe connections in large plumbing systems.
	Each

	238
	GI Nipple 2" x 2"
	Unik
	-
	-
	2" x 2" GI nipple for joining 2" pipes.
	Each

	239
	GI Nipple 2" x 3.6"
	Unik
	-
	-
	2" x 3.6" GI nipple for extended pipe installations in larger systems.
	Each

	240
	GI Nipple 2" x 4"
	Unik
	-
	-
	2" x 4" GI nipple for extending large pipe connections.
	Each

	241
	GI Nipple 2" x 6"
	Unik
	-
	-
	2" x 6" GI nipple for long extensions of 2" pipe connections.
	Each

	242
	GI Nipple 2" x 9"
	Unik
	-
	-
	2" x 9" GI nipple for extended connections in plumbing systems.
	Each

	243
	GI Nipple 2.5" x 2"
	Unik
	-
	-
	2.5" x 2" GI nipple for 2.5" pipe connections.
	Each

	244
	GI Nipple 3" x 3"
	Unik
	-
	-
	3" x 3" GI nipple used for 3" pipe connections.
	Each

	245
	GI Nipple 3" x 6"
	Unik
	-
	-
	3" x 6" GI nipple for large pipe extensions.
	Each

	246
	GI Nipple 3" x 9" (75mm)
	Unik
	-
	-
	3" x 9" GI nipple for longer extensions in large systems.
	Each

	247
	GI Nipple 3/4" x 4"
	Unik
	-
	-
	3/4" x 4" GI nipple for smaller diameter pipe connections.
	Each

	248
	GI Nipple 3/4" x 6"
	Unik
	-
	-
	3/4" x 6" GI nipple for pipe extensions in smaller systems.
	Each

	249
	GI Nipple 4" x 12" (100mm)
	Unik
	-
	-
	4" x 12" GI nipple for large-diameter pipe extensions.
	Each

	250
	GI Nut Bolt 1.5"
	Unik
	-
	-
	1.5" GI nut bolt for securing pipe flanges or joints.
	Each

	251
	GI Pipe 2" with Flange 6mtr.
	Unik
	-
	-
	2" GI pipe with flange, 6 meters long for heavy-duty plumbing.
	Each

	252
	GI Pipe 3/4" (6mtr.) 20mm
	Unik
	-
	-
	3/4" GI pipe, 6 meters long, commonly used in industrial plumbing.
	Each

	253
	GI Plug 1" (25mm) (Outer threads)
	Unik
	-
	-
	1" GI plug with outer threads, used for closing pipe ends.
	Each

	254
	GI Plug 1.25" (32mm) (Outer threads)
	Unik
	-
	-
	1.25" GI plug for sealing 32mm pipe ends.
	Each

	255
	GI Plug 1.5" (40mm) (Outer threads)
	Unik
	-
	-
	1.5" GI plug, ideal for sealing larger pipe ends.
	Each

	256
	GI Plug 15mm (1/2") (Outer threads)
	Unik
	-
	-
	1/2" GI plug for small diameter pipe end closures.
	Each

	257
	GI Plug 2" (50mm)
	Unik
	-
	-
	2" GI plug for sealing 50mm GI pipes.
	Each

	258
	GI Reducer Bush 2" x 2.5"
	Unik
	-
	-
	2" to 2.5" GI reducer bush for connecting different pipe sizes.
	Each

	259
	GI Reducer Elbow 1" x 3/4"
	Unik
	-
	-
	GI elbow for reducing 1" to 3/4" pipe diameter.
	Each

	260
	GI Reducer Elbow 1.25" x 3/4"
	Unik
	-
	-
	1.25" to 3/4" GI reducer elbow, used for pipe redirection.
	Each

	261
	GI Reducer Elbow 3/4" x 1/2"
	Unik
	-
	-
	3/4" to 1/2" GI reducer elbow for smaller plumbing systems.
	Each

	262
	GI Reducer Socket 1" x 3/4" 25mm
	Unik
	-
	-
	1" to 3/4" GI reducer socket for joining pipes of different sizes.
	Each

	263
	GI Reducer Socket 3" x 4"
	Unik
	-
	-
	3" to 4" GI reducer socket for adapting pipe sizes.
	Each

	264
	GI Reducer Tee 1" x 1/2" (25mm)
	Unik
	-
	-
	1" to 1/2" GI reducer tee, used for splitting pipes in plumbing.
	Each

	265
	GI Reducer Tee 2" x 1"
	Unik
	-
	-
	2" to 1" GI reducer tee for pipe branch installations.
	Each

	266
	GI Reducer Tee 3/4" x 1/2"
	Unik
	-
	-
	3/4" to 1/2" GI reducer tee for smaller plumbing connections.
	Each

	267
	GI Socket 1" (25mm)
	Unik
	-
	-
	1" GI socket, commonly used to join two 1" pipes.
	Each

	268
	GI Socket 1/2" (15mm)
	Unik
	-
	-
	1/2" GI socket for joining 15mm pipes.
	Each

	269
	GI Socket 1.25"
	Unik
	-
	-
	1.25" GI socket for pipe joining applications.
	Each

	270
	GI Socket 1.5" (32mm)
	Unik
	-
	-
	1.5" GI socket, used for connecting larger pipes.
	Each

	271
	GI Socket 2"
	Unik
	-
	-
	2" GI socket used to join 2" GI pipes in plumbing systems.
	Each

	272
	GI Socket 3" (75mm)
	Unik
	-
	-
	3" GI socket for connecting larger diameter pipes.
	Each

	273
	GI Socket 3/4"
	Unik
	-
	-
	3/4" GI socket for smaller plumbing connections.
	Each

	274
	GI Socket 4"
	Unik
	-
	-
	4" GI socket for heavy-duty plumbing applications.
	Each

	275
	GI Tank Nipple 1"
	Unik
	-
	-
	1" GI tank nipple, used in water tank pipe fittings.
	Each

	276
	GI Tank Nipple 1.5"
	Unik
	-
	-
	1.5" GI tank nipple for larger tank pipe connections.
	Each

	277
	GI Tee 1"
	Unik
	-
	-
	1" GI tee, used for branching out in plumbing systems.
	Each

	278
	GI Tee 1/2" (15mm)
	Unik
	-
	-
	1/2" GI tee for small diameter pipe branch applications.
	Each

	279
	GI Tee 1.5" (40mm)
	Unik
	-
	-
	1.5" GI tee for larger pipe branching.
	Each

	280
	GI Tee 2"
	Unik
	-
	-
	2" GI tee for splitting pipes in medium-to-large systems.
	Each

	281
	GI Tee 3/4" (20mm)
	Unik
	-
	-
	3/4" GI tee, used for smaller pipe branching in plumbing.
	Each

	282
	GI Union 1" (25mm)
	Unik
	-
	-
	1" GI union for easy pipe disconnections and installations.
	Each

	283
	GI Union 1.25" (32mm)
	Unik
	-
	-
	1.25" GI union for connecting and disconnecting pipes.
	Each

	284
	GI Union 1.5"
	Unik
	-
	-
	1.5" GI union used for joining large-diameter pipes.
	Each

	285
	GI Union 2.5"
	Unik
	-
	-
	2.5" GI union for easy maintenance and installation of pipes.
	Each

	286
	GI Union 3" (75mm)
	Unik
	-
	-
	3" GI union used for joining larger pipe sections.
	Each

	287
	GI X-Nipple 1/2"
	Unik
	-
	-
	1/2" GI X-nipple, used for joining pipes at multiple points.
	Each

	288
	Grab Bar 400mm
	Jaquar
	ESS
	Kohler
	400mm grab bar for bathroom support, commonly used in wet areas.
	Each

	289
	Group Nipple 2.5" x 12" (2x2.5")
	Unik
	-
	-
	Group nipple for connecting multiple pipe extensions.
	Each

	290
	Group Nipple 2.5" x 9" (2x2.5")
	Unik
	-
	-
	2.5" group nipple for extending multiple 2.5" pipes.
	Each

	291
	Handle Valve 15mm (1/2")
	ESS
	Jaquar
	Kohler
	1/2" handle valve for controlling water flow in pipes.
	Each

	292
	Handle Valve 2.5"
	ESS
	Jaquar
	Kohler
	2.5" handle valve used for larger valve control in pipes.
	Each

	293
	Handle Valve 25mm 1"
	ESS
	Jaquar
	Kohler
	1" handle valve for water flow regulation in plumbing systems.
	Each

	294
	Handle Valve 3"
	ESS
	Jaquar
	Kohler
	3" handle valve, ideal for controlling water flow in large systems.
	Each

	295
	Handle Valve/Ball Valve 20mm (3/4")
	ESS
	Jaquar
	Kohler
	3/4" ball valve used for precise water flow control.
	Each

	296
	Handle Valve / Ball Valve 32mm (1 1/4")
	ESS
	Jaquar
	Kohler
	1 1/4" ball valve for regulating water flow in larger pipelines.
	Each

	297
	Handle Valve/Ball Valve 40mm (1.5")
	ESS
	Jaquar
	Kohler
	1.5" ball valve for large-scale plumbing applications.
	Each

	298
	Handle Valve/Ball Valve 50mm (2")
	ESS
	Jaquar
	Kohler
	2" ball valve used in heavy-duty commercial plumbing systems.
	Each

	299
	Health Faucet
	Jaquar
	ESS
	Kohler
	Health faucet for hygienic applications in bathrooms.
	Each

	300
	Health Faucet Connection Pipe
	Jaquar
	ESS
	Kohler
	Pipe for connecting health faucets to water supply lines
	Each

	301
	Holdar Jali (Gritting)
	Jaquar
	ESS
	Kohler
	Used for preventing debris and grits from entering drainage systems.
	Each

	302
	Jet Spray Multi
	Jaquar
	ESS
	Kohler
	Multi-function jet spray for hygiene purposes in bathrooms.
	Each

	303
	Long Body Bib Cock
	Jaquar
	ESS
	Kohler
	Long body bib cock for extended reach, typically used in washbasins.
	Each

	304
	Mixer Connection Pipe
	Jaquar
	ESS
	Kohler
	Pipe used for connecting mixer valves in sanitary fixtures.
	Each

	305
	Multi Trap 4 x 3"
	Astral
	Supreme
	-
	Multi-trap designed to collect wastewater from multiple sources.
	Each

	306
	Non Return Valve 1" (NRV)
	Astral
	Supreme
	-
	Prevents backflow of water, installed in pipelines for safety.
	Each

	307
	Non Return Valve 1.25" (NRV)
	Astral
	Supreme
	-
	1.25" NRV for larger pipeline installations.
	Each

	308
	Non Return Valve 2" (NRV)
	Astral
	Supreme
	-
	2" NRV for heavy-duty applications, prevents backflow of water.
	Each

	309
	Non Return Valve 2.5" (NRV)
	Astral
	Supreme
	-
	2.5" NRV used for larger pipeline systems in industrial setups.
	Each

	310
	Non Return Valve 3" (NRV)
	Astral
	Supreme
	-
	3" NRV for high-capacity flow and backflow prevention.
	Each

	311
	Non Return Valve 3/4" (NRV)
	Astral
	Supreme
	-
	3/4" NRV for small scale plumbing systems.
	Each

	312
	Pillar Cock
	Jaquar
	ESS
	Kohler
	Pillar cock for outdoor or garden taps, highly durable.
	Each

	313
	PVC 45 Degree Bend 3"
	Astral
	Supreme
	-
	45° PVC bend for redirecting flow in plumbing systems.
	Each

	314
	PVC 45 Degree Bend 4"
	Astral
	Supreme
	-
	4" PVC bend used for smooth redirection of water flow.
	Each

	315
	PVC Bend 75 mm
	Astral
	Supreme
	-
	75mm PVC bend for connecting pipes in different directions.
	Each

	316
	PVC Bend Shoe 110mm
	Astral
	Supreme
	-
	110mm PVC shoe bend for drainage and sewage applications.
	Each

	317
	PVC Bottle Trap
	Astral
	Supreme
	-
	Bottle trap for connecting washbasin to drainage pipes.
	Each

	318
	PVC Bush 1 1/3 x 3/4"
	Astral
	Supreme
	-
	PVC bush for reducing pipe sizes or for connections.
	Each

	319
	PVC Connection Pipe
	Astral
	Supreme
	-
	Pipe used for connecting plumbing fixtures.
	Each

	320
	PVC Cowl 160mm
	Astral
	Supreme
	-
	Cowl used for vent pipes, ensuring efficient airflow.
	Each

	321
	PVC Door Bend 110mm
	Astral
	Supreme
	-
	110mm PVC door bend for easy pipe connections around doors.
	Each

	322
	PVC Door Tee 4"
	Astral
	Supreme
	-
	4" PVC tee used for splitting water flow at a 90-degree angle.
	Each

	323
	PVC Door Tee 4 x 3"
	Astral
	Supreme
	-
	4 x 3" PVC door tee for redirecting water between two pipes.
	Each

	324
	PVC Elbow 25mm
	Astral
	Supreme
	-
	25mm PVC elbow used to change the direction of the pipe system.
	Each

	325
	PVC Elbow 40mm
	Astral
	Supreme
	-
	40mm PVC elbow for altering pipe direction at an angle.
	Each

	326
	PVC Elbow 50 mm
	Astral
	Supreme
	-
	50mm PVC elbow for large piping systems requiring redirection.
	Each

	327
	PVC Elbow 6"
	Astral
	Supreme
	-
	6" PVC elbow for substantial redirection of water in pipelines.
	Each

	328
	PVC Elbow 75mm
	Astral
	Supreme
	-
	75mm PVC elbow used in high-flow applications for redirection.
	Each

	329
	PVC End Cap 3"
	Astral
	Supreme
	-
	3" PVC end cap used to close pipe ends securely.
	Each

	330
	PVC End Cap 6"
	Astral
	Supreme
	-
	6" PVC end cap, ideal for sealing large-diameter pipes.
	Each

	331
	PVC Fapt 50 mm
	Astral
	Supreme
	-
	50mm PVC FAPT for controlling flow of water in plumbing systems.
	Each

	332
	PVC FAPT 75mm x 63mm
	Astral
	Supreme
	-
	75mm x 63mm PVC FAPT for larger water flow management.
	Each

	333
	PVC Gully - Trap 6"
	Astral
	Supreme
	-
	6" PVC gully trap used in stormwater drainage systems.
	Each

	334
	PVC Long Bend Pipe
	Astral
	Supreme
	-
	Long PVC pipe bend for large-scale installations.
	Each

	335
	PVC MAPT 32mm x 32mm
	Astral
	Supreme
	-
	32mm x 32mm PVC MAPT for joining pipes in wastewater systems.
	Each

	336
	PVC MAPT 40mm x 40mm
	Astral
	Supreme
	-
	40mm x 40mm PVC MAPT for joining medium-sized pipes.
	Each

	337
	PVC MAPT 63mm
	Astral
	Supreme
	-
	63mm PVC MAPT used for larger wastewater and drainage pipes.
	Each

	338
	PVC MAPT 75mm
	Astral
	Supreme
	-
	75mm PVC MAPT for higher-capacity pipe connections.
	Each

	339
	PVC MAPT 90mm
	Astral
	Supreme
	-
	90mm PVC MAPT for large drainage systems requiring strong joints.
	Each

	340
	PVC Multi Trap 110mm
	Astral
	Supreme
	-
	Multi-trap system, 110mm, used for multi-outlet drainage.
	Each

	341
	PVC Nan Trap 3"
	Astral
	Supreme
	-
	3" PVC nan trap used for smaller drainage applications.
	Each

	342
	PVC Nan Trap 4" x 3"
	Astral
	Supreme
	-
	4" x 3" PVC nan trap for medium-sized plumbing systems.
	Each

	343
	PVC O Ring Plain Bend 110mm
	Astral
	Supreme
	-
	110mm PVC O-ring bend for secure jointing in drainage systems.
	Each

	344
	PVC Pipe 110mm
	Astral
	Supreme
	-
	110mm PVC pipe used in wastewater and drainage systems.
	Each

	345
	PVC Pipe 160mm
	Astral
	Supreme
	-
	160mm PVC pipe for high-capacity drainage systems.
	Each

	346
	PVC Pipe 4"
	Astral
	Supreme
	-
	4" PVC pipe commonly used for residential plumbing applications.
	Each

	347
	PVC Pipe 40mm
	Astral
	Supreme
	-
	40mm PVC pipe for domestic and industrial plumbing.
	Each

	348
	PVC Pipe 50mm
	Astral
	Supreme
	-
	50mm PVC pipe for medium-scale plumbing systems.
	Each

	349
	PVC Pipe 6"
	Astral
	Supreme
	-
	6" PVC pipe, used for large plumbing applications and drainage.
	Each

	350
	PVC Pipe 75mm (3") (SWR Pipe)
	Astral
	Supreme
	-
	75mm SWR PVC pipe used for sewage and wastewater systems.
	Each

	351
	PVC Pipe (Washing Machine)
	Astral
	Supreme
	Finolex
	PVC pipe specifically designed for connecting washing machines.
	Each

	352
	PVC Plain Bend 4"
	Astral
	Supreme
	Finolex
	4" PVC bend used for connecting pipes at a 90-degree angle.
	Each

	353
	PVC Plain Tee 3"
	Astral
	Supreme
	Finolex
	3" PVC tee for joining three pipes at a 90-degree angle.
	Each

	354
	PVC Plain Tee 4"
	Astral
	Supreme
	Finolex
	4" PVC tee for water and sewage systems.
	Each

	355
	PVC Plain Tee 4 x 3"
	Astral
	Supreme
	Finolex
	4 x 3" PVC tee for connecting pipes of different sizes.
	Each

	356
	PVC Plug (Data)
	Astral
	Supreme
	Finolex
	Used to block the end of a pipe, ensuring no leakage.
	Each

	357
	PVC P Trap 110mm
	Astral
	Supreme
	Finolex
	110mm P-trap for drainage systems to prevent sewer gas leakage.
	Each

	358
	PVC Reducer Bush 110mm x 75mm (4" x 3")
	Astral
	Supreme
	Finolex
	Used to connect 4" and 3" pipes in drainage systems.
	Each

	359
	PVC Reducer Bush 75mm x 50mm
	Astral
	Supreme
	Finolex
	75mm x 50mm PVC reducer bush to join two pipes of different sizes.
	Each

	360
	PVC Reducer Bush 90mm x 75mm
	Astral
	Supreme
	Finolex
	Used for reducing pipe sizes from 90mm to 75mm in drainage systems.
	Each

	361
	PVC Reducer Tee 90mm x 63mm
	Astral
	Supreme
	Finolex
	90mm x 63mm reducer tee to branch a pipe at an angle.
	Each

	362
	PVC Reducer Socket 75mm x 63mm
	Astral
	Supreme
	Finolex
	Used to join two different sizes of pipes (75mm and 63mm).
	Each

	363
	PVC Shoe 110mm x 75mm
	Astral
	Supreme
	Finolex
	Used for transitioning between pipe sizes, e.g., 110mm to 75mm.
	Each

	364
	PVC Shoe 75mm (3")
	Astral
	Supreme
	Finolex
	75mm PVC shoe used to direct water flow in a specific direction.
	Each

	365
	PVC Socket 25mm
	Astral
	Supreme
	Finolex
	25mm PVC socket used to join two pipes of the same size.
	Each

	366
	PVC Socket 3"
	Astral
	Supreme
	Finolex
	3" PVC socket for standard pipe jointing.
	Each

	367
	PVC Socket 4"
	Astral
	Supreme
	Finolex
	4" PVC socket used for pipe-to-pipe connections.
	Each

	368
	PVC Socket 40mm
	Astral
	Supreme
	Finolex
	40mm PVC socket for small to medium-sized plumbing systems.
	Each

	369
	PVC Socket 4 x 3"
	Astral
	Supreme
	Finolex
	4 x 3" PVC socket used for reducing pipe sizes while connecting.
	Each

	370
	PVC Socket 6"
	Astral
	Supreme
	Finolex
	6" PVC socket for large pipe systems.
	Each

	371
	PVC Solvent 237ml
	Astral
	Supreme
	Finolex
	Solvent used for cleaning and preparing PVC pipes for joining.
	Each

	372
	PVC Solvent 473ml
	Astral
	Supreme
	Finolex
	Larger solvent container for PVC pipe preparation.
	Each

	373
	PVC Solvent 500ml
	Astral
	Supreme
	Finolex
	500ml PVC solvent for pipe bonding and joint sealing.
	Each

	374
	PVC Tee 25mm
	Astral
	Supreme
	Finolex
	25mm PVC tee used for small plumbing systems.
	Each

	375
	PVC Tee 40mm
	Astral
	Supreme
	Finolex
	40mm PVC tee used for joining pipes in various directions.
	Each

	376
	PVC Tee 50mm 2"
	Astral
	Supreme
	Finolex
	50mm (2") PVC tee for splitting water flow.
	Each

	377
	PVC Tee 6"
	Astral
	Supreme
	Finolex
	6" PVC tee for large water flow redirection.
	Each

	378
	PVC Tee 75mm
	Astral
	Supreme
	Finolex
	75mm PVC tee for larger diameter pipe applications.
	Each

	379
	PVC Tee 75mm x 87.5mm
	Astral
	Supreme
	Finolex
	Used to split water flow from 75mm to 87.5mm pipes.
	Each

	380
	PVC TEE 90MM
	Astral
	Supreme
	Finolex
	90mm PVC tee used for redirection of water flow in drainage.
	Each

	381
	PVC Valve 2.5" (65mm)
	Astral
	Supreme
	Finolex
	2.5" PVC valve used to regulate water flow in large plumbing systems.
	Each

	382
	PVC Vent Cowl 110mm (4")
	Astral
	Supreme
	Finolex
	110mm PVC vent cowl for air venting in sewer systems.
	Each

	383
	PVC Y Tee 75mm (3")
	Astral
	Supreme
	Finolex
	Y-shaped 75mm PVC tee for branching water flow.
	Each

	384
	Rubber Sheet
	-
	-
	-
	Used for sealing and cushioning in various plumbing systems.
	Each

	385
	Rubber Sheet 24" x 24"
	-
	-
	-
	Larger rubber sheet used for industrial applications.
	Each

	386
	Rubber Sheet 36" x 36"
	-
	-
	-
	Larger size rubber sheet for sealing tanks and drainage systems.
	Each

	387
	Rubber Sheet 4” for WC tank
	-
	-
	-
	Rubber sheet specifically for sealing WC tank connections.
	Each

	388
	Service Saddle 3" x 1" (6 kg. pressure)
	-
	-
	-
	Saddle for pipe connection under pressure.
	Each

	389
	Short Body Bib Cock
	Jaquar
	ESS
	Kohler
	Short body bib cock for use in outdoor and garden taps.
	Each

	390
	Shower Arm
	Jaquar
	ESS
	Kohler
	Shower arm for holding showerheads.
	Each

	391
	Shower Concealed Valve Set 15mm
	Jaquar
	ESS
	Kohler
	Concealed shower valve set for smooth water flow control.
	Each

	392
	Shower Stopper
	Jaquar
	ESS
	Kohler
	Stopper used for halting water flow in shower systems.
	Each

	393
	Sink 18" x 16"
	Jaquar
	ESS
	Kohler
	Standard-sized sink for kitchens and utility areas.
	Each

	394
	Sink Kitchen 37"x 18" x 8"
	Jaquar
	ESS
	Kohler
	Larger kitchen sink for higher utility needs.
	Each

	395
	Sink Mixer 
	ESS
	Jaquar
	Kohler
	Sink mixer with a Croma design for smooth water flow.
	Each

	396
	Sink Mixer WT Swivel Casted Spout
	Kohler
	ESS
	Jaquar
	Swivel sink mixer with casted spout for easy usage.
	Each

	397
	Sink Waste Coupling
	Jaquar
	ESS
	Kohler
	Waste coupling to connect sink to drainpipe.
	Each

	398
	SPINDLE 22*1.5 CROMA/TREND- ESS
	ESS
	-
	-
	Spindle for Jaquar’s Croma or Trend series faucets.
	Each

	399
	SPINDLE 22*1.5 SQUARE PUNCH-ESS
	ESS
	-
	-
	Square punch spindle for ESS brand faucets.
	Each

	400
	Sprinkler
	Jaquar
	ESS
	Kohler
	Sprinkler used for garden irrigation and landscape maintenance.
	Each

	401
	Sprinkler Gun
	Jaquar
	ESS
	Kohler
	Used for irrigation and gardening, provides a uniform water spray.
	Each

	402
	Steel Sink 18" * 16" * 8"
	Jaquar
	ESS
	Kohler
	High-quality steel sink suitable for kitchens or utility rooms.
	Each

	403
	Syphon Set (Urinal) Double System
	Jaquar
	ESS
	Kohler
	Urinal syphon for double flushing systems.
	Each

	404
	Syphon Set Single - PVC Cistern Tank
	Jaquar
	ESS
	Kohler
	Single syphon system for PVC cistern tanks.
	Each

	405
	Syphon Set (Urinal) Normal Single
	Jaquar
	ESS
	Kohler
	Normal single urinal syphon for basic flushing.
	Each

	406
	Teflon Tape (Techno Tape)
	M -seal
	-
	-
	Teflon tape used for sealing threads in plumbing applications.
	Each

	407
	Two Way Bib Cock (CP Bib Cock 2-in-1)
	Jaquar
	ESS
	Kohler
	Two-way bib cock suitable for multiple water outlet connections.
	Each

	408
	UPVC Bend 75mm
	Astral
	Supreme
	Finolex
	75mm UPVC bend for changing the direction of pipes in drainage.
	Each

	409
	UPVC Bend Shoe 80mm
	Astral
	Supreme
	Finolex
	80mm UPVC shoe for joining and turning pipes.
	Each

	410
	UPVC Brass Tee 1" x 1/2"
	Astral
	Supreme
	Finolex
	1" x 1/2" brass tee used for branching pipes of different sizes.
	Each

	411
	UPVC Elbow 1" (Sch. 80)
	Astral
	Supreme
	Finolex
	1" UPVC elbow for high-pressure systems.
	Each

	412
	UPVC Elbow 1/2" (Sch. 80)
	Astral
	Supreme
	Finolex
	1/2" UPVC elbow for small diameter pipe applications.
	Each

	413
	UPVC Elbow 1.25" (Sch. 80)
	Astral
	Supreme
	Finolex
	1.25" UPVC elbow for connecting pipes at a right angle.
	Each

	414
	UPVC Elbow 1.5" 40mm (Sch. 80)
	Astral
	Supreme
	Finolex
	1.5" 40mm UPVC elbow for residential and commercial piping.
	Each

	415
	UPVC Elbow 2" (Sch. 80)
	Astral
	Supreme
	Finolex
	2" UPVC elbow used for efficient water flow in pipes.
	Each

	416
	UPVC Elbow 3" 80mm (Sch. 40)
	Astral
	Supreme
	Finolex
	3" UPVC elbow for medium-duty pipe systems.
	Each

	417
	UPVC Elbow 3" (Sch. 80)
	Astral
	Supreme
	Finolex
	3" UPVC elbow for heavy-duty plumbing applications.
	Each

	418
	UPVC Elbow 3/4"
	Astral
	Supreme
	Finolex
	3/4" UPVC elbow for smaller diameter pipes.
	Each

	419
	UPVC Elbow 4"
	Astral
	Supreme
	Finolex
	4" UPVC elbow used for larger pipe connections.
	Each

	420
	UPVC End Cap 80MM
	Astral
	Supreme
	Finolex
	80mm UPVC end cap used to seal the end of pipes.
	Each

	421
	UPVC End Cap 6"
	Astral
	Supreme
	Finolex
	6" UPVC end cap for sealing large pipes.
	Each

	422
	UPVC FABT 25mm (Sch. 80)
	Astral
	Supreme
	Finolex
	25mm UPVC FABT used for branch connections.
	Each

	423
	UPVC FABT 1 1/4"
	Astral
	Supreme
	Finolex
	1 1/4" UPVC FABT for pipe junctions in drainage systems.
	Each

	424
	UPVC FABT 1.5"
	Astral
	Supreme
	Finolex
	1.5" UPVC FABT for large piping systems.
	Each

	425
	UPVC FABT 3"
	Astral
	Supreme
	Finolex
	3" UPVC FABT for commercial piping networks.
	Each

	426
	UPVC FABT 3/4"
	Astral
	Supreme
	Finolex
	3/4" UPVC FABT for standard plumbing sizes.
	Each

	427
	UPVC FAPT 1.5"
	Astral
	Supreme
	Finolex
	1.5" UPVC FAPT for strong connections.
	Each

	428
	UPVC FAPT 2"
	Astral
	Supreme
	Finolex
	2" UPVC FAPT for reliable pipe fittings.
	Each

	429
	UPVC FAPT 3"
	Astral
	Supreme
	Finolex
	3" UPVC FAPT used in large plumbing systems.
	Each

	430
	UPVC Flange 50mm (2")
	Astral
	Supreme
	Finolex
	50mm UPVC flange used for pipe joining.
	Each

	431
	UPVC Flange 80mm (3")
	Astral
	Supreme
	Finolex
	80mm UPVC flange for larger connections.
	Each

	432
	UPVC MABT 1" (Sch. 80)
	Astral
	Supreme
	Finolex
	1" UPVC MABT used for high-pressure water systems.
	Each

	433
	UPVC MABT 1/2" (Sch. 80)
	Astral
	Supreme
	Finolex
	1/2" UPVC MABT for small pipe applications.
	Each

	434
	UPVC MABT 1.5" 40mm (Sch. 40)
	Astral
	Supreme
	Finolex
	1.5" 40mm UPVC MABT for drainage and waste systems.
	Each

	435
	UPVC MABT 3"
	Astral
	Supreme
	Finolex
	3" UPVC MABT used for medium-duty installations.
	Each

	436
	UPVC MABT 3/4"
	Astral
	Supreme
	Finolex
	3/4" UPVC MABT used in various plumbing setups.
	Each

	437
	UPVC MAPT 25mm (Sch. 80)
	Astral
	Supreme
	Finolex
	25mm UPVC MAPT for pipe connections in drainage systems.
	Each

	438
	UPVC MAPT 1/2"
	Astral
	Supreme
	Finolex
	1/2" UPVC MAPT for small diameter pipes.
	Each

	439
	UPVC MAPT 2"
	Astral
	Supreme
	Finolex
	2" UPVC MAPT used for connecting pipes of similar sizes.
	Each

	440
	UPVC MAPT 3" (Sch. 80)
	Astral
	Supreme
	Finolex
	3" UPVC MAPT used in medium pressure water systems.
	Each

	441
	UPVC MAPT 4"
	Astral
	Supreme
	Finolex
	4" UPVC MAPT for larger systems, typically in industrial setups.
	Each

	442
	UPVC Pipe 1" (Sch. 80)
	Astral
	Supreme
	Finolex
	1" UPVC pipe for high-pressure plumbing systems.
	Each

	443
	UPVC Pipe 1/2" (Sch. 80)
	Astral
	Supreme
	Finolex
	1/2" UPVC pipe used for low-pressure applications.
	Each

	444
	UPVC Pipe 3" (Sch. 40)
	Astral
	Supreme
	Finolex
	3" UPVC pipe for medium-pressure drainage systems.
	Each

	445
	UPVC Pipe 40mm
	Astral
	Supreme
	Finolex
	40mm UPVC pipe used in smaller plumbing installations.
	Each

	446
	UPVC Pipe 50mm (2")
	Astral
	Supreme
	Finolex
	50mm UPVC pipe for main drainage lines.
	Each

	447
	UPVC Pipe 6" 160mm A Type
	Astral
	Supreme
	Finolex
	6" UPVC pipe used in large-scale piping networks.
	Each

	448
	UPVC Pipe 80mm (Sch. 80)
	Astral
	Supreme
	Finolex
	80mm UPVC pipe used in commercial applications.
	Each

	449
	UPVC Reducer Bush 1" x 1/2"
	Astral
	Supreme
	Finolex
	Reducer bush for connecting pipes of different diameters.
	Each

	450
	UPVC Reducer Bush 1 1/4" x 1" (Sch. 80)
	Astral
	Supreme
	Finolex
	1 1/4" x 1" reducer bush for joining pipes of different sizes.
	Each

	451
	UPVC Reducer Bush 1.25" x 1" (Sch.40)
	Astral
	Supreme
	Finolex
	1.25" x 1" UPVC reducer bush for connecting pipes of different diameters.
	Each

	452
	UPVC Reducer Bush 1.25" x 1.5"
	Astral
	Supreme
	Finolex
	1.25" x 1.5" UPVC reducer bush for transitioning pipe sizes.
	Each

	453
	UPVC Reducer Bush 1.25" x 2"
	Astral
	Supreme
	Finolex
	1.25" x 2" UPVC reducer bush used in larger pipe networks.
	Each

	454
	UPVC Reducer Bush 1.5" x 1"
	Astral
	Supreme
	Finolex
	1.5" x 1" UPVC reducer bush for reducing pipe size.
	Each

	455
	UPVC Reducer Bush 1.5" x 1 1/4"
	Astral
	Supreme
	Finolex
	1.5" x 1 1/4" UPVC reducer bush for efficient water flow.
	Each

	456
	UPVC Reducer Bush 160 x 110
	Astral
	Supreme
	Finolex
	160 x 110 UPVC reducer bush for larger drainage pipes.
	Each

	457
	UPVC Reducer Bush 2" x 1"
	Astral
	Supreme
	Finolex
	2" x 1" UPVC reducer bush for pipe systems in plumbing.
	Each

	458
	UPVC Reducer Bush 2" x 1.25"
	Astral
	Supreme
	Finolex
	2" x 1.25" UPVC reducer bush for residential plumbing.
	Each

	459
	UPVC Reducer Bush 2" x 3/4"
	Astral
	Supreme
	Finolex
	2" x 3/4" UPVC reducer bush for reducing pipe diameter.
	Each

	460
	UPVC Reducer Bush 2" x 1.5"
	Astral
	Supreme
	Finolex
	2" x 1.5" UPVC reducer bush for connecting medium-duty pipes.
	Each

	461
	UPVC Reducer Bush 3" x 2"
	Astral
	Supreme
	Finolex
	3" x 2" UPVC reducer bush used for large-scale plumbing systems.
	Each

	462
	UPVC Reducer Tee 1.25 x 1"
	Astral
	Supreme
	Finolex
	1.25" x 1" UPVC reducer tee for branching pipes.
	Each

	463
	UPVC Reducer Tee 1 x 1/2"
	Astral
	Supreme
	Finolex
	1" x 1/2" UPVC reducer tee for connecting small diameter pipes.
	Each

	464
	UPVC Reducer Tee 1 x 3/4"
	Astral
	Supreme
	Finolex
	1" x 3/4" UPVC reducer tee for splitting pipes.
	Each

	465
	UPVC Socket 1" (Sch.80)
	Astral
	Supreme
	Finolex
	1" UPVC socket for connecting high-pressure pipes.
	Each

	466
	UPVC Socket 1 1/4" (1.25")
	Astral
	Supreme
	Finolex
	1 1/4" UPVC socket for solid, durable connections.
	Each

	467
	UPVC Socket 1/2"
	Astral
	Supreme
	Finolex
	1/2" UPVC socket for low-pressure water systems.
	Each

	468
	UPVC Socket 1.5"
	Astral
	Supreme
	Finolex
	1.5" UPVC socket used in larger plumbing setups.
	Each

	469
	UPVC Socket 2" (Sch.80)
	Astral
	Supreme
	Finolex
	2" UPVC socket for high-pressure pipe connections.
	Each

	470
	UPVC Socket 3" (Sch.80)
	Astral
	Supreme
	Finolex
	3" UPVC socket for high-duty piping networks.
	Each

	471
	UPVC Socket 4"
	Astral
	Supreme
	Finolex
	4" UPVC socket for industrial piping systems.
	Each

	472
	UPVC Socket 80mm (Sch.40)
	Astral
	Supreme
	Finolex
	80mm UPVC socket for medium-pressure pipe applications.
	Each

	473
	UPVC Solvent 100ml
	Astral
	Supreme
	Finolex
	100ml UPVC solvent for sealing joints and connections.
	Each

	474
	UPVC Solvent 118ml
	Astral
	Supreme
	Finolex
	118ml UPVC solvent used for fast-drying and strong bonds.
	Each

	475
	UPVC Solvent 200ml
	Astral
	Supreme
	Finolex
	200ml solvent for larger applications in plumbing.
	Each

	476
	UPVC Solvent 237ml
	Astral
	Supreme
	Finolex
	237ml UPVC solvent for bonding pipes efficiently.
	Each

	477
	UPVC Solvent 473ml
	Astral
	Supreme
	Finolex
	473ml UPVC solvent for large-scale pipe installations.
	Each

	478
	UPVC Solvent 500ml
	Astral
	Supreme
	Finolex
	500ml UPVC solvent for high-volume plumbing work.
	Each

	479
	UPVC Tank Nipple 1"
	Astral
	Supreme
	Finolex
	1" UPVC tank nipple for connecting tanks and pipes.
	Each

	480
	UPVC Tee 1" (Sch.80)
	Astral
	Supreme
	Finolex
	1" UPVC tee for branching high-pressure systems.
	Each

	481
	UPVC Tee 1/2"
	Astral
	Supreme
	Finolex
	1/2" UPVC tee for small-scale plumbing applications.
	Each

	482
	UPVC Tee 1.25" (Sch.80)
	Astral
	Supreme
	Finolex
	1.25" UPVC tee used for medium-duty branching.
	Each

	483
	UPVC Tee 1.5"
	Astral
	Supreme
	Finolex
	1.5" UPVC tee for splitting water or drainage pipes.
	Each

	484
	UPVC Tee 2" (Sch.80)
	Astral
	Supreme
	Finolex
	2" UPVC tee for branching pipes in heavy-duty systems.
	Each

	485
	UPVC Tee 3"
	Astral
	Supreme
	Finolex
	3" UPVC tee for larger plumbing systems.
	Each

	486
	UPVC Tee 6" 160mm
	Astral
	Supreme
	Finolex
	6" UPVC tee for large industrial or commercial piping.
	Each

	487
	UPVC Union 1" (Sch.80)
	Astral
	Supreme
	Finolex
	1" UPVC union for quick connection and disconnection of pipes.
	Each

	488
	UPVC Union 1 1/4"
	Astral
	Supreme
	Finolex
	1 1/4" UPVC union for larger water systems.
	Each

	489
	UPVC Union 2"
	Astral
	Supreme
	Finolex
	2" UPVC union for connecting pipes of similar sizes.
	Each

	490
	UPVC Valve 1/2"
	Astral
	Supreme
	Finolex
	1/2" UPVC valve for controlling the flow of water.
	Each

	491
	Urinal
	Jaquar
	ESS
	Kohler
	Wall-mounted urinals for commercial or residential use.
	Each

	492
	Urinal Bracket
	Jaquar
	ESS
	Kohler
	Bracket for mounting urinals securely.
	Each

	493
	Urinal Connection 15mm
	Jaquar
	ESS
	Kohler
	15mm connection for urinals, often used in public restrooms.
	Each

	494
	Urinal Push Cock PVC
	Jaquar
	ESS
	Kohler
	PVC push cock for urinals to control water flow.
	Each

	495
	Urinal Spider PVC
	Jaquar
	ESS
	Kohler
	Spider fittings for urinals, providing multiple connections.
	Each

	496
	Urinal Spreader (Jibbi)
	Jaquar
	ESS
	Kohler
	Spreader for urinal fittings, used to evenly distribute water.
	Each

	497
	Urinal Waste Coupling
	Jaquar
	ESS
	Kohler
	Waste coupling for urinal drainage systems.
	Each

	498
	Urinal Waste Pipe PVC
	Jaquar
	ESS
	Kohler
	PVC waste pipe for urinals.
	Each

	499
	Wall Mounted Urinal Partitions
	Jaquar
	ESS
	Kohler
	Wall-mounted partitions for urinals in commercial spaces.
	Each

	500
	Wash Basin Model no. S2040102
	Jaquar
	ESS
	Kohler
	Designer wash basin for modern bathrooms.
	Each

	501
	Washbasin (1005 Under/Over Counter Washbasin)
	Cera
	Kohler
	Jaquar
	White ceramic under or over counter washbasin.
	Each

	502
	Washbasin Center Valve (3/4") Big
	Jaquar
	ESS
	Kohler
	3/4" valve for center-mounted washbasins.
	Each

	503
	Washbasin Mixer Tap
	Jaquar
	ESS
	Kohler
	Mixer tap for washbasins offering hot and cold water control.
	Each

	504
	Washbasin (Cliff Over Counter)
	Cera
	Kohler
	Jaquar
	Cliff series over-counter washbasin in white.
	Each

	505
	Water Closet (Universal EWC White)
	Jaquar
	ESS
	Kohler
	Universal white EWC (European Water Closet) for modern toilets.
	Each

	506
	Water Closet White 23" Indian Seat
	Jaquar
	ESS
	Kohler
	Traditional 23" white Indian seat water closet.
	Each

	507
	Water Hardness Testing Kit
	-
	-
	-
	Testing kit to measure water hardness levels.
	Each

	508
	WC Cistern Flush Fitting
	Jaquar
	ESS
	Kohler
	Flush fitting for WC cistern, facilitating water release.
	Each

	509
	WC Cistern Tank
	Jaquar
	ESS
	Kohler
	Cistern tank for water closet systems.
	Each

	510
	WC Seat Cover (Cera - Carina)
	Cera
	Kohler
	Jaquar
	Carina series WC seat cover from Cera.
	Each

	511
	WC Seat Cover (Cera - Ceranglo)
	Cera
	Kohler
	Jaquar
	Ceranglo series WC seat cover by Cera.
	Each

	512
	WC Seat Cover (Codi)
	Cera
	Kohler
	Jaquar
	Codi series WC seat cover from Cera.
	Each

	513
	WC Tank / PVC Cistern Tank
	Jaquar
	ESS
	Kohler
	PVC WC cistern tank used for water closet systems.
	Each


[bookmark: _Hlk214373706]

Note:
The makes/brands and models of the equipment/items have not been specified in the tender document at some places. The same shall be finalized during the Pre-Bid Meeting (shall be done on 2nd sept. 2026)/approval stage, as per CPWD norms or as per committee. The bidder shall quote/propose suitable makes and models and rates conforming to the technical specifications and approved standards stipulated in the tender document.



                                                                                                     Signature with seal




Annexure
To Whomsoever It May Concern
This is to confirm that we, the undersigned, intend to participate in Tender No. : 2026-27/Estate/2B/LNM-RC-Plumbing for the tender/work titled: “Bid for the “Rate contract for the plumbing items – yearly/ Biennial”. 

We hereby certify the following:
No Conflict of Interest:
1. We declare that we have no conflict of interest in participating in the above tender. We further confirm that we are not engaged in any activity or association that may compromise, or be perceived to compromise, our impartiality or ability to fulfil the obligations of the tender.

Undertaking on Blacklisting & Litigation (Self-Certificate):
2. We hereby undertake that:
· Our agency/firm has never been blacklisted or debarred by any Central Government, State Government, Union Territory administration, or any other Institution/Organization.
· There is no ongoing or past litigation against our agency/firm with any Central Government, State Government, Union Territory administration, or any other Institution/Organization on account of any services/supplies.
· If at any stage the above declaration is found to be false, the Institute shall have the right to take any action as deemed appropriate, including rejection of our bid.

Site Visit /Understanding:
3. We confirm that we have visited the site/clearly understood the requirements and expectations of the college authorities.

Scope of Work:
4. We have thoroughly reviewed the scope of work mentioned in the bid document. The entire inventory/requirement/work has been verified and found to be in order. We also confirm that no additional items beyond the listed inventory/requirement will be required for successful completion of the work. However, if any additional item is required during execution, the same shall be provided by us as per the requirement.


Bidder Details

Name of Bidder: ______________________________________

Address: _____________________________________________

Contact Person: _______________________________________

Mobile No.: ___________________________________________

Email ID: _____________________________________________

Authorized Signatory: __________________________________

Signature & Stamp: ____________________________________


Date: _________________
Place: ________________

Commercial Bid: (in separate sealed envelope/password protected file via email)

Bid for the Rate contract for the plumbing items – yearly/ Biennial 
(Tender No. : 2026-27/Estate/2B/LNM-RC-Plumbing)

	Sr. No
	Item Name
	Unit
	Rate 

	1
	Air Release Valve 25mm
	Each
	 

	2
	Angle Valve Water Cooler
	Each
	 

	3
	Angle Valve (ESS Croma C204)
	Each
	 

	4
	Angle Valve (Two Way)
	Each
	 

	5
	Ball Cock 1.25"
	Each
	 

	6
	Ball Cock 15mm (1/2")
	Each
	 

	7
	Ball Cock 20mm (3/4")
	Each
	 

	8
	Ball Cock 25mm (1")
	Each
	 

	9
	Ball Cock Set 1.5"
	Each
	 

	10
	Ball Cock Set 2"
	Each
	 

	11
	Ball Cock (Water Cooler) 15mm
	Each
	 

	12
	Bathroom Shower
	Each
	 

	13
	Bathroom Shower ARM 12'
	Each
	 

	14
	Bathroom Shower Valve 3/4"
	Each
	 

	15
	Bottle Trap
	Each
	 

	16
	Bottle Trap Pipe
	Each
	 

	17
	Bracket Set
	Each
	 

	18
	Brass Concealed Disk
	Each
	 

	19
	Butterfly Valve 2"
	Each
	 

	20
	Butterfly Valve 3"
	Each
	 

	21
	Butterfly Valve 4"
	Each
	 

	22
	Center Valve (Big)
	Each
	 

	23
	Center Valve Spindle
	Each
	 

	24
	Centre Valve (1/2" Small - Body)
	Each
	 

	25
	Chand for Basin Mixer
	Each
	 

	26
	CI Casing Cover 2"
	Each
	 

	27
	Cistern Ball Cock (1/2") Small
	Each
	 

	28
	Cistern Ball Cock Big
	Each
	 

	29
	Cistern Fitting Bolt
	Each
	 

	30
	Concealed Body 1/2"
	Each
	 

	31
	Concealed Face (3/4 inches)
	Each
	 

	32
	Concealed Face (Jaquar Type)
	Each
	 

	33
	Concealed Valve Upper Parts
	Each
	 

	34
	Concealed Center Valve
	Each
	 

	35
	Course Bubble Diffuser Size 150 mm
	Each
	 

	36
	CP Brass Hose Nipple Male Hose
	Each
	 

	37
	CP Health Faucet Chain
	Each
	 

	38
	CP Hex Nipple 15mm (1/2")
	Each
	 

	39
	CP Hex Nipple 25mm
	Each
	 

	40
	CP Tube 18"
	Each
	 

	41
	CP Tube Washer - Washer
	Each
	 

	42
	CPVC 1.25" MABT
	Each
	 

	43
	CPVC 1.25" FABT
	Each
	 

	44
	CPVC 50mm FABT
	Each
	 

	45
	CPVC 50mm Pipes
	Each
	 

	46
	CPVC Bend - Plain 110mm (4")
	Each
	 

	47
	CPVC Brass Elbow 1/2" x 1/2"
	Each
	 

	48
	CPVC Brass Elbow 3/4" x 3/4"
	Each
	 

	49
	CPVC Brass Tee 1" x 1/2" (25mm x 15mm)
	Each
	 

	50
	CPVC Brass Tee 1/2" x 1/2"
	Each
	 

	51
	CPVC Brass Tee 20x15mm
	Each
	 

	52
	CPVC Brass Tee 20x20mm 3/4"
	Each
	 

	53
	CPVC Data 1/2"
	Each
	 

	54
	CPVC Elbow 1"
	Each
	 

	55
	CPVC Elbow 1 1/4" (32mm)
	Each
	 

	56
	CPVC Elbow 1/2" (15mm)
	Each
	 

	57
	CPVC Elbow 1.5" (40mm)
	Each
	 

	58
	CPVC Elbow 2.5"
	Each
	 

	59
	CPVC Elbow 3"
	Each
	 

	60
	CPVC Elbow 3/4" 20mm
	Each
	 

	61
	CPVC Elbow 4"
	Each
	 

	62
	CPVC Elbow 50mm "2"
	Each
	 

	63
	CPVC End Cap 1"
	Each
	 

	64
	CPVC End Cap 1.25"
	Each
	 

	65
	CPVC End Cap 1.5"
	Each
	 

	66
	CPVC End Cap 2"
	Each
	 

	67
	CPVC End Cap 3"
	Each
	 

	68
	CPVC End Cap 3/4"
	Each
	 

	69
	CPVC End Cap 4"
	Each
	 

	70
	CPVC FABT 1" 25mm
	Each
	 

	71
	CPVC FABT 1/2" 15mm
	Each
	 

	72
	CPVC FABT 20x15mm
	Each
	 

	73
	CPVC FABT 2 1/2"
	Each
	 

	74
	CPVC FABT 3/4"
	Each
	 

	75
	CPVC FABT 40mm
	Each
	 

	76
	CPVC FAPT 1.25" 32mm
	Each
	 

	77
	CPVC FAPT 2"
	Each
	 

	78
	CPVC FAPT 3"
	Each
	 

	79
	CPVC FAPT 3/4"
	Each
	 

	80
	CPVC FAPT 4"
	Each
	 

	81
	CPVC FAPT 40mm 1.5"
	Each
	 

	82
	CPVC Flange 4"
	Each
	 

	83
	CPVC Handle Valve 25mm 1"
	Each
	 

	84
	CPVC MABT 1"
	Each
	 

	85
	CPVC MABT 1/2"
	Each
	 

	86
	CPVC MABT 1.5"
	Each
	 

	87
	CPVC MABT 2"
	Each
	 

	88
	CPVC MABT 2.5"
	Each
	 

	89
	CPVC MABT 3/4" (3/4" x 1/2" MABT)
	Each
	 

	90
	CPVC MABT 3/4" x 3/4"
	Each
	 

	91
	CPVC MAPT 1"
	Each
	 

	92
	CPVC MAPT 1/2" X 3/4"
	Each
	 

	93
	CPVC MAPT 1.25"
	Each
	 

	94
	CPVC MAPT 3"
	Each
	 

	95
	CPVC MAPT 3/4"
	Each
	 

	96
	CPVC MAPT 4"
	Each
	 

	97
	CPVC MAPT 40mm 1.5"
	Each
	 

	98
	CPVC MAPT 50mm "2"
	Each
	 

	99
	CPVC Pipe 1/2"
	Each
	 

	100
	CPVC Pipe 2"
	Each
	 

	101
	CPVC Pipe 20mm 3/4" (SDR-11)
	Each
	 

	102
	CPVC Pipe 2.5"
	Each
	 

	103
	CPVC Pipe 25mm
	Each
	 

	104
	CPVC Pipe 3"
	Each
	 

	105
	CPVC Pipe 32mm
	Each
	 

	106
	CPVC Pipe 4"
	Each
	 

	107
	CPVC Pipe 40mm
	Each
	 

	108
	CPVC Reducer Brass Elbow 20mm x 15mm
	Each
	 

	109
	CPVC Reducer Brass Tee 1" x 1/2"
	Each
	 

	110
	CPVC Reducer Brass Tee 20 x 15mm
	Each
	 

	111
	CPVC Reducer Bush 1" x 3/4"
	Each
	 

	112
	CPVC Reducer Bush 110 x 75 (4" x 3")
	Each
	 

	113
	CPVC Reducer Bush 1.25" x 1"
	Each
	 

	114
	CPVC Reducer Bush 1.25" x 3/4"
	Each
	 

	115
	CPVC Reducer Bush 1.5" x 1.25"
	Each
	 

	116
	CPVC Reducer Bush 2" x 1"
	Each
	 

	117
	CPVC Reducer Bush 2" x 1.25"
	Each
	 

	118
	CPVC Reducer Bush 2" x 1.5"
	Each
	 

	119
	CPVC Reducer Bush 2 1/2" x 1"
	Each
	 

	120
	CPVC Reducer Bush 2.5" x 2"
	Each
	 

	121
	CPVC Reducer Bush 4" x 3"
	Each
	 

	122
	CPVC Reducer Bush 40MM x 20MM
	Each
	 

	123
	CPVC Reducer Bush 40x25 (1.5 x 1)
	Each
	 

	124
	CPVC Reducer Bush 8050 32
	Each
	 

	125
	CPVC Reducer Elbow 3/4" x 1/2"
	Each
	 

	126
	CPVC Reducer Socket 1 x 3/4"
	Each
	 

	127
	CPVC Reducer Socket 3/4" x 1/2"
	Each
	 

	128
	CPVC Reducer Tee 2" x 3/4"
	Each
	 

	129
	CPVC Reducer Tee 1" x 1/2"
	Each
	 

	130
	CPVC Reducer Tee 1" x 3/4"
	Each
	 

	131
	CPVC Reducer Tee 1 1/4" x 3/4"
	Each
	 

	132
	CPVC Reducer Tee 1.25" x 2"
	Each
	 

	133
	CPVC Reducer Tee 2" x 1"
	Each
	 

	134
	CPVC Reducer Tee 3" x 1"
	Each
	 

	135
	CPVC Reducer Tee 3" x 2"
	Each
	 

	136
	CPVC Reducer Tee 4" x 3"
	Each
	 

	137
	CPVC Reducer Tee 40MM x 20MM
	Each
	 

	138
	CPVC Socket 32mm 1 1/4"
	Each
	 

	139
	CPVC Socket 40mm 1 1/2"
	Each
	 

	140
	CPVC Socket 1"
	Each
	 

	141
	CPVC Socket 1/2" 15mm
	Each
	 

	142
	CPVC Socket 2" 50mm
	Each
	 

	143
	CPVC Socket 2.5"
	Each
	 

	144
	CPVC Socket 3"
	Each
	 

	145
	CPVC Socket 3/4"
	Each
	 

	146
	CPVC Socket 4"
	Each
	 

	147
	CPVC Solvent 100ml
	Each
	 

	148
	CPVC Solvent 118ml
	Each
	 

	149
	CPVC Solvent 200ml
	Each
	 

	150
	CPVC Solvent 237ml
	Each
	 

	151
	CPVC Solvent 500ml
	Each
	 

	152
	CPVC Solvent 946ml
	Each
	 

	153
	CPVC Tank Connection 2"
	Each
	 

	154
	CPVC Tank Nipple 1"
	Each
	 

	155
	CPVC Tank Nipple 1/2"
	Each
	 

	156
	CPVC Tank Nipple 1.25"
	Each
	 

	157
	CPVC Tank Nipple 1.5"
	Each
	 

	158
	CPVC Tank Nipple 3/4"
	Each
	 

	159
	CPVC Tee 40mm (1 1/2")
	Each
	 

	160
	CPVC Tee 1 1/4" 32mm
	Each
	 

	161
	CPVC Tee 1/2" 15mm
	Each
	 

	162
	CPVC Tee 1 x 3/4"
	Each
	 

	163
	CPVC Tee 2" 50mm
	Each
	 

	164
	CPVC Tee 2.5"
	Each
	 

	165
	CPVC Tee 3/4" 20mm
	Each
	 

	166
	CPVC Tee 4"
	Each
	 

	167
	CPVC Tee 4" x 1 1/4"
	Each
	 

	168
	CPVC Union 1"
	Each
	 

	169
	CPVC Union 1 1/4" 32mm
	Each
	 

	170
	CPVC Union 1/2" 15mm
	Each
	 

	171
	CPVC Union 1.5"
	Each
	 

	172
	CPVC Union 2" 50mm
	Each
	 

	173
	CPVC Union 3"
	Each
	 

	174
	CPVC Union 3/4" 20mm
	Each
	 

	175
	Extension Piece 1/2" x 1"
	Each
	 

	176
	Extension Piece 1/2" x 2"
	Each
	 

	177
	Extension Piece 1/2" x 3"
	Each
	 

	178
	Extension Piece 1/2" (CP Extension 1/2")
	Each
	 

	179
	Fine Bubble Diffuser Size 90 x 1000 mm
	Each
	 

	180
	Flange Brass CP
	Each
	 

	181
	Flush Button (Cistern)
	Each
	 

	182
	Flushing Valve System (Diverter Set)
	Each
	 

	183
	Flush valve complete
	Each
	 

	184
	Garden Pipe 1/2"
	Each
	 

	185
	Garden Pipe 1.25"
	Each
	 

	186
	Garden Pipe 3/4"
	Each
	 

	187
	Gas Kit 110mm
	Each
	 

	188
	GI 2" Clamp
	Each
	 

	189
	GI 25mm Data
	Each
	 

	190
	GI 32mm Data
	Each
	 

	191
	GI 40mm Data
	Each
	 

	192
	GI Bend 2"
	Each
	 

	193
	GI Cap Plug 1" 25mm (Inner threads Female Plug)
	Each
	 

	194
	GI Cap Plug 1.25" 32mm (Inner threads Female Plug)
	Each
	 

	195
	GI Cap Plug 1.5" 40mm (Inner threads Female Plug)
	Each
	 

	196
	GI Clamp
	Each
	 

	197
	GI DATA 3"
	Each
	 

	198
	GI Elbow 1" (25mm)
	Each
	 

	199
	GI Elbow 1.25" (32mm)
	Each
	 

	200
	GI Elbow 1.5"
	Each
	 

	201
	GI Elbow 15MM
	Each
	 

	202
	GI Elbow 2"
	Each
	 

	203
	GI Elbow 2.5"
	Each
	 

	204
	GI Elbow 3" 75mm
	Each
	 

	205
	GI Elbow 3/4"
	Each
	 

	206
	GI Flange 1" 25mm
	Each
	 

	207
	GI Flange 2"
	Each
	 

	208
	GI Flange 3" (75mm)
	Each
	 

	209
	GI Flange 3/4"
	Each
	 

	210
	GI Flange 4"
	Each
	 

	211
	GI Flange 40mm
	Each
	 

	212
	GI Flange 2"
	Each
	 

	213
	GI Hex Nipple 25MM
	Each
	 

	214
	GI Hook
	Each
	 

	215
	GI/MS Reducer Bush 3x 2.5"
	Each
	 

	216
	GI Nipple 1" x 12"
	Each
	 

	217
	GI Nipple 1" x 1.5" (25mm)
	Each
	 

	218
	GI Nipple 1" x 2"
	Each
	 

	219
	GI Nipple 1" x 3" (25mm)
	Each
	 

	220
	GI Nipple 1" x 4" (25mm)
	Each
	 

	221
	GI Nipple 1" x 6" (25mm)
	Each
	 

	222
	GI Nipple 1" x 9" (25mm)
	Each
	 

	223
	GI Nipple 1/2" x 2"
	Each
	 

	224
	GI Nipple 1/2" x 3"
	Each
	 

	225
	GI Nipple 1/2" x 4"
	Each
	 

	226
	GI Nipple 1/2" x 6"
	Each
	 

	227
	GI Nipple 1/2" x 9"
	Each
	 

	228
	GI Nipple 1.25" x 3"
	Each
	 

	229
	GI Nipple 1.25" x 6"
	Each
	 

	230
	GI Nipple 1.25" x 9"
	Each
	 

	231
	GI Nipple 1.5" x 2" (40mm)
	Each
	 

	232
	GI Nipple 1.5" x 3" (40mm)
	Each
	 

	233
	GI Nipple 1.5" x 4"
	Each
	 

	234
	GI Nipple 1.5" x 6" (40mm)
	Each
	 

	235
	GI Nipple 1.5" x 9" (40mm)
	Each
	 

	236
	GI Nipple 2" x 12"
	Each
	 

	237
	GI Nipple 2" x 1.5"
	Each
	 

	238
	GI Nipple 2" x 2"
	Each
	 

	239
	GI Nipple 2" x 3.6"
	Each
	 

	240
	GI Nipple 2" x 4"
	Each
	 

	241
	GI Nipple 2" x 6"
	Each
	 

	242
	GI Nipple 2" x 9"
	Each
	 

	243
	GI Nipple 2.5" x 2"
	Each
	 

	244
	GI Nipple 3" x 3"
	Each
	 

	245
	GI Nipple 3" x 6"
	Each
	 

	246
	GI Nipple 3" x 9" (75mm)
	Each
	 

	247
	GI Nipple 3/4" x 4"
	Each
	 

	248
	GI Nipple 3/4" x 6"
	Each
	 

	249
	GI Nipple 4" x 12" (100mm)
	Each
	 

	250
	GI Nut Bolt 1.5"
	Each
	 

	251
	GI Pipe 2" with Flange 6mtr.
	Each
	 

	252
	GI Pipe 3/4" (6mtr.) 20mm
	Each
	 

	253
	GI Plug 1" (25mm) (Outer threads)
	Each
	 

	254
	GI Plug 1.25" (32mm) (Outer threads)
	Each
	 

	255
	GI Plug 1.5" (40mm) (Outer threads)
	Each
	 

	256
	GI Plug 15mm (1/2") (Outer threads)
	Each
	 

	257
	GI Plug 2" (50mm)
	Each
	 

	258
	GI Reducer Bush 2" x 2.5"
	Each
	 

	259
	GI Reducer Elbow 1" x 3/4"
	Each
	 

	260
	GI Reducer Elbow 1.25" x 3/4"
	Each
	 

	261
	GI Reducer Elbow 3/4" x 1/2"
	Each
	 

	262
	GI Reducer Socket 1" x 3/4" 25mm
	Each
	 

	263
	GI Reducer Socket 3" x 4"
	Each
	 

	264
	GI Reducer Tee 1" x 1/2" (25mm)
	Each
	 

	265
	GI Reducer Tee 2" x 1"
	Each
	 

	266
	GI Reducer Tee 3/4" x 1/2"
	Each
	 

	267
	GI Socket 1" (25mm)
	Each
	 

	268
	GI Socket 1/2" (15mm)
	Each
	 

	269
	GI Socket 1.25"
	Each
	 

	270
	GI Socket 1.5" (32mm)
	Each
	 

	271
	GI Socket 2"
	Each
	 

	272
	GI Socket 3" (75mm)
	Each
	 

	273
	GI Socket 3/4"
	Each
	 

	274
	GI Socket 4"
	Each
	 

	275
	GI Tank Nipple 1"
	Each
	 

	276
	GI Tank Nipple 1.5"
	Each
	 

	277
	GI Tee 1"
	Each
	 

	278
	GI Tee 1/2" (15mm)
	Each
	 

	279
	GI Tee 1.5" (40mm)
	Each
	 

	280
	GI Tee 2"
	Each
	 

	281
	GI Tee 3/4" (20mm)
	Each
	 

	282
	GI Union 1" (25mm)
	Each
	 

	283
	GI Union 1.25" (32mm)
	Each
	 

	284
	GI Union 1.5"
	Each
	 

	285
	GI Union 2.5"
	Each
	 

	286
	GI Union 3" (75mm)
	Each
	 

	287
	GI X-Nipple 1/2"
	Each
	 

	288
	Grab Bar 400mm
	Each
	 

	289
	Group Nipple 2.5" x 12" (2x2.5")
	Each
	 

	290
	Group Nipple 2.5" x 9" (2x2.5")
	Each
	 

	291
	Handle Valve 15mm (1/2")
	Each
	 

	292
	Handle Valve 2.5"
	Each
	 

	293
	Handle Valve 25mm 1"
	Each
	 

	294
	Handle Valve 3"
	Each
	 

	295
	Handle Valve/Ball Valve 20mm (3/4")
	Each
	 

	296
	Handle Valve / Ball Valve 32mm (1 1/4")
	Each
	 

	297
	Handle Valve/Ball Valve 40mm (1.5")
	Each
	 

	298
	Handle Valve/Ball Valve 50mm (2")
	Each
	 

	299
	Health Faucet
	Each
	 

	300
	Health Faucet Connection Pipe
	Each
	 

	301
	Holdar Jali (Gritting)
	Each
	 

	302
	Jet Spray Multi
	Each
	 

	303
	Long Body Bib Cock
	Each
	 

	304
	Mixer Connection Pipe
	Each
	 

	305
	Multi Trap 4 x 3"
	Each
	 

	306
	Non Return Valve 1" (NRV)
	Each
	 

	307
	Non Return Valve 1.25" (NRV)
	Each
	 

	308
	Non Return Valve 2" (NRV)
	Each
	 

	309
	Non Return Valve 2.5" (NRV)
	Each
	 

	310
	Non Return Valve 3" (NRV)
	Each
	 

	311
	Non Return Valve 3/4" (NRV)
	Each
	 

	312
	Pillar Cock
	Each
	 

	313
	PVC 45 Degree Bend 3"
	Each
	 

	314
	PVC 45 Degree Bend 4"
	Each
	 

	315
	PVC Bend 75 mm
	Each
	 

	316
	PVC Bend Shoe 110mm
	Each
	 

	317
	PVC Bottle Trap
	Each
	 

	318
	PVC Bush 1 1/3 x 3/4"
	Each
	 

	319
	PVC Connection Pipe
	Each
	 

	320
	PVC Cowl 160mm
	Each
	 

	321
	PVC Door Bend 110mm
	Each
	 

	322
	PVC Door Tee 4"
	Each
	 

	323
	PVC Door Tee 4 x 3"
	Each
	 

	324
	PVC Elbow 25mm
	Each
	 

	325
	PVC Elbow 40mm
	Each
	 

	326
	PVC Elbow 50 mm
	Each
	 

	327
	PVC Elbow 6"
	Each
	 

	328
	PVC Elbow 75mm
	Each
	 

	329
	PVC End Cap 3"
	Each
	 

	330
	PVC End Cap 6"
	Each
	 

	331
	PVC Fapt 50 mm
	Each
	 

	332
	PVC FAPT 75mm x 63mm
	Each
	 

	333
	PVC Gully - Trap 6"
	Each
	 

	334
	PVC Long Bend Pipe
	Each
	 

	335
	PVC MAPT 32mm x 32mm
	Each
	 

	336
	PVC MAPT 40mm x 40mm
	Each
	 

	337
	PVC MAPT 63mm
	Each
	 

	338
	PVC MAPT 75mm
	Each
	 

	339
	PVC MAPT 90mm
	Each
	 

	340
	PVC Multi Trap 110mm
	Each
	 

	341
	PVC Nan Trap 3"
	Each
	 

	342
	PVC Nan Trap 4" x 3"
	Each
	 

	343
	PVC O Ring Plain Bend 110mm
	Each
	 

	344
	PVC Pipe 110mm
	Each
	 

	345
	PVC Pipe 160mm
	Each
	 

	346
	PVC Pipe 4"
	Each
	 

	347
	PVC Pipe 40mm
	Each
	 

	348
	PVC Pipe 50mm
	Each
	 

	349
	PVC Pipe 6"
	Each
	 

	350
	PVC Pipe 75mm (3") (SWR Pipe)
	Each
	 

	351
	PVC Pipe (Washing Machine)
	Each
	 

	352
	PVC Plain Bend 4"
	Each
	 

	353
	PVC Plain Tee 3"
	Each
	 

	354
	PVC Plain Tee 4"
	Each
	 

	355
	PVC Plain Tee 4 x 3"
	Each
	 

	356
	PVC Plug (Data)
	Each
	 

	357
	PVC P Trap 110mm
	Each
	 

	358
	PVC Reducer Bush 110mm x 75mm (4" x 3")
	Each
	 

	359
	PVC Reducer Bush 75mm x 50mm
	Each
	 

	360
	PVC Reducer Bush 90mm x 75mm
	Each
	 

	361
	PVC Reducer Tee 90mm x 63mm
	Each
	 

	362
	PVC Reducer Socket 75mm x 63mm
	Each
	 

	363
	PVC Shoe 110mm x 75mm
	Each
	 

	364
	PVC Shoe 75mm (3")
	Each
	 

	365
	PVC Socket 25mm
	Each
	 

	366
	PVC Socket 3"
	Each
	 

	367
	PVC Socket 4"
	Each
	 

	368
	PVC Socket 40mm
	Each
	 

	369
	PVC Socket 4 x 3"
	Each
	 

	370
	PVC Socket 6"
	Each
	 

	371
	PVC Solvent 237ml
	Each
	 

	372
	PVC Solvent 473ml
	Each
	 

	373
	PVC Solvent 500ml
	Each
	 

	374
	PVC Tee 25mm
	Each
	 

	375
	PVC Tee 40mm
	Each
	 

	376
	PVC Tee 50mm 2"
	Each
	 

	377
	PVC Tee 6"
	Each
	 

	378
	PVC Tee 75mm
	Each
	 

	379
	PVC Tee 75mm x 87.5mm
	Each
	 

	380
	PVC TEE 90MM
	Each
	 

	381
	PVC Valve 2.5" (65mm)
	Each
	 

	382
	PVC Vent Cowl 110mm (4")
	Each
	 

	383
	PVC Y Tee 75mm (3")
	Each
	 

	384
	Rubber Sheet
	Each
	 

	385
	Rubber Sheet 24" x 24"
	Each
	 

	386
	Rubber Sheet 36" x 36"
	Each
	 

	387
	Rubber Sheet 4” for WC tank
	Each
	 

	388
	Service Saddle 3" x 1" (6 kg. pressure)
	Each
	 

	389
	Short Body Bib Cock
	Each
	 

	390
	Shower Arm
	Each
	 

	391
	Shower Concealed Valve Set 15mm
	Each
	 

	392
	Shower Stopper
	Each
	 

	393
	Sink 18" x 16"
	Each
	 

	394
	Sink Kitchen 37"x 18" x 8"
	Each
	 

	395
	Sink Mixer (ESS Croma C219A)
	Each
	 

	396
	Sink Mixer WT Swivel Casted Spout (Hindware)
	Each
	 

	397
	Sink Waste Coupling
	Each
	 

	398
	SPINDLE 22*1.5 CROMA/TREND- ESS
	Each
	 

	399
	SPINDLE 22*1.5 SQUARE PUNCH-ESS
	Each
	 

	400
	Sprinkler
	Each
	 

	401
	Sprinkler Gun
	Each
	 

	402
	Steel Sink 18" * 16" * 8"
	Each
	 

	403
	Syphon Set (Urinal) Double System
	Each
	 

	404
	Syphon Set Single - PVC Cistern Tank
	Each
	 

	405
	Syphon Set (Urinal) Normal Single
	Each
	 

	406
	Teflon Tape (Techno Tape)
	Each
	 

	407
	Two Way Bib Cock (CP Bib Cock 2-in-1)
	Each
	 

	408
	UPVC Bend 75mm
	Each
	 

	409
	UPVC Bend Shoe 80mm
	Each
	 

	410
	UPVC Brass Tee 1" x 1/2"
	Each
	 

	411
	UPVC Elbow 1" (Sch. 80)
	Each
	 

	412
	UPVC Elbow 1/2" (Sch. 80)
	Each
	 

	413
	UPVC Elbow 1.25" (Sch. 80)
	Each
	 

	414
	UPVC Elbow 1.5" 40mm (Sch. 80)
	Each
	 

	415
	UPVC Elbow 2" (Sch. 80)
	Each
	 

	416
	UPVC Elbow 3" 80mm (Sch. 40)
	Each
	 

	417
	UPVC Elbow 3" (Sch. 80)
	Each
	 

	418
	UPVC Elbow 3/4"
	Each
	 

	419
	UPVC Elbow 4"
	Each
	 

	420
	UPVC End Cap 80MM
	Each
	 

	421
	UPVC End Cap 6"
	Each
	 

	422
	UPVC FABT 25mm (Sch. 80)
	Each
	 

	423
	UPVC FABT 1 1/4"
	Each
	 

	424
	UPVC FABT 1.5"
	Each
	 

	425
	UPVC FABT 3"
	Each
	 

	426
	UPVC FABT 3/4"
	Each
	 

	427
	UPVC FAPT 1.5"
	Each
	 

	428
	UPVC FAPT 2"
	Each
	 

	429
	UPVC FAPT 3"
	Each
	 

	430
	UPVC Flange 50mm (2")
	Each
	 

	431
	UPVC Flange 80mm (3")
	Each
	 

	432
	UPVC MABT 1" (Sch. 80)
	Each
	 

	433
	UPVC MABT 1/2" (Sch. 80)
	Each
	 

	434
	UPVC MABT 1.5" 40mm (Sch. 40)
	Each
	 

	435
	UPVC MABT 3"
	Each
	 

	436
	UPVC MABT 3/4"
	Each
	 

	437
	UPVC MAPT 25mm (Sch. 80)
	Each
	 

	438
	UPVC MAPT 1/2"
	Each
	 

	439
	UPVC MAPT 2"
	Each
	 

	440
	UPVC MAPT 3" (Sch. 80)
	Each
	 

	441
	UPVC MAPT 4"
	Each
	 

	442
	UPVC Pipe 1" (Sch. 80)
	Each
	 

	443
	UPVC Pipe 1/2" (Sch. 80)
	Each
	 

	444
	UPVC Pipe 3" (Sch. 40)
	Each
	 

	445
	UPVC Pipe 40mm
	Each
	 

	446
	UPVC Pipe 50mm (2")
	Each
	 

	447
	UPVC Pipe 6" 160mm A Type
	Each
	 

	448
	UPVC Pipe 80mm (Sch. 80)
	Each
	 

	449
	UPVC Reducer Bush 1" x 1/2"
	Each
	 

	450
	UPVC Reducer Bush 1 1/4" x 1" (Sch. 80)
	Each
	 

	451
	UPVC Reducer Bush 1.25" x 1" (Sch.40)
	Each
	 

	452
	UPVC Reducer Bush 1.25" x 1.5"
	Each
	 

	453
	UPVC Reducer Bush 1.25" x 2"
	Each
	 

	454
	UPVC Reducer Bush 1.5" x 1"
	Each
	 

	455
	UPVC Reducer Bush 1.5" x 1 1/4"
	Each
	 

	456
	UPVC Reducer Bush 160 x 110
	Each
	 

	457
	UPVC Reducer Bush 2" x 1"
	Each
	 

	458
	UPVC Reducer Bush 2" x 1.25"
	Each
	 

	459
	UPVC Reducer Bush 2" x 3/4"
	Each
	 

	460
	UPVC Reducer Bush 2" x 1.5"
	Each
	 

	461
	UPVC Reducer Bush 3" x 2"
	Each
	 

	462
	UPVC Reducer Tee 1.25 x 1"
	Each
	 

	463
	UPVC Reducer Tee 1 x 1/2"
	Each
	 

	464
	UPVC Reducer Tee 1 x 3/4"
	Each
	 

	465
	UPVC Socket 1" (Sch.80)
	Each
	 

	466
	UPVC Socket 1 1/4" (1.25")
	Each
	 

	467
	UPVC Socket 1/2"
	Each
	 

	468
	UPVC Socket 1.5"
	Each
	 

	469
	UPVC Socket 2" (Sch.80)
	Each
	 

	470
	UPVC Socket 3" (Sch.80)
	Each
	 

	471
	UPVC Socket 4"
	Each
	 

	472
	UPVC Socket 80mm (Sch.40)
	Each
	 

	473
	UPVC Solvent 100ml
	Each
	 

	474
	UPVC Solvent 118ml
	Each
	 

	475
	UPVC Solvent 200ml
	Each
	 

	476
	UPVC Solvent 237ml
	Each
	 

	477
	UPVC Solvent 473ml
	Each
	 

	478
	UPVC Solvent 500ml
	Each
	 

	479
	UPVC Tank Nipple 1"
	Each
	 

	480
	UPVC Tee 1" (Sch.80)
	Each
	 

	481
	UPVC Tee 1/2"
	Each
	 

	482
	UPVC Tee 1.25" (Sch.80)
	Each
	 

	483
	UPVC Tee 1.5"
	Each
	 

	484
	UPVC Tee 2" (Sch.80)
	Each
	 

	485
	UPVC Tee 3"
	Each
	 

	486
	UPVC Tee 6" 160mm
	Each
	 

	487
	UPVC Union 1" (Sch.80)
	Each
	 

	488
	UPVC Union 1 1/4"
	Each
	 

	489
	UPVC Union 2"
	Each
	 

	490
	UPVC Valve 1/2"
	Each
	 

	491
	Urinal
	Each
	 

	492
	Urinal Bracket
	Each
	 

	493
	Urinal Connection 15mm
	Each
	 

	494
	Urinal Push Cock PVC
	Each
	 

	495
	Urinal Spider PVC
	Each
	 

	496
	Urinal Spreader (Jibbi)
	Each
	 

	497
	Urinal Waste Coupling
	Each
	 

	498
	Urinal Waste Pipe PVC
	Each
	 

	499
	Wall Mounted Urinal Partitions
	Each
	 

	500
	Wash Basin Model no. S2040102
	Each
	 

	501
	Washbasin (1005 Under/Over Counter Washbasin)
	Each
	 

	502
	Washbasin Center Valve (3/4") Big
	Each
	 

	503
	Washbasin Mixer Tap
	Each
	 

	504
	Washbasin (S20130125/1087 Cliff Over Counter)
	Each
	 

	505
	Water Closet (Universal EWC White)
	Each
	 

	506
	Water Closet White 23" Indian Seat
	Each
	 

	507
	Water Hardness Testing Kit
	Each
	 

	508
	WC Cistern Flush Fitting
	Each
	 

	509
	WC Cistern Tank
	Each
	 

	510
	WC Seat Cover (Cera - Carina)
	Each
	 

	511
	WC Seat Cover (Cera - Ceranglo)
	Each
	 

	512
	WC Seat Cover (Codi)
	Each
	 

	513
	WC Tank / PVC Cistern Tank
	Each
	 



GENERAL TERMS AND CONDITIONS:
1. All applicable taxes such as GST must be clearly mentioned. If not specified, it shall be deemed that all such charges are included in the quoted price.
2. If the supplier does not have a particular item or proposes a different make than that specified in the tender, the same must be clearly highlighted in the bid.
3. Prices must be inclusive of all charges such as packing, forwarding, transit insurance, transportation, loading, unloading (up to 50 meters), installation, and any other incidental expenses.
4. Bid must be submitted on an F.O.R. basis for delivery at: The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur – 302031.
5. Bid shall remain valid for a minimum period of 60 days. No change in prices will be accepted during the validity period.
6. The LNMIIT reserves the right to reject any quotation without assigning any reason.
7. Payment terms shall be mutually decided and agreed upon between the Institute and the vendor.
8. The bidder must submit a No Conflict of Interest Declaration along with the bid.
9. The bid must be submitted on the company’s letterhead and in the LNMIIT-prescribed format only.
10. Any item or service not being supplied by the bidder must be clearly mentioned separately in the bid.
11. Vendors must provide a photocopy of their cheque/cancelled cheque along with the invoice for payment processing.
12. Prices shall be quoted in Indian Rupees (INR) only.
13. Total prices shall be quoted for the complete scope of work as per technical specifications, inclusive of all taxes, duties, insurance, packing, forwarding, and incidental charges.
14. Agencies or individuals who are debarred or blacklisted are not permitted to participate in the tendering process. Any agency engaging a debarred person for negotiations or representation is also liable to be debarred.
15. If the work is not completed within the stipulated time mentioned in the work order, the competent authority of LNMIIT reserves the right to accept partial work on suitable terms, cancel the supply/work order, withhold or stop payment, forfeit the Earnest Money Deposit, or debar the agency. The decision of the Competent Authority shall be final and binding.
16. In case two or more bidders quote the same rates, the final selection shall be made through a draw of lots conducted by a committee comprising LNMIIT administrative members(PCC).
17. Vendors are required to visit the site and conduct a detailed survey before submitting their bid to understand the exact requirements. No request for additional items or modifications will be entertained later.
18. A pre-bid meeting and/or site visit may be arranged prior to submission of bids to clarify any doubts regarding project details, scope of work, and required documents.


Signature with seal
