Tender No:. 2026-27/Estate/2B/LNM-RC-Plumbing

The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non-Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for “Rate contract for the plumbing items – yearly/ Biennial”. Bidders can submit their sealed offers/s at the following address by Email/Speed-Post/ Registered Post/ By-hand/courier before 05:00 PM on 9th Sept. 2026.

Filing of Tender:

Option 1: Physical submission of offers (hard copy) in sealed envelopes.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the institute in person/ Speed-Post/ Registered Post/ By-hand/courier of the Institute after marking due entries in the Receipt Book available with the Security Officer at the main gate.

The tender subject and reference number must be mentioned on the envelope.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Option 2: Password-protected online submission via Email

Password-protected offers can be submitted by the bidders via email at the below-mentioned email IDs.

tender-document@lnmiit.ac.in (password-protected document)

tender-password@lnmiit.ac.in (password only)

The tender subject and reference number must be mentioned in the subject line of the emails.

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory, are required to be submitted in two separate envelopes/emails.

Envelopes/Emails should be duly marked as follows:

- Technical bid for the “Rate contract for the plumbing items – yearly/ Biennial”.  (Technical bid must be submitted without password protection)

- Commercial Bid for the “Rate contract for the plumbing items – yearly/ Biennial”. (The Commercial bid must be submitted with password protection.)

Both Envelopes/files should be enclosed/attached in a single envelope/email bearing the heading “Bid for the “Rate contract for the plumbing items – yearly/ Biennial”) (Tender No. : 2026-27/Estate/2B/LNM-RC-Plumbing ) ”.

Note: The bidders/vendors are requested to go through the tender document carefully and ensure compliance with all specifications/instructions in this tender

Bids are liable to be rejected:

- If the above-mentioned bid submission procedure is not followed.

- Incomplete and non-conforming bids.

- Arbitration: All disputes and differences arising between the two parties in connection with this order shall be mutually settled as far as possible, failing which, all such disputes shall be referred to arbitration and settlement under the provision of the Arbitration and Conciliation Act, 1996 and as amended from time to time or any such law for the time being prevailing in India. The venue of such arbitration shall be Jaipur.

Technical Bid: (in a separate sealed envelope/via email)

# Bid for the Rate contract for the Plumbing items – yearly/ Biennial

# (Tender No. : 2026-27/Estate/2B/LNM-RC-Plumbing)

Bidder is required to furnish the requisite details as per the below mentioned table format and proof of such documents to be uploaded along with the bid under respective title/ headings as mentioned at column no ‘C’ accordingly.

| S.No. | Title/ Heading Details sought by buyer | Details/ Certificate No. (Attached Y/N) |
| --- | --- | --- |
| A | B | C |
| 1. | Bidder Firm Name & Registration No, |  |
| 2. | Bidder’s Company profile or brief note |  |
| 3. | PAN Card No,. |  |
| 4. | GST Number |  |
| 5. | List of Directors/ Partners/Proprietor/ Members of the Bidder’s Firm |  |
| 6. | Detail of other associated/sister concerns (if any) of Directors/Partners/ Proprietor/ Members |  |
| 7. | Bidder Turnover - Average annual turnover for last three years |  |
| 8. | The Client List with some purchase orders and satisfactory certificate (to whom the vendor has delivered the goods/provided the services in the past (Three (03) purchase orders/work orders, at least one from each of the last three years, including the previous year.) |  |
| 9. | If the bidder is authorized by the OEM/Manufacturer. Proof of the same is to be submitted with the Technical Bid |  |
| 10. | An undertaking (self-certificate) that the agency has not been blacklisted by a Central/State/UT Government Institutions and there has been no litigation with any government department/institution on account of any services/supplies. |  |
| 11. | Scanned copy of EMD/ Tender Fees paid through RTGS/NEFT (if required/asked in the tender) |  |
| 12 | Xerox copies of MoUs with previous colleges (minimum three) must be attached. (Applicable for student fest only). |  |

Scope of work

- The scope of work will cover the supply /arrangement of given items at LNMIIT Jaipur campus.

- The Vendor is required to submit the complete documentation of the supplied item after delivery.

- To understand the items/works mentioned, including technical specifications, quantity, and quality

- requirements, the vendor may coordinate with the LNMIIT personnel. No objection shall be

- entertained after submission/review of the quotation.

Technical specification:

| Sr. No | Item Name | Company 1 | Company 2 | Company 3 | Additional Details | Unit |
| --- | --- | --- | --- | --- | --- | --- |
| Providing and fixing the following plumbing items, including necessary supports/ clips with essential nuts and bolts, tapes, and solvents, including digging and trench work, either on the ground or wall on open, as per the existing or drawing or EIC, complete in all respects. |  |  |  |  |  |  |
| 1 | Air Release Valve 25mm | Jaquar | ESS | Kohler | Valve used to release trapped air in pipelines. | Each |
| 2 | Angle Valve Water Cooler | Jaquar | ESS | Kohler | Valve for regulating water flow in water coolers. | Each |
| 3 | Angle Valve (ESS Croma C204) | ESS | Jaquar | Kohler | A durable angle valve by ESS, suitable for water and gas applications. | Each |
| 4 | Angle Valve (Two Way) | Jaquar | ESS | Kohler | A two-way valve for controlling water flow in various installations. | Each |
| 5 | Ball Cock 1.25" | Jaquar | ESS | Kohler | A ball valve used in tanks for controlling water level. | Each |
| 6 | Ball Cock 15mm (1/2") | Jaquar | ESS | Kohler | Ball cock to control water flow, commonly used in small tanks. | Each |
| 7 | Ball Cock 20mm (3/4") | Jaquar | ESS | Kohler | Similar to other ball cocks, used for regulating water in tanks. | Each |
| 8 | Ball Cock 25mm (1") | Jaquar | ESS | Kohler | Larger ball cock for bigger tanks and systems. | Each |
| 9 | Ball Cock Set 1.5" | Jaquar | ESS | Kohler | Set of ball cocks used in bigger cisterns or tanks. | Each |
| 10 | Ball Cock Set 2" | Jaquar | ESS | Kohler | Large ball cock set used for high-volume tanks. | Each |
| 11 | Ball Cock (Water Cooler) 15mm | Jaquar | ESS | Kohler | Ball cock designed specifically for water coolers. | Each |
| 12 | Bathroom Shower | Jaquar | ESS | Kohler | Shower fitting for bathroom installations. | Each |
| 13 | Bathroom Shower ARM 12' | Jaquar | ESS | Kohler | Adjustable shower arm for a customized shower experience. | Each |
| 14 | Bathroom Shower Valve 3/4" | Jaquar | ESS | Kohler | Valve for controlling water flow in shower systems. | Each |
| 15 | Bottle Trap | Jaquar | ESS | Kohler | Trap used for preventing foul odors in bathroom drains. | Each |
| 16 | Bottle Trap Pipe | Jaquar | ESS | Kohler | Pipe attached to bottle trap to carry wastewater. | Each |
| 17 | Bracket Set | Jaquar | ESS | Kohler | Set of brackets used for mounting sanitary fittings. | Each |
| 18 | Brass Concealed Disk | Jaquar | ESS | Kohler | Concealed disk valve for water supply lines. | Each |
| 19 | Butterfly Valve 2" | ESS | Jaquar | Kohler | Valve used for regulating the flow of fluids in pipelines. | Each |
| 20 | Butterfly Valve 3" | ESS | Jaquar | Kohler | Mid-sized butterfly valve for water and gas pipelines. | Each |
| 21 | Butterfly Valve 4" | ESS | Jaquar | Kohler | Large butterfly valve, usually for high flow applications. | Each |
| 22 | Center Valve (Big) | Jaquar | ESS | Kohler | Larger center valve used for controlling water flow in heavy-duty systems. | Each |
| 23 | Center Valve Spindle | Jaquar | ESS | Kohler | The spindle for a center valve used in plumbing systems. | Each |
| 24 | Centre Valve (1/2" Small - Body) | Jaquar | ESS | Kohler | Small center valve for residential plumbing needs. | Each |
| 25 | Chand for Basin Mixer | Jaquar | ESS | Kohler | Fitting to connect basin mixer taps to plumbing systems. | Each |
| 26 | CI Casing Cover 2" | Jaquar | ESS | Kohler | Cover for CI pipes, typically used in construction. | Each |
| 27 | Cistern Ball Cock (1/2") Small | Jaquar | ESS | Kohler | Small ball cock for toilet cisterns. | Each |
| 28 | Cistern Ball Cock Big | Jaquar | ESS | Kohler | Larger ball cock for larger cisterns or tanks. | Each |
| 29 | Cistern Fitting Bolt | Jaquar | ESS | Kohler | Bolt used for securing cistern fittings. | Each |
| 30 | Concealed Body 1/2" | Jaquar | ESS | Kohler | Concealed body for water supply, typically used in wall-mounted setups. | Each |
| 31 | Concealed Face (3/4 inches) | Jaquar | ESS | Kohler | The visible faceplate for a concealed valve setup. | Each |
| 32 | Concealed Face (Jaquar Type) | Jaquar | ESS | Kohler | Jaquar-designed faceplate for concealed valves. | Each |
| 33 | Concealed Valve Upper Parts | Jaquar | ESS | Kohler | Upper part of a concealed valve setup for plumbing systems. | Each |
| 34 | Concealed Center Valve | Jaquar | ESS | Kohler | Center valve for concealed valve systems in bathrooms. | Each |
| 35 | Course Bubble Diffuser Size 150 mm | Jaquar | ESS | Kohler | Diffuser for improving water flow in large plumbing systems. | Each |
| 36 | CP Brass Hose Nipple Male Hose | Jaquar | ESS | Kohler | Male hose nipple for connecting hoses to other fittings. | Each |
| 37 | CP Health Faucet Chain | Jaquar | ESS | Kohler | Chain used for health faucets in bathrooms and kitchens. | Each |
| 38 | CP Hex Nipple 15mm (1/2") | Jaquar | ESS | Kohler | Hexagonal nipple for plumbing connections. | Each |
| 39 | CP Hex Nipple 25mm | Jaquar | ESS | Kohler | Larger hexagonal nipple for plumbing systems. | Each |
| 40 | CP Tube 18" | Jaquar | ESS | Kohler | Tube for connecting various sanitary fittings. | Each |
| 41 | CP Tube Washer - Washer | Jaquar | ESS | Kohler | Washer for sealing connections in CP tube systems. | Each |
| 42 | CPVC 1.25" MABT | Astral | Supreme | Finolex | CPVC pipe for transporting hot water in plumbing systems. | Each |
| 43 | CPVC 1.25" FABT | Astral | Supreme | Finolex | CPVC pipe with a fitting used for water transport. | Each |
| 44 | CPVC 50mm FABT | Astral | Supreme | Finolex | CPVC pipe of 50mm diameter, used for plumbing applications. | Each |
| 45 | CPVC 50mm Pipes | Astral | Supreme | Finolex | A standard CPVC pipe used for water and waste transport. | Each |
| 46 | CPVC Bend - Plain 110mm (4") | Astral | Supreme | Finolex | CPVC bend for creating smooth curves in the piping system. | Each |
| 47 | CPVC Brass Elbow 1/2" x 1/2" | Astral | Supreme | Finolex | Brass elbow fitting for CPVC piping. | Each |
| 48 | CPVC Brass Elbow 3/4" x 3/4" | Astral | Supreme | Finolex | Brass elbow fitting for larger CPVC pipes. | Each |
| 49 | CPVC Brass Tee 1" x 1/2" (25mm x 15mm) | Astral | Supreme | Finolex | CPVC tee fitting for branching pipes. | Each |
| 50 | CPVC Brass Tee 1/2" x 1/2" | Astral | Supreme | Finolex | Smaller CPVC brass tee fitting for plumbing systems. | Each |
| 51 | CPVC Brass Tee 20x15mm | Astral | Supreme | Finolex | CPVC brass tee fitting, used for connecting 20mm and 15mm pipes. | Each |
| 52 | CPVC Brass Tee 20x20mm 3/4" | Astral | Supreme | Finolex | CPVC brass tee fitting, used for connecting 20mm x 20mm pipes. | Each |
| 53 | CPVC Data 1/2" | Astral | Supreme | Finolex | Data fitting for 1/2" CPVC pipe used in plumbing systems. | Each |
| 54 | CPVC Elbow 1" | Astral | Supreme | Finolex | 1" CPVC elbow used for 90-degree connections in plumbing systems. | Each |
| 55 | CPVC Elbow 1 1/4" (32mm) | Astral | Supreme | Finolex | 1 1/4" CPVC elbow for larger pipe systems. | Each |
| 56 | CPVC Elbow 1/2" (15mm) | Astral | Supreme | Finolex | 1/2" CPVC elbow used for compact connections in residential plumbing. | Each |
| 57 | CPVC Elbow 1.5" (40mm) | Astral | Supreme | Finolex | 1.5" CPVC elbow fitting for larger plumbing systems. | Each |
| 58 | CPVC Elbow 2.5" | Astral | Supreme | Finolex | 2.5" CPVC elbow fitting used in commercial and industrial systems. | Each |
| 59 | CPVC Elbow 3" | Astral | Supreme | Finolex | 3" CPVC elbow used in large-scale plumbing systems. | Each |
| 60 | CPVC Elbow 3/4" 20mm | Astral | Supreme | Finolex | 3/4" CPVC elbow fitting for standard pipe connections. | Each |
| 61 | CPVC Elbow 4" | Astral | Supreme | Finolex | 4" CPVC elbow for heavy-duty industrial plumbing. | Each |
| 62 | CPVC Elbow 50mm "2" | Astral | Supreme | Finolex | 50mm CPVC elbow used for large-diameter pipe installations. | Each |
| 63 | CPVC End Cap 1" | Astral | Supreme | Finolex | End cap for sealing the end of 1" CPVC pipes. | Each |
| 64 | CPVC End Cap 1.25" | Astral | Supreme | Finolex | End cap for 1.25" CPVC pipes, used to block off pipe ends. | Each |
| 65 | CPVC End Cap 1.5" | Astral | Supreme | Finolex | End cap for 1.5" CPVC pipe, used to stop water flow. | Each |
| 66 | CPVC End Cap 2" | Astral | Supreme | Finolex | End cap for 2" CPVC pipes, commonly used for pipe termination. | Each |
| 67 | CPVC End Cap 3" | Astral | Supreme | Finolex | End cap for 3" CPVC pipes, used in larger piping systems. | Each |
| 68 | CPVC End Cap 3/4" | Astral | Supreme | Finolex | End cap for 3/4" CPVC pipes, ideal for smaller installations. | Each |
| 69 | CPVC End Cap 4" | Astral | Supreme | Finolex | End cap for 4" CPVC pipes, typically for industrial applications. | Each |
| 70 | CPVC FABT 1" 25mm | Astral | Supreme | Finolex | CPVC flange adapter, 1" size, used for pipe connections. | Each |
| 71 | CPVC FABT 1/2" 15mm | Astral | Supreme | Finolex | CPVC flange adapter for 1/2" pipes, used in various plumbing setups. | Each |
| 72 | CPVC FABT 20x15mm | Astral | Supreme | Finolex | CPVC flange adapter for connecting 20mm and 15mm pipes. | Each |
| 73 | CPVC FABT 2 1/2" | Astral | Supreme | Finolex | CPVC flange adapter used in larger pipe systems (2.5"). | Each |
| 74 | CPVC FABT 3/4" | Astral | Supreme | Finolex | Flange adapter for 3/4" CPVC pipes. | Each |
| 75 | CPVC FABT 40mm | Astral | Supreme | Finolex | 40mm CPVC flange adapter used in industrial applications. | Each |
| 76 | CPVC FAPT 1.25" 32mm | Astral | Supreme | Finolex | CPVC fitting adapter for 1.25" pipes. | Each |
| 77 | CPVC FAPT 2" | Astral | Supreme | Finolex | CPVC fitting adapter for 2" pipe connections. | Each |
| 78 | CPVC FAPT 3" | Astral | Supreme | Finolex | CPVC fitting adapter for 3" pipe systems. | Each |
| 79 | CPVC FAPT 3/4" | Astral | Supreme | Finolex | CPVC fitting adapter for 3/4" CPVC pipe connections. | Each |
| 80 | CPVC FAPT 4" | Astral | Supreme | Finolex | CPVC fitting adapter for 4" pipes, used in large installations. | Each |
| 81 | CPVC FAPT 40mm 1.5" | Astral | Supreme | Finolex | CPVC fitting adapter for 40mm and 1.5" pipes. | Each |
| 82 | CPVC Flange 4" | Astral | Supreme | Finolex | Flange for 4" CPVC pipe, used to create flanged connections. | Each |
| 83 | CPVC Handle Valve 25mm 1" | Astral | Supreme | Finolex | Handle valve for controlling flow in 1" CPVC pipe systems. | Each |
| 84 | CPVC MABT 1" | Astral | Supreme | Finolex | CPVC male adapter, 1" size, used for connecting pipes to fittings. | Each |
| 85 | CPVC MABT 1/2" | Astral | Supreme | Finolex | 1/2" CPVC male adapter used in residential systems. | Each |
| 86 | CPVC MABT 1.5" | Astral | Supreme | Finolex | 1.5" CPVC male adapter used in larger systems. | Each |
| 87 | CPVC MABT 2" | Astral | Supreme | Finolex | CPVC male adapter, 2" size, used for connecting CPVC pipes. | Each |
| 88 | CPVC MABT 2.5" | Astral | Supreme | Finolex | CPVC male adapter for 2.5" pipes, commonly used in industrial systems. | Each |
| 89 | CPVC MABT 3/4" (3/4" x 1/2" MABT) | Astral | Supreme | Finolex | 3/4" CPVC male adapter for mixed size piping (3/4" x 1/2"). | Each |
| 90 | CPVC MABT 3/4" x 3/4" | Astral | Supreme | Finolex | 3/4" CPVC male adapter used in standard plumbing systems. | Each |
| 91 | CPVC MAPT 1" | Astral | Supreme | Finolex | 1" CPVC male pipe thread adapter, used in threaded connections. | Each |
| 92 | CPVC MAPT 1/2" X 3/4" | Astral | Supreme | Finolex | CPVC adapter for 1/2" x 3/4" pipe thread connections. | Each |
| 93 | CPVC MAPT 1.25" | Astral | Supreme | Finolex | 1.25" CPVC male adapter used for pipe threading. | Each |
| 94 | CPVC MAPT 3" | Astral | Supreme | Finolex | CPVC male pipe thread adapter for 3" pipes. | Each |
| 95 | CPVC MAPT 3/4" | Astral | Supreme | Finolex | CPVC male adapter for 3/4" pipe threading. | Each |
| 96 | CPVC MAPT 4" | Astral | Supreme | Finolex | 4" CPVC male adapter, used in large plumbing systems. | Each |
| 97 | CPVC MAPT 40mm 1.5" | Astral | Supreme | Finolex | CPVC male adapter for 40mm pipe threading. | Each |
| 98 | CPVC MAPT 50mm "2" | Astral | Supreme | Finolex | CPVC male adapter for 50mm pipes. | Each |
| 99 | CPVC Pipe 1/2" | Astral | Supreme | Finolex | 1/2" CPVC pipe for plumbing and water supply. | Each |
| 100 | CPVC Pipe 2" | Astral | Supreme | Finolex | 2" CPVC pipe for larger scale water transport. | Each |
| 101 | CPVC Pipe 20mm 3/4" (SDR-11) | Astral | Supreme | Finolex | 20mm CPVC pipe, SDR-11 rating, suitable for low-pressure applications. | Each |
| 102 | CPVC Pipe 2.5" | Astral | Supreme | Finolex | 2.5" CPVC pipe used for large-scale plumbing systems and water transport. | Each |
| 103 | CPVC Pipe 25mm | Astral | Supreme | Finolex | 25mm CPVC pipe, used in residential and commercial plumbing systems. | Each |
| 104 | CPVC Pipe 3" | Astral | Supreme | Finolex | 3" CPVC pipe for medium to high-capacity water flow in industrial systems. | Each |
| 105 | CPVC Pipe 32mm | Astral | Supreme | Finolex | 32mm CPVC pipe for large plumbing and water supply systems. | Each |
| 106 | CPVC Pipe 4" | Astral | Supreme | Finolex | 4" CPVC pipe used in heavy-duty plumbing systems and large-scale installations. | Each |
| 107 | CPVC Pipe 40mm | Astral | Supreme | Finolex | 40mm CPVC pipe for larger industrial plumbing networks. | Each |
| 108 | CPVC Reducer Brass Elbow 20mm x 15mm | Astral | Supreme | Finolex | Brass CPVC reducer elbow, connecting 20mm to 15mm pipes. | Each |
| 109 | CPVC Reducer Brass Tee 1" x 1/2" | Astral | Supreme | Finolex | Brass CPVC tee, connecting 1" to 1/2" pipes in various plumbing systems. | Each |
| 110 | CPVC Reducer Brass Tee 20 x 15mm | Astral | Supreme | Finolex | Brass CPVC reducer tee, used for connecting 20mm to 15mm pipes. | Each |
| 111 | CPVC Reducer Bush 1" x 3/4" | Astral | Supreme | Finolex | CPVC reducer bush to connect 1" and 3/4" pipes. | Each |
| 112 | CPVC Reducer Bush 110 x 75 (4" x 3") | Astral | Supreme | Finolex | CPVC reducer bush, connecting 4" pipe to 3" pipe. | Each |
| 113 | CPVC Reducer Bush 1.25" x 1" | Astral | Supreme | Finolex | CPVC reducer bush for connecting 1.25" and 1" pipes. | Each |
| 114 | CPVC Reducer Bush 1.25" x 3/4" | Astral | Supreme | Finolex | CPVC reducer bush connecting 1.25" to 3/4" pipes. | Each |
| 115 | CPVC Reducer Bush 1.5" x 1.25" | Astral | Supreme | Finolex | CPVC reducer bush for connecting 1.5" to 1.25" pipes. | Each |
| 116 | CPVC Reducer Bush 2" x 1" | Astral | Supreme | Finolex | 2" to 1" CPVC reducer bush used in pipe size reduction. | Each |
| 117 | CPVC Reducer Bush 2" x 1.25" | Astral | Supreme | Finolex | CPVC reducer bush for connecting 2" and 1.25" pipes. | Each |
| 118 | CPVC Reducer Bush 2" x 1.5" | Astral | Supreme | Finolex | CPVC reducer bush for connecting 2" and 1.5" pipes. | Each |
| 119 | CPVC Reducer Bush 2 1/2" x 1" | Astral | Supreme | Finolex | 2.5" to 1" CPVC reducer bush, used in larger plumbing setups. | Each |
| 120 | CPVC Reducer Bush 2.5" x 2" | Astral | Supreme | Finolex | 2.5" to 2" CPVC reducer bush used in plumbing systems for pipe connections. | Each |
| 121 | CPVC Reducer Bush 4" x 3" | Astral | Supreme | Finolex | CPVC reducer bush connecting 4" to 3" pipes, used in heavy-duty plumbing. | Each |
| 122 | CPVC Reducer Bush 40MM x 20MM | Astral | Supreme | Finolex | CPVC reducer bush for 40mm to 20mm pipe connections. | Each |
| 123 | CPVC Reducer Bush 40x25 (1.5 x 1) | Astral | Supreme | Finolex | CPVC reducer bush, connecting 40mm to 25mm pipes. | Each |
| 124 | CPVC Reducer Bush 8050 32 | Astral | Supreme | Finolex | 80mm to 50mm CPVC reducer bush, used in large plumbing applications. | Each |
| 125 | CPVC Reducer Elbow 3/4" x 1/2" | Astral | Supreme | Finolex | CPVC reducer elbow connecting 3/4" and 1/2" pipes for directional changes. | Each |
| 126 | CPVC Reducer Socket 1 x 3/4" | Astral | Supreme | Finolex | CPVC reducer socket connecting 1" to 3/4" pipes. | Each |
| 127 | CPVC Reducer Socket 3/4" x 1/2" | Astral | Supreme | Finolex | CPVC reducer socket connecting 3/4" and 1/2" pipes. | Each |
| 128 | CPVC Reducer Tee 2" x 3/4" | Astral | Supreme | Finolex | CPVC reducer tee for 2" and 3/4" pipe connections. | Each |
| 129 | CPVC Reducer Tee 1" x 1/2" | Astral | Supreme | Finolex | CPVC reducer tee connecting 1" and 1/2" pipes in plumbing systems. | Each |
| 130 | CPVC Reducer Tee 1" x 3/4" | Astral | Supreme | Finolex | CPVC reducer tee used for 1" x 3/4" pipe connection. | Each |
| 131 | CPVC Reducer Tee 1 1/4" x 3/4" | Astral | Supreme | Finolex | CPVC reducer tee for 1 1/4" to 3/4" pipe connections. | Each |
| 132 | CPVC Reducer Tee 1.25" x 2" | Astral | Supreme | Finolex | CPVC reducer tee connecting 1.25" to 2" pipes. | Each |
| 133 | CPVC Reducer Tee 2" x 1" | Astral | Supreme | Finolex | CPVC reducer tee used for 2" to 1" pipe connections. | Each |
| 134 | CPVC Reducer Tee 3" x 1" | Astral | Supreme | Finolex | CPVC reducer tee used for 3" x 1" pipe connections. | Each |
| 135 | CPVC Reducer Tee 3" x 2" | Astral | Supreme | Finolex | CPVC reducer tee for 3" x 2" pipe connections. | Each |
| 136 | CPVC Reducer Tee 4" x 3" | Astral | Supreme | Finolex | CPVC reducer tee connecting 4" to 3" pipes. | Each |
| 137 | CPVC Reducer Tee 40MM x 20MM | Astral | Supreme | Finolex | CPVC reducer tee for 40mm to 20mm pipe connections. | Each |
| 138 | CPVC Socket 32mm 1 1/4" | Astral | Supreme | Finolex | CPVC socket fitting for 1 1/4" pipes used in high-capacity plumbing. | Each |
| 139 | CPVC Socket 40mm 1 1/2" | Astral | Supreme | Finolex | 40mm CPVC socket for 1 1/2" pipe connections. | Each |
| 140 | CPVC Socket 1" | Astral | Supreme | Finolex | Standard 1" CPVC socket for pipe connections. | Each |
| 141 | CPVC Socket 1/2" 15mm | Astral | Supreme | Finolex | CPVC socket for 1/2" (15mm) pipe connections. | Each |
| 142 | CPVC Socket 2" 50mm | Astral | Supreme | Finolex | CPVC socket for 2" (50mm) pipe connections. | Each |
| 143 | CPVC Socket 2.5" | Astral | Supreme | Finolex | CPVC socket for 2.5" pipes, used for medium-to-large plumbing systems. | Each |
| 144 | CPVC Socket 3" | Astral | Supreme | Finolex | 3" CPVC socket for large plumbing and water transport. | Each |
| 145 | CPVC Socket 3/4" | Astral | Supreme | Finolex | CPVC socket for 3/4" pipes, commonly used in residential plumbing. | Each |
| 146 | CPVC Socket 4" | Astral | Supreme | Finolex | 4" CPVC socket used in large-scale plumbing systems. | Each |
| 147 | CPVC Solvent 100ml | Astral | Supreme | Finolex | CPVC solvent cement, 100ml, used to bond CPVC pipes and fittings. | Each |
| 148 | CPVC Solvent 118ml | Astral | Supreme | Finolex | 118ml CPVC solvent for pipe joining. | Each |
| 149 | CPVC Solvent 200ml | Astral | Supreme | Finolex | 200ml CPVC solvent for effective sealing and joining of CPVC pipes. | Each |
| 150 | CPVC Solvent 237ml | Astral | Supreme | Finolex | CPVC solvent cement, 237ml, used in heavy-duty plumbing systems. | Each |
| 151 | CPVC Solvent 500ml | Astral | Supreme | Finolex | 500ml CPVC solvent cement for bonding CPVC pipes and fittings. | Each |
| 152 | CPVC Solvent 946ml | Astral | Supreme | Finolex | 946ml CPVC solvent cement for efficient joining of CPVC pipes. | Each |
| 153 | CPVC Tank Connection 2" | Astral | Supreme | Finolex | CPVC tank connection fitting for 2" pipe, commonly used in tanks. | Each |
| 154 | CPVC Tank Nipple 1" | Astral | Supreme | Finolex | CPVC nipple used to connect 1" CPVC pipes in tank applications. | Each |
| 155 | CPVC Tank Nipple 1/2" | Astral | Supreme | Finolex | CPVC nipple for connecting 1/2" pipes to tanks. | Each |
| 156 | CPVC Tank Nipple 1.25" | Astral | Supreme | Finolex | CPVC nipple for 1.25" pipe connections, used in tank installations. | Each |
| 157 | CPVC Tank Nipple 1.5" | Astral | Supreme | Finolex | CPVC tank nipple for connecting 1.5" pipes in tank systems. | Each |
| 158 | CPVC Tank Nipple 3/4" | Astral | Supreme | Finolex | CPVC nipple for 3/4" pipe connections in tank applications. | Each |
| 159 | CPVC Tee 40mm (1 1/2") | Astral | Supreme | Finolex | 40mm CPVC tee for 1 1/2" pipe connections, used in plumbing systems. | Each |
| 160 | CPVC Tee 1 1/4" 32mm | Astral | Supreme | Finolex | 1 1/4" CPVC tee for 32mm pipe connections. | Each |
| 161 | CPVC Tee 1/2" 15mm | Astral | Supreme | Finolex | 1/2" CPVC tee used in smaller pipe connections. | Each |
| 162 | CPVC Tee 1 x 3/4" | Astral | Supreme | Finolex | CPVC tee used for 1" to 3/4" pipe connections. | Each |
| 163 | CPVC Tee 2" 50mm | Astral | Supreme | Finolex | 2" CPVC tee for 50mm pipe connections. | Each |
| 164 | CPVC Tee 2.5" | Astral | Supreme | Finolex | 2.5" CPVC tee used in larger pipe connections. | Each |
| 165 | CPVC Tee 3/4" 20mm | Astral | Supreme | Finolex | CPVC tee for 3/4" x 20mm pipe connections. | Each |
| 166 | CPVC Tee 4" | Astral | Supreme | Finolex | 4" CPVC tee for large-scale plumbing connections. | Each |
| 167 | CPVC Tee 4" x 1 1/4" | Astral | Supreme | Finolex | CPVC tee for connecting 4" and 1 1/4" pipes. | Each |
| 168 | CPVC Union 1" | Astral | Supreme | Finolex | 1" CPVC union for easy disconnection and reconnection of pipes. | Each |
| 169 | CPVC Union 1 1/4" 32mm | Astral | Supreme | Finolex | 1 1/4" CPVC union for 32mm pipe connections. | Each |
| 170 | CPVC Union 1/2" 15mm | Astral | Supreme | Finolex | 1/2" CPVC union for 15mm pipe connections. | Each |
| 171 | CPVC Union 1.5" | Astral | Supreme | Finolex | 1.5" CPVC union, used for larger pipe installations. | Each |
| 172 | CPVC Union 2" 50mm | Astral | Supreme | Finolex | 2" CPVC union for 50mm pipe connections. | Each |
| 173 | CPVC Union 3" | Astral | Supreme | Finolex | 3" CPVC union for large plumbing and water distribution systems. | Each |
| 174 | CPVC Union 3/4" 20mm | Astral | Supreme | Finolex | CPVC union for 3/4" and 20mm pipe connections. | Each |
| 175 | Extension Piece 1/2" x 1" | Astral | Supreme | Finolex | 1/2" to 1" CPVC extension piece for pipe adjustments. | Each |
| 176 | Extension Piece 1/2" x 2" | Astral | Supreme | Finolex | CPVC extension piece for connecting 1/2" to 2" pipes. | Each |
| 177 | Extension Piece 1/2" x 3" | Astral | Supreme | Finolex | 1/2" to 3" extension piece used in large pipe plumbing systems. | Each |
| 178 | Extension Piece 1/2" (CP Extension 1/2") | Astral | Supreme | Finolex | Extension piece for connecting 1/2" CPVC pipes. | Each |
| 179 | Fine Bubble Diffuser Size 90 x 1000 mm | - | - | - | Diffuser used in wastewater treatment systems for fine bubble aeration. | Each |
| 180 | Flange Brass CP | Astral | Supreme | Finolex | Brass flange for CP (corrosion-resistant) applications. | Each |
| 181 | Flush Button (Cistern) | Jaquar | ESS | Kohler | Flush button for cisterns, used in sanitary ware. | Each |
| 182 | Flushing Valve System (Diverter Set) | Jaquar | ESS | Kohler | Diverter valve system for controlling water flow in flush systems. | Each |
| 183 | Flush valve complete | Jaquar | ESS | Kohler | Complete flush valve assembly for water conservation in cisterns. | Each |
| 184 | Garden Pipe 1/2" | - | - | - | Garden pipe for water flow in garden irrigation systems. | Each |
| 185 | Garden Pipe 1.25" | - | - | - | Larger garden pipe used in irrigation systems for higher flow rates. | Each |
| 186 | Garden Pipe 3/4" | - | - | - | Standard garden pipe for medium-scale irrigation. | Each |
| 187 | Gas Kit 110mm | - | - | - | Gas kit for 110mm pipe connections, used in gas lines. | Each |
| 188 | GI 2" Clamp | Unik | - | - | Galvanized iron clamp used to secure 2" pipes. | Each |
| 189 | GI 25mm Data | Unik | - | - | Galvanized iron (GI) data pipe, 25mm, used in water supply systems. | Each |
| 190 | GI 32mm Data | Unik | - | - | 32mm GI data pipe for medium-scale water transport. | Each |
| 191 | GI 40mm Data | Unik | - | - | 40mm GI data pipe for large-scale plumbing systems. | Each |
| 192 | GI Bend 2" | Unik | - | - | Galvanized iron bend for 2" pipes, used for redirection. | Each |
| 193 | GI Cap Plug 1" 25mm (Inner threads Female Plug) | Unik | - | - | 1" GI cap plug with female threads, used to seal pipes. | Each |
| 194 | GI Cap Plug 1.25" 32mm (Inner threads Female Plug) | Unik | - | - | GI cap plug for sealing 1.25" pipes with female threads. | Each |
| 195 | GI Cap Plug 1.5" 40mm (Inner threads Female Plug) | Unik | - | - | 1.5" GI cap plug for sealing 40mm GI pipes. | Each |
| 196 | GI Clamp | Unik | - | - | GI clamp for securing pipes in various plumbing applications. | Each |
| 197 | GI DATA 3" | Unik | - | - | GI data pipe for large plumbing and water distribution systems. | Each |
| 198 | GI Elbow 1" (25mm) | Unik | - | - | GI elbow for 1" pipe connections, used in plumbing. | Each |
| 199 | GI Elbow 1.25" (32mm) | Unik | - | - | GI elbow for 1.25" pipe bends. | Each |
| 200 | GI Elbow 1.5" | Unik | - | - | GI elbow for 1.5" pipes, commonly used in heavy-duty plumbing. | Each |
| 201 | GI Elbow 15MM | Unik | - | - | 15mm GI elbow for plumbing pipe connections. | Each |
| 202 | GI Elbow 2" | Unik | - | - | 2" GI elbow used for 2" pipe redirection in plumbing systems. | Each |
| 203 | GI Elbow 2.5" | Unik | - | - | 2.5" GI elbow for larger pipe redirection in plumbing systems. | Each |
| 204 | GI Elbow 3" 75mm | Unik | - | - | 3" GI elbow for 75mm pipe redirection. | Each |
| 205 | GI Elbow 3/4" | Unik | - | - | 3/4" GI elbow, commonly used in smaller plumbing connections. | Each |
| 206 | GI Flange 1" 25mm | Unik | - | - | 1" GI flange for secure pipe connections, 25mm size. | Each |
| 207 | GI Flange 2" | Unik | - | - | 2" GI flange used for securing 2" GI pipes. | Each |
| 208 | GI Flange 3" (75mm) | Unik | - | - | 3" GI flange for 75mm pipe connections. | Each |
| 209 | GI Flange 3/4" | Unik | - | - | 3/4" GI flange for securing smaller pipes in plumbing systems. | Each |
| 210 | GI Flange 4" | Unik | - | - | 4" GI flange used for large plumbing applications. | Each |
| 211 | GI Flange 40mm | Unik | - | - | GI flange for 40mm pipe connections in various systems. | Each |
| 212 | GI Flange 2" | Unik | - | - | GI flange for 2" pipe installations, used for joining pipe ends. | Each |
| 213 | GI Hex Nipple 25MM | Unik | - | - | 25mm GI hex nipple used for thread-to-thread pipe connections. | Each |
| 214 | GI Hook | Unik | - | - | GI hook used to secure and support pipes in place. | Each |
| 215 | GI/MS Reducer Bush 3x 2.5" | Unik | - | - | GI/MS reducer bush for 3" to 2.5" pipe connections. | Each |
| 216 | GI Nipple 1" x 12" | Unik | - | - | 1" x 12" GI nipple used to extend plumbing connections. | Each |
| 217 | GI Nipple 1" x 1.5" (25mm) | Unik | - | - | 1" x 1.5" GI nipple for plumbing pipe extension. | Each |
| 218 | GI Nipple 1" x 2" | Unik | - | - | 1" x 2" GI nipple used to extend or connect pipes. | Each |
| 219 | GI Nipple 1" x 3" (25mm) | Unik | - | - | 1" x 3" GI nipple for extending 25mm plumbing connections. | Each |
| 220 | GI Nipple 1" x 4" (25mm) | Unik | - | - | 1" x 4" GI nipple used in various pipe installations. | Each |
| 221 | GI Nipple 1" x 6" (25mm) | Unik | - | - | 1" x 6" GI nipple for long pipe extensions in plumbing. | Each |
| 222 | GI Nipple 1" x 9" (25mm) | Unik | - | - | 1" x 9" GI nipple for extended plumbing pipe installations. | Each |
| 223 | GI Nipple 1/2" x 2" | Unik | - | - | 1/2" x 2" GI nipple used for smaller diameter pipe connections. | Each |
| 224 | GI Nipple 1/2" x 3" | Unik | - | - | 1/2" x 3" GI nipple for small diameter extensions. | Each |
| 225 | GI Nipple 1/2" x 4" | Unik | - | - | 1/2" x 4" GI nipple for pipe connection extensions in plumbing. | Each |
| 226 | GI Nipple 1/2" x 6" | Unik | - | - | 1/2" x 6" GI nipple for long small pipe extensions. | Each |
| 227 | GI Nipple 1/2" x 9" | Unik | - | - | 1/2" x 9" GI nipple for extended connections in smaller pipes. | Each |
| 228 | GI Nipple 1.25" x 3" | Unik | - | - | 1.25" x 3" GI nipple used for pipe extensions in medium-sized systems. | Each |
| 229 | GI Nipple 1.25" x 6" | Unik | - | - | 1.25" x 6" GI nipple for medium pipe connections. | Each |
| 230 | GI Nipple 1.25" x 9" | Unik | - | - | 1.25" x 9" GI nipple for longer extensions of medium pipes. | Each |
| 231 | GI Nipple 1.5" x 2" (40mm) | Unik | - | - | 1.5" x 2" GI nipple for 40mm pipe connections. | Each |
| 232 | GI Nipple 1.5" x 3" (40mm) | Unik | - | - | 1.5" x 3" GI nipple for medium-large pipe extensions. | Each |
| 233 | GI Nipple 1.5" x 4" | Unik | - | - | 1.5" x 4" GI nipple for larger plumbing systems. | Each |
| 234 | GI Nipple 1.5" x 6" (40mm) | Unik | - | - | 1.5" x 6" GI nipple for extended connections in large pipes. | Each |
| 235 | GI Nipple 1.5" x 9" (40mm) | Unik | - | - | 1.5" x 9" GI nipple for long pipe extensions, typically for larger systems. | Each |
| 236 | GI Nipple 2" x 12" | Unik | - | - | 2" x 12" GI nipple for large plumbing extensions. | Each |
| 237 | GI Nipple 2" x 1.5" | Unik | - | - | 2" x 1.5" GI nipple for pipe connections in large plumbing systems. | Each |
| 238 | GI Nipple 2" x 2" | Unik | - | - | 2" x 2" GI nipple for joining 2" pipes. | Each |
| 239 | GI Nipple 2" x 3.6" | Unik | - | - | 2" x 3.6" GI nipple for extended pipe installations in larger systems. | Each |
| 240 | GI Nipple 2" x 4" | Unik | - | - | 2" x 4" GI nipple for extending large pipe connections. | Each |
| 241 | GI Nipple 2" x 6" | Unik | - | - | 2" x 6" GI nipple for long extensions of 2" pipe connections. | Each |
| 242 | GI Nipple 2" x 9" | Unik | - | - | 2" x 9" GI nipple for extended connections in plumbing systems. | Each |
| 243 | GI Nipple 2.5" x 2" | Unik | - | - | 2.5" x 2" GI nipple for 2.5" pipe connections. | Each |
| 244 | GI Nipple 3" x 3" | Unik | - | - | 3" x 3" GI nipple used for 3" pipe connections. | Each |
| 245 | GI Nipple 3" x 6" | Unik | - | - | 3" x 6" GI nipple for large pipe extensions. | Each |
| 246 | GI Nipple 3" x 9" (75mm) | Unik | - | - | 3" x 9" GI nipple for longer extensions in large systems. | Each |
| 247 | GI Nipple 3/4" x 4" | Unik | - | - | 3/4" x 4" GI nipple for smaller diameter pipe connections. | Each |
| 248 | GI Nipple 3/4" x 6" | Unik | - | - | 3/4" x 6" GI nipple for pipe extensions in smaller systems. | Each |
| 249 | GI Nipple 4" x 12" (100mm) | Unik | - | - | 4" x 12" GI nipple for large-diameter pipe extensions. | Each |
| 250 | GI Nut Bolt 1.5" | Unik | - | - | 1.5" GI nut bolt for securing pipe flanges or joints. | Each |
| 251 | GI Pipe 2" with Flange 6mtr. | Unik | - | - | 2" GI pipe with flange, 6 meters long for heavy-duty plumbing. | Each |
| 252 | GI Pipe 3/4" (6mtr.) 20mm | Unik | - | - | 3/4" GI pipe, 6 meters long, commonly used in industrial plumbing. | Each |
| 253 | GI Plug 1" (25mm) (Outer threads) | Unik | - | - | 1" GI plug with outer threads, used for closing pipe ends. | Each |
| 254 | GI Plug 1.25" (32mm) (Outer threads) | Unik | - | - | 1.25" GI plug for sealing 32mm pipe ends. | Each |
| 255 | GI Plug 1.5" (40mm) (Outer threads) | Unik | - | - | 1.5" GI plug, ideal for sealing larger pipe ends. | Each |
| 256 | GI Plug 15mm (1/2") (Outer threads) | Unik | - | - | 1/2" GI plug for small diameter pipe end closures. | Each |
| 257 | GI Plug 2" (50mm) | Unik | - | - | 2" GI plug for sealing 50mm GI pipes. | Each |
| 258 | GI Reducer Bush 2" x 2.5" | Unik | - | - | 2" to 2.5" GI reducer bush for connecting different pipe sizes. | Each |
| 259 | GI Reducer Elbow 1" x 3/4" | Unik | - | - | GI elbow for reducing 1" to 3/4" pipe diameter. | Each |
| 260 | GI Reducer Elbow 1.25" x 3/4" | Unik | - | - | 1.25" to 3/4" GI reducer elbow, used for pipe redirection. | Each |
| 261 | GI Reducer Elbow 3/4" x 1/2" | Unik | - | - | 3/4" to 1/2" GI reducer elbow for smaller plumbing systems. | Each |
| 262 | GI Reducer Socket 1" x 3/4" 25mm | Unik | - | - | 1" to 3/4" GI reducer socket for joining pipes of different sizes. | Each |
| 263 | GI Reducer Socket 3" x 4" | Unik | - | - | 3" to 4" GI reducer socket for adapting pipe sizes. | Each |
| 264 | GI Reducer Tee 1" x 1/2" (25mm) | Unik | - | - | 1" to 1/2" GI reducer tee, used for splitting pipes in plumbing. | Each |
| 265 | GI Reducer Tee 2" x 1" | Unik | - | - | 2" to 1" GI reducer tee for pipe branch installations. | Each |
| 266 | GI Reducer Tee 3/4" x 1/2" | Unik | - | - | 3/4" to 1/2" GI reducer tee for smaller plumbing connections. | Each |
| 267 | GI Socket 1" (25mm) | Unik | - | - | 1" GI socket, commonly used to join two 1" pipes. | Each |
| 268 | GI Socket 1/2" (15mm) | Unik | - | - | 1/2" GI socket for joining 15mm pipes. | Each |
| 269 | GI Socket 1.25" | Unik | - | - | 1.25" GI socket for pipe joining applications. | Each |
| 270 | GI Socket 1.5" (32mm) | Unik | - | - | 1.5" GI socket, used for connecting larger pipes. | Each |
| 271 | GI Socket 2" | Unik | - | - | 2" GI socket used to join 2" GI pipes in plumbing systems. | Each |
| 272 | GI Socket 3" (75mm) | Unik | - | - | 3" GI socket for connecting larger diameter pipes. | Each |
| 273 | GI Socket 3/4" | Unik | - | - | 3/4" GI socket for smaller plumbing connections. | Each |
| 274 | GI Socket 4" | Unik | - | - | 4" GI socket for heavy-duty plumbing applications. | Each |
| 275 | GI Tank Nipple 1" | Unik | - | - | 1" GI tank nipple, used in water tank pipe fittings. | Each |
| 276 | GI Tank Nipple 1.5" | Unik | - | - | 1.5" GI tank nipple for larger tank pipe connections. | Each |
| 277 | GI Tee 1" | Unik | - | - | 1" GI tee, used for branching out in plumbing systems. | Each |
| 278 | GI Tee 1/2" (15mm) | Unik | - | - | 1/2" GI tee for small diameter pipe branch applications. | Each |
| 279 | GI Tee 1.5" (40mm) | Unik | - | - | 1.5" GI tee for larger pipe branching. | Each |
| 280 | GI Tee 2" | Unik | - | - | 2" GI tee for splitting pipes in medium-to-large systems. | Each |
| 281 | GI Tee 3/4" (20mm) | Unik | - | - | 3/4" GI tee, used for smaller pipe branching in plumbing. | Each |
| 282 | GI Union 1" (25mm) | Unik | - | - | 1" GI union for easy pipe disconnections and installations. | Each |
| 283 | GI Union 1.25" (32mm) | Unik | - | - | 1.25" GI union for connecting and disconnecting pipes. | Each |
| 284 | GI Union 1.5" | Unik | - | - | 1.5" GI union used for joining large-diameter pipes. | Each |
| 285 | GI Union 2.5" | Unik | - | - | 2.5" GI union for easy maintenance and installation of pipes. | Each |
| 286 | GI Union 3" (75mm) | Unik | - | - | 3" GI union used for joining larger pipe sections. | Each |
| 287 | GI X-Nipple 1/2" | Unik | - | - | 1/2" GI X-nipple, used for joining pipes at multiple points. | Each |
| 288 | Grab Bar 400mm | Jaquar | ESS | Kohler | 400mm grab bar for bathroom support, commonly used in wet areas. | Each |
| 289 | Group Nipple 2.5" x 12" (2x2.5") | Unik | - | - | Group nipple for connecting multiple pipe extensions. | Each |
| 290 | Group Nipple 2.5" x 9" (2x2.5") | Unik | - | - | 2.5" group nipple for extending multiple 2.5" pipes. | Each |
| 291 | Handle Valve 15mm (1/2") | ESS | Jaquar | Kohler | 1/2" handle valve for controlling water flow in pipes. | Each |
| 292 | Handle Valve 2.5" | ESS | Jaquar | Kohler | 2.5" handle valve used for larger valve control in pipes. | Each |
| 293 | Handle Valve 25mm 1" | ESS | Jaquar | Kohler | 1" handle valve for water flow regulation in plumbing systems. | Each |
| 294 | Handle Valve 3" | ESS | Jaquar | Kohler | 3" handle valve, ideal for controlling water flow in large systems. | Each |
| 295 | Handle Valve/Ball Valve 20mm (3/4") | ESS | Jaquar | Kohler | 3/4" ball valve used for precise water flow control. | Each |
| 296 | Handle Valve / Ball Valve 32mm (1 1/4") | ESS | Jaquar | Kohler | 1 1/4" ball valve for regulating water flow in larger pipelines. | Each |
| 297 | Handle Valve/Ball Valve 40mm (1.5") | ESS | Jaquar | Kohler | 1.5" ball valve for large-scale plumbing applications. | Each |
| 298 | Handle Valve/Ball Valve 50mm (2") | ESS | Jaquar | Kohler | 2" ball valve used in heavy-duty commercial plumbing systems. | Each |
| 299 | Health Faucet | Jaquar | ESS | Kohler | Health faucet for hygienic applications in bathrooms. | Each |
| 300 | Health Faucet Connection Pipe | Jaquar | ESS | Kohler | Pipe for connecting health faucets to water supply lines | Each |
| 301 | Holdar Jali (Gritting) | Jaquar | ESS | Kohler | Used for preventing debris and grits from entering drainage systems. | Each |
| 302 | Jet Spray Multi | Jaquar | ESS | Kohler | Multi-function jet spray for hygiene purposes in bathrooms. | Each |
| 303 | Long Body Bib Cock | Jaquar | ESS | Kohler | Long body bib cock for extended reach, typically used in washbasins. | Each |
| 304 | Mixer Connection Pipe | Jaquar | ESS | Kohler | Pipe used for connecting mixer valves in sanitary fixtures. | Each |
| 305 | Multi Trap 4 x 3" | Astral | Supreme | - | Multi-trap designed to collect wastewater from multiple sources. | Each |
| 306 | Non Return Valve 1" (NRV) | Astral | Supreme | - | Prevents backflow of water, installed in pipelines for safety. | Each |
| 307 | Non Return Valve 1.25" (NRV) | Astral | Supreme | - | 1.25" NRV for larger pipeline installations. | Each |
| 308 | Non Return Valve 2" (NRV) | Astral | Supreme | - | 2" NRV for heavy-duty applications, prevents backflow of water. | Each |
| 309 | Non Return Valve 2.5" (NRV) | Astral | Supreme | - | 2.5" NRV used for larger pipeline systems in industrial setups. | Each |
| 310 | Non Return Valve 3" (NRV) | Astral | Supreme | - | 3" NRV for high-capacity flow and backflow prevention. | Each |
| 311 | Non Return Valve 3/4" (NRV) | Astral | Supreme | - | 3/4" NRV for small scale plumbing systems. | Each |
| 312 | Pillar Cock | Jaquar | ESS | Kohler | Pillar cock for outdoor or garden taps, highly durable. | Each |
| 313 | PVC 45 Degree Bend 3" | Astral | Supreme | - | 45° PVC bend for redirecting flow in plumbing systems. | Each |
| 314 | PVC 45 Degree Bend 4" | Astral | Supreme | - | 4" PVC bend used for smooth redirection of water flow. | Each |
| 315 | PVC Bend 75 mm | Astral | Supreme | - | 75mm PVC bend for connecting pipes in different directions. | Each |
| 316 | PVC Bend Shoe 110mm | Astral | Supreme | - | 110mm PVC shoe bend for drainage and sewage applications. | Each |
| 317 | PVC Bottle Trap | Astral | Supreme | - | Bottle trap for connecting washbasin to drainage pipes. | Each |
| 318 | PVC Bush 1 1/3 x 3/4" | Astral | Supreme | - | PVC bush for reducing pipe sizes or for connections. | Each |
| 319 | PVC Connection Pipe | Astral | Supreme | - | Pipe used for connecting plumbing fixtures. | Each |
| 320 | PVC Cowl 160mm | Astral | Supreme | - | Cowl used for vent pipes, ensuring efficient airflow. | Each |
| 321 | PVC Door Bend 110mm | Astral | Supreme | - | 110mm PVC door bend for easy pipe connections around doors. | Each |
| 322 | PVC Door Tee 4" | Astral | Supreme | - | 4" PVC tee used for splitting water flow at a 90-degree angle. | Each |
| 323 | PVC Door Tee 4 x 3" | Astral | Supreme | - | 4 x 3" PVC door tee for redirecting water between two pipes. | Each |
| 324 | PVC Elbow 25mm | Astral | Supreme | - | 25mm PVC elbow used to change the direction of the pipe system. | Each |
| 325 | PVC Elbow 40mm | Astral | Supreme | - | 40mm PVC elbow for altering pipe direction at an angle. | Each |
| 326 | PVC Elbow 50 mm | Astral | Supreme | - | 50mm PVC elbow for large piping systems requiring redirection. | Each |
| 327 | PVC Elbow 6" | Astral | Supreme | - | 6" PVC elbow for substantial redirection of water in pipelines. | Each |
| 328 | PVC Elbow 75mm | Astral | Supreme | - | 75mm PVC elbow used in high-flow applications for redirection. | Each |
| 329 | PVC End Cap 3" | Astral | Supreme | - | 3" PVC end cap used to close pipe ends securely. | Each |
| 330 | PVC End Cap 6" | Astral | Supreme | - | 6" PVC end cap, ideal for sealing large-diameter pipes. | Each |
| 331 | PVC Fapt 50 mm | Astral | Supreme | - | 50mm PVC FAPT for controlling flow of water in plumbing systems. | Each |
| 332 | PVC FAPT 75mm x 63mm | Astral | Supreme | - | 75mm x 63mm PVC FAPT for larger water flow management. | Each |
| 333 | PVC Gully - Trap 6" | Astral | Supreme | - | 6" PVC gully trap used in stormwater drainage systems. | Each |
| 334 | PVC Long Bend Pipe | Astral | Supreme | - | Long PVC pipe bend for large-scale installations. | Each |
| 335 | PVC MAPT 32mm x 32mm | Astral | Supreme | - | 32mm x 32mm PVC MAPT for joining pipes in wastewater systems. | Each |
| 336 | PVC MAPT 40mm x 40mm | Astral | Supreme | - | 40mm x 40mm PVC MAPT for joining medium-sized pipes. | Each |
| 337 | PVC MAPT 63mm | Astral | Supreme | - | 63mm PVC MAPT used for larger wastewater and drainage pipes. | Each |
| 338 | PVC MAPT 75mm | Astral | Supreme | - | 75mm PVC MAPT for higher-capacity pipe connections. | Each |
| 339 | PVC MAPT 90mm | Astral | Supreme | - | 90mm PVC MAPT for large drainage systems requiring strong joints. | Each |
| 340 | PVC Multi Trap 110mm | Astral | Supreme | - | Multi-trap system, 110mm, used for multi-outlet drainage. | Each |
| 341 | PVC Nan Trap 3" | Astral | Supreme | - | 3" PVC nan trap used for smaller drainage applications. | Each |
| 342 | PVC Nan Trap 4" x 3" | Astral | Supreme | - | 4" x 3" PVC nan trap for medium-sized plumbing systems. | Each |
| 343 | PVC O Ring Plain Bend 110mm | Astral | Supreme | - | 110mm PVC O-ring bend for secure jointing in drainage systems. | Each |
| 344 | PVC Pipe 110mm | Astral | Supreme | - | 110mm PVC pipe used in wastewater and drainage systems. | Each |
| 345 | PVC Pipe 160mm | Astral | Supreme | - | 160mm PVC pipe for high-capacity drainage systems. | Each |
| 346 | PVC Pipe 4" | Astral | Supreme | - | 4" PVC pipe commonly used for residential plumbing applications. | Each |
| 347 | PVC Pipe 40mm | Astral | Supreme | - | 40mm PVC pipe for domestic and industrial plumbing. | Each |
| 348 | PVC Pipe 50mm | Astral | Supreme | - | 50mm PVC pipe for medium-scale plumbing systems. | Each |
| 349 | PVC Pipe 6" | Astral | Supreme | - | 6" PVC pipe, used for large plumbing applications and drainage. | Each |
| 350 | PVC Pipe 75mm (3") (SWR Pipe) | Astral | Supreme | - | 75mm SWR PVC pipe used for sewage and wastewater systems. | Each |
| 351 | PVC Pipe (Washing Machine) | Astral | Supreme | Finolex | PVC pipe specifically designed for connecting washing machines. | Each |
| 352 | PVC Plain Bend 4" | Astral | Supreme | Finolex | 4" PVC bend used for connecting pipes at a 90-degree angle. | Each |
| 353 | PVC Plain Tee 3" | Astral | Supreme | Finolex | 3" PVC tee for joining three pipes at a 90-degree angle. | Each |
| 354 | PVC Plain Tee 4" | Astral | Supreme | Finolex | 4" PVC tee for water and sewage systems. | Each |
| 355 | PVC Plain Tee 4 x 3" | Astral | Supreme | Finolex | 4 x 3" PVC tee for connecting pipes of different sizes. | Each |
| 356 | PVC Plug (Data) | Astral | Supreme | Finolex | Used to block the end of a pipe, ensuring no leakage. | Each |
| 357 | PVC P Trap 110mm | Astral | Supreme | Finolex | 110mm P-trap for drainage systems to prevent sewer gas leakage. | Each |
| 358 | PVC Reducer Bush 110mm x 75mm (4" x 3") | Astral | Supreme | Finolex | Used to connect 4" and 3" pipes in drainage systems. | Each |
| 359 | PVC Reducer Bush 75mm x 50mm | Astral | Supreme | Finolex | 75mm x 50mm PVC reducer bush to join two pipes of different sizes. | Each |
| 360 | PVC Reducer Bush 90mm x 75mm | Astral | Supreme | Finolex | Used for reducing pipe sizes from 90mm to 75mm in drainage systems. | Each |
| 361 | PVC Reducer Tee 90mm x 63mm | Astral | Supreme | Finolex | 90mm x 63mm reducer tee to branch a pipe at an angle. | Each |
| 362 | PVC Reducer Socket 75mm x 63mm | Astral | Supreme | Finolex | Used to join two different sizes of pipes (75mm and 63mm). | Each |
| 363 | PVC Shoe 110mm x 75mm | Astral | Supreme | Finolex | Used for transitioning between pipe sizes, e.g., 110mm to 75mm. | Each |
| 364 | PVC Shoe 75mm (3") | Astral | Supreme | Finolex | 75mm PVC shoe used to direct water flow in a specific direction. | Each |
| 365 | PVC Socket 25mm | Astral | Supreme | Finolex | 25mm PVC socket used to join two pipes of the same size. | Each |
| 366 | PVC Socket 3" | Astral | Supreme | Finolex | 3" PVC socket for standard pipe jointing. | Each |
| 367 | PVC Socket 4" | Astral | Supreme | Finolex | 4" PVC socket used for pipe-to-pipe connections. | Each |
| 368 | PVC Socket 40mm | Astral | Supreme | Finolex | 40mm PVC socket for small to medium-sized plumbing systems. | Each |
| 369 | PVC Socket 4 x 3" | Astral | Supreme | Finolex | 4 x 3" PVC socket used for reducing pipe sizes while connecting. | Each |
| 370 | PVC Socket 6" | Astral | Supreme | Finolex | 6" PVC socket for large pipe systems. | Each |
| 371 | PVC Solvent 237ml | Astral | Supreme | Finolex | Solvent used for cleaning and preparing PVC pipes for joining. | Each |
| 372 | PVC Solvent 473ml | Astral | Supreme | Finolex | Larger solvent container for PVC pipe preparation. | Each |
| 373 | PVC Solvent 500ml | Astral | Supreme | Finolex | 500ml PVC solvent for pipe bonding and joint sealing. | Each |
| 374 | PVC Tee 25mm | Astral | Supreme | Finolex | 25mm PVC tee used for small plumbing systems. | Each |
| 375 | PVC Tee 40mm | Astral | Supreme | Finolex | 40mm PVC tee used for joining pipes in various directions. | Each |
| 376 | PVC Tee 50mm 2" | Astral | Supreme | Finolex | 50mm (2") PVC tee for splitting water flow. | Each |
| 377 | PVC Tee 6" | Astral | Supreme | Finolex | 6" PVC tee for large water flow redirection. | Each |
| 378 | PVC Tee 75mm | Astral | Supreme | Finolex | 75mm PVC tee for larger diameter pipe applications. | Each |
| 379 | PVC Tee 75mm x 87.5mm | Astral | Supreme | Finolex | Used to split water flow from 75mm to 87.5mm pipes. | Each |
| 380 | PVC TEE 90MM | Astral | Supreme | Finolex | 90mm PVC tee used for redirection of water flow in drainage. | Each |
| 381 | PVC Valve 2.5" (65mm) | Astral | Supreme | Finolex | 2.5" PVC valve used to regulate water flow in large plumbing systems. | Each |
| 382 | PVC Vent Cowl 110mm (4") | Astral | Supreme | Finolex | 110mm PVC vent cowl for air venting in sewer systems. | Each |
| 383 | PVC Y Tee 75mm (3") | Astral | Supreme | Finolex | Y-shaped 75mm PVC tee for branching water flow. | Each |
| 384 | Rubber Sheet | - | - | - | Used for sealing and cushioning in various plumbing systems. | Each |
| 385 | Rubber Sheet 24" x 24" | - | - | - | Larger rubber sheet used for industrial applications. | Each |
| 386 | Rubber Sheet 36" x 36" | - | - | - | Larger size rubber sheet for sealing tanks and drainage systems. | Each |
| 387 | Rubber Sheet 4” for WC tank | - | - | - | Rubber sheet specifically for sealing WC tank connections. | Each |
| 388 | Service Saddle 3" x 1" (6 kg. pressure) | - | - | - | Saddle for pipe connection under pressure. | Each |
| 389 | Short Body Bib Cock | Jaquar | ESS | Kohler | Short body bib cock for use in outdoor and garden taps. | Each |
| 390 | Shower Arm | Jaquar | ESS | Kohler | Shower arm for holding showerheads. | Each |
| 391 | Shower Concealed Valve Set 15mm | Jaquar | ESS | Kohler | Concealed shower valve set for smooth water flow control. | Each |
| 392 | Shower Stopper | Jaquar | ESS | Kohler | Stopper used for halting water flow in shower systems. | Each |
| 393 | Sink 18" x 16" | Jaquar | ESS | Kohler | Standard-sized sink for kitchens and utility areas. | Each |
| 394 | Sink Kitchen 37"x 18" x 8" | Jaquar | ESS | Kohler | Larger kitchen sink for higher utility needs. | Each |
| 395 | Sink Mixer | ESS | Jaquar | Kohler | Sink mixer with a Croma design for smooth water flow. | Each |
| 396 | Sink Mixer WT Swivel Casted Spout | Kohler | ESS | Jaquar | Swivel sink mixer with casted spout for easy usage. | Each |
| 397 | Sink Waste Coupling | Jaquar | ESS | Kohler | Waste coupling to connect sink to drainpipe. | Each |
| 398 | SPINDLE 22*1.5 CROMA/TREND- ESS | ESS | - | - | Spindle for Jaquar’s Croma or Trend series faucets. | Each |
| 399 | SPINDLE 22*1.5 SQUARE PUNCH-ESS | ESS | - | - | Square punch spindle for ESS brand faucets. | Each |
| 400 | Sprinkler | Jaquar | ESS | Kohler | Sprinkler used for garden irrigation and landscape maintenance. | Each |
| 401 | Sprinkler Gun | Jaquar | ESS | Kohler | Used for irrigation and gardening, provides a uniform water spray. | Each |
| 402 | Steel Sink 18" * 16" * 8" | Jaquar | ESS | Kohler | High-quality steel sink suitable for kitchens or utility rooms. | Each |
| 403 | Syphon Set (Urinal) Double System | Jaquar | ESS | Kohler | Urinal syphon for double flushing systems. | Each |
| 404 | Syphon Set Single - PVC Cistern Tank | Jaquar | ESS | Kohler | Single syphon system for PVC cistern tanks. | Each |
| 405 | Syphon Set (Urinal) Normal Single | Jaquar | ESS | Kohler | Normal single urinal syphon for basic flushing. | Each |
| 406 | Teflon Tape (Techno Tape) | M -seal | - | - | Teflon tape used for sealing threads in plumbing applications. | Each |
| 407 | Two Way Bib Cock (CP Bib Cock 2-in-1) | Jaquar | ESS | Kohler | Two-way bib cock suitable for multiple water outlet connections. | Each |
| 408 | UPVC Bend 75mm | Astral | Supreme | Finolex | 75mm UPVC bend for changing the direction of pipes in drainage. | Each |
| 409 | UPVC Bend Shoe 80mm | Astral | Supreme | Finolex | 80mm UPVC shoe for joining and turning pipes. | Each |
| 410 | UPVC Brass Tee 1" x 1/2" | Astral | Supreme | Finolex | 1" x 1/2" brass tee used for branching pipes of different sizes. | Each |
| 411 | UPVC Elbow 1" (Sch. 80) | Astral | Supreme | Finolex | 1" UPVC elbow for high-pressure systems. | Each |
| 412 | UPVC Elbow 1/2" (Sch. 80) | Astral | Supreme | Finolex | 1/2" UPVC elbow for small diameter pipe applications. | Each |
| 413 | UPVC Elbow 1.25" (Sch. 80) | Astral | Supreme | Finolex | 1.25" UPVC elbow for connecting pipes at a right angle. | Each |
| 414 | UPVC Elbow 1.5" 40mm (Sch. 80) | Astral | Supreme | Finolex | 1.5" 40mm UPVC elbow for residential and commercial piping. | Each |
| 415 | UPVC Elbow 2" (Sch. 80) | Astral | Supreme | Finolex | 2" UPVC elbow used for efficient water flow in pipes. | Each |
| 416 | UPVC Elbow 3" 80mm (Sch. 40) | Astral | Supreme | Finolex | 3" UPVC elbow for medium-duty pipe systems. | Each |
| 417 | UPVC Elbow 3" (Sch. 80) | Astral | Supreme | Finolex | 3" UPVC elbow for heavy-duty plumbing applications. | Each |
| 418 | UPVC Elbow 3/4" | Astral | Supreme | Finolex | 3/4" UPVC elbow for smaller diameter pipes. | Each |
| 419 | UPVC Elbow 4" | Astral | Supreme | Finolex | 4" UPVC elbow used for larger pipe connections. | Each |
| 420 | UPVC End Cap 80MM | Astral | Supreme | Finolex | 80mm UPVC end cap used to seal the end of pipes. | Each |
| 421 | UPVC End Cap 6" | Astral | Supreme | Finolex | 6" UPVC end cap for sealing large pipes. | Each |
| 422 | UPVC FABT 25mm (Sch. 80) | Astral | Supreme | Finolex | 25mm UPVC FABT used for branch connections. | Each |
| 423 | UPVC FABT 1 1/4" | Astral | Supreme | Finolex | 1 1/4" UPVC FABT for pipe junctions in drainage systems. | Each |
| 424 | UPVC FABT 1.5" | Astral | Supreme | Finolex | 1.5" UPVC FABT for large piping systems. | Each |
| 425 | UPVC FABT 3" | Astral | Supreme | Finolex | 3" UPVC FABT for commercial piping networks. | Each |
| 426 | UPVC FABT 3/4" | Astral | Supreme | Finolex | 3/4" UPVC FABT for standard plumbing sizes. | Each |
| 427 | UPVC FAPT 1.5" | Astral | Supreme | Finolex | 1.5" UPVC FAPT for strong connections. | Each |
| 428 | UPVC FAPT 2" | Astral | Supreme | Finolex | 2" UPVC FAPT for reliable pipe fittings. | Each |
| 429 | UPVC FAPT 3" | Astral | Supreme | Finolex | 3" UPVC FAPT used in large plumbing systems. | Each |
| 430 | UPVC Flange 50mm (2") | Astral | Supreme | Finolex | 50mm UPVC flange used for pipe joining. | Each |
| 431 | UPVC Flange 80mm (3") | Astral | Supreme | Finolex | 80mm UPVC flange for larger connections. | Each |
| 432 | UPVC MABT 1" (Sch. 80) | Astral | Supreme | Finolex | 1" UPVC MABT used for high-pressure water systems. | Each |
| 433 | UPVC MABT 1/2" (Sch. 80) | Astral | Supreme | Finolex | 1/2" UPVC MABT for small pipe applications. | Each |
| 434 | UPVC MABT 1.5" 40mm (Sch. 40) | Astral | Supreme | Finolex | 1.5" 40mm UPVC MABT for drainage and waste systems. | Each |
| 435 | UPVC MABT 3" | Astral | Supreme | Finolex | 3" UPVC MABT used for medium-duty installations. | Each |
| 436 | UPVC MABT 3/4" | Astral | Supreme | Finolex | 3/4" UPVC MABT used in various plumbing setups. | Each |
| 437 | UPVC MAPT 25mm (Sch. 80) | Astral | Supreme | Finolex | 25mm UPVC MAPT for pipe connections in drainage systems. | Each |
| 438 | UPVC MAPT 1/2" | Astral | Supreme | Finolex | 1/2" UPVC MAPT for small diameter pipes. | Each |
| 439 | UPVC MAPT 2" | Astral | Supreme | Finolex | 2" UPVC MAPT used for connecting pipes of similar sizes. | Each |
| 440 | UPVC MAPT 3" (Sch. 80) | Astral | Supreme | Finolex | 3" UPVC MAPT used in medium pressure water systems. | Each |
| 441 | UPVC MAPT 4" | Astral | Supreme | Finolex | 4" UPVC MAPT for larger systems, typically in industrial setups. | Each |
| 442 | UPVC Pipe 1" (Sch. 80) | Astral | Supreme | Finolex | 1" UPVC pipe for high-pressure plumbing systems. | Each |
| 443 | UPVC Pipe 1/2" (Sch. 80) | Astral | Supreme | Finolex | 1/2" UPVC pipe used for low-pressure applications. | Each |
| 444 | UPVC Pipe 3" (Sch. 40) | Astral | Supreme | Finolex | 3" UPVC pipe for medium-pressure drainage systems. | Each |
| 445 | UPVC Pipe 40mm | Astral | Supreme | Finolex | 40mm UPVC pipe used in smaller plumbing installations. | Each |
| 446 | UPVC Pipe 50mm (2") | Astral | Supreme | Finolex | 50mm UPVC pipe for main drainage lines. | Each |
| 447 | UPVC Pipe 6" 160mm A Type | Astral | Supreme | Finolex | 6" UPVC pipe used in large-scale piping networks. | Each |
| 448 | UPVC Pipe 80mm (Sch. 80) | Astral | Supreme | Finolex | 80mm UPVC pipe used in commercial applications. | Each |
| 449 | UPVC Reducer Bush 1" x 1/2" | Astral | Supreme | Finolex | Reducer bush for connecting pipes of different diameters. | Each |
| 450 | UPVC Reducer Bush 1 1/4" x 1" (Sch. 80) | Astral | Supreme | Finolex | 1 1/4" x 1" reducer bush for joining pipes of different sizes. | Each |
| 451 | UPVC Reducer Bush 1.25" x 1" (Sch.40) | Astral | Supreme | Finolex | 1.25" x 1" UPVC reducer bush for connecting pipes of different diameters. | Each |
| 452 | UPVC Reducer Bush 1.25" x 1.5" | Astral | Supreme | Finolex | 1.25" x 1.5" UPVC reducer bush for transitioning pipe sizes. | Each |
| 453 | UPVC Reducer Bush 1.25" x 2" | Astral | Supreme | Finolex | 1.25" x 2" UPVC reducer bush used in larger pipe networks. | Each |
| 454 | UPVC Reducer Bush 1.5" x 1" | Astral | Supreme | Finolex | 1.5" x 1" UPVC reducer bush for reducing pipe size. | Each |
| 455 | UPVC Reducer Bush 1.5" x 1 1/4" | Astral | Supreme | Finolex | 1.5" x 1 1/4" UPVC reducer bush for efficient water flow. | Each |
| 456 | UPVC Reducer Bush 160 x 110 | Astral | Supreme | Finolex | 160 x 110 UPVC reducer bush for larger drainage pipes. | Each |
| 457 | UPVC Reducer Bush 2" x 1" | Astral | Supreme | Finolex | 2" x 1" UPVC reducer bush for pipe systems in plumbing. | Each |
| 458 | UPVC Reducer Bush 2" x 1.25" | Astral | Supreme | Finolex | 2" x 1.25" UPVC reducer bush for residential plumbing. | Each |
| 459 | UPVC Reducer Bush 2" x 3/4" | Astral | Supreme | Finolex | 2" x 3/4" UPVC reducer bush for reducing pipe diameter. | Each |
| 460 | UPVC Reducer Bush 2" x 1.5" | Astral | Supreme | Finolex | 2" x 1.5" UPVC reducer bush for connecting medium-duty pipes. | Each |
| 461 | UPVC Reducer Bush 3" x 2" | Astral | Supreme | Finolex | 3" x 2" UPVC reducer bush used for large-scale plumbing systems. | Each |
| 462 | UPVC Reducer Tee 1.25 x 1" | Astral | Supreme | Finolex | 1.25" x 1" UPVC reducer tee for branching pipes. | Each |
| 463 | UPVC Reducer Tee 1 x 1/2" | Astral | Supreme | Finolex | 1" x 1/2" UPVC reducer tee for connecting small diameter pipes. | Each |
| 464 | UPVC Reducer Tee 1 x 3/4" | Astral | Supreme | Finolex | 1" x 3/4" UPVC reducer tee for splitting pipes. | Each |
| 465 | UPVC Socket 1" (Sch.80) | Astral | Supreme | Finolex | 1" UPVC socket for connecting high-pressure pipes. | Each |
| 466 | UPVC Socket 1 1/4" (1.25") | Astral | Supreme | Finolex | 1 1/4" UPVC socket for solid, durable connections. | Each |
| 467 | UPVC Socket 1/2" | Astral | Supreme | Finolex | 1/2" UPVC socket for low-pressure water systems. | Each |
| 468 | UPVC Socket 1.5" | Astral | Supreme | Finolex | 1.5" UPVC socket used in larger plumbing setups. | Each |
| 469 | UPVC Socket 2" (Sch.80) | Astral | Supreme | Finolex | 2" UPVC socket for high-pressure pipe connections. | Each |
| 470 | UPVC Socket 3" (Sch.80) | Astral | Supreme | Finolex | 3" UPVC socket for high-duty piping networks. | Each |
| 471 | UPVC Socket 4" | Astral | Supreme | Finolex | 4" UPVC socket for industrial piping systems. | Each |
| 472 | UPVC Socket 80mm (Sch.40) | Astral | Supreme | Finolex | 80mm UPVC socket for medium-pressure pipe applications. | Each |
| 473 | UPVC Solvent 100ml | Astral | Supreme | Finolex | 100ml UPVC solvent for sealing joints and connections. | Each |
| 474 | UPVC Solvent 118ml | Astral | Supreme | Finolex | 118ml UPVC solvent used for fast-drying and strong bonds. | Each |
| 475 | UPVC Solvent 200ml | Astral | Supreme | Finolex | 200ml solvent for larger applications in plumbing. | Each |
| 476 | UPVC Solvent 237ml | Astral | Supreme | Finolex | 237ml UPVC solvent for bonding pipes efficiently. | Each |
| 477 | UPVC Solvent 473ml | Astral | Supreme | Finolex | 473ml UPVC solvent for large-scale pipe installations. | Each |
| 478 | UPVC Solvent 500ml | Astral | Supreme | Finolex | 500ml UPVC solvent for high-volume plumbing work. | Each |
| 479 | UPVC Tank Nipple 1" | Astral | Supreme | Finolex | 1" UPVC tank nipple for connecting tanks and pipes. | Each |
| 480 | UPVC Tee 1" (Sch.80) | Astral | Supreme | Finolex | 1" UPVC tee for branching high-pressure systems. | Each |
| 481 | UPVC Tee 1/2" | Astral | Supreme | Finolex | 1/2" UPVC tee for small-scale plumbing applications. | Each |
| 482 | UPVC Tee 1.25" (Sch.80) | Astral | Supreme | Finolex | 1.25" UPVC tee used for medium-duty branching. | Each |
| 483 | UPVC Tee 1.5" | Astral | Supreme | Finolex | 1.5" UPVC tee for splitting water or drainage pipes. | Each |
| 484 | UPVC Tee 2" (Sch.80) | Astral | Supreme | Finolex | 2" UPVC tee for branching pipes in heavy-duty systems. | Each |
| 485 | UPVC Tee 3" | Astral | Supreme | Finolex | 3" UPVC tee for larger plumbing systems. | Each |
| 486 | UPVC Tee 6" 160mm | Astral | Supreme | Finolex | 6" UPVC tee for large industrial or commercial piping. | Each |
| 487 | UPVC Union 1" (Sch.80) | Astral | Supreme | Finolex | 1" UPVC union for quick connection and disconnection of pipes. | Each |
| 488 | UPVC Union 1 1/4" | Astral | Supreme | Finolex | 1 1/4" UPVC union for larger water systems. | Each |
| 489 | UPVC Union 2" | Astral | Supreme | Finolex | 2" UPVC union for connecting pipes of similar sizes. | Each |
| 490 | UPVC Valve 1/2" | Astral | Supreme | Finolex | 1/2" UPVC valve for controlling the flow of water. | Each |
| 491 | Urinal | Jaquar | ESS | Kohler | Wall-mounted urinals for commercial or residential use. | Each |
| 492 | Urinal Bracket | Jaquar | ESS | Kohler | Bracket for mounting urinals securely. | Each |
| 493 | Urinal Connection 15mm | Jaquar | ESS | Kohler | 15mm connection for urinals, often used in public restrooms. | Each |
| 494 | Urinal Push Cock PVC | Jaquar | ESS | Kohler | PVC push cock for urinals to control water flow. | Each |
| 495 | Urinal Spider PVC | Jaquar | ESS | Kohler | Spider fittings for urinals, providing multiple connections. | Each |
| 496 | Urinal Spreader (Jibbi) | Jaquar | ESS | Kohler | Spreader for urinal fittings, used to evenly distribute water. | Each |
| 497 | Urinal Waste Coupling | Jaquar | ESS | Kohler | Waste coupling for urinal drainage systems. | Each |
| 498 | Urinal Waste Pipe PVC | Jaquar | ESS | Kohler | PVC waste pipe for urinals. | Each |
| 499 | Wall Mounted Urinal Partitions | Jaquar | ESS | Kohler | Wall-mounted partitions for urinals in commercial spaces. | Each |
| 500 | Wash Basin Model no. S2040102 | Jaquar | ESS | Kohler | Designer wash basin for modern bathrooms. | Each |
| 501 | Washbasin (1005 Under/Over Counter Washbasin) | Cera | Kohler | Jaquar | White ceramic under or over counter washbasin. | Each |
| 502 | Washbasin Center Valve (3/4") Big | Jaquar | ESS | Kohler | 3/4" valve for center-mounted washbasins. | Each |
| 503 | Washbasin Mixer Tap | Jaquar | ESS | Kohler | Mixer tap for washbasins offering hot and cold water control. | Each |
| 504 | Washbasin (Cliff Over Counter) | Cera | Kohler | Jaquar | Cliff series over-counter washbasin in white. | Each |
| 505 | Water Closet (Universal EWC White) | Jaquar | ESS | Kohler | Universal white EWC (European Water Closet) for modern toilets. | Each |
| 506 | Water Closet White 23" Indian Seat | Jaquar | ESS | Kohler | Traditional 23" white Indian seat water closet. | Each |
| 507 | Water Hardness Testing Kit | - | - | - | Testing kit to measure water hardness levels. | Each |
| 508 | WC Cistern Flush Fitting | Jaquar | ESS | Kohler | Flush fitting for WC cistern, facilitating water release. | Each |
| 509 | WC Cistern Tank | Jaquar | ESS | Kohler | Cistern tank for water closet systems. | Each |
| 510 | WC Seat Cover (Cera - Carina) | Cera | Kohler | Jaquar | Carina series WC seat cover from Cera. | Each |
| 511 | WC Seat Cover (Cera - Ceranglo) | Cera | Kohler | Jaquar | Ceranglo series WC seat cover by Cera. | Each |
| 512 | WC Seat Cover (Codi) | Cera | Kohler | Jaquar | Codi series WC seat cover from Cera. | Each |
| 513 | WC Tank / PVC Cistern Tank | Jaquar | ESS | Kohler | PVC WC cistern tank used for water closet systems. | Each |

Note:

The makes/brands and models of the equipment/items have not been specified in the tender document at some places. The same shall be finalized during the Pre-Bid Meeting (shall be done on 2nd sept. 2026)/approval stage, as per CPWD norms or as per committee. The bidder shall quote/propose suitable makes and models and rates conforming to the technical specifications and approved standards stipulated in the tender document.

Signature with seal

Annexure

To Whomsoever It May Concern

This is to confirm that we, the undersigned, intend to participate in Tender No. : 2026-27/Estate/2B/LNM-RC-Plumbing for the tender/work titled: “Bid for the “Rate contract for the plumbing items – yearly/ Biennial”.

We hereby certify the following:

No Conflict of Interest:

- We declare that we have no conflict of interest in participating in the above tender. We further confirm that we are not engaged in any activity or association that may compromise, or be perceived to compromise, our impartiality or ability to fulfil the obligations of the tender.

Undertaking on Blacklisting & Litigation (Self-Certificate):

- We hereby undertake that:

- Our agency/firm has never been blacklisted or debarred by any Central Government, State Government, Union Territory administration, or any other Institution/Organization.

- There is no ongoing or past litigation against our agency/firm with any Central Government, State Government, Union Territory administration, or any other Institution/Organization on account of any services/supplies.

- If at any stage the above declaration is found to be false, the Institute shall have the right to take any action as deemed appropriate, including rejection of our bid.

Site Visit /Understanding:

- We confirm that we have visited the site/clearly understood the requirements and expectations of the college authorities.

Scope of Work:

- We have thoroughly reviewed the scope of work mentioned in the bid document. The entire inventory/requirement/work has been verified and found to be in order. We also confirm that no additional items beyond the listed inventory/requirement will be required for successful completion of the work. However, if any additional item is required during execution, the same shall be provided by us as per the requirement.

Bidder Details

Name of Bidder: ______________________________________

Address: _____________________________________________

Contact Person: _______________________________________

Mobile No.: ___________________________________________

Email ID: _____________________________________________

Authorized Signatory: __________________________________

Signature & Stamp: ____________________________________

Date: _________________

Place: ________________

Commercial Bid: (in separate sealed envelope/password protected file via email)

# Bid for the Rate contract for the plumbing items – yearly/ Biennial 
(Tender No. : 2026-27/Estate/2B/LNM-RC-Plumbing)

| Sr. No | Item Name | Unit | Rate |
| --- | --- | --- | --- |
| 1 | Air Release Valve 25mm | Each |  |
| 2 | Angle Valve Water Cooler | Each |  |
| 3 | Angle Valve (ESS Croma C204) | Each |  |
| 4 | Angle Valve (Two Way) | Each |  |
| 5 | Ball Cock 1.25" | Each |  |
| 6 | Ball Cock 15mm (1/2") | Each |  |
| 7 | Ball Cock 20mm (3/4") | Each |  |
| 8 | Ball Cock 25mm (1") | Each |  |
| 9 | Ball Cock Set 1.5" | Each |  |
| 10 | Ball Cock Set 2" | Each |  |
| 11 | Ball Cock (Water Cooler) 15mm | Each |  |
| 12 | Bathroom Shower | Each |  |
| 13 | Bathroom Shower ARM 12' | Each |  |
| 14 | Bathroom Shower Valve 3/4" | Each |  |
| 15 | Bottle Trap | Each |  |
| 16 | Bottle Trap Pipe | Each |  |
| 17 | Bracket Set | Each |  |
| 18 | Brass Concealed Disk | Each |  |
| 19 | Butterfly Valve 2" | Each |  |
| 20 | Butterfly Valve 3" | Each |  |
| 21 | Butterfly Valve 4" | Each |  |
| 22 | Center Valve (Big) | Each |  |
| 23 | Center Valve Spindle | Each |  |
| 24 | Centre Valve (1/2" Small - Body) | Each |  |
| 25 | Chand for Basin Mixer | Each |  |
| 26 | CI Casing Cover 2" | Each |  |
| 27 | Cistern Ball Cock (1/2") Small | Each |  |
| 28 | Cistern Ball Cock Big | Each |  |
| 29 | Cistern Fitting Bolt | Each |  |
| 30 | Concealed Body 1/2" | Each |  |
| 31 | Concealed Face (3/4 inches) | Each |  |
| 32 | Concealed Face (Jaquar Type) | Each |  |
| 33 | Concealed Valve Upper Parts | Each |  |
| 34 | Concealed Center Valve | Each |  |
| 35 | Course Bubble Diffuser Size 150 mm | Each |  |
| 36 | CP Brass Hose Nipple Male Hose | Each |  |
| 37 | CP Health Faucet Chain | Each |  |
| 38 | CP Hex Nipple 15mm (1/2") | Each |  |
| 39 | CP Hex Nipple 25mm | Each |  |
| 40 | CP Tube 18" | Each |  |
| 41 | CP Tube Washer - Washer | Each |  |
| 42 | CPVC 1.25" MABT | Each |  |
| 43 | CPVC 1.25" FABT | Each |  |
| 44 | CPVC 50mm FABT | Each |  |
| 45 | CPVC 50mm Pipes | Each |  |
| 46 | CPVC Bend - Plain 110mm (4") | Each |  |
| 47 | CPVC Brass Elbow 1/2" x 1/2" | Each |  |
| 48 | CPVC Brass Elbow 3/4" x 3/4" | Each |  |
| 49 | CPVC Brass Tee 1" x 1/2" (25mm x 15mm) | Each |  |
| 50 | CPVC Brass Tee 1/2" x 1/2" | Each |  |
| 51 | CPVC Brass Tee 20x15mm | Each |  |
| 52 | CPVC Brass Tee 20x20mm 3/4" | Each |  |
| 53 | CPVC Data 1/2" | Each |  |
| 54 | CPVC Elbow 1" | Each |  |
| 55 | CPVC Elbow 1 1/4" (32mm) | Each |  |
| 56 | CPVC Elbow 1/2" (15mm) | Each |  |
| 57 | CPVC Elbow 1.5" (40mm) | Each |  |
| 58 | CPVC Elbow 2.5" | Each |  |
| 59 | CPVC Elbow 3" | Each |  |
| 60 | CPVC Elbow 3/4" 20mm | Each |  |
| 61 | CPVC Elbow 4" | Each |  |
| 62 | CPVC Elbow 50mm "2" | Each |  |
| 63 | CPVC End Cap 1" | Each |  |
| 64 | CPVC End Cap 1.25" | Each |  |
| 65 | CPVC End Cap 1.5" | Each |  |
| 66 | CPVC End Cap 2" | Each |  |
| 67 | CPVC End Cap 3" | Each |  |
| 68 | CPVC End Cap 3/4" | Each |  |
| 69 | CPVC End Cap 4" | Each |  |
| 70 | CPVC FABT 1" 25mm | Each |  |
| 71 | CPVC FABT 1/2" 15mm | Each |  |
| 72 | CPVC FABT 20x15mm | Each |  |
| 73 | CPVC FABT 2 1/2" | Each |  |
| 74 | CPVC FABT 3/4" | Each |  |
| 75 | CPVC FABT 40mm | Each |  |
| 76 | CPVC FAPT 1.25" 32mm | Each |  |
| 77 | CPVC FAPT 2" | Each |  |
| 78 | CPVC FAPT 3" | Each |  |
| 79 | CPVC FAPT 3/4" | Each |  |
| 80 | CPVC FAPT 4" | Each |  |
| 81 | CPVC FAPT 40mm 1.5" | Each |  |
| 82 | CPVC Flange 4" | Each |  |
| 83 | CPVC Handle Valve 25mm 1" | Each |  |
| 84 | CPVC MABT 1" | Each |  |
| 85 | CPVC MABT 1/2" | Each |  |
| 86 | CPVC MABT 1.5" | Each |  |
| 87 | CPVC MABT 2" | Each |  |
| 88 | CPVC MABT 2.5" | Each |  |
| 89 | CPVC MABT 3/4" (3/4" x 1/2" MABT) | Each |  |
| 90 | CPVC MABT 3/4" x 3/4" | Each |  |
| 91 | CPVC MAPT 1" | Each |  |
| 92 | CPVC MAPT 1/2" X 3/4" | Each |  |
| 93 | CPVC MAPT 1.25" | Each |  |
| 94 | CPVC MAPT 3" | Each |  |
| 95 | CPVC MAPT 3/4" | Each |  |
| 96 | CPVC MAPT 4" | Each |  |
| 97 | CPVC MAPT 40mm 1.5" | Each |  |
| 98 | CPVC MAPT 50mm "2" | Each |  |
| 99 | CPVC Pipe 1/2" | Each |  |
| 100 | CPVC Pipe 2" | Each |  |
| 101 | CPVC Pipe 20mm 3/4" (SDR-11) | Each |  |
| 102 | CPVC Pipe 2.5" | Each |  |
| 103 | CPVC Pipe 25mm | Each |  |
| 104 | CPVC Pipe 3" | Each |  |
| 105 | CPVC Pipe 32mm | Each |  |
| 106 | CPVC Pipe 4" | Each |  |
| 107 | CPVC Pipe 40mm | Each |  |
| 108 | CPVC Reducer Brass Elbow 20mm x 15mm | Each |  |
| 109 | CPVC Reducer Brass Tee 1" x 1/2" | Each |  |
| 110 | CPVC Reducer Brass Tee 20 x 15mm | Each |  |
| 111 | CPVC Reducer Bush 1" x 3/4" | Each |  |
| 112 | CPVC Reducer Bush 110 x 75 (4" x 3") | Each |  |
| 113 | CPVC Reducer Bush 1.25" x 1" | Each |  |
| 114 | CPVC Reducer Bush 1.25" x 3/4" | Each |  |
| 115 | CPVC Reducer Bush 1.5" x 1.25" | Each |  |
| 116 | CPVC Reducer Bush 2" x 1" | Each |  |
| 117 | CPVC Reducer Bush 2" x 1.25" | Each |  |
| 118 | CPVC Reducer Bush 2" x 1.5" | Each |  |
| 119 | CPVC Reducer Bush 2 1/2" x 1" | Each |  |
| 120 | CPVC Reducer Bush 2.5" x 2" | Each |  |
| 121 | CPVC Reducer Bush 4" x 3" | Each |  |
| 122 | CPVC Reducer Bush 40MM x 20MM | Each |  |
| 123 | CPVC Reducer Bush 40x25 (1.5 x 1) | Each |  |
| 124 | CPVC Reducer Bush 8050 32 | Each |  |
| 125 | CPVC Reducer Elbow 3/4" x 1/2" | Each |  |
| 126 | CPVC Reducer Socket 1 x 3/4" | Each |  |
| 127 | CPVC Reducer Socket 3/4" x 1/2" | Each |  |
| 128 | CPVC Reducer Tee 2" x 3/4" | Each |  |
| 129 | CPVC Reducer Tee 1" x 1/2" | Each |  |
| 130 | CPVC Reducer Tee 1" x 3/4" | Each |  |
| 131 | CPVC Reducer Tee 1 1/4" x 3/4" | Each |  |
| 132 | CPVC Reducer Tee 1.25" x 2" | Each |  |
| 133 | CPVC Reducer Tee 2" x 1" | Each |  |
| 134 | CPVC Reducer Tee 3" x 1" | Each |  |
| 135 | CPVC Reducer Tee 3" x 2" | Each |  |
| 136 | CPVC Reducer Tee 4" x 3" | Each |  |
| 137 | CPVC Reducer Tee 40MM x 20MM | Each |  |
| 138 | CPVC Socket 32mm 1 1/4" | Each |  |
| 139 | CPVC Socket 40mm 1 1/2" | Each |  |
| 140 | CPVC Socket 1" | Each |  |
| 141 | CPVC Socket 1/2" 15mm | Each |  |
| 142 | CPVC Socket 2" 50mm | Each |  |
| 143 | CPVC Socket 2.5" | Each |  |
| 144 | CPVC Socket 3" | Each |  |
| 145 | CPVC Socket 3/4" | Each |  |
| 146 | CPVC Socket 4" | Each |  |
| 147 | CPVC Solvent 100ml | Each |  |
| 148 | CPVC Solvent 118ml | Each |  |
| 149 | CPVC Solvent 200ml | Each |  |
| 150 | CPVC Solvent 237ml | Each |  |
| 151 | CPVC Solvent 500ml | Each |  |
| 152 | CPVC Solvent 946ml | Each |  |
| 153 | CPVC Tank Connection 2" | Each |  |
| 154 | CPVC Tank Nipple 1" | Each |  |
| 155 | CPVC Tank Nipple 1/2" | Each |  |
| 156 | CPVC Tank Nipple 1.25" | Each |  |
| 157 | CPVC Tank Nipple 1.5" | Each |  |
| 158 | CPVC Tank Nipple 3/4" | Each |  |
| 159 | CPVC Tee 40mm (1 1/2") | Each |  |
| 160 | CPVC Tee 1 1/4" 32mm | Each |  |
| 161 | CPVC Tee 1/2" 15mm | Each |  |
| 162 | CPVC Tee 1 x 3/4" | Each |  |
| 163 | CPVC Tee 2" 50mm | Each |  |
| 164 | CPVC Tee 2.5" | Each |  |
| 165 | CPVC Tee 3/4" 20mm | Each |  |
| 166 | CPVC Tee 4" | Each |  |
| 167 | CPVC Tee 4" x 1 1/4" | Each |  |
| 168 | CPVC Union 1" | Each |  |
| 169 | CPVC Union 1 1/4" 32mm | Each |  |
| 170 | CPVC Union 1/2" 15mm | Each |  |
| 171 | CPVC Union 1.5" | Each |  |
| 172 | CPVC Union 2" 50mm | Each |  |
| 173 | CPVC Union 3" | Each |  |
| 174 | CPVC Union 3/4" 20mm | Each |  |
| 175 | Extension Piece 1/2" x 1" | Each |  |
| 176 | Extension Piece 1/2" x 2" | Each |  |
| 177 | Extension Piece 1/2" x 3" | Each |  |
| 178 | Extension Piece 1/2" (CP Extension 1/2") | Each |  |
| 179 | Fine Bubble Diffuser Size 90 x 1000 mm | Each |  |
| 180 | Flange Brass CP | Each |  |
| 181 | Flush Button (Cistern) | Each |  |
| 182 | Flushing Valve System (Diverter Set) | Each |  |
| 183 | Flush valve complete | Each |  |
| 184 | Garden Pipe 1/2" | Each |  |
| 185 | Garden Pipe 1.25" | Each |  |
| 186 | Garden Pipe 3/4" | Each |  |
| 187 | Gas Kit 110mm | Each |  |
| 188 | GI 2" Clamp | Each |  |
| 189 | GI 25mm Data | Each |  |
| 190 | GI 32mm Data | Each |  |
| 191 | GI 40mm Data | Each |  |
| 192 | GI Bend 2" | Each |  |
| 193 | GI Cap Plug 1" 25mm (Inner threads Female Plug) | Each |  |
| 194 | GI Cap Plug 1.25" 32mm (Inner threads Female Plug) | Each |  |
| 195 | GI Cap Plug 1.5" 40mm (Inner threads Female Plug) | Each |  |
| 196 | GI Clamp | Each |  |
| 197 | GI DATA 3" | Each |  |
| 198 | GI Elbow 1" (25mm) | Each |  |
| 199 | GI Elbow 1.25" (32mm) | Each |  |
| 200 | GI Elbow 1.5" | Each |  |
| 201 | GI Elbow 15MM | Each |  |
| 202 | GI Elbow 2" | Each |  |
| 203 | GI Elbow 2.5" | Each |  |
| 204 | GI Elbow 3" 75mm | Each |  |
| 205 | GI Elbow 3/4" | Each |  |
| 206 | GI Flange 1" 25mm | Each |  |
| 207 | GI Flange 2" | Each |  |
| 208 | GI Flange 3" (75mm) | Each |  |
| 209 | GI Flange 3/4" | Each |  |
| 210 | GI Flange 4" | Each |  |
| 211 | GI Flange 40mm | Each |  |
| 212 | GI Flange 2" | Each |  |
| 213 | GI Hex Nipple 25MM | Each |  |
| 214 | GI Hook | Each |  |
| 215 | GI/MS Reducer Bush 3x 2.5" | Each |  |
| 216 | GI Nipple 1" x 12" | Each |  |
| 217 | GI Nipple 1" x 1.5" (25mm) | Each |  |
| 218 | GI Nipple 1" x 2" | Each |  |
| 219 | GI Nipple 1" x 3" (25mm) | Each |  |
| 220 | GI Nipple 1" x 4" (25mm) | Each |  |
| 221 | GI Nipple 1" x 6" (25mm) | Each |  |
| 222 | GI Nipple 1" x 9" (25mm) | Each |  |
| 223 | GI Nipple 1/2" x 2" | Each |  |
| 224 | GI Nipple 1/2" x 3" | Each |  |
| 225 | GI Nipple 1/2" x 4" | Each |  |
| 226 | GI Nipple 1/2" x 6" | Each |  |
| 227 | GI Nipple 1/2" x 9" | Each |  |
| 228 | GI Nipple 1.25" x 3" | Each |  |
| 229 | GI Nipple 1.25" x 6" | Each |  |
| 230 | GI Nipple 1.25" x 9" | Each |  |
| 231 | GI Nipple 1.5" x 2" (40mm) | Each |  |
| 232 | GI Nipple 1.5" x 3" (40mm) | Each |  |
| 233 | GI Nipple 1.5" x 4" | Each |  |
| 234 | GI Nipple 1.5" x 6" (40mm) | Each |  |
| 235 | GI Nipple 1.5" x 9" (40mm) | Each |  |
| 236 | GI Nipple 2" x 12" | Each |  |
| 237 | GI Nipple 2" x 1.5" | Each |  |
| 238 | GI Nipple 2" x 2" | Each |  |
| 239 | GI Nipple 2" x 3.6" | Each |  |
| 240 | GI Nipple 2" x 4" | Each |  |
| 241 | GI Nipple 2" x 6" | Each |  |
| 242 | GI Nipple 2" x 9" | Each |  |
| 243 | GI Nipple 2.5" x 2" | Each |  |
| 244 | GI Nipple 3" x 3" | Each |  |
| 245 | GI Nipple 3" x 6" | Each |  |
| 246 | GI Nipple 3" x 9" (75mm) | Each |  |
| 247 | GI Nipple 3/4" x 4" | Each |  |
| 248 | GI Nipple 3/4" x 6" | Each |  |
| 249 | GI Nipple 4" x 12" (100mm) | Each |  |
| 250 | GI Nut Bolt 1.5" | Each |  |
| 251 | GI Pipe 2" with Flange 6mtr. | Each |  |
| 252 | GI Pipe 3/4" (6mtr.) 20mm | Each |  |
| 253 | GI Plug 1" (25mm) (Outer threads) | Each |  |
| 254 | GI Plug 1.25" (32mm) (Outer threads) | Each |  |
| 255 | GI Plug 1.5" (40mm) (Outer threads) | Each |  |
| 256 | GI Plug 15mm (1/2") (Outer threads) | Each |  |
| 257 | GI Plug 2" (50mm) | Each |  |
| 258 | GI Reducer Bush 2" x 2.5" | Each |  |
| 259 | GI Reducer Elbow 1" x 3/4" | Each |  |
| 260 | GI Reducer Elbow 1.25" x 3/4" | Each |  |
| 261 | GI Reducer Elbow 3/4" x 1/2" | Each |  |
| 262 | GI Reducer Socket 1" x 3/4" 25mm | Each |  |
| 263 | GI Reducer Socket 3" x 4" | Each |  |
| 264 | GI Reducer Tee 1" x 1/2" (25mm) | Each |  |
| 265 | GI Reducer Tee 2" x 1" | Each |  |
| 266 | GI Reducer Tee 3/4" x 1/2" | Each |  |
| 267 | GI Socket 1" (25mm) | Each |  |
| 268 | GI Socket 1/2" (15mm) | Each |  |
| 269 | GI Socket 1.25" | Each |  |
| 270 | GI Socket 1.5" (32mm) | Each |  |
| 271 | GI Socket 2" | Each |  |
| 272 | GI Socket 3" (75mm) | Each |  |
| 273 | GI Socket 3/4" | Each |  |
| 274 | GI Socket 4" | Each |  |
| 275 | GI Tank Nipple 1" | Each |  |
| 276 | GI Tank Nipple 1.5" | Each |  |
| 277 | GI Tee 1" | Each |  |
| 278 | GI Tee 1/2" (15mm) | Each |  |
| 279 | GI Tee 1.5" (40mm) | Each |  |
| 280 | GI Tee 2" | Each |  |
| 281 | GI Tee 3/4" (20mm) | Each |  |
| 282 | GI Union 1" (25mm) | Each |  |
| 283 | GI Union 1.25" (32mm) | Each |  |
| 284 | GI Union 1.5" | Each |  |
| 285 | GI Union 2.5" | Each |  |
| 286 | GI Union 3" (75mm) | Each |  |
| 287 | GI X-Nipple 1/2" | Each |  |
| 288 | Grab Bar 400mm | Each |  |
| 289 | Group Nipple 2.5" x 12" (2x2.5") | Each |  |
| 290 | Group Nipple 2.5" x 9" (2x2.5") | Each |  |
| 291 | Handle Valve 15mm (1/2") | Each |  |
| 292 | Handle Valve 2.5" | Each |  |
| 293 | Handle Valve 25mm 1" | Each |  |
| 294 | Handle Valve 3" | Each |  |
| 295 | Handle Valve/Ball Valve 20mm (3/4") | Each |  |
| 296 | Handle Valve / Ball Valve 32mm (1 1/4") | Each |  |
| 297 | Handle Valve/Ball Valve 40mm (1.5") | Each |  |
| 298 | Handle Valve/Ball Valve 50mm (2") | Each |  |
| 299 | Health Faucet | Each |  |
| 300 | Health Faucet Connection Pipe | Each |  |
| 301 | Holdar Jali (Gritting) | Each |  |
| 302 | Jet Spray Multi | Each |  |
| 303 | Long Body Bib Cock | Each |  |
| 304 | Mixer Connection Pipe | Each |  |
| 305 | Multi Trap 4 x 3" | Each |  |
| 306 | Non Return Valve 1" (NRV) | Each |  |
| 307 | Non Return Valve 1.25" (NRV) | Each |  |
| 308 | Non Return Valve 2" (NRV) | Each |  |
| 309 | Non Return Valve 2.5" (NRV) | Each |  |
| 310 | Non Return Valve 3" (NRV) | Each |  |
| 311 | Non Return Valve 3/4" (NRV) | Each |  |
| 312 | Pillar Cock | Each |  |
| 313 | PVC 45 Degree Bend 3" | Each |  |
| 314 | PVC 45 Degree Bend 4" | Each |  |
| 315 | PVC Bend 75 mm | Each |  |
| 316 | PVC Bend Shoe 110mm | Each |  |
| 317 | PVC Bottle Trap | Each |  |
| 318 | PVC Bush 1 1/3 x 3/4" | Each |  |
| 319 | PVC Connection Pipe | Each |  |
| 320 | PVC Cowl 160mm | Each |  |
| 321 | PVC Door Bend 110mm | Each |  |
| 322 | PVC Door Tee 4" | Each |  |
| 323 | PVC Door Tee 4 x 3" | Each |  |
| 324 | PVC Elbow 25mm | Each |  |
| 325 | PVC Elbow 40mm | Each |  |
| 326 | PVC Elbow 50 mm | Each |  |
| 327 | PVC Elbow 6" | Each |  |
| 328 | PVC Elbow 75mm | Each |  |
| 329 | PVC End Cap 3" | Each |  |
| 330 | PVC End Cap 6" | Each |  |
| 331 | PVC Fapt 50 mm | Each |  |
| 332 | PVC FAPT 75mm x 63mm | Each |  |
| 333 | PVC Gully - Trap 6" | Each |  |
| 334 | PVC Long Bend Pipe | Each |  |
| 335 | PVC MAPT 32mm x 32mm | Each |  |
| 336 | PVC MAPT 40mm x 40mm | Each |  |
| 337 | PVC MAPT 63mm | Each |  |
| 338 | PVC MAPT 75mm | Each |  |
| 339 | PVC MAPT 90mm | Each |  |
| 340 | PVC Multi Trap 110mm | Each |  |
| 341 | PVC Nan Trap 3" | Each |  |
| 342 | PVC Nan Trap 4" x 3" | Each |  |
| 343 | PVC O Ring Plain Bend 110mm | Each |  |
| 344 | PVC Pipe 110mm | Each |  |
| 345 | PVC Pipe 160mm | Each |  |
| 346 | PVC Pipe 4" | Each |  |
| 347 | PVC Pipe 40mm | Each |  |
| 348 | PVC Pipe 50mm | Each |  |
| 349 | PVC Pipe 6" | Each |  |
| 350 | PVC Pipe 75mm (3") (SWR Pipe) | Each |  |
| 351 | PVC Pipe (Washing Machine) | Each |  |
| 352 | PVC Plain Bend 4" | Each |  |
| 353 | PVC Plain Tee 3" | Each |  |
| 354 | PVC Plain Tee 4" | Each |  |
| 355 | PVC Plain Tee 4 x 3" | Each |  |
| 356 | PVC Plug (Data) | Each |  |
| 357 | PVC P Trap 110mm | Each |  |
| 358 | PVC Reducer Bush 110mm x 75mm (4" x 3") | Each |  |
| 359 | PVC Reducer Bush 75mm x 50mm | Each |  |
| 360 | PVC Reducer Bush 90mm x 75mm | Each |  |
| 361 | PVC Reducer Tee 90mm x 63mm | Each |  |
| 362 | PVC Reducer Socket 75mm x 63mm | Each |  |
| 363 | PVC Shoe 110mm x 75mm | Each |  |
| 364 | PVC Shoe 75mm (3") | Each |  |
| 365 | PVC Socket 25mm | Each |  |
| 366 | PVC Socket 3" | Each |  |
| 367 | PVC Socket 4" | Each |  |
| 368 | PVC Socket 40mm | Each |  |
| 369 | PVC Socket 4 x 3" | Each |  |
| 370 | PVC Socket 6" | Each |  |
| 371 | PVC Solvent 237ml | Each |  |
| 372 | PVC Solvent 473ml | Each |  |
| 373 | PVC Solvent 500ml | Each |  |
| 374 | PVC Tee 25mm | Each |  |
| 375 | PVC Tee 40mm | Each |  |
| 376 | PVC Tee 50mm 2" | Each |  |
| 377 | PVC Tee 6" | Each |  |
| 378 | PVC Tee 75mm | Each |  |
| 379 | PVC Tee 75mm x 87.5mm | Each |  |
| 380 | PVC TEE 90MM | Each |  |
| 381 | PVC Valve 2.5" (65mm) | Each |  |
| 382 | PVC Vent Cowl 110mm (4") | Each |  |
| 383 | PVC Y Tee 75mm (3") | Each |  |
| 384 | Rubber Sheet | Each |  |
| 385 | Rubber Sheet 24" x 24" | Each |  |
| 386 | Rubber Sheet 36" x 36" | Each |  |
| 387 | Rubber Sheet 4” for WC tank | Each |  |
| 388 | Service Saddle 3" x 1" (6 kg. pressure) | Each |  |
| 389 | Short Body Bib Cock | Each |  |
| 390 | Shower Arm | Each |  |
| 391 | Shower Concealed Valve Set 15mm | Each |  |
| 392 | Shower Stopper | Each |  |
| 393 | Sink 18" x 16" | Each |  |
| 394 | Sink Kitchen 37"x 18" x 8" | Each |  |
| 395 | Sink Mixer (ESS Croma C219A) | Each |  |
| 396 | Sink Mixer WT Swivel Casted Spout (Hindware) | Each |  |
| 397 | Sink Waste Coupling | Each |  |
| 398 | SPINDLE 22*1.5 CROMA/TREND- ESS | Each |  |
| 399 | SPINDLE 22*1.5 SQUARE PUNCH-ESS | Each |  |
| 400 | Sprinkler | Each |  |
| 401 | Sprinkler Gun | Each |  |
| 402 | Steel Sink 18" * 16" * 8" | Each |  |
| 403 | Syphon Set (Urinal) Double System | Each |  |
| 404 | Syphon Set Single - PVC Cistern Tank | Each |  |
| 405 | Syphon Set (Urinal) Normal Single | Each |  |
| 406 | Teflon Tape (Techno Tape) | Each |  |
| 407 | Two Way Bib Cock (CP Bib Cock 2-in-1) | Each |  |
| 408 | UPVC Bend 75mm | Each |  |
| 409 | UPVC Bend Shoe 80mm | Each |  |
| 410 | UPVC Brass Tee 1" x 1/2" | Each |  |
| 411 | UPVC Elbow 1" (Sch. 80) | Each |  |
| 412 | UPVC Elbow 1/2" (Sch. 80) | Each |  |
| 413 | UPVC Elbow 1.25" (Sch. 80) | Each |  |
| 414 | UPVC Elbow 1.5" 40mm (Sch. 80) | Each |  |
| 415 | UPVC Elbow 2" (Sch. 80) | Each |  |
| 416 | UPVC Elbow 3" 80mm (Sch. 40) | Each |  |
| 417 | UPVC Elbow 3" (Sch. 80) | Each |  |
| 418 | UPVC Elbow 3/4" | Each |  |
| 419 | UPVC Elbow 4" | Each |  |
| 420 | UPVC End Cap 80MM | Each |  |
| 421 | UPVC End Cap 6" | Each |  |
| 422 | UPVC FABT 25mm (Sch. 80) | Each |  |
| 423 | UPVC FABT 1 1/4" | Each |  |
| 424 | UPVC FABT 1.5" | Each |  |
| 425 | UPVC FABT 3" | Each |  |
| 426 | UPVC FABT 3/4" | Each |  |
| 427 | UPVC FAPT 1.5" | Each |  |
| 428 | UPVC FAPT 2" | Each |  |
| 429 | UPVC FAPT 3" | Each |  |
| 430 | UPVC Flange 50mm (2") | Each |  |
| 431 | UPVC Flange 80mm (3") | Each |  |
| 432 | UPVC MABT 1" (Sch. 80) | Each |  |
| 433 | UPVC MABT 1/2" (Sch. 80) | Each |  |
| 434 | UPVC MABT 1.5" 40mm (Sch. 40) | Each |  |
| 435 | UPVC MABT 3" | Each |  |
| 436 | UPVC MABT 3/4" | Each |  |
| 437 | UPVC MAPT 25mm (Sch. 80) | Each |  |
| 438 | UPVC MAPT 1/2" | Each |  |
| 439 | UPVC MAPT 2" | Each |  |
| 440 | UPVC MAPT 3" (Sch. 80) | Each |  |
| 441 | UPVC MAPT 4" | Each |  |
| 442 | UPVC Pipe 1" (Sch. 80) | Each |  |
| 443 | UPVC Pipe 1/2" (Sch. 80) | Each |  |
| 444 | UPVC Pipe 3" (Sch. 40) | Each |  |
| 445 | UPVC Pipe 40mm | Each |  |
| 446 | UPVC Pipe 50mm (2") | Each |  |
| 447 | UPVC Pipe 6" 160mm A Type | Each |  |
| 448 | UPVC Pipe 80mm (Sch. 80) | Each |  |
| 449 | UPVC Reducer Bush 1" x 1/2" | Each |  |
| 450 | UPVC Reducer Bush 1 1/4" x 1" (Sch. 80) | Each |  |
| 451 | UPVC Reducer Bush 1.25" x 1" (Sch.40) | Each |  |
| 452 | UPVC Reducer Bush 1.25" x 1.5" | Each |  |
| 453 | UPVC Reducer Bush 1.25" x 2" | Each |  |
| 454 | UPVC Reducer Bush 1.5" x 1" | Each |  |
| 455 | UPVC Reducer Bush 1.5" x 1 1/4" | Each |  |
| 456 | UPVC Reducer Bush 160 x 110 | Each |  |
| 457 | UPVC Reducer Bush 2" x 1" | Each |  |
| 458 | UPVC Reducer Bush 2" x 1.25" | Each |  |
| 459 | UPVC Reducer Bush 2" x 3/4" | Each |  |
| 460 | UPVC Reducer Bush 2" x 1.5" | Each |  |
| 461 | UPVC Reducer Bush 3" x 2" | Each |  |
| 462 | UPVC Reducer Tee 1.25 x 1" | Each |  |
| 463 | UPVC Reducer Tee 1 x 1/2" | Each |  |
| 464 | UPVC Reducer Tee 1 x 3/4" | Each |  |
| 465 | UPVC Socket 1" (Sch.80) | Each |  |
| 466 | UPVC Socket 1 1/4" (1.25") | Each |  |
| 467 | UPVC Socket 1/2" | Each |  |
| 468 | UPVC Socket 1.5" | Each |  |
| 469 | UPVC Socket 2" (Sch.80) | Each |  |
| 470 | UPVC Socket 3" (Sch.80) | Each |  |
| 471 | UPVC Socket 4" | Each |  |
| 472 | UPVC Socket 80mm (Sch.40) | Each |  |
| 473 | UPVC Solvent 100ml | Each |  |
| 474 | UPVC Solvent 118ml | Each |  |
| 475 | UPVC Solvent 200ml | Each |  |
| 476 | UPVC Solvent 237ml | Each |  |
| 477 | UPVC Solvent 473ml | Each |  |
| 478 | UPVC Solvent 500ml | Each |  |
| 479 | UPVC Tank Nipple 1" | Each |  |
| 480 | UPVC Tee 1" (Sch.80) | Each |  |
| 481 | UPVC Tee 1/2" | Each |  |
| 482 | UPVC Tee 1.25" (Sch.80) | Each |  |
| 483 | UPVC Tee 1.5" | Each |  |
| 484 | UPVC Tee 2" (Sch.80) | Each |  |
| 485 | UPVC Tee 3" | Each |  |
| 486 | UPVC Tee 6" 160mm | Each |  |
| 487 | UPVC Union 1" (Sch.80) | Each |  |
| 488 | UPVC Union 1 1/4" | Each |  |
| 489 | UPVC Union 2" | Each |  |
| 490 | UPVC Valve 1/2" | Each |  |
| 491 | Urinal | Each |  |
| 492 | Urinal Bracket | Each |  |
| 493 | Urinal Connection 15mm | Each |  |
| 494 | Urinal Push Cock PVC | Each |  |
| 495 | Urinal Spider PVC | Each |  |
| 496 | Urinal Spreader (Jibbi) | Each |  |
| 497 | Urinal Waste Coupling | Each |  |
| 498 | Urinal Waste Pipe PVC | Each |  |
| 499 | Wall Mounted Urinal Partitions | Each |  |
| 500 | Wash Basin Model no. S2040102 | Each |  |
| 501 | Washbasin (1005 Under/Over Counter Washbasin) | Each |  |
| 502 | Washbasin Center Valve (3/4") Big | Each |  |
| 503 | Washbasin Mixer Tap | Each |  |
| 504 | Washbasin (S20130125/1087 Cliff Over Counter) | Each |  |
| 505 | Water Closet (Universal EWC White) | Each |  |
| 506 | Water Closet White 23" Indian Seat | Each |  |
| 507 | Water Hardness Testing Kit | Each |  |
| 508 | WC Cistern Flush Fitting | Each |  |
| 509 | WC Cistern Tank | Each |  |
| 510 | WC Seat Cover (Cera - Carina) | Each |  |
| 511 | WC Seat Cover (Cera - Ceranglo) | Each |  |
| 512 | WC Seat Cover (Codi) | Each |  |
| 513 | WC Tank / PVC Cistern Tank | Each |  |

GENERAL TERMS AND CONDITIONS:

- All applicable taxes such as GST must be clearly mentioned. If not specified, it shall be deemed that all such charges are included in the quoted price.

- If the supplier does not have a particular item or proposes a different make than that specified in the tender, the same must be clearly highlighted in the bid.

- Prices must be inclusive of all charges such as packing, forwarding, transit insurance, transportation, loading, unloading (up to 50 meters), installation, and any other incidental expenses.

- Bid must be submitted on an F.O.R. basis for delivery at: The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur – 302031.

- Bid shall remain valid for a minimum period of 60 days. No change in prices will be accepted during the validity period.

- The LNMIIT reserves the right to reject any quotation without assigning any reason.

- Payment terms shall be mutually decided and agreed upon between the Institute and the vendor.

- The bidder must submit a No Conflict of Interest Declaration along with the bid.

- The bid must be submitted on the company’s letterhead and in the LNMIIT-prescribed format only.

- Any item or service not being supplied by the bidder must be clearly mentioned separately in the bid.

- Vendors must provide a photocopy of their cheque/cancelled cheque along with the invoice for payment processing.

- Prices shall be quoted in Indian Rupees (INR) only.

- Total prices shall be quoted for the complete scope of work as per technical specifications, inclusive of all taxes, duties, insurance, packing, forwarding, and incidental charges.

- Agencies or individuals who are debarred or blacklisted are not permitted to participate in the tendering process. Any agency engaging a debarred person for negotiations or representation is also liable to be debarred.

- If the work is not completed within the stipulated time mentioned in the work order, the competent authority of LNMIIT reserves the right to accept partial work on suitable terms, cancel the supply/work order, withhold or stop payment, forfeit the Earnest Money Deposit, or debar the agency. The decision of the Competent Authority shall be final and binding.

- In case two or more bidders quote the same rates, the final selection shall be made through a draw of lots conducted by a committee comprising LNMIIT administrative members(PCC).

- Vendors are required to visit the site and conduct a detailed survey before submitting their bid to understand the exact requirements. No request for additional items or modifications will be entertained later.

- A pre-bid meeting and/or site visit may be arranged prior to submission of bids to clarify any doubts regarding project details, scope of work, and required documents.

Signature with seal