The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

“The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, setup as a Non-Profit Making institute located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for “Supply and installation of 10HP Dol Starter Panel for Borewell (Preventive Maintenance and service work)”. Bidders can submit their sealed offer/s at the following address by Speed-post/Registered Post/By-hand (but not by Courier) before 05:00 PM on 20.05.2022.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the Institute after marking due entries.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Email: directoroffice@lnmiit.ac.in

Bidders can also submit their offer/s via Email with password-protected document/file at the below-mentioned email IDs (E-mail must be sent on both mail IDs) before 05:00 PM on 10.05.2022.

The Password protected document/file is to be sent to the purchase officer at the email id: purchase.officer@lnmiit.ac.in and the password should be sent to Chairman-PCC at the email id: chairman.pcc@lnmiit.ac.in.

purchase.officer@lnmiit.ac.in

chairman.pcc@lnmiit.ac.in

Bid Process:

Technical & commercial details of the offer shall be enclosed in two separate envelopes/ files, duly marked as “Technical Bid for Supply and installation of 10HP Dol Starter Panel for Borewell (Preventive Maintenance and service work)” and “Financial Bid for Supply and installation of 10HP Dol Starter Panel for Borewell (Preventive Maintenance and service work)”. Both Envelopes/ files shall be enclosed in a single envelope/ mail bearing the heading “Bid for Supply and installation of 10HP Dol Starter Panel for Borewell (Preventive Maintenance and service work)”. Bids are liable to be rejected if any or both of the technical or commercial offers are found in open condition or required information is not found with the offer.

Technical Bid: (in separate sealed envelope/Email)

While submitting quotations, the following procedure/ formalities and conditions may kindly be adhered.

- The makers name or brand name must be specified clearly.

- The relevant literature and pamphlets pertaining to the product should be sent along with the tenders/quotations.

- Copy of authorization/certificate from the OEM in the case supplied by a vendor who is not a manufacturer of the product.

- Company profile or brief note about the bidder's company, PAN number, and GST number should be submitted by the Vendor.

- List of Directors/Partners/Proprietors/Members of the Firm to be attached.

- Detail of other associated/sister concerns ((if any) of Directors/Partners/ Proprietor/ Members to be provided.

- Turn over for the last three years to be mentioned. (Copy to be enclosed)

- List of clients to whom the vendor has delivered the goods or provided the services in past.

- Specification, as mentioned below, shall be provided as per the details given below:

Technical specification - Supply and installation of 10HP Dol Starter Panel for Borewell (Preventive Maintenance and service work)

| 10 HP Dol Starter Panels for F- Bore well Motors |  |  |  |  |
| --- | --- | --- | --- | --- |
| S.No. | Description | Make | Unit | Qty. |
| 1 | MCB 32A 3P 10 KA C Curve | Schneider/L&t | Nos. | 4 |
| 2 | Power Contactor 22A 3P AC3 Duty | Schneider/L&t | Nos. | 4 |
| 3 | 2A 2 NO+2 NC Aux. Block | Schneider/L&t | Nos. | 4 |
| 4 | Thermal Overload Relay ( 9-15A ) | Schneider/L&t | Nos. | 4 |
| 5 | Control MCB 6A 1P 10 KA C Curve | Schneider/L&t | Nos. | 4 |
| 6 | Three Phase Preventer | Minilec/Viral | Nos. | 4 |
| 7 | Dig. Kwh Metra A,V With Built-in Selector Switch | Conzerv/Neptune | Nos. | 4 |
| 8 | C. T. 60/5A CL 1.0 15VA | Alfa/Matrix | Nos. | 12 |
| 9 | Indicating Lights ( Red- 1 - Yellow -1,Green - 1 ) | Simens/L&T | Nos. | 12 |
|  | Push Button 22.5 (Red - 1, Green - 1) |  | Nos. | 8 |
| 10 | A/M Selector Switch | L&T SalZer | Nos. | 4 |
| 11 | 2.0/1.6mm CRCA Sheet steel enclosure duly Powder coated with RAL - 7035 Including M.S. Wall Mounted | TATA / SAIL | Sqft | 140 |
| 12 | Missll.( Insulators, Acrylic Sheet, Backlight Sheet, Hardware, Wire, Name Plates, Lugs, PVC Channel, MCB Channel, Lock, Hinge, Bidding, Connectors, Neutral Links, Spiral, Saddle & Packing Material ) |  | Nos. | 4 |
| 13 | Labour Cost |  | Nos. | 4 |

Commercial Bid: (in separate sealed envelope)

Financial Bid

Supply and installation of 10HP Dol Starter Panel for Borewell (Preventive Maintenance and service work)

| S.No. | Item Name | Make | Qty. | UOM | RATE | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | MCB 32A 3P 10 KA C Curve | Schneider/L&t | 4 | Nos. |  |  |
| 2 | Power Contactor 22A 3P AC3 Duty | Schneider/L&t | 4 | Nos. |  |  |
| 3 | 2A 2 NO+2 NC Aux. Block | Schneider/L&t | 4 | Nos. |  |  |
| 4 | Thermal Overload Relay ( 9-15A ) | Schneider/L&t | 4 | Nos. |  |  |
| 5 | Control MCB 6A 1P 10 KA C Curve | Schneider/L&t | 4 | Nos. |  |  |
| 6 | Three Phase Preventer | Minilec/Viral | 4 | Nos. |  |  |
| 7 | Dig. Kwh Metra A,V With Built-in Selector Switch | Conzerv/Neptune | 4 | Nos. |  |  |
| 8 | C. T. 60/5A CL 1.0 15VA | Alfa/Matrix | 12 | Nos. |  |  |
| 9 | Indicating Lights ( Red- 1 - Yellow -1,Green - 1 ) | Simens/L&T | 12 | Nos. |  |  |
|  | Push Button 22.5 (Red - 1, Green - 1) |  | 8 | Nos. |  |  |
| 10 | A/M Selector Switch | L&T SalZer | 4 | Nos. |  |  |
| 11 | 2.0/1.6mm CRCA Sheet steel enclosure duly Powder coated with RAL - 7035 Including M.S. Wall Mounted | TATA / SAIL | 140 | Sqft |  |  |
| 12 | Missll.( Insulators, Acrylic Sheet, Backlight Sheet, Hardware, Wire, Name Plates, Lugs, PVC Channel, MCB Channel, Lock, Hinge, Bidding, Connectors, Neutral Links, Spiral, Saddle & Packing Material ) |  | 4 | Nos. |  |  |
| 13 | Labour Cost |  | 4 | Nos. |  |  |
|  |  |  | Total |  |  |  |
|  |  |  | Tax |  |  |  |
|  |  |  | Ground Total |  |  |  |

- Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- The prices should be including all (Packing, forwarding, Transit Insurance, Transportation Loading/unloading, and Installation etc.)

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- Bid should be valid for a minimum period of 30 days.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- Bid should be on the company’s letterhead and should submit their bid in the LNMIIT format only

- Item/Service not supplied by the supplier/service provided should be mentioned separately.

- Vendor should provide a photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

All charges applicable shall be clearly mentioned with the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final and nothing extra shall be paid extra.

Signature with seal (Company/Firm)