The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for “Civil work in Guest House”. Bidders can submit their sealed offer/s at the following address by Email/Speed-Post/ Registered Post/ By-hand (but not by Courier)/ before 05:00 PM on 10th of June 2022.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the Institute after marking due entries.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Email: directoroffice@lnmiit.ac.in

Bidders can also submit their offer/s via Email with password-protected document/file at the below-mentioned email IDs (E-mail must be sent on both mail IDs) before 05:00 PM on 10.06.2022.

The Password protected document/file is to be sent to the purchase officer at the email id: purchase.officer@lnmiit.ac.in and the password should be sent to Chairman-PCC at the email id: chairman.pcc@lnmiit.ac.in.

purchase.officer@lnmiit.ac.in

chairman.pcc@lnmiit.ac.in

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory are required to be submitted in two separate envelopes. Both envelopes should be duly marked as “Technical Bid for “Civil work in Guest House” and “Commercial Bid for “Civil work in Guest House” respectively. Both Envelopes shall be enclosed in a single envelope bearing the heading “Bid for “Civil work in Guest House”. Bids are liable to be rejected if any or both of the technical or commercial offers

Technical Bid: (in a separate sealed envelope)

While submitting quotations, the following procedure/ formalities and conditions may kindly be adhered.

- The relevant literature and pamphlets pertaining to the product should be sent along with the tenders/quotations.

- Copy of authorization/certificate from the OEM in the case supplied by a vendor who is not a manufacturer of the product.

- Company profile or brief note about the bidder's company, PAN number, and GST number should be submitted by the Vendor.

- List of Directors/Partners/Proprietors/Members of the Firm to be attached.

- Detail of other associated/sister concerns ((if any) of Directors/Partners/ Proprietor/ Members to be provided.

- Turn over for the last three years to be mentioned. (Copy to be enclosed)

- List the client to whom the vendor has delivered the goods or provided the services in past.

- Specification, as mentioned below, shall be provided as per the details given below:

Technical specification for “Civil work in Guest House”.

| Sr. No. | DESCRIPTION | QTY. | UNIT |
| --- | --- | --- | --- |
| 1. | Dismantling of floors tiles and wooden floor laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 meters lead: the thickness of laid tiles 10mm to 25mm complete in all respect as per available in-charge. | 90.00 | Sqm |
| 2. | Providing & Fixing of 1st quality Heavy Duty Vitrified Polished Digital tiles on the floor, skirting and steps (If applicable) etc. in different sizes as per site (thickness minimum 10mm) with water absorption less than or equal to 0.08% and conforming to IS 15622 of approved make in all colour and shade, laid with 20 mm thick CM 1: 4 including grouting the joints with white cement and matching pigment etc complete in all respect as per available in-charge. | 90.00 | Sqm |

Commercial Bid: (in separate sealed envelope)

Financial Bid

Civil work in Guest House

| Sr. No. | DESCRIPTION | QTY. | UNIT | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Dismantling of floors tiles and wooden floor laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 meters lead: the thickness of laid tiles 10mm to 25mm complete in all respect as per available in-charge. | 90.00 | Sqm |  |  |
| 2. | Providing & Fixing of 1st quality Heavy Duty Vitrified Polished Digital tiles on the floor, skirting and steps (If applicable) etc. in different sizes as per site (thickness minimum 10mm) with water absorption less than or equal to 0.08% and conforming to IS 15622 of approved make in all colour and shade, laid with 20 mm thick CM 1: 4 including grouting the joints with white cement and matching pigment etc complete in all respect as per available in-charge. | 90.00 | Sqm |  |  |
| Total |  |  |  |  |  |
| GST@18% |  |  |  |  |  |
| Total including GST |  |  |  |  |  |

- Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- The prices should be including all (Packing, forwarding, Transit Insurance, Transportation Loading/unloading and Installation etc.)

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- Bid should be valid for a minimum period of 30 days of submission.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- Additional items should be paid after a mutual decision with Jaipur BSR rates.

- The company should have at least 3 years of expertise in civil construction.

- RA Bills should be in proper excel format and will be submitted online and offline.

- Casting work like slabs, beams, columns etc. should be done in the presence of PM (If applicable).

- Immediately after receiving the purchase order, the company will submit the gannt chart of the work schedule.

- No additional work shall be executed at the site location without the written approval of the EO.

- The rate shall include all costs towards all kinds of lead, lift, transportation, loading, unloading, curing, scaffolding, testing, commissioning, protecting, and the works by approved means till handing over, dewatering, cleaning etc. (Basically complete in all respect as per EO)

- Water & Electricity expenses shall be in the scope of the company (If applicable).

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- Bid should be on the company’s letterhead.

- Vendor should provide a photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT

All charges applicable shall be clearly mentioned with the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final and nothing extra shall be paid extra.

Signature with Seal