The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

“The LNM Institute of Information Technology, Jaipur is a Deemed to be University, set up as a Non Profit Making institute located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of Government of Rajasthan and Laxmi & Usha Mittal Foundation.

Tenders/Bids are invited for the period of one year for “Rate Contract of Paint Work (services with material)”.Bidders can submit their offer at the following address by Speed-post/Registered Post/By-hand (but not by Courier) before 01:00 PM on 20th June, 2022.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the Institute after marking due entries.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Email: directoroffice@lnmiit.ac.in

Bidders can also submit their offer/s via Email with password-protected document/file at the below-mentioned email IDs (E-mail must be sent on both mail IDs) before 01:00 PM on 20.06.2022.

The Password protected document/file is to be sent to the purchase officer at the email id: purchase.officer@lnmiit.ac.in, and the password should be sent to Chairman-PCC at the email id: chairman.pcc@lnmiit.ac.in.

purchase.officer@lnmiit.ac.in

chairman.pcc@lnmiit.ac.in

Bid Process:

A financial bid shall include (sealed in a separate envelope): The prices of all items in the Financial Bid (Bill of Quantity), including all expenses. Prices shall be inclusive of all taxes. Nothing extra shall be paid for any item other than the quoted price.

Last Date of Submission 		:	20thJune, 2022

The bidder should be:

- Having a registration certificate of the firm;

- Having Permanent Account Number;

- Having valid GST registration;

Finalization of Rates:

- Finalized rates shall be valid for the period of one year.

Payment terms:

- 95% payment shall be released within the period of 10 days on submission of invoice verified by the Estate Office and 5% retention money will be released after six months on a satisfactory report by the Estate office.

- Advance payment will not be made under any circumstances.

- TDS and all other taxes will be deducted as per applicable rules.

- No additional payment will be made on account of freights/transportation.

Safety & Security Norms:

- All standard & regulatory and safety norms (all types including fire, flood, machinery and manpower-related safety) must be fulfilled by your workforce and should be adequately equipped with the necessary equipment, permission etc. LNMIIT shall bear no responsibility for any kind of harm, loss, or damage to your equipment or manpower as you are solely responsible to safeguard your manpower, tools and equipment.

GUARANTEE/WARRANTY:

- The successful tenderer shall ensure that the work done shall be as per the specifications mentioned in the order and material used for the work shall be of good quality & free from defects.

DURATION OF CONTRACT:

- The contract shall be awarded for a period of one year initially from the date of common cement of the Contract. The institute will have the discretion for extending it for a further term of one or more years on mutually acceptable terms and conditions and rates at the sole discretion of the institute.

Approved brand for the Material

- Asian Paints Ltd.

- Berger Paints India Ltd.

- Kansai Nerolac Paints Ltd.

- Akzo Nobel India Ltd.

- Indigo Paints.

- Nippon Paint (India) Private Limited.

- Shalimar Paints Ltd.

- Sirca Paints India Ltd.

Annexure A

Technical / Financial Bid

(In sealed envelope/via Password protected email on company’s letter head)

| Sr. No. | Item | Unit | Price | Tax (in Rs.) | Net Price |
| --- | --- | --- | --- | --- | --- |
| 1 | Distempering with oil-bound washable distemper of approved brand and manufacture to give an even shade including all scaffolding: New work (two or more coats) over and including scrapping, primer, putty, lippy etc. complete in all respect. | Sqm |  |  |  |
| 2 | Distempering with oil-bound washable distemper of approved brand and manufacture to give an even shade including all scaffolding: Old work (one or more coats) including scrapping surface and necessary repairs (primer, putty, lippy etc. complete in all respect.). - Colour Change | sqm |  |  |  |
| 3 | Distempering with oil-bound washable distemper of approved brand and manufacture to give an even shade including all scaffolding: Old work (one or more coats) including scrapping surface and necessary repairs(primer, putty, lippy etc. complete in all respect.). –Same Colour | sqm |  |  |  |
| 4 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade: Two or more coats on new work. | sqm |  |  |  |
| 5 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade: One or more coats on old work. | sqm |  |  |  |
| 6 | Painting (two or more coats) on rain water, soil, waste and vent pipes and fittings with synthetic enamel paint of approved brand and manufacture and required colour over a priming coat of approved steel primer on old work.50mm dia. Pipes. | mtr |  |  |  |
| 7 | Painting (two or more coats) on rain water, soil, waste and vent pipes and fittings with synthetic enamel paint of approved brand and manufacture and required colour over a priming coat of approved steel primer on old work.75mm dia. Pipes. | mtr |  |  |  |
| 8 | Painting (two or more coats) on rain water, soil, waste and vent pipes and fittings with synthetic enamel paint of approved brand and manufacture and required colour over a priming coat of approved steel primer on old work.100mm dia. Pipes | mtr |  |  |  |
| 9 | Painting (two or more coats) on rain water, soil, waste and vent pipes and fittings with synthetic enamel paint of approved brand and manufacture and required colour over a priming coat of approved steel primer on old work.150mm dia. Pipes | mtr |  |  |  |
| 10 | Applying priming coat: With ready mix pink or grey primer of approved brand and manufacture on wood work hard and soft wood. | sqm |  |  |  |
| 11 | Applying priming coat: With ready mix of Aluminium primer of approved brand and manufactured on resinous wood and plywood | sqm |  |  |  |
| 12 | Applying priming coat: With ready mixed red oxide zinc chromate primer of approved brand and manufacture on steel galvanised iron/steel works | sqm |  |  |  |
| 13 | Applying priming coat: With ready mixed red oxide zinc chromate primer of approved brand and manufacture on steel work (second coat) | sqm |  |  |  |
| 14 | Wall painting with plastic emulsion paint of approved brand and manufacture to give an even shade including all scaffolding: Two or more coats on new work including preparation of base with primer, putty, lippy etc complete in all respect. | sqm |  |  |  |
| 15 | Wall painting with plastic emulsion paint of approved brand and manufacture to give an even shade including all scaffolding: Old work (One or more coats) on new work including preparation of base with primer, putty, lippy etc complete in all respect. | Sqm |  |  |  |
| 16 | Providing and applying superior quality wall painting with Velvet touch emulsion paint of approved brand and manufacture to give an even shade with putty and preparation of surface applying with the help of paint roller the work complete in all respect as per direction of Engineer-in-charge. New Work Three or More coat | Sqm |  |  |  |
| 17 | Providing and applying superior quality wall painting with Velvet touch emulsion paint of approved brand and manufacture to give an even shade with putty and preparation of surface applying with the help of paint roller the work complete in all respect as per direction of Engineer-in-charge. Old Work Analysis | sqm |  |  |  |
| 18 | Painting exterior surface of Wall with 100% acrylic exterior paint of approved brand and manufacture to give an even shade with two or more coats including preparation of base with sand papering, primer, putty, etc complete in all respect including scaffolding and safety provision. New Work | sqm |  |  |  |
| 19 | Painting exterior surface of Wall with 100% acrylic exterior paint of approved brand and manufacture to give an even shade with two or more coats including preparation of base with sand papering, primer, putty, etc complete in all respect including scaffolding and safety provision. Old Work | Sqm |  |  |  |
| 20 | Finishing walls with textured exterior paint of required shade as per approved colour complete as per manufacturers specifications including primer coat and protecting coat including scaffolding and safety provision. Roller Finish av. thickness 400 to 500 microns. | sqm |  |  |  |
| 21 | Finishing walls with textured exterior paint of required shade as per approved colour complete as per manufacturers specifications including primer coat and protecting coat including scaffolding and safety provision. Trowel Finish av. thickness 1500 to 2000 microns. | sqm |  |  |  |
| 22 | Polishing on wood work with ready mixed wax polish of approved brand and manufacture :New Work | sqm |  |  |  |
| 23 | Polishing on wood work with ready mixed wax polish of approved brand and manufacture: Old Work | sqm |  |  |  |
| 24 | M.S. PIPE(20x20MM)WITH PRIMER COATING upto 9 mtr | mtr |  |  |  |
| 25 | Providing and applying Melamine polish on teak wood work of approved brand and manufacture to give an even shade with two or more coats by compressor including sand papering, wood filler coat etc complete in all respect: New work | sqm |  |  |  |
| 26 | Providing and applying Melamine polish on teak wood work of approved brand and manufacture to give an even shade with two or more coats by compressor including sand papering, wood filler coat etc complete in all respect: Old work | sqm |  |  |  |
| 27 | Distempering with oil-bound washable distemper of approved brand and manufacture to give an even shade including all scaffolding: Old work (one or more coats) including scraping the surface, etc. complete in all respects. – Same/Colour change. | sqm |  |  |  |

- Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- Bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- Bid should be on the company’s letterhead and should submit their bid in the LNMIIT format only.

- Item/Service not supplied by the supplier/service provided should be mentioned separately.

- Vendor should provide the photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

All charges applicable shall be clearly mentioned with the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final, and nothing extra shall be paid.

Signature with seal