The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for “Refilling of Fire Extinguishers”. Bidders can submit their sealed offer/s at the following address by Email/Speed-Post/ Registered Post/ By-hand (but not by Courier)/ before 05:00 PM on 30.10.2022.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the Institute after marking due entries.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Email: directoroffice@lnmiit.ac.in

Bidders can also submit their offer/s via Email with password protected document/file at the below mentioned email IDs (E-mail must sent on both mail ID) before 05:00 PM on 30.10.2022.

The Password protected document/file to be sent to purchase officer at the email id: purchase.officer@lnmiit.ac.in, quote@lnmiit.ac.in and password should be sent to Chairman-PCC at the email id: chairman.pcc@lnmiit.ac.in .

purchase.officer@lnmiit.ac.in

quote@lnmiit.ac.in

chairman.pcc@lnmiit.ac.in

Bid Process:

Technical & commercial details of the offer shall be enclosed in two separate envelopes, duly marked as “Technical bid for Refilling of Fire Extinguishers ” and “Commercial Bid for Refilling of Fire Extinguishers. Both Envelopes shall be enclosed in a single envelope bearing the heading “Bid for Refilling of Fire Extinguishers”.

Bids are liable to be rejected if any or both of the technical or commercial offers (sealed bid) are found in open condition or required information is not found with the offer.

Technical Bid: (in separate sealed envelope)

Technical Bid

While submitting quotations, the following procedure/ formalities and conditions may kindly be adhered.

| 1. | Name & address of the firm |  |
| --- | --- | --- |
|  | Telephone No. |  |
|  | Email ID |  |
| 2. | List of Directors/Partners/Proprietor/Members of the Firm to be attached. |  |
| 3. | Detail of other associated/sister concerns ((if any) of Directors/Partners/ Proprietor/ Members to be provided |  |
| 4. | Type of firm:(Sole Proprietorship/Partnership/Ltd. Co/Others) |  |
| 5. | Year of Establishment (must be more than 5 years old). Attach proof |  |
| 6. | Whether having valid license under Fire Prevention and Life Safety Measures Act. If yes, please attach copy |  |
| 7. | PAN No.(attach copy) |  |
| 8. | GST No. (attach copy) |  |
| 9. | Turnover of last 5 years (attach copies certified by Chartered Accountant) |  |
| 10. | List of Projects of similar nature with Copies of the work orders and completion certificates successfully executed for similar of Refilling of Fire Extinguishers work during the last 5 years. |  |
| 11 | The makers name or brand name must be specified clearly. The relevant literature, pamphlets pertaining to the product should be sent along with the tenders / quotations. |  |
| 12 | The bidder should furnish a certificate of pressure testing and must give a warranty of minimum one year period from the date of refilling, unless it is used within this period and shall provide a label to this effect on the body of the fire extinguisher |  |
| 13 | Guarantee - The successful bidder shall guarantee all equipment parts, materials and workmanship furnished for the installation for a period of One Year from the date of supply of the equipment or part. The guarantee warrants replacing part against any Manufacturing Defect. |  |
| 14 | The Bidder is expected to examine all instructions, forms, terms & conditions and specifications stated in the Bid Documents. Failure to furnish all information required in the Bid Document or submission of a Bid not substantially responding to the Bid Documents in every respect will be at the Bidder’s risk and may result in the rejection of the Bid. |  |

Details of re-filling work carried out during last 5 years

| Year | Name of the Organization | Work order ref. and Date | Work Oder Value |
| --- | --- | --- | --- |

Technical Specifications

Refilling of fire extinguisher:

The job of CHECKING, PRESSURE TESTING, REFILLING, FIXING OF DAMAGED PARTS LIKE HOSE PIPE & HORN. WHEEL ETC. Supplier should give valid test certificate, refilling done date, next due date etc. Supplier should give valid test certificate for chemicals, powders used in the fire extinguisher.

SCOPE Of work

Party has to collect the fire extinguishers from various floors / offices, take it out for the job and after completion of work extinguishers to be displayed at various places as per the direction of  LNMIIT Officials duly labeling due date and refilling date.

| S.No. | Particulars | UOM | Qty. |
| --- | --- | --- | --- |
|  | Fire extinguisher Refilling |  |  |
|  | ABC 2 Kg. | Nos. | 30 |
|  | ABC 4 Kg. | Nos. | 32 |
|  | ABC 5 Kg. | Nos. | 70 |
|  | BC 4.5 Kg. (CO2) | Nos. | 186 |
|  | BC 9 Kg. (CO2) | Nos. | 15 |
|  | ABC 5 Kg. (Dry Powder) | Nos. | 45 |
|  | Spare Parts for Fire Extinguishers |  |  |
| 1. | Operating Valve of CO2- CAP 4.5 Kg | Nos. | 50 |
| 2. | Operating wheel of Co2 Valve | Nos. | 35 |
| 3. | Discharges pipe of Co2 | Nos. | 88 |
| 4. | Carrying handle of Co2 | Nos. | 10 |
| 5. | Safety Lock Pin Co2 with Lead Seal for ABC- all type | Nos. | 80 |
| 6. | Wall hanging hook with fixing_ All type | Nos. | 100 |
| 7. | Operating Valve of ABC - CAP all Type | Nos. | 150 |
| 8. | Discharge nozzle of ABC - CAP All type | Nos. | 30 |
| 9. | Safety Lock Pin ABC with Lead Seal | Nos. | 25 |

Marking - In addition, fire extinguisher shall be clearly and indelibly marked by

Means as stated in latest IS specifications with the following-

(a) Name or Trade mark of refilling company.

(b) Validity from and to

Commercial Bid: (in separate sealed envelope)

Financial Bid

Refilling of fire extinguisher:

| S.No. | Particulars | UOM | Qty. | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
|  | Fire extinguisher Refilling |  |  |  |  |
| 1. | ABC 2 Kg. | Nos. | 30 |  |  |
| 2. | ABC 4 Kg. | Nos. | 32 |  |  |
| 3. | ABC 5 Kg. | Nos. | 70 |  |  |
| 4. | BC 4.5 Kg. (CO2) | Nos. | 186 |  |  |
| 5. | BC 9 Kg. (CO2) | Nos. | 15 |  |  |
| 6. | ABC 5 Kg. (Dry Powder) | Nos. | 45 |  |  |
|  | Spare Parts for Fire Extinguishers |  |  |  |  |
| 1. | Operating Valve of CO2- CAP 4.5 Kg | Nos. | 50 |  |  |
| 2. | Operating wheel of Co2 Valve | Nos. | 35 |  |  |
| 3. | Discharges pipe of Co2 | Nos. | 88 |  |  |
| 4. | Carrying handle of Co2 | Nos. | 10 |  |  |
| 5. | Safety Lock Pin Co2 with Lead Seal for ABC- all type | Nos. | 80 |  |  |
| 6. | Wall hanging hook with fixing_ All type | Nos. | 100 |  |  |
| 7. | Operating Valve of ABC - CAP all Type | Nos. | 150 |  |  |
| 8. | Discharge nozzle of ABC - CAP All type | Nos. | 30 |  |  |
| 9. | Safety Lock Pin ABC with Lead Seal | Nos. | 25 |  |  |
| Total |  |  |  |  |  |
| Tax (if any) |  |  |  |  |  |
| Total Amount (including all) |  |  |  |  |  |

- Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- If the supplier does not have a particular item offered in the tender or a different make is being proposed by him, the same should be highlighted/mentioned especially by him.

- The prices should be including all (Packing, forwarding, Transit Insurance, Transportation Loading/unloading, Installation etc.). Loading/unloading up to 50 Mtr. shall be done by the supplier.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- Bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- Bid should be on the company’s letterhead and should submit their bid in the LNMIIT format only

- Item/Service not supplied by the supplier/service provider should be mentioned separately.

- Vendor should provide a photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

- Pre-bid meeting and pre-bid site visit can be done before quoting the rate in the tender to clear up any confusion regarding project details, the scope of work, and solicitation of documents.

All charges applicable shall be clearly mentioned with the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final and nothing extra shall be paid extra.

Signature with seal