The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for the “Water Tank Cleaning Work (Approx. 850000 Ltr.)”. Bidders can submit their sealed offer/s at the following address by Email/Speed-Post/ Registered Post/ By-hand (but not by Courier)/ before 05:00 PM on 30.10.2022.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the Institute after marking due entries.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Email: directoroffice@lnmiit.ac.in

Bidders can also submit their offer/s via Email with password-protected document/file at the below mentioned email IDs (E-mail must be sent on both mail IDs) before 05:00 PM on 30.10.2022.

The Password protected document/file to be sent to the purchase officer at the email id: purchase.officer@lnmiit.ac.in, quote@lnmiit.ac.in and password should be sent to Chairman-PCC at the email id: chairman.pcc@lnmiit.ac.in .

purchase.officer@lnmiit.ac.in

quote@lnmiit.ac.in

chairman.pcc@lnmiit.ac.in

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory are required to be submitted in two separate envelopes/files. Both envelopes/files should be duly marked as “Technical bid for “Water Tank Cleaning Work (Approx. 850000 Ltr.)” and “Commercial Bid for “Water Tank Cleaning Work (Approx. 850000 Ltr.)” respectively. Both Envelopes shall be enclosed in a single envelope bearing the heading “Bid for “Water Tank Cleaning Work (Approx. 850000 Ltr.)”. Bids are liable to be rejected if any or both of the technical or commercial offers are found in open condition or required information is not found with the offer.

Bids can be sent via email as per the process mentioned above.

Technical Bid: (in a separate sealed envelope)

While submitting quotations, the following procedure/ formalities and conditions may kindly be adhered.

- Company profile or brief note about the bidder’s company, PAN number, and GST number should be submitted by the Vendor.

- The List of Directors/Partners/Proprietor/Members of the Firm to be attached.

- Detail of other associated/sister concerns (if any) of Directors/Partners/ Proprietor/ Members to be provided.

- Turn over for the last three years to be mentioned. (Copy to be enclosed)

- Work completion certificate of the same domain of the last three years to be enclosed.

- List of the client to whom the vendor has delivered the goods or provided the services in past.

- Specification as mentioned below, shall be provided as per the details given below:

Scope of work (procedure), Technical data sheet with Specification of the item/s

- Clear the top of the water storage tank & clean the workspace upto 5m. In addition, use the work in process mentioned tape all around the site location.

- Close the inlet valve of the water storage tank to stop the entrance of water inside the tank.

- Take out the filled water from the water storage tank through the drain valve or hydraulic pumps & manually.

- Enter the tank from the tank opening (manhole) using SS ladder only (maximum two persons at a time upto 30 minutes only with safety gears, and two persons shall present at the top of the water storage tank) after visually ensure that the tank is empty.

- Scrub the water tank inner walls, ceiling & floor with the scrubber, and pressure jets.

- Get the sand, adhere dirt, salt, damaged or broken materials (if any) out from the water storage tank from the help of the clean cloth, & a nylon brush.

- Clean the water tank inner surfaces (walls, ceiling & floor) with portable/ soft water twice, remove the remaining dirty/ impure water by using clean cloth or lint free mop or vacuum cleaner.

- After cleaning the water storage tank completely, come out from the tank.

- Rinse the water storage tank by opening the inlet valve & remove the wastewater by opening of the drain valve. Further, use UV system to disinfect the inner surfaces (If required).

- Cleaned water storage tank checked by the supervising personnel (Civil supervisor & Plumber).

| The LNM Institute of Information Technology |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| (Deemed University) |  |  |  |  |  |
| Domestic water & Fire water Tanks Info. |  |  |  |  |  |
| Sr. No. | Location of tanks | No. Of tanks | Type of R.C.C. tanks |  |  |
|  |  |  | UG/OH | Domestic use/ Fire use |  |
| 1 | Boy's Hotel - 3 | 4 | UG-1/OH-3 | OH-1 (Fire) |  |
| 1.1 | UG tank |  |  |  |  |
| 1.2 | OH tank 1 |  |  |  |  |
| 1.3 | OH tank 2 (Fire) |  |  |  |  |
| 1.4 | OH tank 3 |  |  |  |  |
| 2 | Girl's Hostel | 4 | UG-1/OH-3 | OH-1 (Fire) |  |
| 2.1 | UG tank |  |  |  |  |
| 2.2 | OH tank 1 |  |  |  |  |
| 2.3 | OH tank 2 (Fire) |  |  |  |  |
| 2.4 | OH tank 3 |  |  |  |  |
| 3 | Studio Apartments | 3 | UG-1/OH-2 | OH-1 (Fire) |  |
| 3.1 | UG tank |  |  |  |  |
| 3.2 | OH tank 1 |  |  |  |  |
| 3.3 | OH tank 2 (Fire) |  |  |  |  |
| 4 | Boy's Hotel - 4 | 5 | UG-1/OH-4 | OH-2 (Fire) |  |
| 4.1 | UG tank |  |  |  |  |
| 4.2 | OH tank 1 |  |  |  |  |
| 4.3 | OH tank 2 (Fire) |  |  |  |  |
| 4.4 | OH tank 3 |  |  |  |  |
| 4.5 | OH tank 4 (Fire) |  |  |  |  |
| 5 | Water treatment plant | 4 | UG-3/OH-1 | OG-1 (Fire) |  |
| 5.1 | OG tank 1 (Raw Water) |  |  |  |  |
| 5.2 | OG tank 2 (Treated Water) |  |  |  |  |
| 5.3 | OG tank 3 (Fire) |  |  |  |  |
| 5.4 | OH tank (Supply) |  |  |  |  |
| 6 | Balaji Vihar – Optional | 5 | OH-4/UG-1 | UG-1 (Fire) |  |
| 5.1 | UG tank 1 |  |  |  |  |
| 5.2 | OH tank 2 (PVC) |  |  |  |  |
| 5.3 | OH tank 3 (PVC) |  |  |  |  |
| 5.4 | OH tank 4 (PVC) |  |  |  |  |
| 5.1 | OH tank 5 (PVC) |  |  |  |  |
|  | Total Tanks | 25 |  |  |  |

Commercial Bid: (in separate sealed envelope)

Bid for Water Tank Cleaning Work

| S.No. | Item Name/ Description | Qty. | UOM | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Water Tank Cleaning Work | 850000 | Ltr. |  |  |
| Total |  |  |  |  |  |
| GST@18% |  |  |  |  |  |
| Total including GST |  |  |  |  |  |

- Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- If the supplier does not have a particular item offered in the tender or a different make is being proposed by him, the same should be highlighted/mentioned especially by him.

- The prices should be including all (Packing, forwarding, Transit Insurance, Transportation Loading/unloading, Installation etc.). Loading/unloading up to 50 Mtr. shall be done by the supplier.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- Bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- Bid should be on the company’s letterhead and should submit their bid in the LNMIIT format only

- Item/Service not supplied by the supplier/service provider should be mentioned separately.

- Vendor should provide a photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

- Vendor shall keep all the safety measures on the site location, and their supervisor should monitor the things from start to end on the site location. No LNMIIT person shall be responsible for any safety issues.

- The vendor should submit the work completion certificates of last three years along with the safety certificates, registration certificate in the government.

- Pre-bid meetings and pre-bid site visits can be done before quoting the rate in the tender to clear up any confusion regarding project details, the scope of work, and the solicitation of documents.

All charges applicable shall be clearly mentioned with the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final, and nothing extra shall be paid extra.

Signature with seal