The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposal from competent vendors for “Electrical safety Audit”. Bidders can submit their sealed offer/s at the following address by Email/Speed-Post/ Registered Post/ By-hand (but not by Courier)/ before 05:00 PM on 25.11.2022.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the Institute after marking due entries.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Email: directoroffice@lnmiit.ac.in

Bidders can also submit their offer/s via Email with password protected document/file at the below mentioned email IDs (E-mail must sent on both mail ID) before 05:00 PM on 25.11.2022.

The Password protected document/file to be sent to purchase officer at the email id: purchase.officer@lnmiit.ac.in, quote@lnmiit.ac.in and password should be sent to Chairman-PCC at the email id: chairman.pcc@lnmiit.ac.in .

purchase.officer@lnmiit.ac.in

quote@lnmiit.ac.in

chairman.pcc@lnmiit.ac.in

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory are required to be submitted in two separate envelopes/files. Both envelopes/files should be duly marked as “Technical bid for “Electrical safety Audit” and “Commercial Bid for “Electrical safety Audit” respectively. Both Envelopes shall be enclosed in a single envelope bearing the heading “Bid for “Electrical safety Audit”. Bids are liable to be rejected if any or both of the technical or commercial offers are found in open condition or required information is not found with the offer.

Bids can be sent via email as per the process mentioned above.

While submitting quotations, the following procedure/ formalities and conditions may kindly be adhered.

- Company profile or brief note about the bidder's company, PAN number, and GST number should be submitted by the Vendor.

- The List of Directors/Partners/Proprietor/Members of the Firm to be attached.

- Detail of other associated/sister concerns (if any) of Directors/Partners/ Proprietor/ Members to be provided.

- Turn over for the last three years to be mentioned. (Copy to be enclosed)

- List of the client to whom the vendor has delivered the goods or provided the services in past.

- Specification as mentioned below, shall be provided as per the details given below:

Scope of work, Technical data sheet and Specification of the item/s

Eligibility Criteria:

The intending tenderer for Conducting Energy Audit & Electrical Safety Audit should be Certified Auditor for the same. (Certificate)

OR

Should have expertise Engineers having Degree in Electrical Engineering as regular employee and accredited Energy Auditors by BEE (Bureau of Energy Efficiency).

No Joint Venture agreement or deed will be acceptable or entertained whatsoever.

AND

The agency/firm must submit a valid Class ‘A’ Electrical Contractor License for working as electrical contractor issued by Govt. of Rajasthan /Govt. of India/State administration of the state in which the contractor is working. (Certificate)

Scope of Work:

To provide professional services for carrying out comprehensive Electrical safety of the complete Electrical installation at/ of Buildings /Offices / HOSTELSs under jurisdiction of university and give comprehensive report to the buildings, suggesting corrective measure. The agency should use the following equipment’s/ instruments for conducting electrical audit in buildings/ offices.

- Power analyzer

- Thermal Gun

- Multi meter /Clamp Meter

- Equipment’s for checking efficiency of earthing

- Earth Insulation Megger/ resistance tester

- Any other equipment/ Instrument required for conducting electric safety audit

- Lux meter

- Cable insulation tester

- Other required instruments.

- Visiting the Buildings /Offices / HOSTELS/ road lights common facilities to study & verify the installation by competent Electrical Safety Auditor

- Suggestion on Corrective measures necessary towards Electrical safety.

- The comprehensive report shall be based on institute’s requirement.

- Assuming full responsibility for supervision and proper execution of works covered under the scope of contract.

- Deploy skilled staff for supervision of work under scope of contract.

- Any other services connected with the works usually and normally rendered by the Electrical Safety Audit but not referred to herein above.

Broad Scope of Electrical Safety Audit:

1.	The Audit activities shall include the following:

a. 	Pre-Audit: Meeting with University’s technical team, Visual inspection of the site & verification of various electrical installation.

b. 	Audit: Auditing and performance analysis to determine the condition of electrical installation as detailed below.

c. 	Submission of Final report to university as per discussions with the University with suggestions and recommendations.

2.	All Electric Installations (E.g., AC, Lifts, DG set, UPS, Electric panel, transformer etc.) of building/offices /HOSTELS fall under scope of work.

3.	Physical inspection of the building/office/Building/HOSTELS with reference to applicable Indian Standard, Indian Electricity Rules, and other relevant codes of Practice & identifying electrical hazards (leakage etc.) therein.

4.	Review & Testing of adequacy of wires & cables based on actual load current measurements and cable current carrying capacities. Insulation Resistance test and Earthing leakage testing should be done.

5.	Performance & testing of Bus bar, filtration coil, safety device like MCB, ELCB, etc. & Electrical distribution panel of air conditioning unit.

6.	Evaluation of electric preventive maintenance (EPM) to examine documentation, checklists, work permit, test records etc. and if EPM is not in place or inadequate, recommend and design EPM as per applicable standards.

7.	Evaluation of voltage, current parameter of electric equipment’s for Normal operations.

8.	Training/ guiding the electricians provided by the Institute from the point of electrical safety.

9.	Testing/ Auditing should be done properly as per standard practices with help of internal team of electrical engineer/electrician.

10.	Thermography/ Temperature detection should be done for hot spot detection in electric panel, equipment’s etc.

11.	Earthing system should be checked and tested properly for Earth resistance.

12.	The scope includes arranging all required tools and tackles, measuring instruments, data loggers, wires & cables and technicians/ electricians required for completion of the scope of work. It also includes work instructions from Institute, visiting site, and preparing reports on the same to enable the Institute to take a decision for taking decisions.

13.	Specific recommendations/ suggestions for ensuring Electrical safety with specifics.

14.	The Electrical Installation under purview of Electrical Safety Audit includes all electrical equipment’s/ installations from the point of supply from the Local Power Body/ agency to the respective incoming electric distribution and thereafter internal electric distribution system. The study shall include complete lighting & power load, Electrical distribution, Air-conditioners, pumps, Lifts, UPS & battery Systems, Computer, and Airwasher, earthing system, DG sets and Automatic Power factor controlling panels etc.

15.	Study of loge books/data sheets of routine maintenance of Sub-station equipment/ panels/protection device.

16. 	If any equipment/machinery is not mentioned by customer shall also be considered in the same job with no extra charge.

| S.NO | Equipment’s Details for Electrical Safety Audit |  |
| --- | --- | --- |
| 1 | Power Supply | 11KV |
| 2 | Load | DS NDS |
| 3 | Sanctioned Load | 2000 KW 2800 KW |
| 4 | Contract Demand | 1450 KW 850 KW |
| 5 | RMU | 630 A X 2 Nos. |
| 6 | HT Panel | 630A, 800A x 2 Nos |
| 7 | Transformers | 1000KVA X 3 Nos. |
| 8 | DG | 625 KVA, 380KVA,125KVA |
| 9 | LT Panels | 3 Nos |
| 10 | APFC Panel | 3 Nos |
| 11 | Feeder Panel & Block Panel | 87+ Nos (It may vary) |
| 12 | Solar | 205 KWp |
| 13 | AC & VRV's | 355 Nos AC (Including 1Ton,1.2 Ton,1.5Ton,2,5Ton,7.5Ton,11 Ton) |
|  |  | 13 Nos VRV (Including 20HP, 16HP,10HP) |
| 14 | Approximate build-up area | 76,425.99 Sq. Mtr |
| 15 | UPS | 13 Nos (Including 10 kva, 30 kva, 20 kva) & other small UPS |
| 16 | Lifts | 9 Nos. |

Commercial Bid: (in separate sealed envelope)

Bid for “Electrical safety Audit”

| S.No. | Item Name/ Description | Qty. | UOM | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Electrical Safety Audit | 1 | Job. |  |  |
| Total |  |  |  |  |  |
| GST |  |  |  |  |  |
| Total including GST |  |  |  |  |  |

- Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- If the supplier does not have a particular item offered in the tender or a different make is being proposed by him, the same should be highlighted/mentioned especially by him.

- The prices should be including all (Packing, forwarding, Transit Insurance, Transportation Loading/unloading and Installation etc.). Loading/unloading up to 50 Mtr. shall be done by the supplier.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- Bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- Bid should be on the company’s letterhead and should submit their bid in the LNMIIT format only

- Item/Service not supplied by the supplier/service provider should be mentioned separately.

- Vendor should provide a photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

- Pre-bid meetings and pre-bid site visits can be done before quoting the rate in the tender to clear up any confusion regarding project details, the scope of work, and solicitations of documents.

All charges applicable shall be clearly mentioned with the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final, and nothing extra shall be paid extra.

Signature with seal