The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

“The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, setup as a Non Profit Making institute located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for “Supply of 45 watt and 36 watt external photo sensor for Automatic On/Off of LED street light (make Philips/CG/Orient) warranty 2 years”. Bidders can submit their sealed offer/s at the following address by Speed-Post/ Registered Post/ By-hand (but not by Courier) before 05:00 PM on 20.12.2022.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the Institute after marking due entries.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Email: directoroffice@lnmiit.ac.in

Bidders can also submit their offer/s via Email with password-protected document/file at the below-mentioned email IDs (E-mail must be sent on both mail IDs) before 05:00 PM on 20.12.2022.

The Password protected document/file is to be sent to the purchase officer at the email id: purchase.officer@lnmiit.ac.in, and the password should be sent to Chairman-PCC at the email id: chairman.pcc@lnmiit.ac.in.

purchase.officer@lnmiit.ac.in

chairman.pcc@lnmiit.ac.in

Bid Process:

The techno-commercial offer shall be enclosed in envelopes/ files, duly marked as “Techno-commercial Bid for Supply of 45 watt and 36 watt external photo sensor for Automatic On/Off of LED street light (make Philips/CG/Orient)”. Bids can be rejected if required information is not found with the offer.

TECHNICAL DETAIL

45 watt external photo sensor for automatic On/off LED Street Light

| Technical Specification |  |  |
| --- | --- | --- |
| S.No. | Technical Parameters |  |
| 1 | Rated power (Watt ) | 45 Watt |
| 2 | Rated Voltage | 240 Voltage |
| 3 | Power Factor | More than 0.95 |
| 4 | Rated frequency | 50Hz |
| 5 | Colour Temperature | 5700 K |
| 6 | CRI | More than 70 |
| 7 | Current | 0.2 Amper |
| 8 | Main Housing | Excellent thermally managed pressure die cast aluminum |
| 9 | Front Cover | Integrated PC Lens |
| 10 | LED | LM80 certified LED |
| 11 | Lens | Batwing 135/85 Degree |
| 12 | Sensor | External Photo sensor for automatic on/off, Sensor mounting outside the luminaires with bracket. |
| 13 | Gear | Integral, Electronic, constant current driver |
| 14 | Internal Wiring | Industrial grade cooper wire |
| 15 | Hardware | SS or Ms zinc plated & passivated |
| 16 | Ingress Protection | IP66 |
| 17 | Lumen Maintenance | 50000 Hrs @ L70 |
| 18 | Operating Temperature | 0 Degree C to 50 Degree C |
| 19 | Mounting | Pole mounted |
| 20 | System Efficacy | >100 |

36 watt external photo sensor for automatic On/off LED Street Light

| Technical Specification |  |  |
| --- | --- | --- |
| S.No. | Technical Parameters |  |
| 1 | Rated power (Watt ) | 36 Watt |
| 2 | Rated Voltage | 240 Voltage |
| 3 | Power Factor | More than 0.95 |
| 4 | Rated frequency | 50Hz |
| 5 | Colour Temperature | 5700 K |
| 6 | CRI | More than 70 |
| 7 | Current | 0.1658 Amper |
| 8 | Main Housing | Excellent thermally managed pressure die cast aluminum |
| 9 | Front Cover | Integrated PC Lens |
| 10 | LED | LM80 certified LED |
| 11 | Lens | Batwing 135/85 Degree |
| 12 | Sensor | External Photo sensor for automatic on/off, Sensor mounting outside the luminaires with bracket. |
| 13 | Gear | Integral, Electronic, constant current driver |
| 14 | Internal Wiring | Industrial grade cooper wire |
| 15 | Hardware | SS or Ms zinc plated & passivated |
| 16 | Ingress Protection | IP66 |
| 17 | Lumen Maintenance | 50000 Hrs @ L70 |
| 18 | Operating Temperature | 0 Degree C to 50 Degree C |
| 19 | Mounting | Pole mounted |
| 20 | System Efficacy | >100 |

Bid for Supply of 45 watt and 36 watt external photo sensor for Automatic On/Off of LED street light (make Philips/CG/Orient)

| S. No. | Particulars | Make and Model | Qty. | UOM | Rate | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 45 watt external photo sensor for automatic On/off LED Street Light with 2 years warranty | CG/Philips/ Orient _LSFT - 45-C -PC -DLS |  |  |  |  |
| 2 | 36 watt external photo sensor for automatic On/off LED Street Light with 2 years warranty | CG/Philips/ Orient _LSFT -36-C- PC - DLS |  |  |  |  |
|  | Total |  |  |  |  |  |
|  | GST_______ |  |  |  |  |  |
| TOTAL (including taxes) |  |  |  |  |  |  |

- Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- The prices should be including all (Packing, forwarding, Transit Insurance, Transportation Loading/unloading and Installation etc.)

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- Bid should be valid for a minimum period of 30 days.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- Bid should be on company’s letterhead.

- Vendor should provide photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT

All charges applicable shall be clearly mentioned with the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final and nothing extra shall be paid extra.

Signature with seal