The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposal from competent vendors for “Construction & Finishing work of the Fire House and Fire Tank”. Bidders can submit their sealed offer/s at the following address by Speed-Post/ Registered Post/ By-hand (but not by Courier)/ before 05:00 PM on 13.01.2023.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the Institute after marking due entries.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Email: directoroffice@lnmiit.ac.in

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory are required to be submitted in two separate envelopes/files. Both envelopes/files should be duly marked as “Technical bid for “Construction & Finishing work of Fire House and Fire Tank” and “Commercial Bid for “Construction & Finishing work of the Fire House and Fire Tank” respectively. Both Envelopes shall be enclosed in a single envelope bearing the heading “Bid for “Construction & Finishing work of the Fire House and Fire Tank”. Bids are liable to be rejected if any or both of the technical or commercial offers are found in open condition or required information is not found with the offer.

Technical Bid: (in a separate sealed envelope)

While submitting quotations, the following procedure/ formalities and conditions may kindly be adhered.

- Company profile or brief note about the bidder's company, PAN number, and GST number should be submitted by the Vendor.

- The List of Directors/Partners/Proprietor/Members of the Firm to be attached.

- Detail of other associated/sister concerns (if any) of Directors/Partners/ Proprietor/ Members to be provided.

- Turn over for the last three years to be mentioned. (Copy to be enclosed)

- List of the client to whom the vendor has delivered the goods or provided the services in past.

- Specification as mentioned below, shall be provided as per the details given below:

Scope of work, Technical data sheet and Specification of the item/s

| Sr. No. | Item description | Qty | Unit |
| --- | --- | --- | --- |
| 1 | Random Rubble stone masonry for with hard stone in foundation and plinth in Cement Sand mortar above 30 CM thick wall in: |  |  |
|  | Cement Mortar 1:4 ( 1-Cement : 4-Sand) | 70.00 | cum |
| 2 | Brick work with F.P.S. bricks of class designation 75 in superstructure above plinth level up to floor V level in all shapes and sizes in : |  |  |
|  | Cement mortar 1 : 4 (1 cement : 4 coarse sand) | 50.00 | cum |
| 3 | Providing & laying Waterproofing layers inside & outside of tank with ceiling including PVC sheet before plastering | 500.00 | sqm |
| 4 | Plaster on new surface on wall in cement sand mortar 1:3 including racking of joints etc. complete fine finish : |  |  |
|  | 25 mm thick | 700.00 | sqm |
|  | 20 mm thick | 450.00 | sqm |
| 5 | Random rubble dry stone Kharanja under floor. | 35.00 | cum |
| 6 | Kota stone slab flooring 25 mm thick over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing complete with base of cement mortar 1: 4 (1 cement : 4 coarse sand) |  |  |
|  | For area of each slab from 901 to 2000 Sq.Cm : | 150.00 | sqm |
| 7 | Providing & laying of the Electrical conduit pipes, L bends, joints, junctions, box, MCB box, & others inside & outside of wall & ceiling excluding switches, wire & fans | 200.00 | rmt |
| 8 | Supply & installation of 6" PVC pipes up to the desired length with proper slope & alignment | 18.00 | rmt |

RATE ONLY ITEMS:

| Sr. No. | Item description | Unit |
| --- | --- | --- |
| 1 | Supply & fixing of Industrial Iron rolling shutter with paint over the red oxide layer on it, inculding the manual keylock and M.S. top cover 1.25mm thick for rolling shutters as per design & IS 6248- 1979. | sqm |
| 2 | Distempering with oil-bound washable distemper of approved brand and manufacture to give an even shade including all scaffolding: New work (two or more coats) over and including scrapping, primer, putty, lippy etc. complete in all respect. | sqm |
| 3 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade: Two or more coats on new work. | sqm |
| 4 | Providing and fixing steel glazed window frame made out of 80x40 mm hollow sheet section of 16 gauge thickness, joint mitred welded and grinded including hold fast of steel lugs 13mm x 3mm and 15 Cm long embedded in brick work of 1:4 nominal mix and including fixing of pivoted hinges of superior quality, window shutters made out of 50 x 25.0 mm hollow steel section 15 mm paitam of 18 gauge thickness, joint mitred and grinded including 10mm x 10mm square bars welded to frame for paitam fixing float glass 4mm thick panes with glazing clips and metal sash putty and fixing of shutters frames peg stay, U shape handle 100mm long, tower bolts 100 mm long of steel powder coated superior quality including fixing and jointing with frame hinges priming coat with steel primer complete in all respect as per direction of Engineer-in –charge |  |
|  | Window openable | sqm |

Commercial Bid: (in separate sealed envelope)

Bid for “Construction & Finishing work of the Fire House and Fire Tank”

| Sr. No. | Item description | Qty | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Random Rubble stone masonry for with hard stone in foundation and plinth in Cement Sand mortar above 30 CM thick wall in: |  |  |  |  |
|  | Cement Mortar 1:4 ( 1-Cement : 4-Sand) | 70.00 | cum |  |  |
| 2 | Brick work with F.P.S. bricks of class designation 75 in superstructure above plinth level up to floor V level in all shapes and sizes in : |  |  |  |  |
|  | Cement mortar 1 : 4 (1 cement : 4 coarse sand) | 50.00 | cum |  |  |
| 3 | Providing & laying Waterproofing layers inside & outside of tank with ceiling including PVC sheet before plastering | 500.00 | sqm |  |  |
| 4 | Plaster on new surface on wall in cement sand mortar 1:3 including racking of joints etc. complete fine finish : |  |  |  |  |
|  | 25 mm thick | 700.00 | sqm |  |  |
|  | 20 mm thick | 450.00 | sqm |  |  |
| 5 | Random rubble dry stone Kharanja under floor. | 35.00 | cum |  |  |
| 6 | Kota stone slab flooring 25 mm thick over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing complete with base of cement mortar 1: 4 (1 cement : 4 coarse sand) |  |  |  |  |
|  | For area of each slab from 901 to 2000 Sq.Cm : | 150.00 | sqm |  |  |
| 7 | Providing & laying of the Electrical conduit pipes, L bends, joints, junctions, box, MCB box, & others inside & outside of wall & ceiling excluding switches, wire & fans | 200.00 | rmt |  |  |
| 8 | Supply & installation of 6" PVC pipes up to the desired length with proper slope & alignment | 18.00 | rmt |  |  |
| Total |  |  |  |  |  |
| GST |  |  |  |  |  |
| Total with GST |  |  |  |  |  |

RATE ONLY ITEMS:

| Sr. No. | Item description | Unit | RAte |
| --- | --- | --- | --- |
| 1 | Supply & fixing of Industrial Iron rolling shutter with paint over the red oxide layer on it, inculding the manual keylock and M.S. top cover 1.25mm thick for rolling shutters as per design & IS 6248- 1979. | sqm |  |
| 2 | Distempering with oil-bound washable distemper of approved brand and manufacture to give an even shade including all scaffolding: New work (two or more coats) over and including scrapping, primer, putty, lippy etc. complete in all respect. | sqm |  |
| 3 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade: Two or more coats on new work. | sqm |  |
| 4 | Providing and fixing steel glazed window frame made out of 80x40 mm hollow sheet section of 16 gauge thickness, joint mitred welded and grinded including hold fast of steel lugs 13mm x 3mm and 15 Cm long embedded in brick work of 1:4 nominal mix and including fixing of pivoted hinges of superior quality, window shutters made out of 50 x 25.0 mm hollow steel section 15 mm paitam of 18 gauge thickness, joint mitred and grinded including 10mm x 10mm square bars welded to frame for paitam fixing float glass 4mm thick panes with glazing clips and metal sash putty and fixing of shutters frames peg stay, U shape handle 100mm long, tower bolts 100 mm long of steel powder coated superior quality including fixing and jointing with frame hinges priming coat with steel primer complete in all respect as per direction of Engineer-in –charge |  |  |
|  | Window openable | sqm |  |

- Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- If the supplier does not have a particular item offered in the tender or a different make is being proposed by him, the same should be highlighted/mentioned especially by him.

- The prices should be including all (Packing, forwarding, Transit Insurance, Transportation Loading/unloading, Installation etc.). Loading/unloading up to 50 Mtr. shall be done by the supplier.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- Bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- Bid should be on the company’s letterhead and should submit their bid in the LNMIIT format only

- Item/Service not supplied by the supplier/service provider should be mentioned separately.

- Vendor should provide a photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

- Pre-bid meeting and pre-bid site visit can be done before quoting the rate in the tender to clear up any confusion regarding project details, the scope of work, and solicitation of documents.

- Scaffolding brings, shifting and preparation of the scaffolding work platform shall be in the purview of the vendor. Further, the vendor will follow the complete safety rules for labourers and others. In addition, the vendor shall bring the covers to cover the objects & other essential things for neat & clean work.

- Vendor shall visit the site location before submitting the quote to understand site situation.

All charges applicable shall be clearly mentioned with the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final, and nothing extra shall be paid extra.

Signature with seal