The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

“The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, setup as a Non Profit Making institute located at Gram-Rupa-Ki-Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposal from competent vendors for “Annual comprehensive maintenance of RO System for one year (from 01.04.2023 to 31.03.2024)”. Bidders can submit their sealed offer/s at the following address by Speed-Post/ Registered Post/ By-hand (but not by Courier) before 05:00 PM on 08.02.2023.

Bids shall be addressed to the undersigned and deposited in the tender box available at main gate of Institute after marking due entries.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Email: directoroffice@lnmiit.ac.in

Bid Process:

Technical & commercial details of the offer shall be enclosed in two separate envelopes, duly marked as “Technical Bid for Annual comprehensive maintenance of RO System (from 01.04.2023 to 31.03.2024)” and “Financial Bid for Annual comprehensive maintenance of RO System (from 01.04.2023 to 31.03.2024)”. Both Envelopes shall be enclosed in a single envelope bearing the heading “Bid for Annual comprehensive maintenance of RO System (from 01.04.2023 to 31.03.2024)”. Bids are liable to be rejected if any or both of the technical or commercial offers are found in open condition or required information is not found with the offer.

Technical Bid: (in separate sealed envelope)

Technical Bid should indicate the following information along with the self-attested photocopies of the supporting documents:

|  | Name & Address of the Company and attach the Company Profile or brief-note about the bidder's company |  |
| --- | --- | --- |
|  | List of Directors/ Partners/ Proprietor/ Members of the Firm to be attached |  |
|  | Detail of other associated/ sister concerns (if any) of Directors/ Partners/ Proprietor/ Members to be provided |  |
|  | Copy of authorization/ certificate from the OEM in case supplied by a vendor who is not a manufacturer of the product |  |
|  | Proof of incorporation/ inception of the Agency/ company (attach self-attested copy) |  |
|  | PAN Number (attach self-attested copy) |  |
|  | GST registration number, if any (attach self-attested copy) |  |
|  | Client list with respective work scope of similar nature within last three years (attach self-attested copy) |  |
|  | Turn over for last three years to be mention. (Copy to be enclosed) |  |
|  | Any other relevant documents (attach self-attested copy) |  |
|  | Satisfactory Performance certificates from the minimum 3 Agencies, at a time during the last 3 years (attach self-attested copy) |  |
|  | The relevant literature, pamphlets pertaining to the product should be sent along with the tenders/ quotations |  |
|  | Specification as mentioned below shall be provided as per the details given below: |  |

*write NA in front of whichever is not applicable

Name & Signature of the authorized

Person of the firm along with seal

Scope of the Work

- AMC includes

- R.O. machine services including all type of the parts there of like Membrane, Filter, Filter Cover, Pre Filter, Motor Pump, SMPS, S.V., Spun, Sediment and Carbon filters, Booster Pump, SMPC, Solenoid Valve, Flood Valve, UV Lamp, UP Choke, Sensor, Drips, Body and Carbon filters, Internal electrical interconnections, Auto cut off functions with all RO machines connected to water coolers and /or water tanks etc. In case due to non-availability of the particular part(s), the substitute part(s) shall be approved by the engineer in writing.

- Service provider to quote the prices of the body of the RO machines of various capacity. The service provider may be asked to replace any of such part, if the institute found it necessary to replace the same for proper functioning of machine.

- Per-maintenance/Preventive service of each RO machine: Minimum twelve mandatory services in a year shall have to provide by the service provider. RO machine will be examined completely and tune-up accordingly.

- Preventive service maintenance every three months, during which the service provider shall replace spun filters of the machine, RO cleaning, internal electrical interconnections and check RO for proper functioning.

- Preventive service maintenance six months, during which the service provider shall replace all filters and membrane of the machine.

- All replaced parts must be new and original; parts should be changed as per company’s standard useful life.

- MIS of each RO machine shall be maintained – Separate Job Card should be maintained, and a Sticker on each R.O. unit should be affixed mentioning the date of service each time.

- Counter signature of service receiver should be taken on each R.O. machine job card.

- Service provider shall report to the engineer or a person authorized in this regard.

- RO machines under Comprehensive AMC:

* RO 15 Litres				96 Nos.

* RO 25 Litres				13 Nos.

* RO 50 Litres				07 Nos.

* RO 250 Litres				14 Nos.

Total Nos. of RO machines	          130 Nos.

(The number of RO machines may be added or less then the number shown above, as decides by the engineer due to any reason)

- Any compliant will not attended within the stipulated time will treat as a violation.

- Other requirements

- Attend break down calls and repair of unit.

- The service provider shall use only new and original genuine spares including all other consumable parts etc. and be shown to the Engineer/authorized person before its use, which are needed for the repair of the unit. Nothing shall be supplied by the institute. Old repaired parts / material will be the property of the bidder. The replaced parts against purchase by the Institute will be the property of the Institute. Purchased  Record for the purchase and utilizing the materials along with the purchase bills shall be maintained by the agency and the same shall be shown to the engineer/authorized person as and when demanded by the institute.

- lf, the work is not found satisfactorily, the work can be got done from another 
agency at the risk & cost of the service provider. A service log book has to be maintained by the service provider, in which all the repair and maintenance work shall be indicated and duly signed by the engineer or any other person assigned by the engineer.

- Institute will provide nothing to the service provider, except free electricity, 
water at fixed points, for the completion of the assigned repair works. The rates are to be given accordingly.

- The repair works as far as possible be done at the Institute during Institute 
working hours.

- The Institute will pay no separate charges for cartage for taking the machines or parts to the service provider repair site, if so required for any repair.

- While taking the unit for repairs to Service provider workshop if required so, the 
Service provider shall inform the engineer/authorized person in writing, regarding Serial No. of various accessories of the unit and take written permission and the unit shall be brought back within reasonable time. During this period, the service provider shall have to make stand by arrangements for other "RO Machine or part of it" at his own level and nothing extra shall be payable for it. During transit of the machine or part from the site to the workshop or vice versa, the safety of the material is the responsibility of the service provider, and he should ensure that the machine or part is not damaged or stolen in transit.

- After getting back the unit duly repaired, the Sr. No. will be verified by 
Institute. The compressor can be replaced if required, by the service provider by original one of the same manufacturer with intimation to the engineer in writing.

- The Contractor shall adopt all safety measures, which are essential for the 
execution of the work. The Institute shall not be responsible for any mishappening if occurred while doing the work; this may please be noted very carefully. The contractor is advised to have the insurance of his staff workers against any mishappening while attending the work at his own level.

- Service provider is required to deploy a well-trained technician with sufficient numbers of spares required to maintain the RO machines. Maintenance technicians shall report daily in the institute campus between 9.00 a.m. to 6.00 p.m., except Sunday to attend the complaints as soon as the same is received. Technician shall undertake preventive service of all the machines, every three months and replace all spun filters of the machine, RO cleaning, internal electrical interconnections and check RO for proper functioning. Service provider shall submit the schedule of preventive service to the office of engineer.

- Technicians deployed at the site shall mark their daily attendance at main gate on routine basis.

- Institute may ask to station a team of two technicians during night hours for managing and rectifications of complaints.

- The Service Engineer will report and coordinate with the engineer or any other maintenance staff authorized by the engineer. The Mobile numbers of the service engineer shall be informed to the engineer to have immediate contact with him.

- Service provider and his staff have to co-ordinate with the Maintenance staff of the Institute for proper functioning of all jobs and require attending the complaint within 4 hours of complaint if the same is being registered during working hours or within 02 hours on next working day if the complaint is registered during non-working hour or holiday.

- Any complaint shall be entertained within 4 hours' period from the time of reporting the complaint, otherwise the Institute may impose monetary penalty of Rs. 500/- for each failure, in addition to the cost of repairing charges, if the repairing is got done from another agency.

- Details of day to day routine/preventive maintenance work/service/repairing of any RO machine will be recorded by your service personnel in a Maintenance Register and RO Machine wise job card duly countersigned by Institute's authorized person/concern user.

- Preventive / routine maintenance shall also be recorded and shall be duly signed by the concern person / user.

- MIS report should be submitted along with monthly bill showing summary of job done during the month (abstract of job card).

- Payment shall be made on monthly basis after receiving the bill from the service provider on satisfactory report from the engineer. Subject to TDS and any other taxes as applicable.

- The number of RO machines may be added or less then the numbers shown above, as decides by the engineer due to any reason.

- All rights are reserved with the Institute to consider / reject partly or completely any or all the tenders without assigning any reason.

- The institute has all rights to terminate the contract at any time even when it is in progress.

- The number of RO machines may be added or less then the numbers shown above, as decides by the LNMIIT due to any reason.

- All rights are reserved with the Institute to consider / reject partly or completely any or all the tenders without assigning any reason.

- The institute has all rights to terminate the contract at any time even when it is in progress.

- Penalty for non-compliances & Termination of contract:

- If the complaint is not attended within the date and time specified in xiii above, institute may impose a penalty maximum of Rs. 500/- for each failure.

- Either party can terminate the contract by giving one month’s advance notice in writing.

- Violation of Agreement:

- Must submit all the deliverables as per agreement

- Any compliant will not attended within the stipulated time will treat as a violation.

- Renewal of this agreement:

- The contract may be renewed yearly up to maximum of 3 years based on satisfactory services rendered during the year up to a maximum increase up to 5% over the total contractual rate.

- Payment Terms:

- Monthly Payment shall be made within 15 days after receiving the bill duly verified by the Estate Officer and Engineer (with MIS as mentioned above). All payments are subject to TDS, WCT etc. as applicable.

- Arbitration

All disputes and differences arising between us in connection with this contract shall as far as possible be settled mutually failing which all such disputes shall be referred to arbitration and settlement under provision of Arbitration and Conciliation Act, 1996 and as amended from time to time or any such law for the time being in force in India. Subject to jurisdiction of Jaipur only.

R.O AMC List

| S.No. | MAKE | Capacity | LOCATION | Qty. |
| --- | --- | --- | --- | --- |
| 1 | KENT | 15 L | BH-I/T002 | 1 |
| 2 | KENT | 25 L | BH-I / T003 | 1 |
| 3 | KENT | 15 L | BH-I / T004 | 1 |
| 4 | KENT | 15 L | BH-I / T102 | 1 |
| 5 | KENT | 15 L | BH-I/T103 | 1 |
| 6 | KENT | 25 L | BH-I / T104 | 1 |
| 7 | KENT | 25 L | BH-I / T202 | 1 |
| 8 | KENT | 25 L | BH-I / T203 | 1 |
| 9 | KENT | 25 L | BH-I/T204 | 1 |
| 10 | HI-TECH | 250 L | BH-I Roof E - Wing | 1 |
| 11 | HI-TECH | 250 L | BH-I Roof E - Wing | 1 |
| 12 | KENT | 15 L | BH-II /T002 | 1 |
| 13 | KENT | 50 L | BH-II / T003 | 1 |
| 14 | KENT | 25 L | BH-II / T004 | 1 |
| 15 | KENT | 15 L | BH-II /T102 | 1 |
| 16 | KENT | 25 L | BH-II / T103 | 1 |
| 17 | KENT | 25 L | BH-II / T104 | 1 |
| 18 | KENT | 25 L | BH-II / T202 | 1 |
| 19 | KENT | 15 L | BH-II /T203 | 1 |
| 20 | KENT | 15 L | BH-II / T204 | 1 |
| 21 | KENT | 50 L | BH-II / Roof | 1 |
| 22 | KENT | 15 L | BH-II / Roof | 1 |
| 23 | KENT | 15 L | BH-II / Roof | 1 |
| 24 | HI-TECH | 250 L | BH- III/Roof | 1 |
| 25 | HI-TECH | 250 L | BH- III/Roof | 1 |
| 26 | KENT | 15 L | GH-I / T002 | 1 |
| 27 | KENT | 15 L | GH-I / T102 | 1 |
| 28 | KENT | 15 L | GH-I / T201 | 1 |
| 29 | KENT | 15 L | GH-I / T301 | 1 |
| 30 | KENT | 25 L | GH-I / T401 (B Wing) | 1 |
| 31 | HI-TECH | 250 L | GH-I / Roof (C wing) | 1 |
| 32 | HI-TECH | 250 L | GH-I / Roof (C Wing) | 1 |
| 33 | HI-TECH | 250 L | Mess - A | 1 |
| 34 | HI-TECH | 250 L | Mess - A | 1 |
| 35 | HI-TECH | 250 L | Mess - B | 1 |
| 36 | HI-TECH | 250 L | Mess - B | 1 |
| 37 | KENT | 50 L | Main Gate | 1 |
| 38 | KENT | 15 L | LECTURE HALL - 1 | 1 |
| 39 | KENT | 15 L | LECTURE HALL - 2 | 1 |
| 40 | KENT | 50 L | LECTURE HALL - 9 | 1 |
| 41 | KENT | 50 L | SPORTS COMPLEX | 1 |
| 42 | KENT | 25 L | STORE-PLAYGROUND | 1 |
| 43 | KENT | 15 L | STORE-PLAYGROUND | 1 |
| 44 | KENT | 25 L | Substation | 1 |
| 45 | KENT | 50 L | OAT | 1 |
| 46 | KENT | 15 L | Library | 1 |
| 47 | KENT | 15 L | Computer lab - 3 | 1 |
| 48 | KENT | 15 L | Administrative Office (Registrar) | 1 |
| 49 | KENT | 15 L | Administrative Office (Accounts) | 1 |
| 50 | KENT | 15 L | Sr. Faculty Office Ground Floor (Near 1040) | 1 |
| 51 | KENT | 15 L | Sr. Faculty Office First Floor (Near 2040) | 1 |
| 52 | KENT | 25 L | Lab Area First Floor (Near 2099) | 1 |
| 53 | KENT | 15 L | (Academic FF (Physics Deptt) Near 2021 | 1 |
| 54 | KENT | 15 L | Board Room Pantry | 1 |
| 55 | KENT | 50 L | MME Second Floor | 1 |
| 56 | KENT | 15 L | MME First Floor | 1 |
| 57 | KENT | 15 L | MME Workshop | 1 |
| 58 | KENT | 15 L | Guest House – Kitchen | 1 |
| 59 | KENT | 15 L | Guest House – Ground Floor | 1 |
| 60 | KENT | 15 L | Physic Lab 2026 | 1 |
| 61 | KENT | 15 L | A 1 Quarter - Director House | 1 |
| 62 | KENT | 15 L | B 1 Quarter | 1 |
| 63 | KENT | 15 L | B 2 Quarter | 1 |
| 64 | KENT | 15 L | B 3 Quarter | 1 |
| 65 | KENT | 15 L | B 4 Quarter | 1 |
| 66 | KENT | 15 L | C 1 Quarter | 1 |
| 67 | KENT | 15 L | C 2 Quarter | 1 |
| 68 | KENT | 15 L | C 3 Quarter | 1 |
| 69 | KENT | 15 L | C 4 Quarter | 1 |
| 70 | KENT | 15 L | D 1 Quarter | 1 |
| 71 | KENT | 15 L | D 2 Quarter | 1 |
| 72 | KENT | 15 L | D 3 Quarter | 1 |
| 73 | KENT | 15 L | D 4 Quarter | 1 |
| 74 | KENT | 15 L | D 5 Quarter | 1 |
| 75 | KENT | 15 L | D 6 Quarter | 1 |
| 76 | KENT | 15 L | D 7 Quarter | 1 |
| 77 | KENT | 15 L | D 8 Quarter | 1 |
| 78 | KENT | 15 L | D 9 Quarter | 1 |
| 79 | KENT | 15 L | D 10 Quarter | 1 |
| 80 | KENT | 15 L | D 11 Quarter | 1 |
| 81 | KENT | 15 L | D 12 Quarter | 1 |
| 82 | KENT | 15 L | E 1 Quarter | 1 |
| 83 | KENT | 15 L | E 2 Quarter | 1 |
| 84 | KENT | 15 L | E 3 Quarter | 1 |
| 85 | KENT | 15 L | E 4 Quarter | 1 |
| 86 | KENT | 15 L | E 5 Quarter | 1 |
| 87 | KENT | 15 L | E 6 Quarter | 1 |
| 88 | KENT | 15 L | F1 Quarter Common Area | 1 |
| 89 | KENT | 15 L | F3 & 4 Quarter Common Area | 1 |
| 90 | KENT | 15 L | F5 & 6 Quarter Common Area | 1 |
| 91 | KENT | 15 L | F 7 & 8 Quarter Common Area | 1 |
| 92 | KENT | 15 L | F9 &10 Quarter Common Area | 1 |
| 93 | KENT | 15 L | Studio Apartment 101 Quarter | 1 |
| 94 | KENT | 15 L | Studio Apartment 102 Quarter | 1 |
| 95 | KENT | 15 L | Studio Apartment 103 Quarter | 1 |
| 96 | KENT | 15 L | Studio Apartment 104 Quarter | 1 |
| 97 | KENT | 15 L | Studio Apartment 201 Quarter | 1 |
| 98 | KENT | 15 L | Studio Apartment 202 Quarter | 1 |
| 99 | KENT | 15 L | Studio Apartment 203 Quarter | 1 |
| 100 | KENT | 15 L | Studio Apartment 204 Quarter | 1 |
| 101 | KENT | 15 L | Studio Apartment 301 Quarter | 1 |
| 102 | KENT | 15 L | Studio Apartment 302 Quarter | 1 |
| 103 | KENT | 15 L | Studio Apartment 303 Quarter | 1 |
| 104 | KENT | 15 L | Studio Apartment 304 Quarter | 1 |
| 105 | KENT | 15 L | Studio Apartment 401 Quarter | 1 |
| 106 | KENT | 15 L | Studio Apartment 402 Quarter | 1 |
| 107 | KENT | 15 L | Studio Apartment 403 Quarter | 1 |
| 108 | KENT | 15 L | Studio Apartment 404 Quarter | 1 |
| 109 | KENT | 15 L | Studio Apartment 501 Quarter | 1 |
| 110 | KENT | 15 L | Studio Apartment 502 A Quarter | 1 |
| 111 | KENT | 15 L | Studio Apartment 502 B Quarter | 1 |
| 112 | KENT | 15 L | Studio Apartment 601 Quarter | 1 |
| 113 | KENT | 15 L | Studio Apartment 602 A Quarter | 1 |
| 114 | KENT | 15 L | Studio Apartment 602 B Quarter | 1 |
| 115 | KENT | 15 L | Balji Vihar A001 | 1 |
| 116 | KENT | 15 L | Balji Vihar A002 | 1 |
| 117 | KENT | 15 L | Balji Vihar A003 | 1 |
| 118 | KENT | 15 L | Balji Vihar A004 | 1 |
| 119 | KENT | 15 L | Balji Vihar A005 | 1 |
| 120 | KENT | 15 L | Balji Vihar A006 | 1 |
| 121 | KENT | 15 L | Balji Vihar B001 | 1 |
| 122 | KENT | 15 L | Balji Vihar B002 | 1 |
| 123 | KENT | 15 L | Balji Vihar B003 | 1 |
| 124 | KENT | 15 L | Balji Vihar B004 | 1 |
| 125 | KENT | 15 L | Balji Vihar B005 | 1 |
| 126 | KENT | 15 L | Balji Vihar B006 | 1 |
| 127 | HI-TECH | 250L | BH-4 Roof | 1 |
| 128 | HI-TECH | 250L | BH-4 Roof | 1 |
| 129 | HI-TECH | 250L | INC Roof | 1 |
| 130 | HI-TECH | 250L | INC Roof | 1 |

Commercial Bid: (in separate sealed envelope as per the specification mentioned in the next page)

Financial Bid

(AMC R.O. System from 01.04.2023 to 31.03.2024)

| S.No | Particulars | Make | Qty. | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | 15 LPH | Kent | 96 Nos. |  |  |
| 2 | 25 LPH | Kent | 13 Nos. |  |  |
| 3 | 50 LPH | Kent | 7 Nos. |  |  |
| 4 | 250 LPH | Hi - TECH | 14 Nos. |  |  |

- Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- The prices should be including all (Packing, forwarding, Transit Insurance, Transportation Loading/unloading and Installation etc.)

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- Bid should be valid for a minimum period of 30 days.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- Bid should be on company’s letterhead.

- Vendor should provide photocopy of the cheque/ cancelled cheque while presenting the Invoice to LNMIIT

All charges applicable shall be clearly mentioned with the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final and nothing extra shall be paid extra.

Signature with seal