The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

“The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, setup as a Non-Profit Making institute located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposal from competent vendors for “Supply, Installation, Testing and Commissioning of CCTV Video surveillance System”. Bidders can submit their sealed offer/s at the following address by Speed-post/Registered Post/By-hand (but not by Courier) before 05:00 PM on 05.03.2023.

Bids shall be addressed to the undersigned and deposited in the tender box available at main gate of Institute after marking due entries.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Email: directoroffice@lnmiit.ac.in

Bid Process:

Technical & commercial details of the offer shall be enclosed in two separate envelopes/ files, duly marked as “Technical Bid for Supply, Installation, Testing and Commissioning of CCTV Video surveillance System” and “Financial bid for Supply, Installation, Testing and Commissioning of CCTV Video surveillance System”. Both Envelopes/ files shall be enclosed in a single envelope/ mail bearing the heading “Bid for Supply, Installation, Testing and Commissioning of CCTV Video surveillance System”. Bids are liable to be rejected if any or both technical or commercial offers are found in open condition or required information is not found with the offer.

Scope of the Work

- Supply, Installation, Testing and Commissioning of CCTV Video Surveillance System, Technical specifications as given below.

- Configuration should be done by the OEM/OEM Assist as per the institute requirement.

- The vendor should also offer, supply, and install all other associated components that may be necessary to carry out the complete job.

- The warranty should be as per mentioned in Technical Specification.

Technical Bid: (in separate sealed envelope)

While submitting quotations, the following procedure/ formalities and conditions may kindly be adhered.

- The makers name or brand name must be specified clearly.

- The relevant literature, pamphlets pertaining to the product should be sent along with the tenders / quotations.

- Copy of authorization/certificate from the OEM in case supplied by a vendor who is not a manufacturer of the product.

- Company profile or brief note about the bidder's company, PAN number, GST number should be submitted by the Vendor.

- List of Directors/Partners/Proprietor/Members of the Firm to be attached.

- Detail of other associated/sister concerns ((if any) of Directors/Partners/ Proprietor/ Members to be provided.

- Turn over for last three years to be mentioned. (Copy to be enclosed)

- List of clients to whom the vendor has delivered the goods or provided the services in past.

- Specification as mentioned below shall be provided as per the details given below:

Technical Bid

Hardware and Functional Specification of CCTV Video surveillance system

| Sr. No. | Required Specification: | Qty. | Proposed Items Make & Model with Specification Filled by Vender |
| --- | --- | --- | --- |
| 1. | IP Dome/Bullet Indoor Camera - Cameras have day/night with automatic removable IR cut filter, AGC, BLC IR Range -30 Mtr. Or higher - FPS -30 or higher - Video Resolution- 4MP, 1080P or higher - PoE IEEE standard- IEEE 802.3af (802.3 at Type-1) - Video Compression- H.264/H.265 smart codec - Interoperability – ONVIF Profile - Storage- Network Storage - Analysis type-essential video analytics - Simultaneous Live View - Min. 2 Channels - NUUO Software compatible Preferred Make/Model: Bosch, Hikvision, Honeywell | 130 Nos. Approx. |  |
| 2. | NUUO VMS Licenses for 130 IP Camera | 1 Nos. |  |
| 3. | POE LAN Switch with Min. 370W - Ports- 2 x SFP Gigabit or higher 24 x Ethernet Gigabit POE 1 x Console - POE Power - Minimum 370 W or higher - Switching capacity - Minimum 52 Gbps - System Configuration - Web user interface (HTTP / HTTPS), CLI (Telnet / SSH), SNMP v3 - MIB Files - Must have CPU Utilization, Memory Utilization and Net Flow control. - NMS Compatibility - What sup Gold Preferred Make/Model: Cisco Small Business | 8 Nos. |  |
| 4. | POE LAN Switch with Min. 195W - Ports - 2 x SFP Gigabit or higher 24 x Ethernet Gigabit POE 1 x Console - POE Power - Minimum 195 W or higher - Switching capacity - Minimum 52 Gbps - System Configuration - Web user interface (HTTP / HTTPS), CLI (Telnet / SSH), SNMP v3 - MIB Files - Must have CPU Utilization, Memory Utilization and Net Flow control. - NMS Compatibility - What sup Gold Preferred Make/Model: Cisco Small Business | 2 Nos. |  |
| 5. | POE Adapter - Connectors - RJ-45 - Data Transfer Rate - 10/100/1000 Mbps - POE Power – Min. 60W Preferred Make/Model: Cisco | 20 Nos. |  |
| 6. | IP Camera Installation Mounting, Fixing/adjusting and configuration of IP camera | 130 Nos. |  |
|  | Laying of Cable cat 6 cables including laying in casing / conduiting and flexible. Preferred Make/Model: For casing / conduit: AKG/Polycab/Precision & for Cat6 cable: Molex/AMP | 8500 Mtr. Approx. |  |
| 7. | End to End point Termination Fixing & punching of I/O and Jackpannel, Crimping of RJ45 connector, ferruling, and numbering, attenuation. Preferred Make/Model: Molex/AMP | 130 Nos. Approx. |  |
| 8. | Warranty: 5 years OEM, Material_Labour_Onsite | 1 Nos. |  |

Signature with seal

Financial Bid

Supply, Installation, Testing and Commissioning of CCTV Video surveillance System.

| Sr.No. | Specification as per Tender | Proposed Items Make & Model with Specification Filled by Vender | Qty. | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | IP Dome/Bullet Indoor Camera |  | 130 Nos. Approx. |  |  |
| 2. | NUUO VMS Licenses for 130 IP Camera |  | 1 Nos. |  |  |
| 3. | POE LAN Switch with Min. 370W |  | 8 Nos. |  |  |
| 4. | POE LAN Switch with Min. 195W |  | 2 Nos. |  |  |
| 5. | POE Adapter |  | 20 Nos. |  |  |
| 6. | IP Camera Installation |  | 130 Nos. |  |  |
| 7. | Laying of Cable |  | 8500 Approx. Price per Mtr. |  |  |
| 8. | End to End point Termination |  | 130 Nos. Approx. |  |  |
| 9. | Any Other items required for this Project |  | As per Actual |  |  |
| 10. | Warranty: 5 years OEM, Material_Labour_Onsite |  | 1 Nos. |  |  |
| Total |  |  |  |  |  |
| GST |  |  |  |  |  |
| Total with GST |  |  |  |  |  |

- Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- The prices should be including all (Packing, forwarding, Transit Insurance, Transportation Loading/unloading, Installation etc.)

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- Bid should be valid for a minimum period of 30 days.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- Bid should be on company’s letterhead.

- Vendor should provide photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT

All charges applicable shall be clearly mentioned with the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final and nothing extra shall be paid extra.

Signature with seal