The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, set up as a Non Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of the Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposal from competent vendors for “Providing, fabricating, and assembling of Canopy for outdoor reading space for students.” Bidders can submit their sealed offer/s at the following address by Speed-Post/ Registered Post/ By-hand (but not by Courier)/ before 05:00 PM on 16.04.2023.

Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of the Institute after marking due entries.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Email: directoroffice@lnmiit.ac.in

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory are required to be submitted in two separate envelopes/files. Both envelopes/files should be duly marked as “Technical bid for “Providing, fabricating, and assembling of Canopy for outdoor reading space for students” and “Commercial Bid for “Providing, fabricating, and assembling of Canopy for outdoor reading space for students” respectively. Both Envelopes shall be enclosed in a single envelope bearing the heading “Bid for “Providing, fabricating, and assembling of Canopy for outdoor reading space for students.”. Bids are liable to be rejected if any or both of the technical or commercial offers are found in open condition or required information is not found with the offer.

Technical Bid: (in a separate sealed envelope)

While submitting quotations, the following procedure/ formalities and conditions may kindly be adhered.

- Company profile or brief note about the bidder's company, PAN number, and GST number should be submitted by the Vendor.

- The List of Directors/Partners/Proprietor/Members of the Firm to be attached.

- Detail of other associated/sister concerns (if any) of Directors/Partners/ Proprietor/ Members to be provided.

- Turn over for the last three years to be mentioned. (Copy to be enclosed)

- List of the client to whom the vendor has delivered the goods or provided the services in past.

- Specification as mentioned below, shall be provided as per the details given below:

Scope of work, Technical data sheet and Specification of the item/s

| S.No. | Item Name/ Description | Make & Model/Specification | Fabric Type | Qty Approx |
| --- | --- | --- | --- | --- |
| 1 | Canopy (In front of the Library) | Providing, fabricating, and assembling of Tensile Fabric Structure MS Tubular framework with German Architectural fabric Sieon PRO-TEX as per particular specification | 900Gsm PVDF Fabric | 630 SQF 21ft (Width) X 30 ft (Length) |
| MATERIALS PVC PVDF 900gsm Fabric: Brand-sieon Pro-Tex GmbH ¦ Colour- White or Customize ¦ Manufacturing In Germany ¦ 07 years Warranty ¦ 20 year life Steel-Mild Steel: APL APOLLO (ISI Mark) ¦ Manufacturing in India |  |  |  |  |
| Scope of work MS Structure: Designing ,Providing, fabricating, assembling and erection of tensile MS structure with M.s.Tubular Frame Work (As per IS Steel ) in desired profile as per conceptual including all necessary fixing arrangements, in ( built up sections) from plate & flat sections using Round Pipes, connecting beams, fixing of base plates with necessary Vertical supports, cantilever trusses, arch pipes and purlins complete with cleats, stiffners plate ,flat sections ,connecting beams, fixing of connecting plates with necessary brackets, etc. The frame shall be welded and grinded to smooth finish. Round Pipe 130 mm diameter – for structure base – thickness - Round Pipe 75 mm diameter 75mm – for roofing - thickness – 4 mm |  |  |  |  |
| PVC PVDF Fabric 900gsm): Providing, fabricating, assembling and erection of PVC PVDF Special Architectural fabric of Sieon PRO-TEX - Fabric having a minimum weight of 900/ qm (thickness), Fire retardant. Strength of stretching of Tensile – 350/350 DAN – 5 cm. as per particular specification with a 07 years warranty including all fittings and fixtures. The fabric will be welded to shape and pattern. The joint shall have weld width of 40mm. The joint will have a homogeneous welded of 40 mm. The Fabric shall be installed ,tensioned using a tensioning device and shall not sag at any point . The fabric will be fixed on the frame with fixing accessories such as end Plate, Shackles, Rigging Screws , SS holder, ss threaded rod, Turnbuckles, swedge,fork , keder rods & galvanized MS strands/cables with stainless steel end terminals complete includes cost of fabric , shop drawings, patterning, forming, cutting, fabrication, hot weld stich of fabric, assembling and installation with GI cables,hardware,alluminium flat, and required accessories wherever required complete including tools (excluded scaffolding) etc. |  |  |  |  |
| Painting: The MS frame shall be cleaned of dirt/grim and oil/grease deposit. The frame shall be sand papered to remove rust. The frame shall be sprayed with DUCO primer to finish and will not have any paint brush streaks. After primer putty shall be manually filled at joints and dents if any. It will be wet sand papered to a smooth glossy finish. The ready surface will be painted 2 coats of DUCO Automative spray paint. |  |  |  |  |

Commercial Bid: (in separate sealed envelope)

Bid for “Providing, fabricating, and assembling of Canopy for outdoor reading space for students “

| S.No. | Item Name/ Description | Make & Model/Specification | Qty. | UOM | Rate | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Canopy (In front of the Library) | Providing, fabricating, and assembling of Tensile Fabric Structure MS Tubular framework with German Architectural fabric Sieon PRO-TEX as per particular specification | 630 (21ft Width) X 30 ft Length) | SQFt |  |  |
| Total |  |  |  |  |  |  |
| GST |  |  |  |  |  |  |
| Total including GST |  |  |  |  |  |  |

- Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- If the supplier does not have a particular item offered in the tender or a different make is being proposed by him, the same should be highlighted/mentioned especially by him.

- The prices should be including all (Packing, forwarding, Transit Insurance, Transportation Loading/unloading, Installation etc.). Loading/unloading up to 50 Mtr. shall be done by the supplier.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- Bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- Bid should be on the company’s letterhead and should submit their bid in the LNMIIT format only

- Item/Service not supplied by the supplier/service provider should be mentioned separately.

- Vendor should provide a photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

- Vendor shall keep all the safety measures on the site location, and their supervisor should monitor the things from start to end on the site location. No LNMIIT person shall be responsible for any safety issues.

- The vendor should submit the work completion certificates of last three years along with the safety certificates (If any), registration certificate in the government.

- Pre-bid meeting and pre-bid site visit can be done before quoting the rate in the tender to clear up any confusion regarding project details, the scope of work, and solicitation of documents.

All charges applicable shall be clearly mentioned with the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final, and nothing extra shall be paid extra.

Signature with seal