The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

“The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, setup as a Non Profit Making institute located at Gram-Rupa-Ki-Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposal from competent vendors for “AC machines comprehensive Annual Maintenance Contract (AMC) for one year (from 01.07.2023 to 30.06.2024)”. Bidders can submit their sealed offer/s at the following address by Speed-Post/ Registered Post/ By-hand (but not by Courier) before 05:00 PM on 30.05.2023.

Bids shall be addressed to the undersigned and deposited in the tender box available at main gate of Institute after marking due entries.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Email: directoroffice@lnmiit.ac.in

Bidders can also submit their offer/s via Email with password protected document/file at the below mentioned email IDs (E-mail must sent on both mail ID) before 05:00 PM on 30.05.2023.

The Password protected document/file to be sent to purchase officer at the email id: purchase.officer@lnmiit.ac.in and password should be sent to Chairman-PCC at the email id: chairman.pcc@lnmiit.ac.in .

purchase.officer@lnmiit.ac.in

chairman.pcc@lnmiit.ac.in

Bid Process:

Technical & commercial details of the offer shall be enclosed in two separate envelopes/ files, duly marked as “Technical Bid for Annual comprehensive maintenance of Air Conditioner Machines (from 01.07.2023 to 30.06.2024)” and “Financial Bid for Annual comprehensive maintenance of Air Conditioner Machines (from 01.07.2023 to 30.06.2024)”. Both Envelopes/ files shall be enclosed in a single envelope/ mail bearing the heading “Bid for Annual comprehensive maintenance of Air Conditioner Machines (from 01.07.2023 to 30.06.2024)”. Bids are liable to be rejected if any or both technical or commercial offers are found in open condition or required information is not found with the offer.

Bids can be sent via email as per the process mentioned above.

Technical Bid: (in separate sealed envelope)

Technical Bid should indicate the following information along with the self-attested photocopies of the supporting documents:

|  | Name & Address of the Company and attach the Company Profile or brief-note about the bidder's company |  |
| --- | --- | --- |
|  | List of Directors/ Partners/ Proprietor/ Members of the Firm to be attached |  |
|  | Detail of other associated/ sister concerns (if any) of Directors/ Partners/ Proprietor/ Members to be provided |  |
|  | Copy of authorization/ certificate from the OEM in case supplied by a vendor who is not a manufacturer of the product |  |
|  | Proof of incorporation/ inception of the Agency/ company (attach self-attested copy) |  |
|  | PAN Number (attach self-attested copy) |  |
|  | GST registration number, if any (attach self-attested copy) |  |
|  | Client list with respective work scope of similar nature within last three years (attach self-attested copy) |  |
|  | Turn over for last three years to be mention. (Copy to be enclosed) |  |
|  | Any other relevant documents (attach self-attested copy) |  |
|  | Satisfactory Performance certificates from the minimum 3 Agencies, at a time during the last 3 years (attach self-attested copy) |  |
|  | The relevant literature, pamphlets pertaining to the product should be sent along with the tenders/ quotations |  |
|  | Specification as mentioned below shall be provided as per the details given below: |  |

*write NA in front of whichever is not applicable

Name & Signature of the authorized

Person of the firm along with seal

Scope of the Work

- AMC includes.

- Air conditioners’ services include all types of the parts thereof (Compressor, GAS, Running & Starting Capacitor, Relay,OLP, Motor, Condenser coil, Cooling Coil, Contactors, PCB & blower Non inverter AC). In case due to non-availability of the part(s), the substitute part(s) shall be approved by the Electrical Engineer in writing.  The compressor if replaced will be brand new Kirloskar make.  However, the vendor will furnish the warranty of the new compressors till the end of AMC period only.

- Pre-maintenance/Preventive service of each AC as per scheduled given in writing to our EE.

- All parts must be new and original.

- MIS of each AC shall be maintained – Separate Job Card should be maintained, and a Sticker on each AC’s indoor unit should be affixed mentioning the date of service each time. Affixed permanent ID marks on each outer unit of AC.

- The counter signature of service receiver should be taken on each AC’s job card.

- Shall report to the Electrical Engineer or a person authorized in this regard.

- Per-maintenance/Preventive service of each AC machine: Minimum twelve mandatory services in a year shall have to be provided by the service provider. The AC machine will be examined completely and tune-up accordingly.

- Preventive service maintenance every three months, during which the service provider shall clean filters of the machine, AC machines cleaning, internal electrical interconnections, and check AC for proper functioning.

- All replaced parts must be new and original; parts should be changed as per the company’s standard of useful life.

- Service provider shall report to the engineer, or a person authorized in this regard.

- AC machines under Comprehensive AMC:

*  Spilt AC  1 TR				          28 Nos.

*  Spilt AC 1.2 TR               			          10 Nos.

*  Spilt AC 1.5 TR               			          79 Nos.

*  Spilt AC 2.0 TR               			          48 Nos.

*  Spilt AC 5.0 TR                    			11 Nos.

*  Window AC 1.5 TR               		         140 Nos.

*  Window AC 2.0 TR                     			18 Nos.

*  Duct able AC 7.5 TR                     		10 Nos.

*  Duct able AC 11.0 TR                     	           13 Nos.

Total Nos. of AC machines	                                357 Nos.

(The number of AC machines may be added or less then the number shown above, as decided by the engineer due to any reason)

- Any complaint that will not be attended to within the stipulated time will treat as a violation.

- Other requirements

- Attending breakdown calls and repair of units.

- The service provider shall use only new and original genuine spares including all other consumable parts etc. and be shown to the Engineer/authorized person before its use, which are needed for the repair of the unit. Nothing shall be supplied by the institute. Old, repaired parts / material will be the property of the bidder. The replaced parts against purchase by the Institute will be the property of the Institute. Purchased Record for the purchase and utilizing the materials along with the purchase bills shall be maintained by the agency and the same shall be shown to the engineer/authorized person as and when demanded by the institute.

- lf, the work is not found satisfactorily, the work can be got done from another 
agency at the risk & cost of the service provider. A service logbook has to be maintained by the service provider, in which all the repair and maintenance work shall be indicated and duly signed by the engineer, or any other person assigned by the engineer.

- Institute will provide nothing to the service provider, except free electricity, 
water at fixed points, for the completion of the assigned repair works. The rates are to be given accordingly.

- The repair works as far as possible be done at the Institute during Institute 
working hours.

- The Institute will pay no separate charges for the cartage for taking the machines or parts to the service provider repair site, if so, required for any repair.

- While taking the unit for repairs to Service provider workshop if required so, the 
Service provider shall inform the engineer/authorized person in writing, regarding Serial No. of various accessories of the unit and take written permission and the unit shall be brought back within reasonable time. During this period, the service provider shall have to make standby arrangements for other " AC Machine or part of it" at his own level and nothing extra shall be payable for it. During transit of the machine or part from the site to the workshop or vice versa, the safety of the material is the responsibility of the service provider, and he should ensure that the machine or part is not damaged or stolen in transit.

- After getting back the unit duly repaired, the Sr. No. will be verified by 
Institute. The compressor can be replaced if required, by the service provider by original one of the same manufacturers with intimation to the engineer in writing.

- The Contractor shall adopt all safety measures, which are essential for the 
execution of the work. The Institute shall not be responsible for any mishappening if occurred while doing the work; this may please be noted very carefully. The contractor is advised to have insurance for his staff workers against any mishappening while attending the work at his own level.

- The service provider is required to deploy a well-trained technician with sufficient numbers of spares required to maintain the AC machines. Maintenance technicians shall report daily in the institute campus between 9.00 a.m. to 6.00 p.m., except Sunday to attend the complaints as soon as the same is received. The technician undertake preventive service of all the machines, every three months and clean all filters of the machine, AC cleaning, internal electrical interconnections and check AC for proper functioning. Service provider shall submit the schedule of preventive service to the office of engineer.

- Technicians deployed at the site shall mark their daily attendance at main gate on routine basis.

- Institute may ask to station a team of two technicians during night hours for managing and rectifications of complaints.

- The Service Engineer will report and coordinate with the engineer or any other maintenance staff authorized by the engineer. The Mobile numbers of the service engineer shall be informed to the engineer to have immediate contact with him.

- Service provider and his staff have to co-ordinate with the Maintenance staff of the Institute for proper functioning of all jobs and require attending the complaint within 4 hours of complaint if the same is being registered during working hours or within 02 hours on next working day if the complaint is registered during non-working hour or holiday.

- Any complaint shall be entertained within 4 hours' period from the time of reporting the complaint, otherwise the Institute may impose monetary penalty of Rs. 500/- for each failure, in addition to the cost of repairing charges, if the repairing is got done from another agency.

- Details of day to day routine/preventive maintenance work/service/repairing of any AC machine will be recorded by your service personnel in a Maintenance Register and AC Machine wise job card duly countersigned by Institute's authorized person/concern user.

- Preventive / routine maintenance shall also be recorded and shall be duly signed by the concerned person/user.

- MIS report should be submitted along with the monthly bill showing summary of job done during the month (abstract of job card).

- Payment shall be made on a monthly basis after receiving the bill from the service provider on the satisfactory report from the engineer. Subject to TDS and any other taxes as applicable.

- The number of AC machines may be added or less than the numbers shown above, as decided by the engineer due to any reason.

- All rights are reserved with the Institute to consider/reject partly or completely any or all the tenders without assigning any reason.

- The institute has all rights to terminate the contract at any time even when it is in progress.

AC AMC List

| Air Conditioner Machines AMC List |  |  |  |  |
| --- | --- | --- | --- | --- |
| S.No. | Location /Room No. | AC Type in detail | Make | TR |
| 1 | Registrar Office ROOM N..1001 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 2 | ROOM N.1002 | 1.5 Ton Window A.C. | Carrier | 1.5 |
| 3 | ROOM N.1005 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 4 | ROOM N.1005 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 5 | LOUNG ROOM 1006 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 6 | ROOM N.1011 | 1.5 Ton Split AC. | Voltas | 1.5 |
| 7 | ROOM N.1012 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 8 | ROOM N.1013 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 9 | ROOM N.1014 | 1.5 Ton Split AC. | Voltas | 1.5 |
| 10 | ROOM N.1015 | 1.0 Ton split A.C. | Voltas | 1 |
| 11 | ACCOUNTS 1021 | 1.5 Ton Split AC. | Voltas | 1.5 |
| 12 | ACCOUNTS 1022 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 13 | OPP.TO ACCOUNTS Room No. 1021 | 2.0 Ton Split A.C. | Carrier | 2 |
| 14 | ROOM N.1031 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 15 | ROOM N.1032 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 16 | ROOM N.1033 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 17 | ROOM N.1034 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 18 | ROOM N.1035 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 19 | ROOM N.1036 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 20 | ROOM N.1042 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 21 | ROOM N.1043 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 22 | ROOM N.1044 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 23 | ROOM N.1045 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 24 | ROOM N.1046 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 25 | V.C.ROOM 1051 | 2.0 Ton Split A.C. | Voltas | 2 |
| 26 | V.C.ROOM 1051 | 2.0 Ton Split A.C. | Voltas | 2 |
| 27 | ROOM N.1052 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 28 | ROOM N.1052 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 29 | ROOM N.1053 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 30 | ROOM N.1053 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 31 | Room No. 1067 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 32 | Room No. 1067 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 33 | Room No. 1071/1073/1074 | 11.0 Ton Duct able A.C | Carrier | 11 |
| 34 | Room No. 1081 | 7.5 Ton Duct able A.C | Carrier | 7.5 |
| 35 | Room No. 1083 | 7.5 Ton Duc table A.C | Carrier | 7.5 |
| 36 | Room No. 1091 | 11.0 Ton Ductable A.C | Carrier | 11 |
| 37 | Room No. 1091 | 11.0 Ton Ductable A.C | Carrier | 11 |
| 38 | IT(MUKESH JI)1092 | 1.0 Ton Split A.C | Hitachi | 1 |
| 39 | PG Lab1093 | 11.0 Ton Ductable A.C | Carrier | 11 |
| 40 | ECE UG Lab1095 | 11.0 Ton Ductable A.C | Carrier | 11 |
| 41 | ROOM N.1101 | 1.2 Ton Split A.C | Hitachi | 1.2 |
| 42 | ROOM N.1102 | 1.2 Ton Split A.C | Hitachi | 1.2 |
| 43 | ROOM N.1103 | 1.2 Ton Split A.C | Hitachi | 1.2 |
| 44 | ROOM N.1104 | 1.2 Ton Split A.C | Hitachi | 1.2 |
| 45 | ROOM N.1105 | 1.2 Ton Split A.C | Hitachi | 1.2 |
| 46 | ROOM N.1106 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 47 | ROOM N.1107 | 1.2 Ton Split A.C | Hitachi | 1.2 |
| 48 | ROOM N.1112 | 1.2 Ton Split A.C | Hitachi | 1.2 |
| 49 | ROOM N.1113 | 1.2 Ton Split A.C | Hitachi | 1.2 |
| 50 | ROOM N.1114 | 1.2 Ton Split A.C | Hitachi | 1.2 |
| 51 | ROOM N.1115 | 1.2 Ton Split A.C | Hitachi | 1.2 |
| 52 | WORK SHOP MME | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 53 | WORK SHOP MME | 1.0 Ton Split A.C | Hitachi | 1 |
| 54 | LT-5 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 55 | LT-5 | 2.0 Ton Split A.C. | Carrier | 2 |
| 56 | LT-5 | 2.0 Ton Split A.C. | Carrier | 2 |
| 57 | LT-5 | 2.0 Ton Split A.C. | Carrier | 2 |
| 58 | MINI BATTARY ROOM Lecture Hall | 2.0 Ton Split A.C. | Voltas | 2 |
| 59 | DIRECTOR P.A.ROOM N. 2001 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 60 | DIRECTOR OFFICE No. 2002 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 61 | DIRECTOR OFFICE No. 2002 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 62 | DIRECTOR OFFICE No. 2002 A | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 63 | BOARD ROOM 2003 | 2.0 Ton Split A.C. | Carrier | 2 |
| 64 | BOARD ROOM 2003 | 2.0 Ton Split A.C. | Carrier | 2 |
| 65 | BOARD ROOM 2003 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 66 | ROOM N.2011 | 1.5 Ton Split AC. | Voltas | 1.5 |
| 67 | ROOM N.2012 | 1.5 Ton Split AC. | Voltas | 1.5 |
| 68 | ROOM N.2013 | 1.5 Ton Split AC. | Voltas | 1.5 |
| 69 | ROOM N.2014 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 70 | ROOM N.2015 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 71 | ROOM N.2016 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 72 | ROOM N.2018 | 1.0 Ton Split A.C | Voltas | 1 |
| 73 | ROOM N.2019 | 1.0 Ton Split A.C | Voltas | 1 |
| 74 | ROOM N.2022 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 75 | ROOM N.2023 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 76 | ROOM N.2024 | 1.5 Ton Split AC. | Carrier | 1.5 |
| 77 | ROOM N.2025 | 1.0 Ton Split A.C | Voltas | 1 |
| 78 | ROOM N.2031 | 1.5 Ton Split AC. | Voltas | 1.5 |
| 79 | ROOM N.2032 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 80 | ROOM N.2033 | 2.0 Ton Split A.C. | Voltas | 2 |
| 81 | ROOM N.2034 | 2.0 Ton Split A.C. | Carrier | 2 |
| 82 | ROOM N.2035 | 1.5 Ton Split AC. | Voltas | 1.5 |
| 83 | ROOM N.2036 | 2.0 Ton Split A.C. | Voltas | 2 |
| 84 | ROOM N.2042 | 2.0 Ton Split A.C. | Carrier | 2 |
| 85 | ROOM N.2043 | 2.0 Ton Split A.C. | Carrier | 2 |
| 86 | ROOM N.2043 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 87 | ROOM N.2044 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 88 | ROOM N.2045 | 2.0 Ton Split A.C. | Carrier | 2 |
| 89 | ROOM N.2046 | 2.0 Ton Split A.C. | Carrier | 2 |
| 90 | Computer al. cabin | 1.0 Ton Split AC. | Hitachi | 1 |
| 91 | ROOM N.2062 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 92 | ROOM N.2062 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 93 | ROOM N.2063 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 94 | ROOM N.2063 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 95 | SERVER ROOM2067 | 5.0 Ton Split A.C. | Hitachi | 5 |
| 96 | SERVER ROOM2067 | 5.0 Ton Split A.C. | Hitachi | 5 |
| 97 | CSE Lab2071 | 11.0 Ton Ductable A.C. | Carrier | 11 |
| 98 | DSP Lab2081 | 7.5 Ton Ductable A.C. | Carrier | 7.5 |
| 99 | ECAD Lab2083 | 7.5 Ton Ductable A.C. | Carrier | 7.5 |
| 100 | CSE Lab2091/2092 | 11.0 Ton Ductable A.C. | Carrier | 11 |
| 101 | CSE Lab2091/2092 | 11.0 Ton Ductable A.C. | Carrier | 11 |
| 102 | ASD Lab2093/2094 | 11.0 Ton Ductable A.C. | Carrier | 11 |
| 103 | Microwave2095/2096 | 11.0 Ton Ductable A.C. | Carrier | 11 |
| 104 | ROOM N.2101 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 105 | ROOM N.2102 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 106 | ROOM N.2103 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 107 | ROOM N.2104 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 108 | ROOM N.2105 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 109 | ROOM N.2106 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 110 | ROOM N.2107 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 111 | ROOM N.2112 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 112 | ROOM N.2113 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 113 | ROOM N.2114 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 114 | ROOM N.2115 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 115 | R.No. 1130 (MME) | 2.0 Ton Split A.C. | Carrier | 2 |
| 116 | MME 1ST FLOOR, 2128 | 1.0 Ton Split A.C | Hitachi | 1 |
| 117 | MME 1ST FLOOR, 2133 | 1.0 Ton Split A.C | Hitachi | 1 |
| 118 | MME 1ST FLOOR, 2134 | 1.0 Ton Split A.C | Hitachi | 1 |
| 119 | MME 1ST FLOOR, 2135 | 1.0 Ton Split A.C | Hitachi | 1 |
| 120 | MME 1ST FLOOR, 2136 | 1.0 Ton Split A.C | Hitachi | 1 |
| 121 | MME 1ST FLOOR, 2130 | 1.5 Ton Split AC. | Voltas | 1.5 |
| 122 | MME 1ST FLOOR, 2130 | 1.5 Ton Split AC. | Voltas | 1.5 |
| 123 | MME 1ST FLOOR, 2137 | 1.0 Ton Split A.C | Hitachi | 1 |
| 124 | MME 1ST FLOOR, 3122 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 125 | MME 1ST FLOOR, 3122 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 126 | MME 1ST FLOOR, 3122 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 127 | MME 2ND FLOOR,3128 | 1.0 Ton Split A.C | Hitachi | 1 |
| 128 | MME 2ND FLOOR,3133 | 1.0 Ton Split A.C | Hitachi | 1 |
| 129 | MME 2ND FLOOR, CABIN 3134 | 1.0 Ton Split A.C | Hitachi | 1 |
| 130 | MME 2ND FLOOR,3135- 3136 | 2.0 Ton Split A.C. | Hitachi | 2 |
| 131 | MME 2ND FLOOR, 3137 | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 132 | 8-seater room 3138 | 5.0 Ton Split A.C. | Hitachi | 5 |
| 133 | Library | 11.0 Ton Ductable AC | Carrier | 11 |
| 134 | Library | 11.0 Ton Ductable AC | Carrier | 11 |
| 135 | Library | 11.0 Ton Ductable AC | Carrier | 11 |
| 136 | Library | 7.5 Ton Ductable A.C. | Carrier | 7.5 |
| 137 | Library | 7.5 Ton Ductable A.C. | Carrier | 7.5 |
| 138 | Library | 7.5 Ton Ductable A.C. | Carrier | 7.5 |
| 139 | LIBRARY(OFFICE) | 1.0 Ton Split A.C | Voltas | 1 |
| 140 | Computer Lab 3 | 7.5 Ton Ductable A.C. | Carrier | 7.5 |
| 141 | Computer Lab 3 | 7.5 Ton Ductable A.C. | Carrier | 7.5 |
| 142 | Computer Lab 3 | 7.5 Ton Ductable A.C. | Carrier | 7.5 |
| 143 | Computer Lab 3 UPS Room | 1.5 Ton Split AC. | Voltas | 1.5 |
| 144 | DIRECTOR HOUSE shift to Lecture Hall | 2.0 Ton Window A.C. | O General | 2 |
| 145 | GOVIND JI STORE | 2.0 Ton Window A.C. | Carrier | 2 |
| 146 | Civil Engineer | 2.0 Ton Split A.C. | Carrier | 2 |
| 147 | P.T.I. ROOM SAC | 2.0 Ton Window A.C. | Carrier | 2 |
| 148 | Music room SAC- | 2.0 Ton Window A.C. | Carrier | 2 |
| 149 | Medical SAC | 2.0 Ton Split A.C. | Hitachi | 2 |
| 150 | Medical Unit SAC | 2.0 Ton Window A.C. | Carrier | 2 |
| 151 | Medical Unit SAC | 2.0 Ton Window A.C. | Carrier | 2 |
| 152 | GYM HALL | 1.5 Ton Split AC. | Carrier | 1.5 |
| 153 | GYM HALL | 1.5 Ton Split AC. | Carrier | 1.5 |
| 154 | GYM HALL | 1.5 Ton Split AC. | Carrier | 1.5 |
| 155 | DANCE ROOM | 1.5 Ton Split AC. | Carrier | 1.5 |
| 156 | DANCE ROOM | 1.5 Ton Split AC. | Carrier | 1.5 |
| 157 | DANCE ROOM | 1.5 Ton Split AC. | Carrier | 1.5 |
| 158 | Badminton Court | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 159 | Badminton Court | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 160 | GIRL HOSTEL (OFFICE) | 1.0 Ton Split A.C | Voltas | 1 |
| 161 | MESS A | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 162 | MESS A | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 163 | MESS B | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 164 | MESS B | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 165 | G.H. ROOM N.001 | 2.0 Ton Window A.C. | Carrier | 2 |
| 166 | G.H. ROOM N.002 | 2.0 Ton Window A.C. | Carrier | 2 |
| 167 | G.H. ROOM N.003 | 2.0 Ton Window A.C. | Carrier | 2 |
| 168 | G.H. ROOM N.004 | 2.0 Ton Window A.C. | Carrier | 2 |
| 169 | G.H. ROOM N.005 | 2.0 Ton Window A.C. | Carrier | 2 |
| 170 | G.H. ROOM N.006 | 2.0 Ton Window A.C. | Carrier | 2 |
| 171 | G.H. ROOM N.007 | 2.0 Ton Window A.C. | Carrier | 2 |
| 172 | G.H. ROOM N.008 | 2.0 Ton Window A.C. | Carrier | 2 |
| 173 | SUIT ROOM 101 | 2.0 Ton Split A.C. | Toshiba | 2 |
| 174 | SUIT ROOM 101 | 1.5 Ton Split AC. | Voltas | 1.5 |
| 175 | SUIT ROOM 102 | 2.0 Ton Split A.C. | Toshiba | 2 |
| 176 | SUIT ROOM 102 | 2.0 Ton Split A.C. | Toshiba | 2 |
| 177 | G.H. ROOM N.103 | 2.0 Ton Window A.C. | Carrier | 2 |
| 178 | G.H. ROOM N.104 | 2.0 Ton Window A.C. | Carrier | 2 |
| 179 | G.H. ROOM N.105 | 2.0 Ton Window A.C. | Carrier | 2 |
| 180 | G.H. ROOM N.106 | 2.0 Ton Window A.C. | Carrier | 2 |
| 181 | G.H. PLACEMENT OFFICES | 1.5 Ton Logicool Split AC | Hitachi | 1.5 |
| 182 | G.H. PLACEMENT OFFICES | 1.0 Ton Logicool Split AC | Hitachi | 1 |
| 183 | G.H. PLACEMENT OFFICES | 1.0 Ton Logicool Split AC | Hitachi | 1 |
| 184 | G.H. PLACEMENT OFFICES | 1.0 Ton Logicool Split AC | Hitachi | 1 |
| 185 | Guest House- Placement office | 2.0 Ton Split A.C. | Hitachi | 2 |
| 186 | Guest House- Placement office | 2.0 Ton Split A.C. | Hitachi | 2 |
| 187 | Guest House- Dining Hall | 2.0 Ton Split A.C. | Voltas | 2 |
| 188 | Guest House- Dining Hall | 2.0 Ton Split A.C. | Voltas | 2 |
| 189 | Driver AC | 2.0 Ton Window A.C. | Carrier | 2 |
| 190 | D5 quarter | 1.5 Ton Split AC. | Hitachi | 1.5 |
| 191 | DIRECTOR HOUSE | 2.0 Ton Split A.C. | Daikin | 2 |
| 192 | DIRECTOR HOUSE | 2.0 Ton Split A.C. | Daikin | 2 |
| 193 | DIRECTOR HOUSE | 1.0 Ton Split A.C. | Hitachi | 1 |
| 194 | DIRECTOR HOUSE | 1.5 Ton Split AC. | Daikin | 1.5 |
| 195 | DIRECTOR HOUSE | 2.0 Ton Split A.C. | Daikin | 2 |
| 196 | DIRECTOR HOUSE | 1.5 Ton Split AC. | "O" General | 1.5 |
| 197 | ROOM No.2013 | 1.5 Ton Split AC. | samsung | 1.5 |
| 198 | G.H. PLACEMENT OFFICES | 1.5 Ton Split AC. (Hitachi 1.5Tr Merai 3100X Inv. R410A RSD318HBEA (3*) | Hitachi | 1.5 |
| 199 | G.H. PLACEMENT OFFICES | 1.5 Ton Split AC. (Hitachi 1.5Tr Merai 3100X Inv. R410A RSD318HBEA (3*) | Hitachi | 1.5 |
| 200 | G.H. PLACEMENT OFFICES | 1.0 Ton Split A.C. | Hitachi | 1 |
| 201 | G.H. PLACEMENT OFFICES | 1.0 Ton Split A.C. | Hitachi | 1 |
| 202 | G.H. PLACEMENT OFFICES | 1.0 Ton Split A.C. | Hitachi | 1 |
| 203 | G.H. PLACEMENT OFFICES | 1.0 Ton Split A.C. | Hitachi | 1 |
| 204 | G.H. PLACEMENT OFFICES | 1.0 Ton Split A.C. | Hitachi | 1 |
| 205 | G.H. PLACEMENT OFFICES | 1.0 Ton Split A.C. | Hitachi | 1 |
| 206 | UG Physics Lab 2051 | 2.0 Ton Split AC (Hitachi 2.0tr Meral Inv. SACR410A RMC324HBEA) | Hitachi | 1 |
| 207 | UG Physics Lab 2051 | 2.0 Ton Split AC (Hitachi 2.0tr Meral Inv. SACR410A RMC324HBEA) | Hitachi | 1 |
| 208 | UG Physics Lab 2051 | 2.0 Ton Split AC (Hitachi 2.0tr Meral Inv. SACR410A RMC324HBEA) | Hitachi | 1 |
| 209 | UG Physics Lab 2051 | 2.0 Ton Split AC (Hitachi 2.0tr Meral Inv. SACR410A RMC324HBEA) | Hitachi | 1 |
| 210 | Lecture Hall-1 | 20.0 Ton Spilt AC 4 No. 5 TR | Hitachi | 20 |
| 211 | Lecture Hall-2 | 20.0 Ton Spilt AC 4 No. 5 TR | Hitachi | 20 |
| 212 | Boys Hostel - 4 | 1.5 Ton 136 No. | Voltas | 204 |
| 213 | UPS Room Ist Floor | 1.5 Ton 1 Nos. | Voltas | 1.5 |
| 217 | LIBRARY (OFFICE) | 1.5 Ton Window A.C. | Voltas | 1.5 |
| 228 | UPS Room Ist Floor | 1.5 Ton 1 Nos. | Voltas | 1.5 |
| 229 | MINI BATTARY ROOM Lecture Hall | 1.5 Ton Split A.C. | Voltas | 1.5 |

Rate contract for only the inverter Models AC Motors and PCB as follows:

| S.No. | Model | Type of Product | Qty. | UOM |
| --- | --- | --- | --- | --- |
| 1 | Daikin FTXS50FVMA | 1.5 Ton Inverter Heat & Cooled Split AC |  |  |
| a | Indoor Unit Motor | DC Motor | 1 | Nos. |
| b | Outdoor Unit Motor | DC Motor | 1 | Nos. |
| c | Indoor PCB |  | 1 | Nos. |
| d | Outdoor PCB |  | 1 | Nos. |
| 2 | Hitachi RMC32HBEA | 1.5 Ton Inverter Heat & Cooled Split AC |  |  |
| a | Indoor Unit Motor | DC Motor | 1 | Nos. |
| b | Outdoor Unit Motor | DC Motor | 1 | Nos. |
| c | Indoor PCB |  | 1 | Nos. |
| d | Outdoor PCB |  | 1 | Nos. |
| 3. | Paint Work By Spray Machine |  |  |  |
| A | Outdoor unit Stand | Stand Size: 2 x 2 ft, 3 x 3 ft | 1 | Nos. |
| B | Outdoor unit | 1.5,2,5,7.5 and 11 Ton Units | 1 | Nos. |

Excluding the inverter model AC motor and PCB, you can be ready to take every part in AMC as like other Non-Inverter AC models include.

Commercial Bid: (in separate sealed envelope as per the specification mentioned in the next page)

Financial Bid

(AMC AC System from 01.07.2023 to 30.06.2024)

## Name of Work: - Bid for Annual Maintenance Contract for Air-Conditioning Machines

| S.No. | Particulars | Qty | Total TR | Rate Per TR | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | 1 TR Spilt AC | 28 | 28 |  |  |
| 2 | 1.2 TR Spilt AC | 10 |  |  |  |
| 3 | 1.5 TR Spilt AC | 79 |  |  |  |
| 4 | 2 TR Spilt AC | 48 |  |  |  |
| 5 | 5 TR Spilt AC | 11 |  |  |  |
| 6 | 1.5 TR Window AC | 140 |  |  |  |
| 7 | 2 TR Window AC | 18 |  |  |  |
| 8 | 7.5 TR Duct able AC | 10 |  |  |  |
| 9 | 11TR Duct able (5.5 +5.5 *13 nos.) | 13 |  |  |  |
|  | Total | 357 |  |  |  |
|  |  |  |  | Total |  |
|  |  |  |  | GST |  |
|  |  |  |  | Total Including GST |  |

Rate contract for only the inverter Models AC Motors and PCB as follows:

| S.No. | Model | Type of Product | Qty. | UOM | Rate |
| --- | --- | --- | --- | --- | --- |
| 1 | Daikin FTXS50FVMA | 1.5 Ton Inverter Heat & Cooled Split AC |  |  |  |
| a | Indoor Unit Motor | DC Motor | 1 | Nos. |  |
| b | Outdoor Unit Motor | DC Motor | 1 | Nos. |  |
| c | Indoor PCB |  | 1 | Nos. |  |
| d | Outdoor PCB |  | 1 | Nos. |  |
| 2 | Hitachi RMC32HBEA | 1.5 Ton Inverter Heat & Cooled Split AC |  |  |  |
| a | Indoor Unit Motor | DC Motor | 1 | Nos. |  |
| b | Outdoor Unit Motor | DC Motor | 1 | Nos. |  |
| c | Indoor PCB |  | 1 | Nos. |  |
| d | Outdoor PCB |  | 1 | Nos. |  |
| 3. | Paint Work By Spray Machine |  |  |  |  |
| A | Outdoor unit Stand | Stand Size: 2 x 2 ft, 3 x 3 ft | 1 | Nos. |  |
| B | Outdoor unit | 1.5,2,5,7.5 and 11 Ton Units | 1 | Nos. |  |
| GST 18% extra |  |  |  |  |  |

Excluding the inverter model AC motor and PCB, you can be ready to take every part in AMC as like other Non-Inverter AC models include.

*Price including cost of material, manpower, taxes, statutory obligations, other chargeable.

- Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- If the supplier does not have a particular item offered in the tender or a different make is being proposed by him, the same should be highlighted/mentioned, especially by him.

- The prices should be including all (Packing, forwarding, Transit Insurance, Transportation Loading/unloading, Installation etc.). Loading/unloading up to 50 Mtr. shall be done by the supplier.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- Bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- Bid should be on the company’s letterhead and should submit their bid in the LNMIIT format only

- Item/Service not supplied by the supplier/service provider should be mentioned separately.

- Vendor should provide a photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

- Pre-bid meetings and pre-bid site visit can be done before quoting the rate in the tender to clear up any confusion regarding project details, the scope of work, and the solicitation of documents.

All charges applicable shall be clearly mentioned with the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final, and nothing extra shall be paid extra.

We have read and agree to

1. Terms and conditions of Annual Maintenance Contract

2. Rules pertaining to Job specification.

Signature of the Proprietor/Partner/Director or Authorized Representative etc. with seal

Name of the Signatory: _____________________________