TENDER DOCUMENT

for

Supply of Hostel Furniture

From

The LNM institute of Information Technology

Rupa Ki Nangal, Post -  Sumel, Via – Jamdoli,

Jaipur – 302 031 (Raj.) INDIA

Tender Document

Sealed tenders are invited for the Supply of Hostel Furniture at Faculty Office cum Hostel Building (PEB Building) (Area - 130 sqft. (approx.) Per office) Conference Hall of 800 sqft. (approx.) with all accessories, as per the specifications and the details provided. Sealed offer can be sent to the following address by Speed-post/Registered Post/By-hand (but not by Courier).

Finance Officer

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

www.lnmiit.ac.in

Bidders can also submit their offer/s via email with password protected document/file at the below mentioned email IDs before 05:00 PM on 28/6/2023.

The Password protected document/file along with password to be sent at the email id: Chairman-PCC subcommittee chairman.pcc.projects@lnmiit.ac.in

Bid Process:

Technical & commercial details of the offer shall be enclosed in two separate envelopes, duly marked as “Technical bid for Supply hostel furniture and “Commercial Bid for Supply of hostel furniture. Both Envelopes shall be enclosed in a single envelope bearing the heading “Bid for Supply of hostel furniture.

Bids are liable to be rejected if any or both technical or commercial offers are found in open condition or required information is not found with the offer.

Technical Bid: (in separate sealed envelope)

Technical Bid

The job of supply of furniture, complete with all accessories and fittings for office cum hostel building area of 130 sqft. (approx.) per office /hostel room and total rooms is 150 numbers with 2 Conferences Hall of 800 sqft. (approx.).

While submitting quotations, the following documents may kindly be attached (separate sheet, if required).

- Name & address of the firm

Telephone No.

Email ID

- Type of firm:(Sole Proprietorship/Partnership/Ltd. Co/Others)

- PAN No.(attach copy)

- GST No. (attach copy)

- Details of similar works carried out during FY 2020-21, 2021-22, 2022-23. (attach copies)

| Year | Name of the Organization | Work order ref. and Date |
| --- | --- | --- |

Name and signature of Vendor

Seal

Date:

Place:

Technical Specifications

BILL OF QUANTITY FOR SUPPLY OF FURNITURE

| S. No. | Item Name | Specification | Qty |
| --- | --- | --- | --- |
| 1 | Bed | Steel bed of ply size 6*3 duly powder coated. | 100 |
|  |  | ➔ Frame section 32mm*32mm on head |  |
|  |  | board and leg board |  |
|  |  | ➔ Frame section 100mm*25mm on ply frame |  |
|  |  | ➔ 12mm ply |  |
| 2 | Table | Steel table of size 41’’*24’’*30’’ having wooden | 100 |
|  |  | top and a drawer for storage purpose. |  |
|  |  | ➔Frame section – 25*25mm pipe duly powder coated |  |
|  |  | ➔ 18mm ply with mica duly edgebanded with teakwood bidding |  |
| 3 | Chair | Frame section: 25mm round pipe duly | 100 |
|  |  | powder-coated |  |
|  |  | ➔20 gauge shutter, 20 gauge shelf, 22 gauge back and sides duly painted. |  |
|  |  | ➔Provision of locker, and a hanger rod .with two |  |
|  |  | shutters having provision of lock |  |
| 4 | Freight, Loading and Unloading charges |  | 1 |

Commercial/Financial Bid: (in separate sealed envelope)

Financial Bid

BILL OF QUANTITY FOR SUPPLY OF FURNITURE

| S. No. | Item Name | Specification | Qty | Unit Cost | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Bed | Steel bed of ply size 6*3 duly powder coated. | 100 |  |  |
|  |  | ➔ Frame section 32mm*32mm on head |  |  |  |
|  |  | board and leg board |  |  |  |
|  |  | ➔ Frame section 100mm*25mm on ply frame |  |  |  |
|  |  | ➔ 12mm ply |  |  |  |
| 2 | Table | Steel table of size 41’’*24’’*30’’ having wooden | 100 |  |  |
|  |  | top and a drawer for storage purpose. |  |  |  |
|  |  | ➔Frame section – 25*25mm pipe duly powder coated |  |  |  |
|  |  | ➔ 18mm ply with mica duly edgebanded with teakwood bidding |  |  |  |
| 3 | Chair | Frame section: 25mm round pipe duly | 100 |  |  |
|  |  | powder-coated |  |  |  |
|  |  | ➔20-gauge shutter, 20-gauge shelf, 22 gauge back and sides duly painted. |  |  |  |
|  |  | ➔Provision of locker, and a hanger rod. with two |  |  |  |
|  |  | shutters having provision of lock |  |  |  |
| 4 | Freight, Loading and Unloading charges |  | 1 |  |  |

Total INR:

BILL OF QUANTITY FOR SUPPLY AND  INSTALLATION OF VRV SYSTEM

- Taxes shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included in the prices offered.

- Any packing, forwarding and transit insurance charges are to be clearly specified. If nothing is mentioned, these charges shall be deemed included in the prices offered.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- The terms and conditions for the supply, delivery, installation and commissioning should be very clearly indicated in the bid documents.

- Bid should be valid for a minimum period of 30 days.

- Please indicate the execution period.

- The LNMIIT reserves the right to reject any quotation(s) in full or part, without assigning any reasons.

- Payment terms shall be clearly specified with the bid document. However, the same may be further negotiated.

- Payment will be made as per the actual quantity supplied and verified by our project team.

- In case of any query, please contact.

1.Mr. Ashok Salecha, Finance Officer finanace@lnmiit.ac.in,

mobile number-9413341246

2. Mr. Devendra Chaudhari, Estate Manager, estate.manager@lnmiit.ac.in

mobile number-8452092566

Request kindly attach your company Profile.

All charges applicable shall be clearly mentioned in the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final and nothing extra shall be paid extra.

Signature with seal