TENDER DOCUMENT

for

Supply and Installation of

VRV Airconditioner

From

The LNM institute of Information Technology

Rupa Ki Nangal, Post -  Sumel, Via – Jamdoli,

Jaipur – 302 031 (Raj.) INDIA

Tender Document

Sealed tenders are invited for the providing equipment’s for Supply and Installation of VRV Air-conditioning unit/s at Faculty Office cum Hostel Building (PEB Building) (Area - 130 sqft. (approx.) Per office) Conference Hall of 800 sqft. (approx.) with all accessories, as per the specifications and the details provided. Sealed offers can be sent to the following address by Speed-post/Registered Post/By-hand (but not by Courier).

Finance Officer

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

www.lnmiit.ac.in

Bidders can also submit their offer/s via email with password protected document/file at the below mentioned email IDs before 05:00 PM on 30/6/2023.

The Password protected document/file along with password to be sent at the email id: Chairman-PCC subcommittee chairman.pcc.projects@lnmiit.ac.in

Bid Process:

Technical & commercial details of the offer shall be enclosed in two separate envelopes, duly marked as “Technical bid for Supply and Installation of VRV AC” and “Commercial Bid for Supply and Installation of VRV AC”. Both Envelopes shall be enclosed in a single envelope bearing the heading “Bid for Supply and Installation of VRV AC”.

Bids are liable to be rejected if any or both of the technical or commercial offers are found in open condition or required information is not found with the offer.

Technical Bid: (in separate sealed envelope)

Technical Bid

The job of supply and installation of 1.5 TR VRV system complete with all accessories and fittings for proper air-conditioning of 130 sqft. (approx.) Cabin per office and Conference Hall of 800 sqft. (approx.)

While submitting quotations, the following documents may kindly be attached (separate sheet, if required).

- Name & address of the firm

Telephone No.

Email ID

- Type of firm:(Sole Proprietorship/Partnership/Ltd. Co/Pvt. Ltd./Others)

- PAN No.(attach copy)

- GST No. (attach copy)

- Details of similar works carried out during FY 2020-21, 2021-22, 2022-23. (attach copies)

| Year | Name of the Organization | Work order ref. and Date |
| --- | --- | --- |

Name and signature of Vendor

Seal

Date:

Place:

Technical Specifications

BILL OF QUANTITY FOR SUPPLY AND INSTALLATION OF AIR COOLED AC SYSTEM

| S.No. | PARTICULARS | UNIT | QTY. |
| --- | --- | --- | --- |
| A | SUPPLY OF VRV -'X' & 'S' SYSTEM , TOP & SIDE DISCHARGE AIR FLOW , FULLY INVERTER VRV AIR CONDITION SYSTEM COMPRISING OF MODULAR TYPE HIGH EFFICIENCY ALL INVERTER TECHNOLOGY BASED HERMETICALLY SEALED SCROLL COMPRESSOR , SUITABLE FOR R-410A REFRIGERENT , SUITABLE OPERATION ON 380-415V, 3 PHASE , 50Hz AC SUPPLY , WITH AIRCOOLED G TYPE CONDENSOR , PROTECTIVE WAFFLE FINS & REFRIGERANT COOLED MICROPROCESSOR CONTROL PANEL SUITABLE FOR AUTOMATIC OPERATION & VRT SMART CONTROL (VARIABLE REFRIGERENT TEMPERATURE ) SYSTEM , AUTO OPTIMIZATION REFRIGERANT CHARGING ETC. C.O.P. should not be less than 3.7 on 100% load. |  |  |
|  | VRV OUTDOOR UNITS |  |  |
| a | 48 HP VRV 'X' TOP DISCHARGE OUTDOOR UNIT HEATING & COOLING MODEL NAME --------------------------- (16 +16+16 ) | NOS | 4 |
| b | 12 HP VRV 'X' TOP DISCHARGE OUTDOOR UNIT HEATING & COOLING MODEL NAME ------------------------------------ | NOS | 2 |
| B | VRV INDOOR UNITS WITH WIRELESS REMOTE , CASSETTE PANEL & REFNET |  |  |
| I | SPLIT UNIT |  |  |
| a | SPLIT UNIT WALL MOUNTED MODEL NAME --------------------------------- (1.06TR.) | NOS | 146 |
| b | SPLIT UNIT WALL MOUNTED MODEL NAME ------------------------------------ (2.08TR.) | NOS | 10 |
| C | CENTRALIZED REMOTE &, WIRED & WIRLESS REMOTE |  |  |
|  | REIRI FLAG SHIP TOUCH | NOS | 0 |
|  | ADAPTOR | NOS | 0 |
| D | DGT JOINTS FOR VRV OUTDOOR UNITS |  |  |
| i | DGT JOINTS FOR VRV OUTDOOR UNITS 12HP TO 16HP | NOS | 14 |
| B | LOW SIDE WORK |  |  |
| 1 | INSTALLATION, TESTING AND COMMISSIONING OF OUTDOOR UNITS COMPLETE AS PER SPECIFICATIONS AND DRAWINGS |  |  |
| a | 48 HP VRV OUTDOOR UNIT | NOS | 4 |
| b | 50 HP VRV OUTDOOR UNIT | NOS | 0 |
| c | 12 HP VRV OUTDOOR UNIT | NOS | 2 |
| 2 | TOP UP OF REFRIGERANT GAS R410A AS PER SITE REQUIREMENTS OF VRV UNIT. | job | 1 |
| 3 | INSTALLATION,TESTING AND COMMISSIONING OF INDOOR UNITS, COMPLETE AS PER SPECIFICATIONS AND DRAWINGS. |  |  |
| i | SPLIT UNIT | NOS | 156 |
| 4 | REFRIGERANT PIPING |  |  |
|  | INTERCONNECTING REFRIGERANT PIPE WORK WITH (19MM/13MM THICK) CLOSED CELL ELASTOMERIC NITRILE RUBBER TUBULAR INSULATION BETWEEN EACH SET OF INDOOR AND OUTDOOR UNITS AS PER SPECIFICATIONS, ALL PIPING INSIDE THE ROOM SHALL BE PROPERLY SUPPORTED. |  |  |
| A | Liquid Line With 13 Mm Insulation | RFT | 4200 |
| B | Gas Line With 19 Mm Insulation | RFT | 4200 |
| 5 | REFRIGERANT JOINTS / HEADERS INSTALLATION WORK | NOS | 166.00 |
| 6 | DRAIN PIPING |  |  |
|  | PROVIDING AND FIXING RIGID PVC PIPING COMPLETE WITH FITTINGS, SUPPORTS AS PER SPECIFICATIONS AND DULY INSULATED WITH 6 MM THICK CLOSED CELL NITIRILE RUBBER INSULATIONS. |  |  |
| a | 25 MM DIA | RFT | 2000.00 |
|  | 32 mm dia | RFT | 2000 |
| 7 | ELECTRIC WIRE |  |  |
|  | PROVIDING OF CONTROL WIRING OF 2 CORE X 0.75/1.0 SQ. MM COPPER BETWEEN INDOOR UNIT TO OUTDOOR UNIT COMUNICATION CABLE & REMOTE WIRES [ELECTRIC WIRE] | RFT | 7000.00 |
| 9 | LABOUR WORK FOR LIFTING AND SHIFTING OF VRV OUTDOOR UNITS FROM GROUND FLOOR TO POSATIONING OF VRV UNITS | Per outdoo r unit | 14.00 |
| 10 | SUPPLY & FIXING MS FABRICATED FLOOR MOUNTED STAND FOR VRV ODU UNITS | kg | 1500 |

Commercial/Financial Bid: (in separate sealed envelope)

Financial Bid

BILL OF QUANTITY FOR SUPPLY AND INSTALLATION OF AIR COOLED AC SYSTEM

| S.No. | PARTICULARS | UNIT | QTY. | AMOUNT |
| --- | --- | --- | --- | --- |
| A | SUPPLY OF DIKIN MAKE VRV -'X' & 'S' SYSTEM , TOP & SIDE DISCHARGE AIR FLOW , FULLY INVERTER VRV AIR CONDITION SYSTEM COMPRISING OF MODULAR TYPE HIGH EFFICIENCY ALL INVERTER TECHNOLOGY BASED HERMETICALLY SEALED SCROLL COMPRESSOR , SUITABLE FOR R-410A REFRIGERENT , SUITABLE OPERATION ON 380-415V, 3 PHASE , 50Hz AC SUPPLY , WITH AIRCOOLED G TYPE CONDENSOR , PROTECTIVE WAFFLE FINS & REFRIGERANT COOLED MICROPROCESSOR CONTROL PANEL SUITABLE FOR AUTOMATIC OPERATION & VRT SMART CONTROL (VARIABLE REFRIGERENT TEMPERATURE ) SYSTEM , AUTO OPTIMIZATION REFRIGERANT CHARGING ETC. |  |  |  |
|  | VRV OUTDOOR UNITS |  |  |  |
| a | 48 HP VRV 'X' TOP DISCHARGE OUTDOOR UNIT HEATING & COOLING MODEL NAME -----------------------------------------(16 +16+16 ) | NOS | 4 |  |
| b | 12 HP VRV 'X' TOP DISCHARGE OUTDOOR UNIT HEATING & COOLING MODEL NAME ------------------------------------------- | NOS | 2 |  |
| B | VRV INDOOR UNITS WITH WIRELESS REMOTE , CASSETTE PANEL & REFNET |  |  |  |
| I | SPLIT UNIT |  |  |  |
| a | SPLIT UNIT WALL MOUNTED MODEL NAME FXAQ32 (1.06TR.) | NOS | 146 |  |
| b | SPLIT UNIT WALL MOUNTED MODEL NAME FXAQ63 (2.08TR.) | NOS | 10 |  |
| C | CENTRALIZED REMOTE &, WIRED & WIRLESS REMOTE |  |  |  |
|  | REIRI FLAG SHIP TOUCH | NOS | 0 |  |
|  | ADAPTOR | NOS | 0 |  |
| D | DGT JOINTS FOR VRV OUTDOOR UNITS |  |  |  |
| i | DGT JOINTS FOR VRV OUTDOOR UNITS 12HP TO 16HP | NOS | 14 |  |
| B | LOW SIDE WORK |  |  |  |
| 1 | INSTALLATION, TESTING AND COMMISSIONING OF OUTDOOR UNITS COMPLETE AS PER SPECIFICATIONS AND DRAWINGS |  |  |  |
| a | 48 HP VRV OUTDOOR UNIT | NOS | 4 |  |
| b | 50 HP VRV OUTDOOR UNIT | NOS | 0 |  |
| c | 12 HP VRV OUTDOOR UNIT | NOS | 2 |  |
| 2 | TOP UP OF REFRIGERANT GAS R410A AS PER SITE REQUIREMENTS OF VRV UNIT. | job | 1 |  |
| 3 | INSTALLATION, TESTING AND COMMISSIONING OF INDOOR UNITS, COMPLETE AS PER SPECIFICATIONS AND DRAWINGS. |  |  |  |
| i | SPLIT UNIT | NOS | 156 |  |
| 4 | REFRIGERANT PIPING |  |  |  |
|  | INTERCONNECTING REFRIGERANT PIPE WORK WITH (19MM/13MM THICK) CLOSED CELL ELASTOMERIC NITRILE RUBBER TUBULAR INSULATION BETWEEN EACH SET OF INDOOR AND OUTDOOR UNITS AS PER SPECIFICATIONS, ALL PIPING INSIDE THE ROOM SHALL BE PROPERLY SUPPORTED. |  |  |  |
| A | Liquid Line With 13 Mm Insulation | RFT | 4200 |  |
| B | Gas Line With 19 Mm Insulation | RFT | 4200 |  |
| 5 | REFRIGERANT JOINTS / HEADERS INSTALLATION WORK | NOS | 166.00 |  |
| 6 | DRAIN PIPING |  |  |  |
|  | PROVIDING AND FIXING RIGID PVC PIPING COMPLETE WITH FITTINGS, SUPPORTS AS PER SPECIFICATIONS AND DULY INSULATED WITH 6 MM THICK CLOSED CELL NITIRILE RUBBER INSULATIONS. |  |  |  |
| a | 25 MM DIA | RFT | 2000.00 |  |
|  | 32 mm dia | RFT | 2000 |  |
| 7 | ELECTRIC WIRE |  |  |  |
|  | PROVIDING OF CONTROL WIRING OF 2 CORE X 0.75/1.0 SQ. MM COPPER BETWEEN INDOOR UNIT TO OUTDOOR UNIT COMUNICATION CABLE & REMOTE WIRES [ELECTRIC WIRE] | RFT | 7000.00 |  |
| 9 | LABOUR WORK FOR LIFTING AND SHIFTING OF VRV OUTDOOR UNITS FROM GROUND FLOOR TO POSATIONING OF VRV UNITS | Per outdoor unit | 14.00 |  |
| 10 | SUPPLY & FIXING MS FABRICATED FLOOR MOUNTED STAND FOR VRV ODU UNITS | kg | 1500 |  |

BILL OF QUANTITY FOR SUPPLY AND  INSTALLATION OF VRV SYSTEM

- Taxes should be clearly mentioned. If nothing is mentioned, these charges shall be deemed included in the prices offered.

- Any packing, forwarding and transit insurance charges are to be clearly specified. If nothing is mentioned, these charges shall be deemed included in the prices offered.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- The terms and conditions for the supply, delivery, installation and commissioning should be very clearly indicated in the bid documents.

- Bid should be valid for a minimum period of 30 days.

- Please indicate the execution period.

- The LNMIIT reserves the right to reject any quotation(s) in full or part, without assigning any reasons.

- Payment terms shall be clearly specified with the bid document. However, the same may be further negotiated.

- Payment to be made for the final quantity executed on site and verified with our project team.

- In case of any query, please contact.

1.Mr. Ashok Salecha, Finance Officer finanace@lnmiit.ac.in,

mobile number-9413341246

2. Mr. Devendra Chaudhari, Estate Manager, estate.manager@lnmiit.ac.in

mobile number-8452092566

Request kindly attach your company profile.

All charges applicable shall be clearly mentioned in the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final and nothing extra shall be paid extra.

Signature with seal