TENDER DOCUMENT

Construction of                    Access Road for Faculty office cum Hostel Bldg(PEB 150)

From

The LNM institute of Information Technology

Rupa Ki Nangal, Post -  Sumel, Via – Jamdoli,

Jaipur – 302 031 (Raj.) INDIA

Tender Document

Sealed tenders are invited for the, Miscellaneous work for external Development of PEB 150 Faculty cum Hostel Building. as per the specifications and the details provided. Sealed offer can be send to the following address by Speed-post/Registered Post/By-hand (but not by Courier) .

Finance Officer

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

www.lnmiit.ac.in

Bidders can also submit their offer/s via email with password protected document/file at the below mentioned email IDs before 05:00 PM on 30/11/2023.

The Password protected document/file along with password to be sent at the email id: Chairman-PCC subcommittee chairman.pcc.projects@lnmiit.ac.in

Bid Process:

Technical & commercial details of the offer shall be enclosed in two separate envelopes, duly marked as “Technical bid for Supply hostel furniture and “Commercial Bid for Supply of hostel furniture. Both Envelopes shall be enclosed in a single envelope bearing the heading “Bid for Supply of hostel furniture.

Bids are liable to be rejected if any or both technical or commercial offers are found in open condition or required information is not found with the offer.

Technical Bid: (in separate sealed envelope)

Technical Bid

The job of Miscellaneous work for external Development of PEB 150 Faculty cum Hostel Building, the length  access road approximately  168 RMT and it consist preparation of sub base and base by covering colored interlocking paved block as per specification given below.

While submitting quotations, the following documents may kindly be attached (separate sheet, if required).

- Name & address of the firm

Telephone No.

Email ID

- Type of firm:(Sole Proprietorship/Partnership/Ltd. Co/Others)

- PAN No.(attach copy)

- GST No. (attach copy)

- Details of similar works carried out during FY 2020-21, 2021-22, 2022-23. (attach copies)

| Year | Name of the Organization | Work order ref. and Date |
| --- | --- | --- |

Name and signature of Vendor

Seal

Date:

Place:

Technical Specifications

BILL OF QUANTITY FOR

| Miscellaneous work for external Development of PEB 150 Faculty cum Hostel Building |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sr.No | Description | Qty | Unit | Rate | Total Cost |
| 1 | Providing and Laying IT Networking cable with necessary warning pad, from Incubation centre to PEB 150 Building Main Entrance, including wherever necessary channel preparation or hume pipe laying etc complete as directed | 300 | Rmt. |  |  |
| 2 | Providing and laying water supply pipe line of 3'' CPVC including necessary cutting of Concrete road and reconstruction of road ,includes necessary jointing and connection as directed by Project Manager from Existing MME dept back side to PEB 150 Toilet and Incubation Centre Inlet etc complete as directed | 200 | Rmt. |  |  |
| 3 | Providing and laying Sanitary pipe line of C.I / CPVC including necessary ,includes necessary jointing and connection as directed by Project Manager from PEB 150 Toilet to near by Incubation Centre outlet etc complete as directed | 170 | Rmt. |  |  |
| 4 | Providing and laying Water Harvesting unit with Hume pipe including necessary jointing and slope from PEB 150 Buidling to nearest Rain water Harvest inlet as directed by Project Manager etc. | 270 | Rmt. |  |  |

Commercial/Financial Bid: (in separate sealed envelope)

Financial Bid

BILL OF QUANTITY FOR

| Miscellaneous work for external Development of PEB 150 Faculty cum Hostel Building |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sr.No | Description | Qty | Unit | Rate | Total Cost |
| 1 | Providing and Laying IT Networking cable with necessary warning pad, from Incubation centre to PEB 150 Building Main Entrance, including wherever necessary channel preparation or hume pipe laying etc complete as directed | 300 | Rmt. |  |  |
| 2 | Providing and laying water supply pipe line of 3'' CPVC including necessary cutting of Concrete road and reconstruction of road ,includes necessary jointing and connection as directed by Project Manager from Existing MME dept back side to PEB 150 Toilet and Incubation Centre Inlet etc complete as directed | 200 | Rmt. |  |  |
| 3 | Providing and laying Sanitary pipe line of C.I / CPVC including necessary ,includes necessary jointing and connection as directed by Project Manager from PEB 150 Toilet to near by Incubation Centre outlet etc complete as directed | 170 | Rmt. |  |  |
| 4 | Providing and laying Water Harvesting unit with Hume pipe including necessary jointing and slope from PEB 150 Buidling to nearest Rain water Harvest inlet as directed by Project Manager etc. | 270 | Rmt. |  |  |

BILL OF QUANTITY FOR

Miscellaneous work for external Development of PEB 150 Faculty cum Hostel Building

- Taxes shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included in the prices offered.

- Any packing, forwarding and transit insurance charges are to be clearly specified. If nothing is mentioned, these charges shall be deemed included in the prices offered.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- The terms and conditions for the supply, delivery, installation and commissioning should be very clearly indicated in the bid documents.

- Bid should be valid for a minimum period of 30 days.

- Please indicate the execution period.

- The LNMIIT reserves the right to reject any quotation(s) in full or part, without assigning any reasons.

- Payment terms shall be clearly specified with the bid document. However, the same may be further negotiated.

- In case of any query, please contact.

1.Mr. Ashok Salecha, Finance Officer finanace@lnmiit.ac.in,

mobile number-9413341246

2. Mr. Devendra Chaudhari, Estate Manager, estate.manager@lnmiit.ac.in

mobile number-8452092566

Request kindly attach your company Profile

All charges applicable shall be clearly mentioned with the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final and nothing extra shall be paid extra.

Signature with seal