TENDER DOCUMENT

Construction of                    Access Road for Faculty office cum Hostel Bldg(PEB 150)

From

The LNM institute of Information Technology

Rupa Ki Nangal, Post -  Sumel, Via – Jamdoli,

Jaipur – 302 031 (Raj.) INDIA

Tender Document

Sealed tenders are invited for the Construction of Access Road for Faculty office cum Hostel Bldg(PEB 150), as per the specifications and the details provided. Sealed offer can be send to the following address by Speed-post/Registered Post/By-hand (but not by Courier) .

Finance Officer

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

www.lnmiit.ac.in

Bidders can also submit their offer/s via email with password protected document/file at the below mentioned email IDs before 05:00 PM on 30/11/2023.

The Password protected document/file along with password to be sent at the email id: Chairman-PCC subcommittee chairman.pcc.projects@lnmiit.ac.in

Bid Process:

Technical & commercial details of the offer shall be enclosed in two separate envelopes, duly marked as “Technical bid for Supply hostel furniture and “Commercial Bid for Supply of hostel furniture. Both Envelopes shall be enclosed in a single envelope bearing the heading “Bid for Supply of hostel furniture.

Bids are liable to be rejected if any or both technical or commercial offers are found in open condition or required information is not found with the offer.

Technical Bid: (in separate sealed envelope)

Technical Bid

The job of Construction of Access Road for Faculty office cum Hostel Bldg(PEB 150), the length  access road approximately  168 RMT and it consist preparation of sub base and base by covering colored interlocking paved block as per specification given below.

While submitting quotations, the following documents may kindly be attached (separate sheet, if required).

- Name & address of the firm

Telephone No.

Email ID

- Type of firm:(Sole Proprietorship/Partnership/Ltd. Co/Others)

- PAN No.(attach copy)

- GST No. (attach copy)

- Details of similar works carried out during FY 2020-21, 2021-22, 2022-23. (attach copies)

| Year | Name of the Organization | Work order ref. and Date |
| --- | --- | --- |

Name and signature of Vendor

Seal

Date:

Place:

Technical Specifications

BILL OF QUANTITY FOR ACCESS ROAD CONSTRUCTION

| Faculty office cum Hostel Internal Road |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sr.no | Description | Unit | L | B | D | Total Qty |
| 1 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead upto 50 m and lift upto 1.5 m. All kinds of soil | Sq.m | 178 | 7.5 |  | 1331 |
| 2 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including disposal of excavated earth upto 50 m and lift upto 1.5 m, disposed soil to be levelled and neatly dressed ,All kinds of soil | Cu.m | 178 | 5 | 0.3 | 266 |
| 3 | Providing and laying GSB in Single layers not exceeding 20cm. in depth breaking clods watering, rolling the layer with 1/2 tonne roller, or stone or steel rammers, and rolling single and top- most layer with power roller of 8-10 tonne capacity and dressing up in embankments for roads, and side banks etc. lead up to 50 Mtr. and lift up to 1.5 Mtr. All kinds of soils | Cu.m | 178 | 4.8 | 0.2 | 169 |
| 4 | Providing and laying WMM in Single layers not exceeding 20 cm. in depth breaking clods watering, rolling the layer with 1/2 tonne roller, or stone or steel rammers, and rolling single and top- most layer with power roller of 8-10 tonne capacity and dressing up in embankments for roads, and side banks etc. lead up to 50 Mtr. and lift up to 1.5 Mtr. All kinds of soils | Cu.m | 178 | 4.5 | 0.2 | 160 |
| 5 | Providing and laying in position cement concrete(RCC) of specified grade excluding the cost of centering and shuttering ‐ All work up to the plinth level : 1:4:8 (1 Cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size). Steel will be supplied by LNMIIT | Cu.m | 178 | 4.5 | 0.1 | 80 |
| 6 | Providing and laying of Sand as Zone-4 of min thk 50mm,base for Paver Block | Cu.m | 178 | 4.5 | 0.05 | 40 |
| 7 | Providing and laying factory made coloured chamfered edge Cement Concrete paver blocks of required strength, thickness & size/shape, made by table vibratory method using PU mould, laid in required colour & pattern over 100 mm thick compacted bed of fine sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand in footpath, parks, lawns, drive ways or light traffic parking etc. complete as per manufacturer’s specifications & direction of EngineerinCharge. 100mm thick C.C. paver block of M-30 grade with approved colour, design & pattern. | Sq.m | 178 | 4.5 |  | 799 |
| 8 | Providing and laying brick ( tapered ) lining alongwith Paved block on both side of Internal road/ Pathway, etc complete | Cu.m | 178 | 0.1 | 0.3 | 16 |

Commercial/Financial Bid: (in separate sealed envelope)

Financial Bid

BILL OF QUANTITY FOR ACCESS ROAD CONSTRUCTION

| Faculty office cum Hostel Internal Road |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sr.no | Desacription | Unit | Total Qty | Rate | Total Cost |
| 1 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead upto 50 m and lift upto 1.5 m. All kinds of soil | Sq.m | 1331 |  |  |
| 2 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including disposal of excavated earth upto 50 m and lift upto 1.5 m, disposed soil to be levelled and neatly dressed ,All kinds of soil | Cu.m | 266 |  |  |
| 3 | Providing and laying GSB in Single layers not exceeding 20cm. in depth breaking clods watering, rolling the layer with 1/2 tonne roller, or stone or steel rammers, and rolling single and top- most layer with power roller of 8-10 tonne capacity and dressing up in embankments for roads, and side banks etc. lead up to 50 Mtr. and lift up to 1.5 Mtr. All kinds of soils | Cu.m | 169 |  |  |
| 4 | Providing and laying WMM in Single layers not exceeding 20 cm. in depth breaking clods watering, rolling the layer with 1/2 tonne roller, or stone or steel rammers, and rolling single and top- most layer with power roller of 8-10 tonne capacity and dressing up in embankments for roads, and side banks etc. lead up to 50 Mtr. and lift up to 1.5 Mtr. All kinds of soils | Cu.m | 160 |  |  |
| 5 | Providing and laying in position cement concrete(RCC) of specified grade excluding the cost of centering and shuttering ‐ All work up to the plinth level : 1:4:8 (1 Cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size). Steel will be supplied by LNMIIT | Cu.m | 80 |  |  |
| 6 | Providing and laying of Sand as Zone-4 of min thk 50mm,base for Paver Block | Cu.m | 40 |  |  |
| 7 | Providing and laying factory made coloured chamfered edge Cement Concrete paver blocks of required strength, thickness & size/shape, made by table vibratory method using PU mould, laid in required colour & pattern over 100 mm thick compacted bed of fine sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand in footpath, parks, lawns, drive ways or light traffic parking etc. complete as per manufacturer’s specifications & direction of Engineer in Charge. 100mm thick C.C. paver block of M-30 grade with approved colour, design & pattern. | Sq.m | 799 |  |  |
| 8 | Providing and laying brick ( tapered ) lining alongwith Paved block on both side of Internal road/ Pathway, etc complete | Cu.m | 16 |  |  |

BILL OF QUANTITY FOR ACCESS ROAD CONSTRUCTION

- Taxes shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included in the prices offered.

- Any packing, forwarding and transit insurance charges are to be clearly specified. If nothing is mentioned, these charges shall be deemed included in the prices offered.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- The terms and conditions for the supply, delivery, installation and commissioning should be very clearly indicated in the bid documents.

- Bid should be valid for a minimum period of 30 days.

- Please indicate the execution period.

- The LNMIIT reserves the right to reject any quotation(s) in full or part, without assigning any reasons.

- Payment terms shall be clearly specified with the bid document. However, the same may be further negotiated.

- In case of any query, please contact.

1.Mr. Ashok Salecha, Finance Officer finanace@lnmiit.ac.in,

mobile number-9413341246

2. Mr. Devendra Chaudhari, Estate Manager, estate.manager@lnmiit.ac.in

mobile number-8452092566

Request kindly attach your company Profile

All charges applicable shall be clearly mentioned with the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final and nothing extra shall be paid extra.

Signature with seal