The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

“The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, setup as a Non Profit Making institute located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposal from competent vendors for “Supply of 200 Watt LED Flood Light”. Bidders can submit their sealed offer/s at the following address by Speed-Post/ Registered Post/ By-hand (but not by Courier) before 05:00 PM on 06.01.2024.
Bids shall be addressed to the undersigned and deposited in the tender box available at main gate of Institute after marking due entries.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Email: directoroffice@lnmiit.ac.in
Bidders can also submit their offer/s via Email with password protected document/file at the below mentioned email IDs (E-mail must sent on both mail ID) before 05:00 PM on 06.01.2024.
The Password protected document/file to be sent to purchase officer at the email id: purchase.officer@lnmiit.ac.in and password should be sent to Chairman-PCC at the email id: chairman.pcc@lnmiit.ac.in .  

purchase.officer@lnmiit.ac.in
chairman.pcc@lnmiit.ac.in
Bid Process:
Techno-commercial offer shall be enclosed in envelopes/ files, duly marked as “Techno-commercial Bid for supply of 200 watt LED Flood Light”. Bids are liable to be rejected if required information is not found with the offer.

Technical specification and Technical data Sheet
	S.No.
	Technical Parameters

	1
	Type of Light
	LED Flood Light

	2
	Product Code
	LFAP-200-C   (ALPHA 200 )/Philips/CG

	3
	Rated power (Watt )
	200  Watt

	4
	Rated  Voltage 
	240 Voltage

	5
	Power Factor
	More than 0.95

	6
	Rated frequency
	50Hz

	7
	Size (L x W x H )
	372 x 324 mm

	8
	Colour Temperature
	5700 K

	9
	CRI
	More than 70

	10
	Current 
	0.92 Ampere

	11
	Main Housing 
	Excellent thermally managed pressure die cast aluminum

	12
	Front Cover
	Clear Toughned Glass

	13
	LED
	LM80 certified high power LED

	14
	Lens
	Secondary Optics 60 Degree

	15
	Gear
	Integral, Electronic, constant current driver

	16
	Internal Wiring
	Industrial grade cooper wire

	17
	Hardware
	SS or Ms zinc plated & passivated

	18
	Ingress Protection
	IP66

	19
	Lumen Maintenance
	50000 Hrs @ L70

	20
	Operating Temperature
	0 Degree C to 50 Degree C

	21
	Mounting 
	Bracket provided for mounting

	22
	System Efficacy
	>100


Bid for the Supply of 200 watt LED Flood Light (for Volleyball, Tennis Court and Basketball Court)
	Sr. No.
	Particulars 
	Make/Model
	Qty. 
	UOM
	Rate
	Amount

	01
	200 watt LED Flood Light
	Orient _LFAP-200C/ Philips/CG
	15
	Nos.
	
	

	
	Warranty: 5  Years
	
	
	
	
	

	
	
	
	
	
	
	

	
	Total
	

	
	GST_______
	

	
	TOTAL (including taxes)
	


1. Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

2. If the supplier does not have a particular item offered in the tender or a different make is being proposed by him, the same should be highlighted / mentioned specially by him.

3. The prices should be including all (Packing, forwarding, Transit Insurance, Transportation Loading, unloading up to 50mtr., and Installation etc.). 

4. Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

5. Bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

6. The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

7. Payment terms shall be decided mutually.

8. There should not be any conflict of interest (Declaration to be submitted by the Vendor).

9. Bid should be on company’s letterhead and should submit their bid in the LNMIIT format only

10. Item/Service not supplying by the supplier/service provide should be mention separately.

11. Vendor should provide photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

All charges applicable shall be clearly mentioned with the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final and nothing extra shall be paid extra. 
Signature with seal
