The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, setup as a Non Profit Making institute engaged in imparting higher learning in Engineering, Technology and Science. We are located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposal from competent vendors for “Annual Service and Routine Maintenance Work of Feeder and Block Electrical LT Panel”. Bidders can submit their sealed offer/s at the following address by Email/Speed-Post/ Registered Post/ By-hand (but not by Courier)/ before 05:00 PM on 09.03.2024.

Bids shall be addressed to the undersigned and deposited in the tender box available at main gate of Institute after marking due entries.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Email: directoroffice@lnmiit.ac.in

Bidders can also submit their offer/s via Email with password protected document/file at the below mentioned email IDs (E-mail must sent on both mail ID) before 05:00 PM on 20.12.2021.

The Password protected document/file to be sent to purchase officer at the email id: purchase.officer@lnmiit.ac.in and password should be sent to Chairman-PCC at the email id: chairman.pcc@lnmiit.ac.in .

purchase.officer@lnmiit.ac.in

chairman.pcc@lnmiit.ac.in

Bid Process:

Technical & Commercial details on the company’s letterhead, duly signed and sealed by the authorized signatory are required to be submitted in two separate envelopes. Both envelopes should be duly marked as “Technical bid for Annual Service and Routine Maintenance Work of Feeder and Block Electrical LT Panel” and “Commercial Bid for Annual Service and Routine Maintenance Work of Feeder and Block Electrical LT Panel” respectively. Both Envelopes shall be enclosed in a single envelope bearing the heading “Bid for Annual Service and Routine Maintenance Work of Feeder and Block Electrical LT Panel”. Bids are liable to be rejected if any or both of the technical or commercial offers are found in open condition or required information is not found with the offer.

Technical Bid: (in separate sealed envelope)

While submitting quotations, the following procedure/ formalities and conditions may kindly be adhered.

- Company profile or brief-note about the bidder's company, PAN number, and GST number should be submitted by the Vendor.

- List of Directors/Partners/Proprietor/Members of the Firm to be attached.

- Detail of other associated/sister concerns (if any) of Directors/Partners/ Proprietor/ Members to be provided.

- Turn over for last three years to be mention. (Copy to be enclosed)

- List of client to whom the vendor has delivered the goods or provided the services in past.

- Specification as mentioned below shall be provided as per the details given below:

Scope of work & Technical data sheet

Description of Work:

- Cleaning of breaker with CRC-226

- Removal of old Grease and re-greasing the same with recommended grease

- Check condition of arcing contact and gap between fixed and moving arcing contracts shall be checked.

- Check condition of arcing contact and gap between fixed and moving arcing contracts shall be checked.

- Checking the reset mechanism, tripping of breaker through push button.

- Checking presence and proper tightening of hardware.

- Checking condition and alignment of jaw contract with cradle terminals

- Checking and adjusting gap between hylam sheet and side plate.

- Checking proper closing of all poles together.

- Checking scrapping earth alignment.

- Checking continuity and proper changeover of aux contract block.

- Setting of release as per the load.

- Any faculty spare replace by new one, which will be charged extra.

- Check condition of Bus bars

- Checking of ad on block NO NC Point

- Checking of Thimble Tightness

- Checking of MCCB, MCB or other equipments and meters

Meter & Panel Control Wiring:

- Checking of All Control Wiring

- Checking of Contactor in NO/NC Point

- Checking of Glass Relay in NO/NC Point

- Checking of MCCB, MCB or other equipment’s and meter terminals

- Checking of Contactor Coil Resistance

- Checking of auxiliary Contact

- Checking of indicator of Panel

- Checking selectors switch in NO/NC Point

- Checking of TNC Switch in NO/NC Point

| S.No. | Description of Work | Make | Qty. |
| --- | --- | --- | --- |
| 1 | KWH Meter With Builtin Selector Switch | Conzerv/L&T | 15 |
| 2 | Indicating Lights ( Red- 1 - Yellow -1) | Schneider/L&t | 704 |
| 3 | Indicating Lights ( Blue - 1) | Schneider/L&t | 352 |
| 4 | C. T. 125,250,/5A CL 1.0 15VA | Alfa/Matrix/ese | 20 |
| 5 | C. T.,400/5A CL 1.0 15VA | Alfa/Matrix/ese | 20 |
| 6 | N Co lock with road | Schneider/L&t /NCO | 20 |
| 7 | Panel Lock | Schneider/L&t | 300 |
| 7 | Electrical Feeder Panel Spray Paint With Labour charge (237 Sq Ft) |  | 44 |
| 8 | Danger Warning Electrical Panel Waterproof Sticker ( Size : 300 x 150 mm, Colour : Red & White , Shape : Rectangle) |  | 30 |
| 9 | 63 AMP 4 POLE MCB Curve C | Legrand/L&T | 5 |
| 10 | 32 AMP 4 POLE MCB Curve C | Legrand/L&T | 8 |
| 11 | 25 AMP 4 POLE MCB Curve C | Legrand/L&T | 8 |
| 12 | 16 AMP Single POLE MCB Curve C | Legrand/L&T | 6 |
| 13 | 10 AMP Single POLE MCB Curve C | Legrand/L&T | 10 |
| 14 | 6 AMP Single POLE MCB Curve C | Legrand/L&T | 12 |
| 15 | Cable connector /Terminal Block ( Cable & wire Size : 2.5 Sqmm to 16 Sqmm ) |  | 50 |
| 16 | Burn and defective cable re-termination of XLPE cable including the cost of crimping heavy duty aluminum lugs double compression chrome plated brass glands insulated tape and all requipte material for completion of termination complete as required. |  |  |
| a. | 4 core x 10 Sqmm cable |  | 10 |
| b. | 4 core x 16 Sqmm cable |  | 5 |
| c. | 3.5 core x 25 Sqmm cable |  | 2 |
| d. | 3.5 core x 35 Sqmm cable |  | 4 |
| e. | 3.5 core x 50 Sqmm cable |  | 5 |
| f. | 3.5 core x 70 Sqmm cable |  | 2 |
| 17 | Busbar Panel Box Spray Paint With Labour charge ( Size : 900 x 600 ) |  | 2 |
| 18 | Panel Service & Cleaning Charges (Ampere & Volt meter calibration and defective meter replaced, cable connection tiyting, Door repairing work, Phase indicating LED defective lights replaced, defective cable connector replaced and repair. |  | 44 |
| 19 | Missll.( Insulators, Acrylic Sheet ,Backlight Sheet, Hardware, Wire, Name Plates, Lugs, Pvc Channel , Mcb Chanel, Lock, Hing , Bidding , Connectors,Netural Links , Sprial , Saddle & Packing Material ) |  | 44 |

Pre-bid site visit is mandatory before quoting the rate in the tender to clear up any confusion regarding project details, scope of work, and solicitation of documents.

Commercial Bid: (in separate sealed envelope)

Bid for Annual Service and Paint with Routine Maintenance Work of Feeder and Block Electrical LT Panel

| S.No. | Description | Make | Qty. | UOM | Rate | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Meter A,V, F With Builtin Selector Switch | Conzerv/L&T | 15 | Nos. |  |  |
| 2 | Indicating Lights ( Red- 1 - Yellow -1) | Schneider/L&t | 704 | Nos. |  |  |
| 3 | Indicating Lights ( Blue - 1) | Schneider/L&t | 352 | Nos. |  |  |
| 4 | C. T. 125,250,/5A CL 1.0 15VA | Alfa/Matrix/ese | 20 | Nos. |  |  |
| 5 | C. T.,400/5A CL 1.0 15VA | Alfa/Matrix/ese | 20 | Nos. |  |  |
| 6 | N Co lock with road | Schneider/L&t /NCO | 20 | Nos. |  |  |
| 7 | Panel Lock | Schneider/L&t | 300 | Nos. |  |  |
| 7 | Electrical Feeder Panel Spray Paint With Labour charge (237 Sq Ft) |  | 44 | Nos. |  |  |
| 8 | Danger Warning Electrical Panel Waterproof Sticker ( Size : 250 x 125 mm, Colour : Red & White , Shape : Rectangle) |  | 30 | Nos. |  |  |
| 9 | 63 AMP 4 POLE MCB Curve C | Legrand/L&T | 5 | Nos. |  |  |
| 10 | 32 AMP 4 POLE MCB Curve C | Legrand/L&T | 8 | Nos. |  |  |
| 11 | 25 AMP 4 POLE MCB Curve C | Legrand/L&T | 8 | Nos. |  |  |
| 12 | 16 AMP Single POLE MCB Curve C | Legrand/L&T | 6 | Nos. |  |  |
| 13 | 10 AMP Single POLE MCB Curve C | Legrand/L&T | 10 | Nos. |  |  |
| 14 | 6 AMP Single POLE MCB Curve C | Legrand/L&T | 12 | Nos. |  |  |
| 15 | Cable connector /Terminal Block ( Cable & wire Size : 2.5 Sqmm to 16 Sqmm ) |  | 50 | Nos. |  |  |
| 16 | Burn and defective cable re-termination of XLPE cable including the cost of crimping heavy duty aluminum lugs double compression chrome plated brass glands insulated tape and all requite material for completion of termination complete as required. |  |  |  |  |  |
| a. | 4 core x 10 Sqmm cable |  | 10 | Nos. |  |  |
| b. | 4 core x 16 Sqmm cable |  | 5 | Nos. |  |  |
| c. | 3.5 core x 25 Sqmm cable |  | 2 | Nos. |  |  |
| d. | 3.5 core x 35 Sqmm cable |  | 4 | Nos. |  |  |
| e. | 3.5 core x 50 Sqmm cable |  | 5 | Nos. |  |  |
| f. | 3.5 core x 70 Sqmm cable |  | 2 | Nos. |  |  |
| 17 | Busbar Panel Box Spray Paint With Labour charge ( Size : 900 x 600 ) |  | 2 | Nos. |  |  |
| 18 | Panel Service & Cleaning Charges (Ampere & Volt meter calibration and defective meter replaced, cable connection tiyting, Door repairing work, Phase indicating LED defective lights replaced, defective cable connector replaced and repair. |  | 44 | Nos. |  |  |
| 19 | Missll.( Insulators, Acrylic Sheet ,Backlight Sheet, Hardware, Wire, Lugs, Pvc Channel , Mcb Chanel, Lock, Hing , Bidding , Connectors,Netural Links , Sprial , Saddle & Packing Material ) |  | 44 | Nos. |  |  |

- Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- If the supplier does not have a particular item offered in the tender or a different make is being proposed by him, the same should be highlighted / mentioned specially by him.

- The prices should be including all (Packing, forwarding, Transit Insurance, Transportation Loading/unloading, and Installation etc.). Loading/unloading upto 50 Mtr. shall be done by the supplier.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- Bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms: 95% payment after completion of the work and 5% retention for one year.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- Bid should be on company’s letterhead and should submit their bid in the LNMIIT format only

- Item/Service not supplying by the supplier/service provide should be mention separately.

- Vendor should provide photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

- Pre-bid meeting and pre-bid site visit is mandatory before quoting the rate in the tender to clear up any confusion regarding project details, scope of work, and solicitation of documents.

All charges applicable shall be clearly mentioned with the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final and nothing extra shall be paid extra.

Signature with seal