The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

“The LNM Institute of Information Technology, Jaipur is a Deemed-to-be-University, setup as a Non-Profit Making institute located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposals from competent vendors for “Supply of 50 watt LED Flood Light, 24 Watt Recess Mounting Panel LED Light, 45 watt Pole Mounting Round LED Light (Make Orient/Philips/CG)”. Bidders can submit their sealed offer/s at the following address by Speed-Post/ Registered Post/ By-hand (but not by Courier) before 05:00 PM on 09.03.2024.
Bids shall be addressed to the undersigned and deposited in the tender box available at the main gate of Institute after marking due entries.

Director

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

Email: directoroffice@lnmiit.ac.in
Bidders can also submit their offer/s via Email with password protected document/file at the below mentioned email IDs (E-mail must sent on both mail ID) before 05:00 PM on 09.03.2024.
The Password protected document/file to be sent to purchase officer at the email id: purchase.officer@lnmiit.ac.in and password should be sent to Chairman-PCC at the email id: chairman.pcc@lnmiit.ac.in .  

purchase.officer@lnmiit.ac.in
chairman.pcc@lnmiit.ac.in
Bid Process:
Techno-commercial offer shall be enclosed in envelopes/ files, duly marked as “Techno-commercial Bid for Supply of 50 watt LED Flood Light, 24 Watt Recess Mounting Panel LED Light, 45 watt Pole Mounting Round LED Light (Make Orient/Philips/CG)”. Bids are liable to be rejected if required information is not found with the offer.
	S No.
	Parameters
	Desired Specifications 

	A
	45 Watt LED Pole Mounting Round Light
	 

	1
	The makers name or brand name must be specified clearly
	Make : Orient/Philips/CG

	2
	The relevant literature, pamphlets pertaining to the product should be sent alongwith the tenders / quotations.
	Technical Data Sheet 

	3
	Warranty 
	2 years

	 
	Technical Specifications

	B
	45 Watt Pole Mounting Round LED Light

	1
	Type
	Pole Mounting Round LED Light

	2
	Front Cover
	Polycarbonate

	3
	Color Temperature
	5700 K

	4
	Operating Temperature
	0 C to 50 C

	5
	Rated power (Watt )
	45 Watt

	6
	Rated  Voltage 
	240 Voltage

	7
	Power Factor
	More than 0.95

	8
	Rated frequency
	50Hz

	9
	Size 
	O : 400 mm Dia & H : 263mm

	10
	CRI
	More than 70

	11
	Current 
	0.21Amper

	12
	Main Housing 
	Pressure Die cast aluminum

	13
	LED
	LM80 certified LED

	14
	Gear
	Integral, Electronic, constant current driver

	15
	Internal Wiring
	Industrial grade cooper wire

	16
	Hardware
	SS or Ms zinc plated & passivated

	17
	Ingress Protection
	IP65

	18
	Lumen Maintenance
	50000 Hrs @ L70

	19
	Operating Temperature
	0 Degree C to 50 Degree C

	20
	Mounting 
	Pole Mounted with max pole OD 78 mm

	21
	System Efficacy
	>80


Commercial Bid: (in separate sealed envelope)

Bid for “Supply of 50 watt LED Flood Light, 24 Watt Recess Mounting Panel LED Light, 45 watt Pole Mounting Round LED Light (Make Orient/Philips/CG)”
	Sr. No.
	Particulars 
	Make
	Qty. 
	UOM
	Rate
	Amount

	1.
	50 watt LED Flood Light 


	Orient _LFAP-50-C/Philips/CG
(Warranty 5 years)
	10
	Nos.
	
	

	2.
	Recess Mounting 1 x 1 Panel 24-watt LED Lights
	Orient _LTRHD/ Philips/CG
(Warranty 2 years)
	30
	Nos.
	
	

	3.
	Pole Mounting Round 45 watt LED Lights
	Orient _LLPT-45-C/ Philips/ CG
(Warranty 2 years)
	5
	Nos.
	
	

	4.
	Transportation charges
	1
	Nos.
	
	

	
	Total
	

	
	GST_______
	

	
	TOTAL (including taxes)
	


1. Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

2. If the supplier does not have a particular item offered in the tender or a different make is being proposed by him, the same should be highlighted / mentioned specially by him.

3. The prices should include everything (Packing, forwarding, Transit Insurance, Transportation Loading, unloading up to 50mtr., and Installation etc.). 

4. Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

5. The bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

6. The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

7. Payment terms shall be decided mutually.

8. There should not be any conflict of interest (Declaration to be submitted by the Vendor).

9. The bid should be on the company’s letterhead and should submit their bid in the LNMIIT format only.
10. Item/Service not supplied by the supplier/service provider should be mentioned separately.

11. Vendor should provide photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

12. The vendor or supplier must do the Pre-bid meeting or Pre-visit to clear any confusion regarding the material specifications. Otherwise, the quotation will be rejected. 

All charges applicable shall be clearly mentioned in the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final and nothing extra shall be paid extra. 
Signature with seal
