TENDER DOCUMENT

Designing, Manufacturing / Procurement, Installation, Testing and Commissioning of Lift at BH4 T2 building

From

The LNM institute of Information Technology

Rupa Ki Nangal, Post - Sumel, Via – Jamdoli,

Jaipur – 302 031 (Raj.) INDIA

Tender Document

Sealed tenders are invited for the providing equipment’s for Designing, Manufacturing/Procurement, Installation, Testing and Commissioning of Lift          	at BH4 T2 building with all accessories, as per the specifications and the details provided. Sealed offer can be sent to the following address by Speed-post/Registered Post/By-hand (but not by Courier).

Finance Officer

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

www.lnmiit.ac.in

Bidders can also submit their offer/s via email with password protected document/file at the below mentioned email IDs before 05:00 PM on 18.03.2024.

The Password protected document/file along with password to be sent at the email id: Chairman-PCC subcommittee chairman.pcc-projects@lnmiit.ac.in

Bid Process:

Technical & commercial details of the offer shall be enclosed in two separate envelopes, duly marked as “Technical bid for Designing, Manufacturing/Procurement, Installation, Testing and Commissioning of Lift          at BH4 T2 building and “Commercial Bid for Designing, Manufacturing/Procurement, Installation, Testing and Commissioning of Lift          	at BH4 T2 building, Both Envelopes shall be enclosed in a single envelope bearing the heading “Bid for Designing, Manufacturing/Procurement, Installation, Testing and Commissioning of Lift        at BH4 T2 building

Bids are liable to be rejected if any or both technical or commercial offers are found in open condition or required information is not found with the offer.

NOTICE INVITING TENDER (NIT)

LNMIIT invites lump sum price tender as per schedule as under:

| Tendering Document No. | : | LNMIIT/Lift/TENDER NO -01 |
| --- | --- | --- |
| Name of the Work | : | Designing, Manufacturing / Procurement, Installation, Testing and Commissioning of Lift at BH4T2 building |
| Brief Scope of Work | : | Design, procure, Installation, Testing and Commissioning of Lift at BH4 T2 |
| Estimated Project Cost including O & M Cost | : | Best quoted |
| Period of Completion | : | 2 Months including raining season for Construction |
| Security Deposit | : | 5% |
| Non-refundable cost of Tender Document fee | : | Free |
| Document Download Start Date | : | 12.03.2024 |
| Bid Submission Start Date | : | 13.03.2024 |
| Bid Submission Closing Date | : | 19.03.2024; 17:00 Hrs. |
| Bid Opening Date* | : | 21.03.2024; 11:00 Hrs. |
| Date & Time of Opening of Financial Tender | : | Will be intimated later to successful Bidder |
| Validity of offer |  | 45 days from the date of Submission of price Bid |
| Pre-Tender Meeting & Venue |  | 21.03.2024; at 11:00 Hrs. At LNMIIT VC Room |

Technical Bid: (in separate sealed envelope)

Technical Bid

The job of Designing, Manufacturing/Procurement, Installation, Testing and Commissioning of Lift          	at BH4 T2 building complete with all accessories and fittings.

While submitting quotations, the following documents may kindly be attached (separate sheet, if required).

- Name & address of the firm:

Telephone No.

Email ID

- Type of firm:(Sole Proprietorship/Partnership/Ltd. Co/Others)

- PAN No. (attach copy)

- GST No. (attach copy)

- Details of similar works carried out during FY 2020-21, 2021-22, 2022-23. (attach copies)

| Year | Name of the Organization | Work order ref. and Date |
| --- | --- | --- |

Name and signature of Vendor

Seal

Date:

Place:

Technical Specifications

| Technical Specifications-1 |  |
| --- | --- |
| Quantity | 1 ( One ) unit(s) |
| Model |  |
| Assembled Product | Bed Cum Passenger Elevator |
| Capacity | 20 persons,1360kg |
| Speed | 1.00 m/s |
| Stops & Openings | 7 Stops, 7 Openings |
| Floor designations | G,1,2,3,4,5,6 |
| Machine type & Location | meta200 MRL - Gearless machine located in the Overhead Room |
| Control | Simplex Collective Selective Control |
| Drive | ACVVVF |
| Power supply | 415 volts, 3 phase, 50Hz, AC |
| Hoist way dimensions | 2370mm wide x 3004mm deep |
| Car travel | 20500mm |
| Overhead | 4500mm |
| Pit depth | 1700mm |
| Car dimensions | 1300 mm wide x 2400mm deep x 2200mm high |
| Door opening | 1000mm wide x 2000mm high |
| Open Through Door | No |
| Car door | 2 panel automatic center opening door with ACVF drive-in Stainless-steel Hairline finish |
| Landing door (Group1) | 2 panel automatic center opening door in Stainless steel Hairline finish on 7 floors |
| Landing door (Group2) | 2 panel automatic center opening door in Stainless steel Hairline finish on 0 floors |
| Car suspended ceiling | Stainless steel Hairline finish with Round LED for car lighting |
| Car flooring | 20mm recess provided for granite/marble flooring (by customer) |
| Handrail | Round handrail in Stainless Steel finish provided on rear wall of car |
| Landing operating panel | Individual landing operating panel for each elevator |

|  | Features included: |
| --- | --- |
| 1 | Alarm button in car operating panel with battery back-up |
| 2 | Automatic operation for car fan |
| 3 | Adjustable door open time |
| 4 | Anti-nuisance (empty car) |
| 5 | Anti-nuisance (car call cancellation at direction reversal) |
| 6 | Blower fan in car for ventilation |
| 7 | Braille on push buttons |
| 8 | Car call cancellation by double pressing floor button in car operation panel |
| 9 | Door opens and door close buttons in car operating panel |
| 10 | Door closing retries |
| 11 | Door nudging |
| 12 | Emergency light |
| 13 | Full load by-pass |
| 14 | Home landing |
| 15 | Infra-red screen for car door |
| 16 | Intercom |
| 17 | Jammed landing operating panel call button by-pass |
| 18 | Motor overheat protection |
| 19 | Overload function with audio-visual indication in car operating panel |
| 20 | Phase failure and phase reversal protection |
| 21 | Automatic rescue device in case of power failure |
| 22 | Attendant control |
| 23 | Car arrival chime on car top |
| 24 | Red dot matrix scrolling display in car operating panel |
| 25 | Red dot matrix scrolling display in landing operating panel on All Floors |
| 26 | Fireman control |
| 27 | Fireman emergency return |
| 28 | Interface to Building Monitoring System not included” |
| 29 | RCC Socle for car and counterweight buffers |

Commercial/Financial Bid: (in separate sealed envelope)

Financial Bid

|  | Section/Discipline | Sub Total | Amount in Rs. |
| --- | --- | --- | --- |
| 1 | Designing, Manufacturing/Procurement, Installation, Testing and Commissioning of Lift at BH4 T2 building, |  |  |
|  | Total In Rs. |  |  |
|  | With GST in RS |  |  |

Note: - 1. Please mention about the standard Warranty Period

2. Cost Should Include Frights, Transportation, Loading and unloading, Commissioning all include

Yours faithfully,

Date:	(Signature, name and designation of the Authorized Signatory) Place:

Name & seal of Bidder..........

General Terms and Conditions

- Taxes should be clearly mentioned. If nothing is mentioned, these charges shall be deemed included in the prices offered.

- Any packing, forwarding and transit insurance charges are to be clearly specified. If nothing is mentioned, these charges shall be deemed included in the prices offered.

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- The terms and conditions for the supply, delivery, installation and commissioning should be very clearly indicated in the bid documents.

- Bid should be valid for a minimum period of 45 days.

- Please indicate the execution period.

- The LNMIIT reserves the right to reject any quotation(s) in full or part, without assigning any reasons.

- Payment terms shall be clearly specified with the bid document. However, the same may be further negotiated.

- In case of any query, kindly may contact:

1.Mr. Ashok Salecha, Finance Officer finanace@lnmiit.ac.in,

mobile number-9413341246

2. Mr. Devendra Chaudhari, Estate Manager, estate.manager@lnmiit.ac.in

mobile number-8452092566

Request kindly attach your company Profile.

All charges applicable shall be clearly mentioned in the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final and nothing extra shall be paid extra.

Signature with seal