The LNM Institute of Information Technology, Jaipur

TENDER NOTICE

“The LNM Institute of Information Technology, Jaipur is a Deemed-to-Be-University, setup as a Non-Profit Making institute located at Gram-Rupa Ki Nangal, Post-Sumel, Via-Jamdoli, Jaipur, Pin 302031 Rajasthan, under the joint venture of Government of Rajasthan and Lakshmi & Usha Mittal Foundation.

The institute invites proposal from competent vendors for “Supply, Installation, Testing and Commissioning of Emergency Announcement System with all features for BH-4 T2.” Bidders can submit their sealed offer/s at the following address by Speed-post/Registered Post/By-hand (but not by Courier) before 05:00 PM on 31/03/2024

Bids shall be addressed to the undersigned and deposited in the tender box available at main gate of Institute after marking due entries.

Finance Officer

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

www.lnmiit.ac.in

Bidders can also submit their offer/s via Email with password protected document/file at the below mentioned email IDs before 05:00 PM on 31-03-2023.

The Password protected document/file along with password to be sent at the email id: Chairman-PCC subcommittee chairman.pcc.projects@lnmiit.ac.in

Bid Process:

Technical & commercial details of the offer shall be enclosed in two separate envelopes/ files, duly marked as “Technical Bid for “Supply, Installation, Testing and Commissioning of Emergency Announcement System with all features for BH-4 T2”.  and “Financial bid for “Supply, Installation, Testing and Commissioning of Emergency Announcement System with all features for BH-4 T2”. Both Envelopes / files shall be enclosed in a single envelope / mail bearing the heading “Bid for “Supply, Installation, Testing and Commissioning of Emergency Announcement System with all features for BH-4 T2”. Bids are liable to be rejected if any or both of the technical or commercial offers are found in open condition or required information is not found with the offer.

Bidder Eligibility criteria:

- Bidder should have experience in successfully implementing works of similar nature during the last 5 Years ending 28 Feb 2024.

- The bidder needs to submit the recent last three received PO/Completion Certificate from the Client.

- The Bidder should be OEM or Authorized Dealer/Distributor/System Integrator of the OEM of the Offered product (Bidder to submit documentary proof).

- The bidder should be in the relevant business for a period of Minimum 5 years (supporting documents to be enclosed).

- The average financial turnover during the last three consecutive financial years should be at least 50 Lacs per year for similar works.

Scope of Work:

- The scope of work will cover supply, configuration, installation and testing of given equipment at BH4 Building, LNMIIT Jaipur campus.

- The vendor should offer supply and install all associated components that may be necessary to carry out the complete job.

- The Vendor is required to submit the complete documentation of the Project after Installation.

- At the discretion of LNMIIT, there will be an acceptance test conducted by LNMIIT’s officials        and/or its nominated consultants after installation.

Technical Bid: (in separate sealed envelope)

Supply, Installation, Testing and Commissioning of Emergency Announcement System with all features for BH-4 T2

While submitting quotations, the following procedure/ formalities and conditions may kindly be adhered.

- The makers name or brand name must be specified clearly.

- The relevant literature, pamphlets pertaining to the product should be sent along with the tenders / quotations.

- Copy of authorization/certificate from the OEM in case supplied by a vendor who is not a manufacturer of the product.

- Company profile or brief note about the bidder's company, PAN number, GST number should be submitted by the Vendor.

- List of Directors/Partners/Proprietor/Members of the Firm to be attached.

- Detail of other associated/sister concerns ((if any) of Directors/Partners/ Proprietor/ Members to be provided.

- Turn over for last three years to be mentioned. (Copy to be enclosed)

- List of clients to whom the vendor has delivered the goods or provided the services in past.

- Document certifying the eligibility criteria required to be submitted with technical bid.

- Specification as mentioned above shall be provided as per the details given above:

Technical specification: (in separate sealed envelope)

Supply, Installation, Testing and Commissioning of Emergency Announcement System with all features for BH-4 T2

Specifications:

| Sr. No. | Required Specification: | Qty. | Proposed Items Make & Model with Specification Filled by Vender |
| --- | --- | --- | --- |
| 1 | Speaker Cable - Preferred Brand – Grandlogic | 1000 Mtr. ApproxAs per Actual |  |
| 2 | Installation - Speaker Cable laying with casing capping, and conduiting, numbering and fixing / Mounting of speakers - Create Zones for the speakers and connect them with the amplifier, connect the paging system expansion unit and sync with the central unit. | As per Actual |  |

Signature with seal

Commercial Bid: (in separate sealed envelope)

Supply, Installation, Testing and Commissioning of Emergency Announcement System with all features for BH-4

| Serial Number | Item Name | Quantity | Filled by Vendor |  |
| --- | --- | --- | --- | --- |
|  |  |  | Make / Model | Amount |
| 1 | Speaker Cable | 1000 Mtr. Approx As per Actual |  |  |
| 2 | Installation | As per Actual |  |  |
| Tax |  |  |  |  |
| Ground Total |  |  |  |  |

- Taxes like GST shall be clearly mentioned. If nothing is mentioned, these charges shall be deemed included.

- The prices should be including all (Packing, forwarding, Transit Insurance, Transportation Loading/unloading, and Installation etc.)

- Bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- Bid should be valid for a minimum period of 30 days. The Change in prices shall not be accepted within the validity period.

- The LNMIIT reserves the right to reject any quotation(s) without assigning any reasons.

- Payment terms shall be decided mutually.

- There should not be any conflict of interest (Declaration to be submitted by the Vendor).

- Bid should be on company’s letterhead.

- Vendor should provide photocopy of the cheque/cancelled cheque while presenting the Invoice to LNMIIT.

All charges applicable shall be clearly mentioned with the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final and nothing extra shall be paid extra.

Signature with seal