TENDER DOCUMENT

for

Supply and Installation of

Window Air conditioner

From

The LNM institute of Information Technology

Rupa Ki Nangal, Post -  Sumel, Via – Jamdoli,

Jaipur – 302 031 (Raj.) INDIA

Tender Document

Sealed tenders are invited for the providing equipment’s for Supply and Installation of Window Air-conditioning unit/s at Boys Hostels – 4 Tower - 2 with all accessories, as per the specifications and the details provided. Sealed offers can be sent to the following address by Speed-post/Registered Post/By-hand (but not by Courier).

Finance Officer

The LNM Institute of Information Technology,

Gram – Rupa Ki Nangal, Post – Sumel,

Via – Jamdoli, Jaipur- 302031

www.lnmiit.ac.in

Bidders can also submit their offer/s via email with password protected document/file at the below mentioned email IDs before 05:00 PM on 31/03/2024.

The Password protected document/file along with password to be sent at the email id: Chairman-PCC subcommittee chairman.pcc-projects@lnmiit.ac.in

Bid Process:

Technical & commercial details of the offer shall be enclosed in two separate envelopes, duly marked as “Technical bid for Supply and Installation of VRV AC” and “Commercial Bid for Supply and Installation of Window AC”. Both Envelopes shall be enclosed in a single envelope bearing the heading “Bid for Supply and Installation of Window AC”.

Bids are liable to be rejected if any or both of the technical or commercial offers are found in open condition or required information is not found with the offer.

Technical Bid: (in separate sealed envelope)

Technical Bid

The job of supply and installation of 1.5 TR Window AC  system complete with all accessories and fittings for proper air-conditioning of Hostels rooms.

While submitting quotations, the following documents may kindly be attached (separate sheet, if required).

- Name & address of the firm

Telephone No.

Email ID

- Type of firm:(Sole Proprietorship/Partnership/Ltd. Co/Pvt. Ltd./Others)

- PAN No.(attach copy)

- GST No. (attach copy)

- Details of similar works carried out during FY 2020-21, 2021-22, 2022-23. (attach copies)

| Year | Name of the Organization | Work order ref. and Date |
| --- | --- | --- |

Name and signature of Vendor

Seal

Date:

Place:

Technical Specifications

| Supply & Installation Work of 1.5 TR Window Air Conditioner for Boys Hostels - 4 Tower - 2 |  |  |  |  |
| --- | --- | --- | --- | --- |
| S.No | Description |  | QTY | UNIT |
| A | Supply of Window Air Conditioner |  |  |  |
| 1 | Supply of 1.5 TR 5 Star inverter Window Air Conditioner with 1 year on product,5 year on compressor warranty.(Preferred Makes : Daikin/Voltas/Carrier/Mitsubishi |  | 140 | Nos. |
|  | Technical Specifications |  |  |  |
|  | Brand | ‎Voltas/Daikin/Carrier/ Mitsubishi |  |  |
|  | Capacity | ‎1.5 Tons |  |  |
|  | Noise Level | ‎56/60 dB |  |  |
|  | Installation Type | ‎Window |  |  |
|  | Special Features | ‎Dust Filter |  |  |
|  | Color | ‎White |  |  |
|  | Control Console | ‎remote control |  |  |
|  | Power Supply (V/Hz/Ph) | ‎230 Volts/50Hz/1 Phase |  |  |
|  | Certification | ‎Energy Star |  |  |
|  | Material | ‎Plastic |  |  |
|  | Condenser | Copper |  |  |
|  | Refrigerant Gas | Environment friendly R32/R410 |  |  |
|  | Cooling at high Max operating Ambient Temp Range Temp. | 50/48 C |  |  |
|  | Efficiency (Star Rating) | 5 Star AC |  |  |
|  | Included Components | ‎1 AC unit, 1 Remote Control, 1 User manual, 1 Warranty Card |  |  |
| B | Installation, Testing and Commissioning |  |  |  |
| 1 | 1.5 TR Window AC Installation |  | 140 | Nos. |
| 2 | 16Amper, 3 Pin Top plug 240V AC ( Make : Anchor, Color : White ) |  | 140 | Nos. |
| 3 | Supply and Installation work of 3 Core 2.5 Sqmm Copper Flexible cable for AC to Power Socket. (Make: Polycab/KEI/APAR) |  | 280 | Meter |

Commercial/Financial Bid: (in separate sealed envelope)

Financial Bid

| Supply & Installation Work of 1.5 TR Window Air conditioners for Boys Hostels - 4 Tower - 2 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| S.No | Description |  | QTY | UNIT | Rate | Amount |
| A | Supply of Window Air Conditioner |  |  |  |  |  |
| 1 | Supply of 1.5 TR 5 Star inverter Window Air Conditioner with 1 year on product,5 year on compressor warranty. (Preferred Makes: Daikin/Voltas/Carrier, |  | 140 | Nos. |  |  |
|  | Technical Specifications |  |  |  |  |  |
|  | Brand | ‎Voltas/Daikin/Carrier |  |  |  |  |
|  | Capacity | ‎1.5 Tons |  |  |  |  |
|  | Noise Level | ‎56 dB |  |  |  |  |
|  | Installation Type | ‎Window |  |  |  |  |
|  | Special Features | ‎Dust Filter |  |  |  |  |
|  | color | ‎White |  |  |  |  |
|  | Control Console | ‎remote control |  |  |  |  |
|  | Power Supply (V/Hz/Ph) | ‎230 Volts/50Hz/1 Phase |  |  |  |  |
|  | Certification | ‎Energy Star |  |  |  |  |
|  | Material | ‎Plastic |  |  |  |  |
|  | condenser | Copper |  |  |  |  |
|  | Refrigerant Gas | Environment friendly R32/R410 |  |  |  |  |
|  | Cooling at high Max operating Ambient Temp Range h Temp. | 50 C |  |  |  |  |
|  | Efficiency (Star Rating) | 5 Star AC |  |  |  |  |
|  | Included Components | ‎1 AC unit, 1 Remote Control, 1 User manual, 1 Warranty Card |  |  |  |  |
|  |  | Amount (Rs.) |  |  |  |  |
|  |  | GST@28% |  |  |  |  |
|  |  | Total Amount with GST (A) |  |  |  |  |
| B | installation, Testing and Commissioning |  |  |  |  |  |
| 1 | 1.5 TR Window AC Installation |  | 140 | Nos. | 850 |  |
| 2 | 16Amper, 3 Pin Top plug 240V AC (Make: Anchor, Color : White ) |  | 140 | Nos. |  |  |
| 3 | Supply and Installation work of 3 Core 2.5 Sqmm Copper Flexible cable for AC to Power Socket. (Make: Polycab/KEI/APAR) |  | 280 | Meter |  |  |
|  |  | Amount (Rs.) |  |  |  |  |
|  |  | GST@18% |  |  |  |  |
|  |  | Total Amount with GST (A) |  |  |  |  |
|  |  | Grand Total Amount with GST (A+ B) |  |  |  |  |

- Taxes should be clearly mentioned. If nothing is mentioned, these charges shall be deemed included in the prices offered.

- Any packing, forwarding and transit insurance charges are to be clearly specified. If nothing is mentioned, these charges shall be deemed included in the prices offered.

- The bid should be submitted for F.O.R delivery at the destination i.e. The LNM Institute of Information Technology, Gram – Rupa Ki Nangal, Post – Sumel, Via – Jamdoli, Jaipur- 302031

- The terms and conditions for the supply, delivery, installation, and commissioning should be very clearly indicated in the bid documents.

- Bid should be valid for a minimum period of 30 days.

- Please indicate the execution period.

- The LNMIIT reserves the right to reject any quotation(s) in full or part, without assigning any reasons.

- Payment terms shall be clearly specified with the bid document. However, the same may be further negotiated.

- Payment to be made for the final quantity executed on site and verified with our project team.

- In case of any query, please contact.

1.Mr. Ashok Salecha, Finance Officer finanace@lnmiit.ac.in,

mobile number-9413341246

2. Mr. Devendra Chaudhari, Estate Manager, estate.manager@lnmiit.ac.in

Request kindly attach your company profile.

All charges applicable shall be clearly mentioned in the offer. If nothing is mentioned in the offer, the quoted price shall be treated as final and nothing extra shall be paid extra.

Signature with seal